National Electricity Rules Version 124

Historical Information

This version of the National Electricity Rules was current from 12 August 2019 to 30 October 2019.

National Electricity Rules Version 124

# Status Information

This is the latest electronically available version of the National Electricity Rules as at 12 August 2019.

This consolidated version of the National Electricity Rules was last updated on 12 August 2019 as a result of the commencement of the following amendments:

Schedules 1 and 6 of the National Electricity Amendment (Five minute settlement and global settlement implementation amendments) Rule 2019 No. 7

This consolidated version of the Rules reflects the initial Rules made by the SA Minister under section 90 of the National Electricity Law (NEL) as amended by:

Rules made by the South Australian Minister under sections 90A to 90E of the NEL; and

Rules made by the Australian Energy Market Commission under Part 7 Division 3 of the NEL.

# Application of the National Energy Customer Framework related Rule

On 27 June 2012, the South Australian Minister made Rules relating to the implementation of the National Energy Customer Framework (NECF), including amendments to the National Electricity Rules under section 90D of the NEL in relation to small customer connections (Chapter 5A), Retail Markets including billing and credit support (Chapter 6B) and related provisions (NECF related rule).

The NECF related Rule commenced operation as a law of Tasmania, the Australian Capital Territory and the Commonwealth on 1 July 2012; South Australia on 1 February 2013, New South Wales on 1 July 2013 and Queensland on 1 July 2015.

On 1 July 2016, Victoria adopted the provisions of the NECF related rule that relate to small customer connections (Chapter 5A and related provisions). Victoria has not adopted the Retail Market provisions in Chapter 6B of the Rules.

The NECF related Rule does not apply in Western Australia or the Northern Territory until the National Energy Retail Law set out in the Schedule to the National Energy Retail Law (South Australia) Act 2011 is implemented as a law in that jurisdiction (clause 24, Part 11, Schedule 3 NEL).

The NECF related Rule can be found on the Australian Energy Market Commission's website under the 'National Electricity Rules', 'Rules made by the SA Ministers' tabs.

# Provisions in force

All provisions displayed in this consolidated version of the Rules have commenced. As at the date of this consolidation the Australian Energy Market Commission has made the following Rules under Part 7 Division 3 of the NEL that have not yet commenced:

Schedule 2 of the National Electricity Amendment (Enhancement to the Reliability and Emergency Reserve Trader) Rule 2019 No. 3 will commence operation on 31 October 2019.

Schedules 1 to 3 of the National Electricity Amendment (Register of distributed energy resources) Rule 2018 No. 9 will commence operation on 1 December 2019.

National Electricity Amendment (Monitoring and reporting on frequency control framework) Rule 2019 No. 6 will commence on 1 January 2020.

Schedule 1 of the National Electricity Amendment (Enhancement to the Reliability and Emergency Reserve Trader) Rule 2019 No. 3 will commence operation on 26 March 2020.

Schedule 2 of the National Electricity Amendment (Retailer Reliability Obligation) Rule 2019 will commence operation on 26 March 2020 immediately after the commencement of Schedule 1 of the National Electricity Amendment (Enhancement to the Reliability and Emergency Reserve Trader) Rule 2019 No. 3.

Schedules 1 to 6 of the National Electricity Amendment (Five Minute Settlement) Rule 2017 No. 15 will commence operation on 1 July 2021.

Schedule 2 of the National Electricity Amendment (Participant compensation following market suspension) Rule 2018 No. 13 will commence operation on 1 July 2021, immediately after commencement of the National Electricity Amendment (Five minute settlement) Rule 2017 No. 15.

Schedule 2 of the National Electricity Amendment (Intervention compensation and settlement processes) Rule 2019 No. 5 will commence operation on 1 July 2021, immediately after the commencement of Schedule 6 of the National Electricity Amendment (Five Minute Settlement) Rule 2017 No. 15.

Schedule 2 of the National Electricity Amendment (Five minute settlement and global settlement implementation amendments) Rule 2019 No. 7 will commence operation on 1 July 2021, immediately after the commencement of Schedules 1 to 6 of the National Electricity Amendment (Five Minute Settlement) Rule 2017 No. 15.

Schedules 1 to 4 of the National Electricity Amendment (Global settlement and market reconciliation) Rule 2018 No. 14 will commence operation on 6 February 2022.

Schedules 3 to 5 of the National Electricity Amendment (Five minute settlement and global settlement implementation amendments) Rule 2019 No. 7 will commence operation on 6 February 2022, immediately after the commencement of Schedules 1 to 4 of the National Electricity Amendment (Global settlement and market reconciliation) Rule 2018 No. 14.

# TABLE OF CONTENTS

- Introduction	1

# Preliminary	3

    - References to the Rules	3

    - Italicised expressions	3

    - [Deleted]	3

# Background	3

# Nomenclature of and references to provisions of a Chapter	3

    - Introduction	3

    - Parts, Divisions and Subdivisions	3

    - Rules, clauses, paragraphs, subparagraphs and other items	4

# Effect of renumbering of provisions of the Rules	4

# [Deleted]	5

# [Deleted]	5

# Interpretation	5

    - General	5

# Notices	6

    - Service of notices under the Rules	6

    - Time of service	6

    - Counting of days	7

    - Reference to addressee	7

# Retention of Records and Documents	7

# [Deleted]	7

# AEMO Rule Funds	7

- Registered Participants and Registration	9

# Registered Participants	11

    - Purpose	11

    - General	11

# Generator	11

    - Registration as a Generator	11

    - Scheduled Generator	12

    - Non-Scheduled Generator	13

    - Market Generator	14

    - Non-Market Generator	15

    - Ancillary services generating unit	15

    - Semi-Scheduled Generator	16

# Customer	18

    - Registration as a Customer	18

    - First-Tier Customer	19

    - Second-Tier Customer	19

    - Market Customer	20

    - Ancillary services load	20

# 2.3A	Small Generation Aggregator	23

2.3A.1	Registration	23

# 2.3AA	Market Ancillary Service Provider	23

  - AA.1	Registration	23

# Market Participant	24

    - Registration as a category of Market Participant	24

    - Eligibility	25

# 2.4A	Metering Coordinator	25

2.4A.1	Registration as a Metering Coordinator	25

  - A.2	Eligibility	25

# Network Service Provider	26

    - Registration as a Network Service Provider	26

    - A	Dedicated Connection Asset Service Provider	28

    - Market Network Service	29

    - Scheduled Network Service	29

# 2.5A	Trader	30

# B	Reallocator	31

# Special Participant	32

# Intention to Commence Activities or Functions	32

# Registered Participant Rights and Obligations	33

    - Rights and obligations	33

# Application to be Registered as a Registered Participant	33

    - Applications for Registration	33

    - Registration as a Registered Participant	33

    - Registration as an Intermediary	34

# 2.9A	Transfer of Registration	35

2.9A.1	Definitions	35

2.9A.2	Applications for Transfer of Registration	35

  - A.3	Approval for Transfer of Registration	36

# Ceasing to be a Registered Participant	37

    - Notification of intention	37

    - Ceasing Participation	39

    - Liability after cessation	40

# Participant Fees	40

    - A	Application	40

    - Development of Participant fee structure	40

    - Payment of Participant fees	42

    - Budgeted revenue requirements	43

# Interpretation of References to Various Registered Participants	44

2A.	Regional Structure	47

# Part A	Region change applications and region determinations by AEMC	49

# 2A.1	Introduction to Chapter 2A	49

2A.1.1	Definitions	49

2A.1.2	AEMC determination of regions	49

2A.1.3	Publication of regions by AEMO	49

# 2A.2	Region change applications	49

2A.2.1	A complete region change application	49

2A.2.2	Identifying a congestion problem	50

2A.2.3	Explanation of economic efficiency of proposed region solution	50

2A.2.4	Region change application must be technically competent	50

2A.2.5	Alternative congestion management options	51

2A.2.6	Previous application relating to congestion problem	51

2A.2.7	AEMO to provide information to intending applicants	52

2A.2.8	AEMC may refuse to accept incomplete applications	53

# 2A.3	Acceptance of region change application by AEMC	53

2A.3.1	Acceptance of a region change application by AEMC	53

2A.3.2		Preliminary consultation prior to acceptance of a  region  change application	53

# 2A.4	First round consultation on region change application	54

2A.4.1	Notice of first round consultation	54

2A.4.2	Right to make written submissions during first round consultation period.54 2A.4.3	Alternative region solution put forward by third parties	55

2A.4.4	Acceptance as a formal alternative region solution by AEMC	55

# 2A.5	Provision of supplementary economic analysis	56

2A.5.1	AEMC may direct provision of supplementary analysis	56

2A.5.2	AEMC may direct AEMO to provide information	56

# 2A.6	Region determinations	57

2A.6.1	AEMC powers to make a region determination	57

2A.6.2	Matters for consideration in making region determination	57

# 2A.7	Draft region determination and second round consultation	58

2A.7.1	Publishing of draft region determination	58

2A.7.2	Second round consultation	58

2A.7.3	Right to make written submissions during second round consultation	59

# 2A.8	Final region determination	59

2A.8.1	Final determination for region change	59

2A.8.2	Formal publication of region determination	59

# 2A.9	Miscellaneous matters for region change process	59

2A.9.1	AEMC may extend periods of time specified in Chapter 2A	59

2A.9.2	Consultation meeting in relation to region change application	59

# Part B	Implementation of region determination	60

# 2A.10	Purpose and application of Part B	60

2A.10.1	Purpose of Part B	60

2A.10.2	Application of Part B	60

# 2A.11	Region Change Implementation Procedure	60

2A.11.1	Submission of draft Region Change Implementation Procedure	60

2A.11.2	Approved Region Change Implementation Procedure	61

# 2A.12	AEMO region change implementation functions	61

2A.12.1	General implementation functions	61

2A.12.2	Implementation functions referable to published implementation

procedure	61

2A.12.3	Amendment of current or subsequent Regions and Loss Factors

Publication	61

# 2A.13	Continuity of regions	62

# Schedule 2A.1	Glossary for Chapter 2A	62

- Market Rules	65

# Introduction to Market Rules	67

    - Purpose	67

    - A	Definitions	67

    - [Deleted]	68

    - [Deleted]	68

    - Market design principles	68

    - Time for undertaking action	69

# AEMO's Market Responsibilities	69

    - Market functions of AEMO	69

    - Spot market	69

    - Power system operations	70

    - Non-market ancillary services function	70

    - [Deleted]	70

    - Settlements	70

# Prudential Requirements	70

    - Market Participant criteria	70

    - Credit support	71

    - Acceptable credit criteria	71

    - Acceptable credit rating	72

    - A	Prudential standard	72

    - Amount of credit support	72

    - Changes to credit support	73

    - Drawings on credit support	73

    - Credit limit procedures and prudential settings	74

    - A	Security Deposits	76

    - Outstandings	76

    - Trading limit	76

    - Call notices	77

    - Typical accrual	77

    - Response to Call Notices	78

    - A	Application of monies in the security deposit fund	78

    - Potential value of a transaction	80

    - Trading margin	80

    - Limitation on entry of transactions	80

    - Scheduled prices	81

    - Additional credit support	81

    - Consideration of other Market Participant transactions	81

# Spot Market	82

    - Establishment of spot market	82

    - Trading day and trading interval	82

    - Spot market operations timetable	82

# Regions	83

    - [Deleted]	83

    - [Deleted]	83

    - [Deleted]	83

    - [Deleted]	83

    - [Deleted]	83

    - [Deleted]	83

# Network Losses and Constraints	83

    - Inter-regional losses	83

    - Intra-regional losses	84

    - A		Load and generation data used to determine inter-regional loss factor equations and intra-regional loss factors	88

    - Distribution losses	89

    - Network constraints	93

    - Settlements residue due to network losses and constraints	94

# Projected Assessment of System Adequacy	96

    - Administration of PASA	96

    - Medium term PASA	97

    - Short term PASA	99

# 3.7A	Congestion information resource	102

# 3.7B	Unconstrained intermittent generation forecast	104

# 3.7C	Energy Adequacy Assessment Projection	105

# D	Demand side participation information	108

# Central Dispatch and Spot Market Operation	111

    - Central Dispatch	111

    - Participation in central dispatch	112

    - Bid and offer aggregation guidelines	113

    - A	Ramp rates	115

    - Notification of scheduled capacity	117

    - Submission timing	119

    - Generating unit offers for dispatch	119

    - A	Scheduled network service offers for dispatch	121

    - Bids for scheduled load	122

    - A	Market ancillary services offers	124

    - Validation of dispatch bids and offers	125

    - Default offers and bids	126

    - Network constraints	127

    - Ancillary services constraints	128

    - System scheduled reserve constraints	128

    - Notification of constraints	129

    - Dispatch under conditions of supply scarcity	129

    - [Deleted]	129

    - Equal priced dispatch bids and dispatch offers	129

    - Self-commitment	130

    - Self-decommitment	130

    - Dispatch inflexibilities	131

    - Pre-dispatch schedule	133

    - On-line dispatch process	135

    - Rebidding	136

    - A	Offers, bids and rebids must not be false or misleading	138

    - Failure to conform to dispatch instructions	140

    - Scheduling errors	142

# Price Determination	142

    - Principles applicable to spot price determination	142

    - Determination of spot prices	144

3.9.2A	Determination of ancillary services prices	145

    - B	Pricing where AEMO determines a manifestly incorrect input	146

    - Pricing in the event of intervention by AEMO	147

3.9.3A	Reliability standard and settings review	148

3.9.3B	Reliability standard and settings review report	149

3.9.3C	Reliability standard	150

    - D	Implementation of the reliability standard	151

    - Market Price Cap	151

    - Application of the Market Price Cap	152

    - Market Floor Price	153

    - A	Application of the Market Floor Price	153

    - Pricing for constrained-on scheduled generating units	153

# [Deleted]	154

# Ancillary Services	154

    - Introduction	154

    - Market ancillary services	155

    - Acquisition of Network Support and Control Ancillary Service	156

    - Guidelines and objectives for acquisition of network support and control ancillary services	157

    - Tender process for network support and control ancillary services	157

    - Dispatch of network support and control ancillary services by AEMO	159

    - Guidelines and objectives for acquisition of system restart ancillary services by AEMO	160

    - Determination of electrical sub-network boundaries	161

    - Acquisition of system restart ancillary services by AEMO	162

    - Reporting	163

# Market Intervention by AEMO	163

    - Intervention settlement timetable	163

    - Affected Participants and Market Customers entitlements to compensation in relation to AEMO intervention	164

    - Role of the Independent Expert in calculating payments in relation to intervention by AEMO and market suspension pricing schedule periods.168

# 3.12A	Mandatory restrictions	170

3.12A.1	Restriction offers	170

3.12A.2	Mandatory restrictions schedule	172

3.12A.3	Acquisition of capacity	173

3.12A.4	Rebid of capacity under restriction offers	173

3.12A.5	Dispatch of restriction offers	173

3.12A.6	Pricing during a restriction price trading interval	174

3.12A.7	Determination of funding restriction shortfalls	174

3.12A.8	Cancellation of a mandatory restriction period	178

  - A.9	Review by AEMC	179

# Market Information	179

    - Provision of information	179

    - Systems and procedures	179

    - Standing data	181

    - A	Statement of opportunities	186

    - Spot market	188

    - A	Market ancillary services	192

    - Ancillary services contracting by AEMO	193

    - A	Settlements residue auctions	193

    - [Deleted]	193

    - A	Report by AEMO	193

    - Monitoring of significant variation between forecast and actual prices by AER	194

    - Public information	195

    - [Deleted]	196

    - Market auditor	196

    - [Deleted]	197

    - NMI Standing Data	197

    - A	NMI Standing Data Schedule	200

    - Inter-network tests	201

    - Carbon Dioxide Equivalent Intensity Index	201

# Administered Price Cap and Market Suspension	204

    - Cumulative Price Threshold and Administered Price Cap	204

    - Application of Administered Price Cap	206

    - Conditions for suspension of the spot market	207

    - Declaration of market suspension	208

    - Pricing during market suspension	209

3.14.5A		Payment of compensation due to market suspension pricing schedule periods	211

    - B		Claims for additional compensation due to market suspension pricing schedule periods	214

    - Compensation due to the application of an administered price cap or administered floor price	216

# Settlements	220

    - Settlements management by AEMO	220

    - Electronic funds transfer	220

    - Connection point and virtual transmission node responsibility	221

    - Adjusted energy amounts connection points	221

    - Adjusted energy - transmission network connection points	221

    - A	Adjusted energy - virtual transmission nodes	222

    - Spot market transactions	222

    - A	Ancillary service transactions	223

    - Payment to Directed Participants	235

3.15.7A		Payment to Directed Participants for services other than energy and market ancillary services	237

    - B	Claim for additional compensation by Directed Participants	240

    - Funding of Compensation for directions	242

    - A		Funding of compensation  for  market  suspension  pricing  schedule periods	246

    - Reserve settlements	248

    - Administered price cap or administered floor price compensation

payments	249

3.15.10A	Goods and services tax	250

3.15.10B	Restriction contract amounts	251

    - C		Intervention and  Market  Suspension  Pricing  Schedule  Period Settlements	252

    - Reallocation transactions	256

    - A	Reallocation procedures	257

    - Settlement amount	258

    - Payment of settlement amount	259

    - Preliminary statements	259

    - Final statements	259

    - A	Use of estimated settlement amounts by AEMO	259

    - Payment by market participants	260

    - Payment to market participants	260

    - Disputes	260

    - Revised Statements and Adjustments	260

    - Payment of adjustments	263

    - Default procedure	263

    - Maximum total payment in respect of a billing period	267

    - Maximum total payment in respect of a financial year	269

    - Compensation for reductions under clause 3.15.23	270

    - Interest on overdue amounts	270

# Participant compensation fund	270

    - Establishment of Participant compensation fund	270

    - Dispute resolution panel to determine compensation	271

# [Deleted]	273

# Settlements Residue Auctions	273

    - Settlements residue concepts	273

    - Auctions and eligible persons	274

    - Auction rules	275

    - A	Secondary trading of SRD units	276

    - Proceeds and fees	276

    - A	Secondary trading proceeds and margin	277

    - Settlement residue committee	278

# Market Management Systems Access Procedures	280

# Reliability and Emergency Reserve Trader	280

    - [Deleted]	280

    - Reliability and emergency reserve trader	280

    - Reserve contracts	281

    - Dispatch pricing methodology for unscheduled reserve contracts	282

    - AEMO's risk management and accounts relating to the reliability safety   net	282

    - Reporting on RERT by AEMO	283

    - AEMO's exercise of the RERT	284

    - RERT Guidelines	285

    - [Deleted]	285

# Schedule 3.1	Bid and Offer Validation Data	285

# Schedule 3.2	[Deleted]	289

# Schedule 3.3	[Deleted]	289

- Power System Security	291

# Introduction	293

    - Purpose	293

# Definitions and Principles	293

    - [Deleted]	293

    - Satisfactory Operating State	293

    - Credible and non-credible contingency events and protected events	294

4.2.3A	Re-classifying contingency events	295

    - B	Criteria for re-classifying contingency events	296

    - Secure operating state and power system security	297

    - Technical envelope	297

    - General principles for maintaining power system security	298

    - Reliable Operating State	299

    - Time for undertaking action	299

# Power System Security Responsibilities and Obligations	299

    - Responsibility of AEMO for power system security	299

    - System security	301

    - The role of System Operators	304

    - Network Service Providers	306

    - Market Customer obligations	311

# Power System Frequency Control	311

    - Power system frequency control responsibilities	311

    - Operational frequency control requirements	311

    - Generator protection requirements	312

    - Instructions to enable inertia network services	312

    - Instructions to enable system strength services	313

# Control of Power System Voltage	315

    - Power system voltage control	315

    - Reactive power reserve requirements	315

    - Audit and testing	316

# Protection of Power System Equipment	316

    - Power system fault levels	316

    - Power system protection co-ordination	316

    - Audit and testing	316

    - Short-term thermal ratings of power system	317

    - Partial outage of power protection systems	317

    - System strength impact assessment guidelines	317

# Power System Stability Co-ordination	319

    - Stability analysis co-ordination	319

    - Audit and testing	319

# Power System Security Operations	319

    - Registered Participants' advice	319

    - Protection or control system abnormality	320

    - AEMO's advice on power system emergency conditions	320

    - Declaration of conditions	320

4.8.4A	Reserve level declaration guidelines	321

    - B	Lack of reserve framework reporting	322

    - Managing declarations of conditions	322

4.8.5A	Determination of the latest time for AEMO intervention	323

    - B	Notifications of last time of AEMO intervention	324

    - [Deleted]	324

    - Managing a power system contingency event	324

    - [Deleted]	324

    - Power to issue directions and clause 4.8.9 instructions	324

    - A	System security directions	326

    - Disconnection of generating units and market network services	327

    - [Deleted]	327

    - System restart plan and local black system procedures	327

    - [Deleted]	328

    - Power system restoration	328

    - Review of operating incidents	329

# Power System Security Related Market Operations	331

    - Load forecasting	331

    - Instructions to Scheduled Generators and Semi-Scheduled Generators	332

    - A	Dispatch Instructions to Scheduled Network Service Providers	333

    - Instructions to Registered Participants	333

4.9.3A	Ancillary services instructions	334

    - B	Compliance with dispatch instructions	334

    - Dispatch related limitations on Scheduled Generators and Semi-Scheduled Generators	335

    - A	Dispatch related limitations on Scheduled Network Service Providers	336

    - Form of dispatch instructions	337

    - Commitment of scheduled generating units	337

    - De-commitment, or output reduction, by Scheduled Generators	338

    - General responsibilities of Registered Participants	339

    - Scheduled Generator plant changes	340

4.9.9A	Scheduled Network Service Provider plant changes	340

4.9.9B	Ancillary service plant changes	341

4.9.9C	Inertia network service availability changes	341

4.9.9D	System strength service availability changes	341

# Power System Operating Procedures	341

    - Power system operating procedures	341

    - Transmission network operations	342

    - Operating interaction with distribution networks	343

    - Switching of a Distributor's high voltage networks	343

    - Switching of reactive power facilities	344

    - Automatic reclose	344

    - Inspection of facilities by AEMO	344

# Power System Security Support	344

    - Remote control and monitoring devices	344

    - Operational control and indication communication facilities	346

    - Power system voice/data operational communication facilities	346

    - Records of power system operational communication	348

    - Agent communications	348

# Nomenclature Standards	349

# [Deleted]	350

# Acceptance of Performance Standards	350

# Compliance with Performance Standards	352

# Transitioning arrangements for establishment of performance standards	355

    - Definitions	355

    - Exclusions	357

    - Notification and acceptance of performance standards	358

    - Actual capability	362

    - Criteria for, and negotiation of, performance standards	363

    - Consultation with and assistance by Network Service Providers	366

    - Referral to expert determination	366

    - Prior actions	367

    - Deemed performance standards	367

    - Modification of connection agreements	367

# Expert determination	368

    - Performance standards committee and appointment of performance standards experts	368

    - Referral to performance standards expert	369

    - Determinations of performance standards experts	370

    - Other matters	371

4A.	Retailer Reliability Obligation	373

# Part A	Introduction	375

# 4A.A	Definitions	375

4A.A.1	Definitions	375

4A.A.2	Forecast reliability gap materiality	378

4A.A.3	One-in-two year peak demand forecast	378

4A.A.4	Peak demand	378

# Part B	Reliability Forecasts	379

4A.B.1	Reliability forecast	379

4A.B.2	Reliability forecast components	379

4A.B.3	Supporting materials	380

4A.B.4	Reliability Forecast Guidelines	380

4A.B.5	AER Forecasting Best Practice Guidelines	381

# Part C	Reliability Instruments	382

# Division 1	AEMO request for a reliability instrument	382

4A.C.1	AEMO request for a reliability instrument	382

4A.C.2	AEMO request for a T-3 reliability instrument	382

4A.C.3	AEMO request for a T-1 reliability instrument	383

4A.C.4	Related T-3 reliability instrument	383

4A.C.5	Notification of a closed forecast reliability gap at T-1	383

4A.C.6	Corrections to a request	384

4A.C.7	Withdrawing a request	384

# Division 2	AER making of a reliability instrument	384

4A.C.8	AER making of a reliability instrument	384

4A.C.9	When a decision by the AER must be made	384

4A.C.10	T-1 reliability instrument components	385

4A.C.11	AER decision making criteria	385

4A.C.12	Reliability Instrument Guidelines	385

# Part D	Liable Entities	386

4A.D.1	Application	386

4A.D.2	Liable entities	386

4A.D.3	New entrants	387

4A.D.4	Application to register as large opt-in customer	387

4A.D.5	Application to register as prescribed opt-in customer	388

4A.D.6	Thresholds	389

4A.D.7	Opt-in cut-off day	389

4A.D.8	AER approval of applications	389

4A.D.9	AER opt-in register	390

4A.D.10	Changes to register	390

4A.D.11	AER register taken to be correct	391

4A.D.12	AEMO Opt-In Procedures	391

4A.D.13	AER Opt-In Guidelines	391

# Part E	Qualifying Contracts and Net Contract Position	392

# Division 1	Key concepts	392

4A.E.1	Qualifying contracts	392

4A.E.2	Net contract position	393

# Division 2	Firmness methodologies	394

4A.E.3	Firmness methodology	394

4A.E.4	Types of methodologies	394

4A.E.5	Approval of a bespoke firmness methodology	395

# Division 3	Reporting net contract position	395

4A.E.6	Reporting requirements	395

# Division 4	Adjustment of net contract position	396

4A.E.7	Adjustment of net contract position	396

# Division 5	Contracts and Firmness Guidelines	398

4A.E.8	Contracts and Firmness Guidelines	398

# Part F	Compliance with the Retailer Reliability Obligation	398

# Division 1	Application	398

4A.F.1	Application	398

# Division 2	Key concepts	399

4A.F.2	Compliance TI	399

4A.F.3	Share of one-in-two year peak demand forecast	399

# Division 3	AEMO notifications to AER	400

4A.F.4	AEMO notification of compliance trading intervals	400

4A.F.5	AEMO compliance report	401

# Division 4	AER assessment of compliance	401

4A.F.6	Reliability Compliance Procedures and Guidelines	401

4A.F.7	AER assessment	401

4A.F.8	AER notification to AEMO for PoLR costs	402

# Division 5	Miscellaneous	402

4A.F.9	Demand response information	402

4A.F.10	PoLR cost procedures	402

# Part G	Market Liquidity Obligation	403

# Division 1	Preliminary	403

4A.G.1	Overview of Part G	403

4A.G.2	Purpose and application	404

# Division 2	Market Generators and trading right holders	404

4A.G.3	Market Generators and generator capacity	404

4A.G.4	Trading rights and trading right holders	404

# Division 3	Trading groups	405

4A.G.5	Trading group	405

4A.G.6	Controlling entity	405

# Division 4	Traced capacity and trading group capacity	407

4A.G.7	Traced capacity	407

4A.G.8	Tracing capacity to trading groups	407

4A.G.9	Trading group capacity	408

# Division 5	MLO generators and MLO groups	408

4A.G.10	MLO group	408

4A.G.11	MLO generator	408

# Division 6	Market Generator information	408

4A.G.12	MLO register	408

4A.G.13	Market Generator information	410

4A.G.14	Applications to the AER	411

# Division 7	Liquidity period	412

4A.G.15	Notices prior to a liquidity period	412

4A.G.16	Duration of liquidity period	412

# Division 8	Liquidity obligation	413

4A.G.17	Liquidity obligation	413

4A.G.18	Performing a liquidity obligation	413

4A.G.19	Volume limits	414

4A.G.20	Appointment of MLO nominee	415

4A.G.21	Exemptions	416

# Division 9	MLO products and MLO exchange	417

4A.G.22	MLO products	417

4A.G.23	MLO exchange	417

# Division 10	Miscellaneous	418

4A.G.24	MLO compliance and reporting	418

4A.G.25	MLO Guidelines	418

# Part H	Voluntary Book Build	419

4A.H.1	Purpose and application	419

4A.H.2	Book Build Procedures	419

4A.H.3	Commencement of voluntary book build	420

4A.H.4	Participation in the voluntary book build	421

4A.H.5	Book build fees	421

4A.H.6	Reporting	421

- Network Connection Access, Planning and Expansion	423

# Part A	Introduction	425

# Introduction to Chapter 5	425

    - Structure of this Chapter	425

    - Overview of Part B and connection and access under the Rules	425

# Part B	Network Connection and Access	428

# 5.1A	Introduction to Part B	428

5.1A.1	Purpose and Application	428

  - A.2	Principles	430

# Obligations	431

    - Obligations of Registered Participants	431

    - Connection agreements	431

    - Obligations of network service providers	432

    - A	Obligations of Market Network Service Providers	437

    - Obligations of customers	438

    - Obligations of Generators	439

    - Obligations of AEMO	441

    - A	AEMO review of technical requirements for connection	441

    - Obligations of Dedicated Connection Asset Service Providers	442

# 5.2A	Transmission network connection and access	443

5.2A.1	Application	443

5.2A.2	Relevant assets	443

5.2A.3	Connection and access to transmission services	444

5.2A.4	Transmission services related to connection	445

5.2A.5	Publication and provision of information	448

5.2A.6	Negotiating principles	449

5.2A.7	Third party IUSAs	449

  - A.8	Access framework for large dedicated connection assets	451

# Establishing or Modifying Connection	452

    - Process and procedures	452

    - A	Application of rule to connection of embedded generating units	453

    - Connection enquiry	453

    - Response to connection enquiry	455

    - Application for connection	458

5.3.4A	Negotiated access standards	460

    - B	System strength remediation for new connections	463

    - Preparation of offer to connect	466

    - Offer to connect	467

    - Finalisation of connection agreements and network operating

agreements	470

    - Provision and use of information	472

    - Procedure to be followed by a Generator proposing to alter a generating system	473

    - Acceptance of performance standards for generating plant that is altered 475

    - Notification of request to change normal voltage	476

# 5.3A	Establishing or modifying connection - embedded generation	476

5.3A.1	Application of rule 5.3A	476

5.3A.2	Definitions and miscellaneous	477

5.3A.3	Publication of Information	477

5.3A.4	Fees	479

5.3A.5	Enquiry	480

5.3A.6	Response to Enquiry	481

5.3A.7	Preliminary Response to Enquiry	481

5.3A.8	Detailed Response to Enquiry	482

5.3A.9	Application for connection	483

5.3A.10	Preparation of offer to connect	484

5.3A.11	Technical Dispute	485

5.3A.12	Network support payments and functions	485

# 5.3AA	Access arrangements relating to Distribution Networks	485

# B	Application for connection to declared shared network	489

# Independent Engineer	489

    - Application	489

    - Establishment of a pool	490

    - Initiating the Independent Engineer process	490

    - Referral to the Adviser	491

    - Proceedings and decisions of the Independent Engineer	492

    - Costs of the Independent Engineer	493

# 5.4A	[Deleted]	493

# AA	[Deleted]	493

# Commercial arbitration for prescribed and negotiated transmission services and large DCA services	493

    - Application	493

    - Notification of dispute	494

    - Appointment of commercial arbitrator	494

    - Procedures of commercial arbitrator	495

    - Powers of commercial arbitrator in determining disputes	495

    - Determination of disputes	497

    - Costs of dispute	497

    - Enforcement of agreement or determination and requirement for reasons498 5.5.9	Miscellaneous	498

# A	[Deleted]	499

# Part C	Post-Connection Agreement matters	499

# Design of Connected Equipment	499

    - Application	499

    - Advice of inconsistencies	499

    - Additional information	499

    - Advice on possible non-compliance	500

# A	[Deleted]	500

# Inspection and Testing	500

    - Right of entry and inspection	500

    - Right of testing	502

    - Tests to demonstrate compliance with connection requirements for generators	503

    - A	Tests to demonstrate compliance with system strength remediation

schemes	505

    - Routine testing of protection equipment	506

    - Testing by Registered Participants of their own plant requiring changes to normal operation	507

    - Tests of generating units requiring changes to normal operation	509

    - Inter-network power system tests	510

    - Contestable IUSA components	517

# Commissioning	517

    - Requirement to inspect and test equipment	517

    - Co-ordination during commissioning	518

    - Control and protection settings for equipment	518

    - Commissioning program	519

    - Commissioning tests	519

# Disconnection and Reconnection	520

    - Voluntary disconnection	520

    - Decommissioning procedures	521

    - Involuntary disconnection	521

    - Direction to disconnect	522

    - A	Notification of disconnection	522

    - Disconnection during an emergency	522

    - Obligation to reconnect	523

# Part D	Network Planning and Expansion	524

# Network development generally	524

    - Content of Part D	524

    - Definitions	525

    - Interpretation	528

# Forecasts of connection to transmission network and identification of system limitations	529

    - Forecasts for connection to transmission network	529

    - Identification of network limitations	529

# Transmission annual planning process	530

    - Transmission annual planning review	530

    - Transmission Annual Planning Report	530

# Distribution annual planning process	534

    - Distribution annual planning review	534

    - Distribution Annual Planning Report	536

    - Distribution system limitation template	537

# A	Distribution zone substation information	538

# Joint planning	540

    - Joint planning obligations of Transmission Network Service Providers and Distribution Network Service Providers	540

    - Joint planning obligations of Distribution Network Service Providers and Distribution Network Service Providers	541

    - Joint planning obligations of Transmission Network Service Providers	542

# 5.14A		Joint planning in relation to retirement or de-ratings of network assets forming part of the Declared Shared Network	542

# 5.14B	TAPR Guidelines	542

  - B.1	Development of TAPR Guidelines	542

# Regulatory investment tests generally	543

    - Interested parties	543

    - Identification of a credible option	543

    - Review of costs thresholds	544

    - Costs determinations	546

# Regulatory investment test for transmission	546

    - Principles	546

    - Regulatory investment test for transmission application guidelines	549

    - Investments subject to the regulatory investment test for transmission	550

    - Regulatory investment test for transmission procedures	553

    - Disputes in relation to application of regulatory investment test for transmission	559

    - Determination that preferred option satisfies the regulatory investment test for transmission	561

# Regulatory investment test for distribution	562

    - Principles	562

    - Regulatory investment test for distribution application guidelines	564

    - Projects subject to the regulatory investment test for distribution	565

    - Regulatory investment test for distribution procedures	567

    - Disputes in relation to application of regulatory investment test for distribution	571

# Construction of funded augmentations	573

# 5.18A	Large generator connections	574

5.18A.1	Definitions	574

5.18A.2	Register of large generator connections	574

5.18A.3	Impact assessment of large generator connections	575

# 5.18B	Completed embedded generation projects	576

5.18B.1	Definitions	576

  - B.2	Register of completed embedded generation projects	576

# SENE Design and Costing Study	577

    - Definitions	577

    - Interpretation	578

    - Request for SENE Design and Costing Study	578

    - Content of SENE Design and Costing Study	579

    - Co-operation of other Network Service Providers	580

    - Publication of SENE Design and Costing Study report	580

    - Provision and use of information	581

# National transmission planning	581

    - Preliminary consultation	582

    - Publication of NTNDP	582

    - Development strategies for national transmission flow paths	585

    - NTNDP database	585

    - Jurisdictional planning bodies and jurisdictional planning

representatives	586

    - NTP Functions	586

    - Inertia and system strength requirements methodologies	587

# 5.20A	Frequency management planning	588

5.20A.1	Power system frequency risk review	588

5.20A.2	Power system frequency risk review process	589

5.20A.3	Power system frequency risk review report	589

5.20A.4	Request for protected event declaration	590

5.20A.5	Request to revoke a protected event declaration	590

# 5.20B	Inertia sub-networks and requirements	591

5.20B.1	Boundaries of inertia sub-networks	591

5.20B.2	Inertia requirements	591

5.20B.3	Inertia shortfalls	592

5.20B.4	Inertia Service Provider to make available inertia services	593

5.20B.5	Inertia support activities	595

5.20B.6	Inertia network services information and approvals	596

# 5.20C	System strength requirements	598

5.20C.1	System strength requirements	598

5.20C.2	Fault level shortfalls	599

5.20C.3		System Strength Service Provider to make available system strength services	599

  - C.4	System strength services information and approvals	601

# AEMO's obligation to publish information and guidelines and provide advice	603

# Last resort planning power	605

# Schedule 5.1a	System standards	608

S5.1a.1	Purpose	608

S5.1a.2	Frequency	608

S5.1a.3	System stability	608

S5.1a.4	Power frequency voltage	609

S5.1a.5	Voltage fluctuations	609

S5.1a.6	Voltage waveform distortion	610

S5.1a.7	Voltage unbalance	610

S5.1a.8	Fault clearance times	611

# Schedule 5.1		Network Performance Requirements to be Provided or Co-ordinated by Network Service Providers	612

S5.1.1	Introduction	612

S5.1.2	Network reliability	613

S5.1.2.1	Credible contingency events	613

S5.1.2.2	Network service within a region	614

S5.1.2.3	Network service between regions	615

S5.1.3	Frequency variations	615

S5.1.4	Magnitude of power frequency voltage	616

S5.1.5	Voltage fluctuations	617

S5.1.6	Voltage harmonic or voltage notching distortion	618

S5.1.7	Voltage unbalance	619

S5.1.8	Stability	619

S5.1.9	Protection systems and fault clearance times	621

S5.1.10	Load, generation and network control facilities	624

S5.1.10.1	General	624

S5.1.10.1a	Emergency frequency control schemes	624

S5.1.10.2	Distribution Network Service Providers	625

S5.1.10.3	Transmission Network Service Providers	626

S5.1.11	Automatic reclosure of transmission or distribution lines	626

S5.1.12	Rating of transmission lines and equipment	626

S5.1.13	Information to be provided	627

# Schedule 5.2	Conditions for Connection of Generators	627

S5.2.1	Outline of requirements	627

S5.2.2	Application of Settings	628

S5.2.3	Technical matters to be coordinated	629

S5.2.4	Provision of information	630

S5.2.5	Technical requirements	632

S5.2.5.1	Reactive power capability	632

S5.2.5.2	Quality of electricity generated	634

S5.2.5.3	Generating system response to frequency disturbances	634

S5.2.5.4	Generating system response to voltage disturbances	637

S5.2.5.5	Generating system response to disturbances following contingency

events	639

S5.2.5.6	Quality of electricity generated and continuous uninterrupted operation .647 S5.2.5.7	Partial load rejection	647

S5.2.5.8	Protection of generating systems from power system disturbances	648

S5.2.5.9	Protection systems that impact on power system security	650

S5.2.5.10	Protection to trip plant for unstable operation	651

S5.2.5.11	Frequency control	652

S5.2.5.12	Impact on network capability	655

S5.2.5.13	Voltage and reactive power control	656

S5.2.5.14	Active power control	663

S5.2.6	Monitoring and control requirements	665

S5.2.6.1	Remote Monitoring	665

S5.2.6.2	Communications equipment	667

S5.2.7	Power station auxiliary supplies	668

S5.2.8	Fault current	668

# Schedule 5.3	Conditions for Connection of Customers	670

S5.3.1a	Introduction to the schedule	670

S5.3.1	Information	671

S5.3.2	Design standards	673

S5.3.3	Protection systems and settings	673

S5.3.4	Settings of protection and control systems	674

S5.3.5	Power factor requirements	675

S5.3.6	Balancing of load currents	676

S5.3.7	Voltage fluctuations	676

S5.3.8	Harmonics and voltage notching	676

S5.3.9	Design requirements for Network Users' substations	677

S5.3.10	Load shedding facilities	677

# Schedule 5.3a	Conditions for connection of Market Network Services	678

S5.3a.1a	Introduction to the schedule	678

S5.3a.1	Provision of Information	679

S5.3a.2	Application of settings	681

S5.3a.3	Technical matters to be co-ordinated	681

S5.3a.4	Monitoring and control requirements	682

S5.3a.4.1	Remote Monitoring	682

S5.3a.4.2	[Deleted]	682

S5.3a.4.3	Communications equipment	682

S5.3a.5	Design standards	683

S5.3a.6	Protection systems and settings	684

S5.3a.7	[Deleted]	685

S5.3a.8	Reactive power capability	685

S5.3a.9	Balancing of load currents	685

S5.3a.10	Voltage fluctuations	686

S5.3a.11	Harmonics and voltage notching	686

S5.3a.12	Design requirements for Market Network Service Providers' substations 687 S5.3a.13	Market network service response to disturbances in the power system	687

S5.3a.14	Protection of market network services from power system disturbances 688

# Schedule 5.4	Information to be Provided with Preliminary Enquiry	688

# Schedule 5.4A	Preliminary Response	689

# Schedule 5.4B	Detailed Response to Enquiry	691

# Schedule 5.5	Technical Details to Support Application for Connection and Connection Agreement	694

S5.5.1	Introduction to the schedule	694

S5.5.2	Categories of data	694

S5.5.3	Review, change and supply of data	695

S5.5.4	Data Requirements	695

S5.5.5	Asynchronous generating unit data	696

S5.5.6	Generating units smaller than 30MW data	696

S5.5.7		Power System Design Data Sheet, Power System Setting Data Sheet and Power System Model Guidelines	696

Schedule 5.5.1	[Deleted]	699

Schedule 5.5.2	[Deleted]	699

Schedule 5.5.3	Network and plant technical data of equipment at or near connection

point	699

Schedule 5.5.4	Network Plant and Apparatus Setting Data	702

Schedule 5.5.5	Load Characteristics at Connection Point	704

# Schedule 5.6	Terms and Conditions of Connection agreements and network operating agreements	705

# Part A	Connection agreements	705

# Part B	Network Operating Agreements	706

# Schedule 5.7	Annual Forecast Information for Planning Purposes	707

# Schedule 5.8	Distribution Annual Planning Report	709

# Schedule 5.9	Demand side engagement document (clause 5.13.1(h))	715

# Schedule 5.10		Information requirements for Primary Transmission Network Service Providers (clause 5.2A.5)	716

# Schedule 5.11		Negotiating principles for negotiated transmission services (clause 5.2A.6)	720

# Schedule 5.12	Negotiating principles for large DCA services	721

5A.	Electricity connection for retail customers	723

# Part A	Preliminary	725

5A.A.1	Definitions	725

5A.A.2	Application of this Chapter	728

5A.A.3	Small Generation Aggregator deemed to be agent of a retail customer	728

# Part B	Standardised offers to provide basic and standard connection

# services	729

# Division 1	Basic connection services	729

5A.B.1		Obligation to have model standing offer to provide basic connection services	729

5A.B.2	Proposed model standing offer for basic connection services	729

5A.B.3	Approval of terms and conditions of model standing offer to provide basic connection services	730

# Division 2	Standard connection services	731

5A.B.4	Standard connection services	731

5A.B.5	Approval of model standing  offer  to  provide  standard  connection services	732

# Division 3	Miscellaneous	732

5A.B.6	Amendment etc of model standing offer	732

5A.B.7	Publication of model standing offers	733

# Part C	Negotiated connection	733

5A.C.1	Negotiation of connection	733

5A.C.2	Process of negotiation	734

5A.C.3	Negotiation framework	734

5A.C.4	Fee to cover cost of negotiation	736

# Part D	Application for connection service	736

# Division 1	Information	736

5A.D.1	Publication of information	736

5A.D.1A	Register of completed embedded generation projects	737

# Division 2	Preliminary enquiry	738

5A.D.2	Preliminary enquiry	738

# Division 3	Applications	739

5A.D.3	Application process	739

5A.D.4	Site inspection	740

# Part E	Connection charges	740

5A.E.1	Connection charge principles	740

5A.E.2	Itemised statement of connection charges	742

5A.E.3	Connection charge guidelines	742

5A.E.4	Payment of connection charges	744

# Part F	Formation and integration of connection contracts	745

# Division 1	Offer and acceptance – basic and standard connection services	745

5A.F.1	Distribution Network Service Provider's response to application	745

5A.F.2	Acceptance of connection offer	745

5A.F.3	Offer and acceptance—application for expedited connection	745

# Division 2	Offer and acceptance – negotiated connection	746

5A.F.4	Negotiated connection offer	746

# Division 3	Formation of contract	746

5A.F.5	Acceptance of connection offer	746

# Division 4	Contractual performance	747

5A.F.6	Carrying out connection work	747

5A.F.7	Retailer required for energisation where new connection	747

# Part G		Dispute resolution between Distribution Network Service Providers and customers	747

5A.G.1	Relevant disputes	747

5A.G.2	Determination of dispute	748

5A.G.3	Termination of proceedings	748

# SCHEDULE 5A.1 – Minimum content requirements for connection contract	749

# Part A	Connection offer not involving embedded generation	749

# Part B	Connection offer involving embedded generation	750

- Economic Regulation of Distribution Services	753

# Part A	Introduction	755

# Introduction to Chapter 6	755

    - AER's regulatory responsibility	755

    - A	[Deleted]	755

    - Structure of this Chapter	755

    - Access to direct control services and negotiated distribution services	756

    - Prohibition of DUOS charges for the export of energy	756

# Part B	Classification of Distribution Services and Distribution

# Determinations	757

# Classification	757

    - Classification of distribution services	757

    - Classification of direct control services as standard control services or alternative control services	757

    - Term for which classification operates	758

    - A	Distribution Service Classification Guidelines	758

    - Duty of AER to make distribution determinations	759

    - Control mechanisms for direct control services	759

    - Basis of control mechanisms for direct control services	760

    - Negotiated distribution services	761

    - Guidelines	761

# Part C	Building Block Determinations for standard control services	762

# Building block determinations	762

    - Introduction	762

    - Contents of building block determination	762

# Post-tax revenue model	763

    - Preparation, publication and amendment of post-tax revenue model	763

    - Contents of post-tax revenue model	763

    - Building block approach	763

    - Shared assets	765

    - Expenditure Forecast Assessment Guidelines	766

# 6.4A	Capital expenditure incentive mechanisms	766

# 6.4B	Asset exemptions	767

6.4B.1	Asset exemption decisions and Asset Exemption Guidelines	767

  - B.2	Exemption applications	768

# Matters relevant to the making of building block determinations	768

    - Regulatory asset base	768

    - Return on capital	769

    - Estimated cost of corporate income tax	769

    - [Deleted]	770

    - Depreciation	770

    - Forecast operating expenditure	771

    - Forecast capital expenditure	773

    - Efficiency benefit sharing scheme	777

    - A	Capital expenditure sharing scheme	778

    - The X factor	779

    - Pass through events	780

# Adjustments after making of building block determination.	780

    - Cost pass through	780

    - A	Reporting on jurisdictional schemes	787

    - Service target performance incentive scheme	788

    - Demand management incentive scheme	789

    - A	Demand management innovation allowance mechanism	790

    - Small-scale incentive scheme	791

    - Reopening of distribution determination for capital expenditure	792

# 6.6A	Contingent Projects	795

6.6A.1	Acceptance of a contingent project in a distribution determination	795

  - A.2	Amendment of distribution determination for contingent project	797

# Part D	Negotiated distribution services	802

# Negotiated distribution services	802

    - Principles relating to access to negotiated distribution services	802

    - Determination of terms and conditions of access for negotiated distribution services	804

    - Negotiating framework determination	804

    - Negotiated Distribution Service Criteria determination	805

    - Preparation of and requirements for negotiating framework for negotiated distribution services	805

    - Confidential information	807

# Part DA	Connection policies	807

# 6.7A	Connection policy requirements	807

  - A.1	Preparation of, and requirements for, connection policy	808

# Part E	Regulatory proposal and proposed tariff structure statement	808

# Regulatory proposal and proposed tariff structure statement	808

    - AER's framework and approach paper	808

    - A	Notification of approach to forecasting expenditure	811

    - Submission of regulatory proposal, tariff structure statement and exemption application	811

# Preliminary examination and consultation	813

    - Preliminary examination	813

    - Resubmission of proposal	814

    - A	Confidential information	814

    - Consultation	814

# Draft distribution determination and further consultation	815

    - Making of draft distribution determination	815

    - Publication of draft determination and consultation	816

    - Submission of revised proposal	816

    - Submissions on specified matters	817

# Distribution determination	817

    - Making of distribution determination	817

    - A	Out of scope revised regulatory proposal or late submissions	818

    - Notice of distribution determination	818

    - Commencement of distribution determination	819

# Requirements  relating  to  draft  and  final  distribution determinations	819

    - Constituent decisions	819

    - Reasons for decisions	823

    - Extent of AER's discretion in making distribution determinations	823

# Revocation and substitution of distribution determination for wrong information or error	825

# Miscellaneous	825

# A	Distribution Confidentiality Guidelines	826

# Part F	Cost Allocation	826

# Cost allocation	826

    - Duty to comply with Cost Allocation Method	826

    - Cost Allocation Principles	826

    - Cost Allocation Guidelines	827

    - Cost Allocation Method	828

# Part G	Distribution consultation procedures	829

# Distribution consultation procedures	829

# Part H		Ring-Fencing Arrangements for Distribution Network Service Providers	830

# Distribution Ring-Fencing Guidelines	830

    - Compliance with Distribution Ring-Fencing Guidelines	830

    - Development of Distribution Ring-Fencing Guidelines	831

# Part I	Distribution Pricing Rules	832

# Distribution Pricing Rules	832

    - Application of this Part	832

6.18.1A	Tariff structure statement	832

6.18.1B	Amending a tariff structure statement with the AER's approval	832

    - C	Sub-threshold tariffs	834

    - Pricing proposals	835

    - Tariff classes	836

    - Principles governing assignment or re-assignment of retail customers to tariff classes and assessment and review of basis of charging	837

    - Pricing principles	837

    - Side constraints on tariffs for standard control services	839

    - Recovery of designated pricing proposal charges	840

    - A	Recovery of jurisdictional scheme amounts	840

    - Approval of pricing proposal	844

    - Publication of information about tariffs and tariff classes	845

# Data Required for Distribution Service Pricing	845

    - Forecast use of networks by Distribution Customers and Embedded Generators	845

    - Confidentiality of distribution network pricing information	846

# Part J	Billing and Settlements	846

# Billing and Settlements Process	846

    - Billing for distribution services	846

    - Minimum information to be provided in distribution network service

bills	848

    - Settlement between Distribution Network Service Providers	848

    - Obligation to pay	848

# Part K	Prudential requirements, capital contributions and prepayments	848

# Distribution Network Service Provider Prudential Requirements	848

    - Prudential requirements for distribution network service	849

    - Capital contributions, prepayments and financial guarantees	849

    - Treatment of past prepayments and capital contributions	850

# Part L	Dispute resolution	850

# Dispute Resolution	850

    - Dispute Resolution by the AER	850

    - Determination of dispute	850

    - Termination of access dispute without access determination	852

# Part M	Separate disclosure of transmission and distribution charges	852

# Separate disclosure of transmission and distribution charges	852

# Part N	Dual Function Assets	853

# Dual Function Assets	853

    - Application of this Part	853

    - Dual Function Assets	853

# AER determination of applicable pricing regime for Dual Function Assets	854

# Division of Distribution Network Service Provider's revenue	854

# Part O	Annual Benchmarking Report	856

# Annual Benchmarking Report	856

# Part P	Distribution Reliability Measures Guidelines	856

# Distribution Reliability Measures Guidelines	856

# Schedule 6.1	Contents of building block proposals	856

S6.1.1	Information and matters relating to capital expenditure	856

S6.1.2	Information and matters relating to operating expenditure	857

S6.1.3	Additional information and matters	858

# Schedule 6.2	Regulatory Asset Base	861

S6.2.1		Establishment of opening regulatory asset base for a regulatory control period	861

S6.2.2	Prudency and efficiency of capital expenditure	865

S6.2.2A	Reduction for inefficient past capital expenditure	865

S6.2.2B	Depreciation	867

S6.2.3		Roll forward of regulatory asset base within the same regulatory control period	868

6A.	Economic Regulation of Transmission Services	871

# Part A	Introduction	873

# 6A.1	Introduction to Chapter 6A	873

6A.1.1	Economic regulation of transmission services generally	873

6A.1.2	[Deleted]	874

6A.1.3	[Deleted]	874

6A.1.4	National regulatory arrangements	874

6A.1.5	Application of Chapter 6A to Market Network Service Providers	874

6A.1.6	Application of Chapter 6A to AEMO and declared transmission system operators	874

# Part B	Transmission Determinations Generally	875

# 6A.2	Transmission determinations	875

6A.2.1	Duty of AER to make transmission determinations	875

6A.2.2	Components of transmission determinations	875

6A.2.3	Guidelines	875

# Part C	Regulation of Revenue - Prescribed Transmission Services	876

# 6A.3	Allowed revenue from prescribed transmission services	876

6A.3.1	Allowed revenue for regulatory year	876

6A.3.2	Adjustment of maximum allowed revenue	876

# 6A.4	Revenue determinations	876

6A.4.1	Introduction	876

6A.4.2	Contents of revenue determination	877

# 6A.5	Post-tax revenue model	878

6A.5.1	Introduction	878

6A.5.2	Preparation, publication and amendment of post-tax revenue model	878

6A.5.3	Contents of post-tax revenue model	878

6A.5.4	Building blocks approach	879

6A.5.5	Shared assets	880

6A.5.6	Expenditure Forecast Assessment Guidelines	881

# 6A.5A	Capital expenditure incentive mechanisms	882

# 6A.6	Matters relevant to the making of revenue determinations	882

6A.6.1	Regulatory asset base	882

6A.6.2	Return on capital	883

6A.6.3	Depreciation	884

6A.6.4	Estimated cost of corporate income tax	885

6A.6.5	Efficiency benefit sharing scheme	885

6A.6.5A	Capital expenditure sharing scheme	886

6A.6.6	Forecast operating expenditure	887

6A.6.7	Forecast capital expenditure	890

6A.6.8	The X factor	894

6A.6.9	Pass through events	894

# 6A.7		Matters relevant to the adjustment of revenue cap after making of revenue determination	895

6A.7.1	Reopening of revenue determination for capital expenditure	895

6A.7.2	Network support pass through	897

6A.7.3	Cost pass through	899

6A.7.4	Service target performance incentive scheme	905

6A.7.5	Small-scale incentive scheme	906

# 6A.8	Contingent Projects	907

6A.8.1	Acceptance of a Contingent Project in a revenue determination	907

6A.8.2	Amendment of revenue determination for contingent project	908

# Part D	[Deleted]	913

# Part E	Procedure - Revenue determinations and pricing methodologies	913

# 6A.10	Revenue Proposal and proposed pricing methodology	913

6A.10.1A	AER's framework and approach paper	913

6A.10.1B	Notification of approach to forecasting expenditure	915

6A.10.1	Submission of proposal, pricing methodology and information	915

6A.10.2	[Deleted]	917

# 6A.11	Preliminary examination and consultation	917

6A.11.1		Preliminary examination and determination of non-compliance with relevant requirements	917

6A.11.2		Resubmission of proposal, framework, pricing  methodology  or information	917

6A.11.2A	Confidential information	918

6A.11.3	Consultation	918

# 6A.12	Draft decision and further consultation	919

6A.12.1	Making of draft decision	919

6A.12.2	Publication of draft decision and consultation	920

6A.12.3	Submission of revised proposal or pricing methodology	920

6A.12.4	Submissions on specified matters	921

# 6A.13	Final decision	921

6A.13.1	Making of final decision	921

6A.13.2	Refusal to approve amounts, values, framework or pricing methodology 922 6A.13.2A	Out of scope revised documents or late submissions	923

6A.13.3	Notice of final decision	923

6A.13.4	Making of transmission determination	924

# 6A.14	Requirements relating to draft and final decisions	924

6A.14.1	Contents of decisions	924

6A.14.2	Reasons for decisions	926

6A.14.3	Circumstances in which matters must be approved or accepted	926

# 6A.15		Revocation of revenue determination or amendment of pricing methodology for wrong information or error	929

# 6A.16	Miscellaneous	929

# 6A.16A	Transmission Confidentiality Guidelines	930

# Part F	Information Disclosure	930

# 6A.17	Information disclosure by Transmission Network Service Providers.930

6A.17.1	Information to be provided to AER	930

6A.17.2	Information Guidelines	931

# 6A.18	[Deleted]	933

# Part G	Cost Allocation	933

# 6A.19	Cost allocation	933

6A.19.1	Duty to comply with Cost Allocation Methodology	933

6A.19.2	Cost Allocation Principles	933

6A.19.3	Cost Allocation Guidelines	934

6A.19.4	Cost Allocation Methodology	934

# Part H	Transmission Consultation Procedures	936

# 6A.20	Transmission consultation procedures	936

# Part I		Ring-Fencing Arrangements for Transmission Network Service Providers	937

# 6A.21	Transmission Ring-Fencing Guidelines	937

6A.21.1	Compliance with Transmission Ring-Fencing Guidelines	937

6A.21.2	Development of Transmission Ring-Fencing Guidelines	937

# Part J	Prescribed Transmission Services - Regulation of Pricing	939

# 6A.22	Terms used in Part J	939

6A.22.1	Aggregate annual revenue requirement (AARR)	939

6A.22.2	Annual service revenue requirement (ASRR)	939

6A.22.3	Meaning of attributable cost share	939

6A.22.4	Meaning of attributable connection point cost share	939

# 6A.23	Pricing Principles for Prescribed Transmission Services	940

6A.23.1	Introduction	940

6A.23.2	Principles for the allocation of the aggregate annual revenue

requirement	940

6A.23.3		Principles for the allocation of the annual service revenue requirement to connection points	941

6A.23.4		Principles for the recovery of the Annual Service Revenue Requirement as prices	943

# 6A.24	Pricing methodology	945

6A.24.1	Pricing methodologies generally	945

6A.24.2	Publication of pricing methodology and transmission network prices	946

6A.24.3	Basis for setting prices pending approval of pricing methodology	947

6A.24.4	Basis for setting prices pending approval of maximum allowed revenue .947

# 6A.25	Pricing methodology guidelines for prescribed transmission services948

6A.25.1	Making and amending of pricing methodology guidelines	948

6A.25.2	Contents of pricing methodology guidelines	948

# 6A.26	Prudent discounts	950

6A.26.1	Agreements for prudent discounts for prescribed transmission services	950

6A.26.2	Application to AER for approval of proposed prudent discount amounts.951

# 6A.27	Billing Process	952

6A.27.1	Billing for prescribed transmission services	952

6A.27.1A	Billing of modified load export charges	953

6A.27.2	Minimum information to be provided in network service bills	953

6A.27.3	Obligation to pay charges for prescribed transmission services	953

6A.27.4		Payments between Transmission Network Service Providers in the same region	953

6A.27.5		Calculation of financial transfers between Transmission Network Service Providers in the same region	954

# 6A.28	Prudential Requirements	954

6A.28.1	Prudential Requirements for prescribed transmission services	954

6A.28.2	Capital contribution or prepayment for a specific asset	954

6A.28.3	Treatment of past capital contributions	954

# 6A.29	Multiple Transmission Network Service Providers	955

6A.29.1	Multiple Transmission Network Service Providers within a region	955

6A.29.2	Single Transmission Network Service Provider within a region	956

6A.29.3	Allocation over several regions	956

# 6A.29A	Modified load export charges	956

6A.29A.1	Single Transmission Network Service Provider in a Region	956

6A.29A.2	Calculation of the modified load export charges	956

6A.29A.3	Calculation of adjustments to the modified load export charge	957

6A.29A.4	Billing the modified load export charge	957

6A.29A.5	Allocation and billing process where multiple Transmission Network Service Providers in a Region	958

# Part K		Commercial arbitration for disputes about terms and conditions of access for prescribed and negotiated transmission services	958

# [Deleted]	958

# Part L	Annual Benchmarking Report	958

# 6A.31	Annual Benchmarking Report	958

# Schedule 6A.1	Contents of Revenue Proposals	959

S6A.1.1	Information and matters relating to capital expenditure	959

S6A.1.2	Information and matters relating to operating expenditure	960

S6A.1.3	Additional information and matters	961

# Schedule 6A.2	Regulatory Asset Base	963

S6A.2.1		Establishment of opening regulatory asset base for a regulatory control period	963

S6A.2.2	Prudency and efficiency of capital expenditure	967

S6A.2.2A	Reduction for inefficient past capital expenditure	968

S6A.2.2B	Depreciation	970

S6A.2.3	Removal of assets from regulatory asset base	971

S6A.2.4		Roll forward of regulatory asset base within the same regulatory control period	972

# Schedule 6A.3	CRNP methodology and modified CRNP methodology	973

S6A.3.1	Meaning of optimised replacement cost	973

S6A.3.2	CRNP methodology	973

S6A.3.3	Modified CRNP methodology	974

# Schedule 6A.4	Application of this Chapter to AEMO and declared transmission system operators	974

S6A.4.1	Application of this Chapter to AEMO etc	974

S6A.4.2	Exclusions, qualifications and modifications	975

6B.	Retail markets	983

# Part A	Retail support	985

# Division 1	Application and definitions	985

6B.A1.1	Application of this Part	985

6B.A1.2	Definitions	985

# Division 2	Billing and payment rules	985

6B.A2.1	Obligation to pay	985

6B.A2.2	Direct customer billing and energy-only contracts	986

6B.A2.3	Calculating network charges	986

6B.A2.4	Statement of charges	986

6B.A2.5	Time and manner of payment	987

# Division 3	Matters incidental to billing and payment	987

6B.A3.1	Adjustment of network charges	987

6B.A3.2	Tariff reassignment	987

6B.A3.3	Disputed statements of charges	988

6B.A3.4	Interest	989

6B.A3.5	Notification of changes to charges	989

# Part B	Credit support required for late payment	990

# Division 1	Application and definitions	990

6B.B1.1	Application of Part B	990

6B.B1.2	Definitions	990

# Division 2	Requirements for credit support	990

6B.B2.1		Distribution Network Service Provider may require credit support in limited circumstances	990

# Division 3	Provision of credit support by retailers	991

6B.B3.1	Retailer to provide credit support	991

6B.B3.2	Acceptable form of credit support	991

# Division 4	Other Rules relating to credit support	992

6B.B4.1	Application of credit support	992

6B.B4.2	Return of credit support	992

6B.B4.3	Other retailer obligations	992

# Schedule 6B.1	Prescribed form of unconditional undertaking for credit support	993

- Metering	995

# Part A	Introduction	997

# Introduction to the Metering Chapter	997

    - Contents	997

# Part B	Roles and Responsibilities	997

# Role and Responsibility of financially responsible Market

# Participant	997

    - Obligations of financially responsible Market Participants to establish metering installations	997

    - [Not used]	998

    - Agreements with Local Network Service Provider	998

    - [Not used]	998

    - Agreements with Metering Provider	998

# Role and Responsibility of Metering Coordinator	998

    - Responsibility of the Metering Coordinator	998

    - Role of the Metering Coordinator	999

# Qualification and Registration of Metering Providers, Metering Data Providers and Embedded Network Managers	1003

    - Qualifications and registration of Metering Providers	1003

    - Qualifications and registration of Metering Data Providers	1003

7.4.2A	Qualifications and registration of Embedded Network Managers	1004

    - B	List of Embedded Network Managers	1004

    - Nature  of  appointment  of  Metering  Provider  or  Metering  Data Provider	1004

    - Deregistration of Metering Providers, Metering Data Providers and Embedded Network Managers	1005

# Role and Responsibility of AEMO	1006

# Responsibility of AEMO for the collection, processing and delivery of metering data	1006

# AEMO's costs in connection with metering installation	1007

# 7.5A	Role and Responsibility of Embedded Network Managers	1007

7.5A.1		Responsibility of Embedded  Network  Managers  for  management services	1007

  - A.2	EN information	1008

# Part C	Appointment of Metering Coordinator	1008

# Appointment of Metering Coordinator	1008

    - Commercial nature of the Metering Coordinator appointment and service provision	1008

    - Persons who may appoint Metering Coordinators	1009

    - Appointment with respect to transmission network connection	1009

    - Type 7 metering installations	1010

# Metering Coordinator default arrangements	1011

    - Obligations of financially responsible Market Participants on Metering Coordinator default event and end of contract term	1011

    - Notices to be provided by Metering Coordinator	1012

    - AEMO may issue breach notice	1012

# Part D	Metering installation	1013

# Metering installation arrangements	1013

    - Metering installation requirements	1013

    - Metering installation components	1014

    - Small customer metering installations	1018

    - Type 4A metering installation	1018

    - Emergency management	1020

    - Network devices	1021

    - Metering point	1024

    - Metering installation types and accuracy	1024

    - Meter churn	1025

    - Metering installation malfunctions	1026

7.8.10A	Timeframes for meters to be installed – new connection	1027

7.8.10B	Timeframes for meters to be installed – where a connection service is not required	1028

    - C	Timeframes for meters to be installed – where a connection alteration is required	1028

    - Changes to metering equipment, parameters and settings within a metering installation	1030

    - Special site or technology related conditions	1030

    - Joint metering installations	1031

# Inspection, Testing and Audit of Metering installations	1032

    - Responsibility for testing	1032

    - Actions in event of non-compliance	1034

    - Audits of information held in metering installations	1034

    - Errors found in metering tests, inspections or audits	1035

    - Retention of test records and documents	1036

    - Metering installation registration process	1037

# Part E	Metering Data	1037

# Metering Data Services	1037

    - Metering Data Services	1037

    - Data management and storage	1038

    - Provision of metering data to certain persons	1039

    - Use of check metering data	1040

    - Periodic energy metering	1040

    - Time settings	1041

    - Metering data performance standards	1041

# Metering data and database	1043

    - Metering database	1043

    - Data validation, substitution and estimation	1044

    - Changes to energy data or to metering data	1044

# Register of Metering Information	1045

    - Metering register	1045

    - Metering register discrepancy	1045

# Disclosure of NMI information	1045

    - Application of this Rule	1045

    - NMI and NMI checksum	1045

    - NMI Standing Data	1046

# Metering data provision to retail customers	1046

# Part F	Security of metering installation and energy data	1047

# Security of metering installation and energy data	1047

    - Confidentiality	1047

    - Security of metering installations	1047

    - Security controls for energy data	1048

    - Additional security controls for small customer metering installations	1049

    - Access to data	1050

# Part G	Procedures	1052

# Procedures	1052

    - Obligation to establish, maintain and publish procedures	1052

    - Market Settlement and Transfer Solution Procedures	1053

    - Requirements of the metrology procedure	1053

    - Jurisdictional metrology material in metrology procedure	1054

    - Additional metrology procedure matters	1056

    - Requirements of the service level procedures	1057

7.16.6A	Requirements of the ENM service level procedures	1058

    - B	Guide to embedded networks	1059

    - Amendment of procedures in the Metering Chapter	1059

    - National Measurement Act	1060

# Part H	B2B Requirements	1061

# B2B Arrangements	1061

7.17.1	B2B e-Hub	1061

    - B2B e-Hub Participants	1061

    - Content of the B2B Procedures	1062

    - Changing B2B Procedures	1063

    - B2B Decision	1065

    - Establishment of Information Exchange Committee	1066

    - Functions and powers of Information Exchange Committee	1067

    - Obligations of Members	1068

    - Meetings of Information Exchange Committee	1069

    - Nomination, election and appointment of Members	1069

    - Qualifications of Members	1070

    - Information Exchange Committee Election Procedures and Information Exchange Committee Operating Manual	1071

    - Cost Recovery	1072

# Schedule 7.1	Metering register	1072

S7.1.1	General	1072

S7.1.2	Metering register information	1073

# Schedule 7.2	Metering Provider	1074

S7.2.1	General	1074

S7.2.2	Categories of registration	1074

S7.2.3		Capabilities of Metering Providers for metering installations types 1, 2, 3, 4 and 4A	1076

S7.2.4	Capabilities of Metering Providers for metering installations types 5 and

6 ...............................................................................................................1078

S7.2.5		Capabilities of Metering Providers for small customer metering installations	1078

S7.2.6	Capabilities of the Accredited Service Provider category	1079

# Schedule 7.3	Metering Data Provider	1079

S7.3.1	General	1079

S7.3.2	Categories of registration	1079

S7.3.3	Capabilities of Metering Data Providers	1080

S7.3.4		Capabilities of Metering Data Providers for small customer metering installations	1082

# Schedule 7.4	Types and Accuracy of Metering installations	1082

S7.4.1	General requirements	1082

S7.4.2	Metering installations commissioned prior to 13 December 1998	1082

S7.4.3	Accuracy requirements for metering installations	1083

S7.4.4	Check metering	1088

S7.4.5	Resolution and accuracy of displayed or captured data	1089

S7.4.6	General design standards	1089

S7.4.6.1	Design requirements	1089

S7.4.6.2	Design guidelines	1090

# Schedule 7.5	Requirements of minimum services specification	1090

S7.5.1	Minimum services specification	1090

# Schedule 7.6	Inspection and Testing Requirements	1094

S7.6.1	General	1094

S7.6.2	Technical Guidelines	1096

# Schedule 7.7	Embedded Network Managers	1096

S7.7.1	General	1096

S7.7.2	Capabilities of Embedded Network Managers	1097

- Administrative Functions	1099

# Part A	Introductory	1101

# Administrative functions	1101

    - [Deleted]	1101

    - [Deleted]	1101

    - Structure of this Chapter	1101

# Part B	Disputes	1101

# Dispute Resolution	1101

    - Application and guiding principles	1101

    - The Dispute Resolution Adviser	1104

    - Dispute management systems of Registered Participants and AEMO	1105

    - Stage 1 - dispute resolution through Registered Participants' DMS	1106

    - Stage 2 - dispute resolution process	1108

    - A	Establishment of Dispute Resolution Panel	1109

8.2.6B	Parties to DRP Proceedings	1110

8.2.6C	Proceedings of the DRP	1111

8.2.6D	Decisions of the DRP	1111

    - [Deleted]	1112

    - Legal representation	1112

    - Cost of dispute resolution	1112

    - Effect of resolution	1113

    - Recording and publication	1113

    - Appeals on questions of law	1114

    - [Deleted]	1114

# 8.2A	B2B Determination Disputes	1114

8.2A.1	Application of rule 8.2	1114

  - A.2	How rule 8.2 applies	1114

# Power to make Electricity Procedures	1116

# [Deleted]	1117

# [Deleted]	1117

# Part C	Registered Participants' confidentiality obligations	1117

# Confidentiality	1117

    - Confidentiality	1117

    - A	Application	1118

    - Exceptions	1118

    - Conditions	1119

    - [Deleted]	1120

    - Indemnity to AER, AEMC and AEMO	1120

    - AEMO information	1120

    - Information on Rules Bodies	1120

# Part D	Monitoring and reporting	1120

# Monitoring and Reporting	1120

    - Monitoring	1120

    - Reporting requirements and monitoring standards for Registered Participants and AEMO	1121

    - Consultation required for making general regulatory information order (Section 28H of the NEL)	1123

    - Preparation of network service provider performance report (Section 28V of the NEL)	1124

    - [Deleted]	1124

    - Recovery of reporting costs	1124

# Part E	Reliability panel	1125

# Reliability Panel	1125

    - Purpose of Reliability Panel	1125

    - Constitution of the Reliability Panel	1127

    - Reliability Panel review process	1129

    - Determination of protected events	1131

# Part F	Rules consultation procedures	1133

# Rules Consultation Procedures	1133

# Part G	Consumer advocacy funding	1135

# Consumer advocacy funding obligation	1135

# Part H	Augmentations	1136

# Augmentations	1136

    - Application	1136

    - Object	1136

    - Definitions	1136

    - Planning criteria	1137

    - Construction of augmentation that is not a contestable augmentation	1137

    - Contestable augmentations	1138

    - Construction and operation of contestable augmentation	1138

    - Funded augmentations that are not subject to the tender process	1140

    - Contractual requirements and principles	1141

    - Annual planning review	1141

# Schedule 8.11		Principles to be reflected in agreements relating to contestable augmentations	1141

S8.11.1	Risk allocation	1141

S8.11.2		Minimum requirements for agreements relating to contestable  augmentation	1143

S8.11.3	Matters to be dealt with in relevant agreements	1143

# Part I	Values of customer reliability	1143

# Development of methodology and publication of values of customer reliability	1143

8A.	Participant Derogations	1147

# Part 1	Derogations Granted to TransGrid	1149

# 8A.1	[Deleted]	1149

# Part 2	Derogations Granted to Energy Australia	1149

# 8A.2	[Deleted]	1149

# 8A.2A	[Deleted]	1149

# Part 3	[Deleted]	1149

# Part 4	[Deleted]	1149

# Part 5	[Deleted]	1149

# Part 6	Derogations Granted to Victorian Market Participants	1149

# Part 7	[Deleted]	1150

# Part 8	[Deleted]	1150

# Part 9	[Deleted]	1150

# Part 10	[Deleted]	1150

# Part 11	[Deleted]	1150

# Part 12	[Deleted]	1150

# Part 13	Derogation granted to Aurora Energy (Tamar Valley) Pty Ltd	1150

# 8A.13	[Deleted]	1150

# Part 14		Derogations granted to Ausgrid, Endeavour Energy and Essential Energy	1150

# 8A.14		Derogations from Chapter 6 for the current regulatory control period and subsequent regulatory control period	1150

8A.14.1	Definitions	1150

8A.14.2	Expiry date	1154

8A.14.3	Application of Rule 8A.14	1154

8A.14.4		Recovery of revenue across the current regulatory control period and subsequent regulatory control period	1155

8A.14.5		Recovery of revenue in subsequent regulatory control period only and no reopening of subsequent distribution determination required	1156

8A.14.6		Recovery of revenue in subsequent regulatory control period only and reopening of distribution determination is required	1157

8A.14.7	Requirements for adjustment determination	1159

8A.14.8	Application of Chapter 6 under participant derogation	1159

# Part 15	Derogations granted to ActewAGL	1161

# 8A.15		Derogations from Chapter 6 for the current regulatory control period and subsequent regulatory control period	1161

8A.15.1	Definitions	1161

8A.15.2	Expiry date	1164

8A.15.3	Application of Rule 8A.15	1164

8A.15.4		Recovery of revenue across the current regulatory control period and subsequent regulatory control period	1165

8A.15.5		Recovery of revenue in subsequent regulatory control period only and no reopening of subsequent distribution determination required	1167

8A.15.6		Recovery of revenue in subsequent regulatory control period only and reopening of distribution determination is required	1168

8A.15.7	Requirements for adjustment determination	1170

8A.15.8	Application of Chapter 6 under participant derogation	1170

- Jurisdictional  Derogations  and   Transitional Arrangements	1173

# Purpose and Application	1175

    - Purpose	1175

    - Jurisdictional Derogations	1175

# Part A	Jurisdictional Derogations for Victoria	1175

# [Deleted]	1175

# Definitions	1175

    - General Definitions	1175

    - [Deleted]	1177

# A	Fault levels	1177

# Transitional Arrangements for Chapter 2 - Registered Participants, Registration and Cross Border Networks	1177

    - [Deleted]	1177

    - Smelter Trader	1177

    - Smelter Trader: compliance	1178

    - Report from AER	1181

    - Cross Border Networks	1181

# [Deleted]	1182

# Transitional Arrangements for Chapter 4 - System Security	1182

    - Operating Procedures (clause 4.10.1)	1182

    - Nomenclature Standards (clause 4.12)	1182

# Transitional Arrangements for Chapter 5 - Network Connection	1182

    - [Deleted]	1182

    - [Deleted]	1182

    - [Deleted]	1182

    - Regulation of Distribution Network Connection	1182

    - [Deleted]	1183

    - [Deleted]	1183

    - [Deleted]	1183

# Transitional Arrangements for Chapter 6 - Network Pricing	1183

    - [Deleted]	1183

    - [Deleted]	1183

    - [Deleted]	1183

    - Transmission Network Pricing	1183

9.8.4A	[Deleted]	1185

9.8.4B	[Deleted]	1185

9.8.4C	[Deleted]	1185

9.8.4D	[Deleted]	1185

9.8.4E	[Deleted]	1185

9.8.4F	[Deleted]	1185

    - G	[Deleted]	1185

    - [Deleted]	1185

    - [Deleted]	1185

    - Distribution network pricing – transitional application of former Chapter    6	1185

    - Exclusion of AER's power to aggregate distribution systems and parts of distribution systems	1186

# Transitional Arrangements for Chapter 7 - Metering	1186

    - Metering Installations To Which This Schedule Applies	1186

    - [Deleted]	1187

    - [Deleted]	1187

    - [Deleted]	1187

    - [Deleted]	1187

    - [Deleted]	1187

    - [Deleted]	1187

    - [Deleted]	1187

    - Periodic Energy Metering (clause 7.9.3)	1187

    - Use of Alternate Technologies (clause 7.13)	1187

# 9.9A	[Deleted]	1188

# 9.9B	[Deleted]	1188

# C	[Deleted]	1188

# Schedule 9A1.1  [Deleted]	1188

# Schedule 9A1.2  [Deleted]	1188

# Schedule 9A1.3  [Deleted]	1188

# Schedule 9A2	[Deleted]	1188

# Schedule 9A3	Jurisdictional Derogations Granted to Generators	1188

- Interpretation of tables	1188

- Continuing effect	1188

- Subsequent agreement	1189

- [Deleted]	1189

- Reactive Power Capability (clause S5.2.5.1 of schedule 5.2)	1189

- [Deleted]	1190

- [Deleted]	1190

- [Deleted]	1190

- [Deleted]	1190

- [Deleted]	1190

- [Deleted	1190

- [Deleted]	1190

- Governor Systems (load control) (clause S5.2.5.11 of schedule 5.2)	1190

- [Deleted]	1190

- [Deleted]	1190

- Excitation Control System (clause S5.2.5.13 of schedule 5.2)	1190

# Part B	Jurisdictional Derogations for New South Wales	1191

# [Deleted]	1191

# Definitions	1191

    - Definitions used in this Part B	1191

# Transitional Arrangements for Chapter 2 - Generators, Registered Participants, Registration and Cross Border Networks	1192

    - [Deleted]	1192

    - Customers	1192

    - Power Traders	1192

    - Cross Border Networks	1195

# [Deleted]	1196

# Transitional Arrangements for Chapter 4 - System Security	1196

    - Power System Operating Procedures	1196

# NSW contestable services for Chapter 5A	1196

    - Definitions	1196

    - Chapter 5A not to apply to certain contestable services	1196

# Transitional Arrangements for Chapter 6 - Network Pricing	1196

    - NSW contestable services	1196

    - [Deleted]	1196

    - Jurisdictional Regulator	1196

    - Deemed Regulated Interconnector	1197

    - [Deleted]	1197

# Transitional Arrangements for Chapter 7 - Metering	1197

    - Extent of Derogations	1197

    - Initial Registration (clause 7.1.2)	1197

    - Amendments to Schedule 9G1	1197

    - Compliance with AS/NZ ISO 9002 (clause S7.4.3(f) of schedule 7.4)	1198

# A	[Deleted]	1198

# [Deleted]	1198

# Part C	Jurisdictional Derogations for the Australian Capital Territory	1198

# [Deleted]	1198

# Definitions and Transitional Arrangements for Cross-Border

# Networks	1198

    - Definitions	1198

    - Cross Border Networks	1198

# [Deleted]	1199

# [Deleted]	1199

# Transitional Arrangements for Chapter 6 - Network Pricing	1199

    - [Deleted]	1199

    - [Deleted]	1199

    - [Deleted	1199

    - [Deleted]	1199

# Transitional Arrangements	1199

    - Chapter 7 - Metering	1199

    - [Deleted]	1199

# A	[Deleted]	1199

# Part D	Jurisdictional Derogations for South Australia	1199

# Definitions	1199

    - [Deleted]	1199

    - Definitions	1199

# Transitional Arrangements for Chapter 2 - Registered Participants, Registration And Cross Border Networks	1202

    - Registration as a Generator	1202

    - Registration as a Customer	1203

    - Cross Border Networks	1203

    - [Deleted]	1203

    - Registration as a Network Service Provider	1203

# [Deleted]	1204

# Transitional Arrangements for Chapter 5 - Network Connection	1204

    - Application of clause 5.2	1204

    - [Deleted]	1205

# Transitional Arrangements for Chapter 6 - Economic Regulation of Distribution Services	1205

    - [Deleted]	1205

    - [Deleted]	1205

    - [Deleted]	1205

    - [Deleted]	1205

    - Distribution Network Pricing – South Australia	1205

    - Capital contributions, prepayments and financial guarantees	1206

    - Ring fencing	1206

# A	Monitoring and reporting	1206

# Transitional Provisions	1207

    - Chapter 7 - Metering	1207

# Part E	Jurisdictional Derogations for Queensland	1207

# [Deleted]	1207

# Definitions and Interpretation	1207

    - Definitions	1207

    - Interpretation	1209

# Transitional Arrangements for Chapter 1	1210

    - [Deleted]	1210

# Transitional Arrangements for Chapter 2 - Registered Participants and Registration	1210

    - Application of the Rules in Queensland (clauses 2.2 and 2.5)	1210

    - Stanwell Cross Border Leases (clause 2.2)	1210

    - [Deleted]	1210

    - Registration as a Customer (clause 2.3.1)	1210

    - There is no clause 9.34.5	1211

    - Exempted generation agreements (clause 2.2)	1211

# [Deleted]	1215

# [Deleted]	1215

# Transitional Arrangements for Chapter 5 - Network Connection	1215

    - [Deleted]	1215

    - Existing connection and access agreements (clause 5.2)	1215

    - [Deleted]	1216

    - [Deleted]	1216

    - Forecasts for connection points to transmission network (clause

5.11.1) ......................................................................................................1216

    - There is no clause 9.37.6	1216

    - Cross Border Networks	1216

    - [Deleted]	1216

    - Credible contingency events (clause S5.1.2.1 of schedule 5.1)	1216

    - Reactive power capability (clause S5.2.5.1 of schedule 5.2)	1217

    - [Deleted]	1217

    - Voltage fluctuations (clause S5.1.5 of schedule 5.1)	1217

    - [Deleted]	1219

    - [Deleted]	1219

    - [Deleted]	1219

    - [Deleted]	1219

    - [Deleted]	1219

    - [Deleted]	1219

    - Generating unit response to disturbances (clause S5.2.5.3 of schedule

5.2) ...........................................................................................................1219

    - [Deleted]	1220

    - Excitation control system (clause S.5.2.5.13 of schedule 5.2)	1220

    - [Deleted]	1220

    - Annual forecast information for planning purposes (schedule 5.7)	1220

# Transitional Arrangements for Chapter 6 - Network Pricing	1221

    - [Deleted]	1221

    - [Deleted]	1221

    - [Deleted]	1221

    - Interconnectors between regions	1221

    - Transmission pricing for exempted generation agreements	1221

# Transitional Arrangements for Chapter 7 - Metering	1222

    - Metering installations to which this clause applies	1222

    - [Deleted]	1222

    - [Deleted]	1222

    - [Deleted]	1222

    - [Deleted]	1222

# Transitional Arrangements for Chapter 8 - Administration

# Functions	1222

    - [Deleted]	1222

    - [Deleted]	1222

    - [Deleted]	1222

# [Deleted]	1222

# Schedule 9E1	Exempted Generation Agreements	1222

# Part F	Jurisdictional Derogations for Tasmania	1223

# Definitions and interpretation	1223

    - Definitions	1223

    - Interpretation	1224

    - National grid, power system and related expressions	1224

# [Deleted]	1225

# Transitional arrangements for Chapter 2 – Registered Participants and Registration - Customers (clause 2.3.1(e))	1225

# Tasmanian Region (clause 3.5)	1225

# Transitional arrangements for Chapter 5- Network Connection	1225

    - Existing Connection Agreements	1225

# Transitional arrangements - Transmission and Distribution

# Pricing	1225

9.48.4A	Ring fencing	1225

    - B	Uniformity of tariffs for small customers	1226

    - Transmission network	1226

    - Deemed regulated interconnector	1226

# Part G	Schedules to Chapter 9	1226

# Schedule 9G1	Metering Transitional Arrangements	1226

- Introduction	1226

- [Deleted]	1226

- General Principle	1226

- [Deleted]	1227

- Accuracy Requirements	1227

- [Deleted]	1227

- [Deleted]	1227

- [Deleted]	1227

- [Deleted]	1227

- [Deleted]	1227

- Glossary	1229

- Savings and Transitional Rules	1359

# Part A	Definitions	1361

# Part B	System Restart Ancillary Services (2006 amendments)	1361

# Rules consequent on making of the National Electricity Amendment (System Restart Ancillary Services and pricing under market suspension) Rule 2006	1361

    - Transitional provision for acquisition of non-market ancillary services .1361

# [Deleted]	1362

# Part C	Dispute Resolution for Regulatory Test (2006 amendments)	1362

# Rules consequent on making of the National Electricity Amendment (Dispute Resolution for Regulatory Test) Rule 2006	1362

    - Continuation of things done under old clause 5.6.6	1362

# Part D	Metrology (2006 amendments)	1363

# Rules consequential on the making of the National Electricity Amendment (Metrology) Rule 2006	1363

    - Definitions	1363

    - Metrology procedures continues to apply until 31 December 2006	1363

    - Responsible person	1363

    - NEMMCO's responsibility to develop a metrology procedure	1363

    - Jurisdictional metrology material in the metrology procedure	1364

# Part E	Economic Regulation of Transmission Services (2006

# amendments)	1364

# Rules consequent on making of the National Electricity Amendment (Economic Regulation of Transmission Services) Rule 2006	1364

    - Definitions	1364

    - New Chapter 6A does not affect existing revenue determinations	1366

    - Old Part C and Schedules 6.2, 6.3, 6.4, 6.7 and 6.8 of old Chapter 6	1366

    - Old Part F of Chapter 6	1366

    - Application of new Chapter 6A to Transmission Network Service

Providers	1366

    - Application of Chapter 6 to old distribution matters	1366

    - References to the old Chapter 6	1367

    - References to provisions of the old Chapter 6	1367

    - Roll forward of regulatory asset base for first regulatory control period 1367

    - Other adjustment carry-over mechanisms from current to first regulatory control period	1367

    - Clause consequent upon making National Electricity Amendment (Cost Allocation Arrangements for Transmission Services) Rule No 2009 No 3 - Transition to new Chapter 6A: existing prescribed connection services .1367

    - Powerlink transitional provisions	1370

    - ElectraNet easements transitional provisions	1373

    - TransGrid contingent projects	1374

    - Transmission determination includes existing revenue determinations	1374

    - References to regulatory control period	1374

    - Consultation procedure for first proposed guidelines	1375

    - Reliance on proposed guidelines for SP AusNet, VENCorp and

ElectraNet	1375

    - EnergyAustralia transitional provisions	1376

    - Basslink transitional provisions	1378

    - SPI Powernet savings and transitional provision	1379

    - Interim arrangements pricing-related information	1381

# Part F	Reform of Regulatory Test Principles (2006 amendments)	1381

# Rules consequent on making of the National Electricity Amendment (Reform of the Regulatory Test Principles) Rule 2006	1381

    - Definitions	1381

    - Amending Rule does not affect old clause 5.6.5A	1382

# Part G	Pricing of Prescribed Transmission Services (2006 amendments)	1382

# Rules consequent on making the National Electricity Amendment (Pricing of Prescribed Transmission Services) Rule 2006	1382

    - Definitions	1382

    - Regulated interconnectors	1383

    - Application of new Part J of Chapter 6A to Transmission Network Service Providers	1383

    - Reliance on agreed interim guideline for ElectraNet, SPAusNet, and VenCorp	1383

    - Prudent discounts under existing agreements	1383

    - Application of prudent discounts regime under rule 6A.26	1384

    - Prudent discounts pending approval of pricing methodology	1384

# Part H	Reallocations (2007 amendments)	1385

# Rules consequent on the making of the National Electricity Amendment (Reallocations) Rule 2007	1385

    - Definitions	1385

    - Existing and transitional reallocations	1385

# Part I	Technical Standards for Wind Generation (2007 amendments)	1385

# Rules consequent on making of the National Electricity Amendment (Technical Standards for Wind Generation and other Generator Connections) Rule 2007	1385

    - Definitions	1385

    - Provision of information under S5.2.4 in registration application	1386

    - Access standards made under the old Chapter 5	1386

    - Modifications to plant by Generators	1386

    - Technical Details to Support Application for Connection and Connection Agreement	1387

    - Transitional arrangements for establishment of performance standards .1387 11.10.7		Jurisdictional Derogations for Queensland	1387

# 11.10A		Rules consequent on the making of the National Electricity Amendment (Central Dispatch and Integration of Wind and Other Intermittent Generation) Rule 2008	1387

11.10A.1	Definitions	1387

11.10A.2	Registration and reclassification of classified generating units	1388

11.10A.3	Registered generating unit	1389

11.10A.4	Classification of potential semi-scheduled generating unit	1389

11.10A.5	Participant fees	1389

11.10A.6	Timetable	1390

11.10A.7	Procedure for contribution factors for ancillary service transactions	1390

  - A.8	Guidelines for energy conversion model information	1390

# Part J	Cost Recovery of Localised Regulation Services (2007

# amendments)	1390

# Rules consequent on making of the National Electricity Amendment (Cost Recovery of Localised Regulation Services) Rule 2007	1390

    - Definitions	1390

    - Action taken by NEMMCO for the purposes of Amending Rule	1391

# [Deleted]	1391

# Part L	[Deleted]	1391

# Part M	Economic Regulation of Distribution Services (2007 amendments) .1391 Division 1	General Provisions	1391

# General provisions	1391

    - Application of this Division	1391

    - Definitions	1391

    - Preservation of old regulatory regime	1392

    - Transfer of regulatory responsibility	1393

    - Special requirements with regard to ring fencing	1393

    - Additional requirements with regard to cost allocation	1394

    - Construction of documents	1394

# Division 2	[Deleted]	1394

# Division 3	Transitional arrangements for first distribution determination for Queensland Distribution Network Service Providers	1394

# Transitional arrangements for first distribution determination for Queensland Distribution Network Service Providers	1394

    - Definitions	1394

    - Application of Part to Queensland 2010 distribution determinations	1395

    - Treatment of the regulatory asset base	1395

    - Efficiency Benefit Sharing Scheme	1395

    - Service Target Performance Incentive Scheme	1395

    - Framework and approach	1396

    - Regulatory Proposal	1396

    - Side constraints	1396

    - Cost pass throughs	1396

    - Capital Contributions Policy	1397

# Division 4	Transitional provisions of specific application to Victoria	1397

# Transitional provisions of specific application to Victoria	1397

    - Definitions	1397

    - Calculation of estimated cost of corporate income tax	1398

    - Decisions made in the absence of a statement of regulatory intent	1398

    - Cost allocation guidelines	1398

    - Modification of requirements related to cost allocation method	1398

    - AMI Order in Council	1399

# Part N		Registration of Foreign Based Persons and Corporations as Trader Class Participants (2007 amendments)	1400

# Rules consequential on the making of the National Electricity Amendment (Registration of Foreign Based Persons and Corporations as Trader Class Participants) Rule 2007	1400

    - Definitions	1400

    - Auction rules	1400

# Part O	Process for Region Change (2007 amendments)	1400

# Rules consequent on making of the National Electricity Amendment (Process for Region Change) Rule 2007	1400

    - Definitions	1400

    - Regions Publication	1400

# Part P	Integration of NEM Metrology Requirements	1401

# Rules consequential on the making of the National Electricity Amendment (Integration of NEM Metrology Requirements) Rule

# 2008 .........................................................................................................1401

    - Definitions	1401

    - Metering installations for non-market generating units immediately prior to 30 June 2008	1401

    - First-tier load metering installations	1401

    - First-tier load metering installations in Victoria	1402

    - Minimalist Transitioning Approach in Queensland	1402

    - First-tier jurisdictional requirements publication	1402

    - Metrology procedure	1402

# Part PA	Reliability Settings: Information Safety Net and Directions	1403

# Rules consequential on the making of the National Electricity Amendment (NEM Reliability Settings: Information Safety Net and Directions) Rule 2008	1403

    - Definitions	1403

    - EAAP guidelines	1403

    - [Deleted]	1403

    - [Deleted]	1403

    - Timetable	1403

    - Power system security and reliability standards	1403

    - Report on statement of opportunities	1403

    - Methodology for dispatch prices and ancillary services prices	1404

# Part Q		Regulatory Test Thresholds and Information Disclosure on Network Replacements	1404

# Rules consequential on the making of the National Electricity Amendment (Regulatory Test Thresholds and Information Disclosure on Network Replacements) Rule 2008	1404

    - Definitions	1404

    - Amending Rule does not affect existing regulatory test	1404

# Part R	Performance Standard Compliance of Generators	1405

# Rules consequential on the making of the National Electricity Amendment (Performance Standards Compliance of Generators) Rule 2008	1405

    - Definitions	1405

    - Application of rule 11.23 for compliance programs implemented immediately after the commencement of the Amending Rule	1405

    - Application of rule 11.23 for compliance programs implemented immediately prior to the commencement of the Amending Rule	1405

    - Application of rule 11.23 for compliance programs not implemented immediately prior to the commencement of the Amending Rule	1405

# Part S	[Deleted]	1406

# Part U		Confidentiality Arrangements concerning Information required for Power System Studies	1406

# Rule consequential on the making of the National Electricity Amendment (Confidentiality Arrangements in Respect of Information Required for Power System Studies) Rule 2009	1406

    - Definitions	1406

    - Transitional arrangements for the provision of information	1406

# Part V	WACC Reviews: Extension of Time	1407

# Rule consequential on the making of the National Electricity Amendment (WACC Reviews: Extension of Time) Rule 2009	1407

    - Definitions	1407

    - Extension of time to submit a regulatory proposal for the regulatory control period 2010-2015	1408

# Part W	National Transmission Statement	1408

# Rules consequent on the making of the National Electricity Amendment (National Transmission Statement) Rule 2009	1408

    - Definitions	1408

    - Purpose	1408

    - Application of rule 11.27	1408

    - National Transmission Statement	1409

    - Scope and Content of National Transmission Network Development

Plan	1410

    - Energy Adequacy Assessment Projection	1411

    - Amendment to Last Resort Power	1411

    - Actions taken prior to commencement of Rule	1411

# Part X	National Transmission Planning	1411

# Rules consequential on the making of the National Electricity (Australian Energy Market Operator) Amendment Rules 2009	1411

    - Definitions	1411

    - Jurisdictional planning bodies and representatives	1411

    - Criteria  and  guidelines  published  by  Inter-regional   Planning Committee	1412

    - Augmentation technical reports	1412

    - Last Resort Planning Power	1412

    - Inter-network power system tests	1413

    - Control and protection settings for equipment	1413

    - Revenue Proposals	1413

# Part Y	Regulatory Investment Test for Transmission	1413

# Rules consequent on making of the National Electricity Amendment (Regulatory Investment Test for Transmission) Rule 2009	1413

    - Definitions	1413

    - Period when Amending Rule applies to transmission investment	1414

# Part Z	Congestion Information Resource	1415

# Rules consequent on the making of the National Electricity Amendment (Congestion Information Resource) Rule 2009	1415

    - Definitions	1415

    - Interim congestion Information resource	1415

# Part ZA	Reliability and emergency reserve trader (2009 amendments)	1417

# Rules consequent on the making of the National Electricity Amendment (Improved RERT Flexibility and Short-notice Reserve Contracts) Rule 2009	1417

    - Definitions	1417

    - Purpose	1417

    - Amendments to Reliability Panel's RERT Guidelines	1417

    - Amendments to AEMO's RERT procedures for exercising the RERT	1418

# Part ZB	Early Application of Market Impact Parameters	1419

# Rules consequent on the making of the National Electricity Amendment (Early Implementation of Market Impact Parameters) Rule 2010	1419

    - Definitions	1419

    - Purpose	1419

    - Early application of the market impact component of the service target performance incentive scheme	1419

# Part ZC	Transparency of operating data	1422

# Rules consequential on the making of National Electricity Amendment (Transparency of Operating Data) Rule 2010	1422

    - Definitions	1422

    - Spot market operations timetable	1423

# Part ZD	Cost Recovery for Other Services Directions	1424

# Rules consequent on making of the National Electricity Amendment (Cost Recovery for Other Services Directions) Rule 2010	1424

    - Definitions	1424

    - Period when Amending Rules applies to funding of compensation	1425

# Part ZE	Payments under Feed-in Schemes and Climate Change Funds	1425

# Rules consequential on the making of the National Electricity Amendment (Payments under Feed-in Schemes and Climate Change Funds) Rule 2010	1425

    - Definitions	1425

    - Application of recovery of jurisdictional scheme Rules	1426

    - Reporting on jurisdictional schemes	1427

    - Revocation and substitution of distribution determination for jurisdictional scheme recovery	1428

# Part ZF	Transitional Arrangements for Ministerial Smart Meter Roll Out Determinations	1428

# Ministerial Smart Meter Roll Out Determinations	1428

    - Definitions	1428

    - Meaning of relevant metering installation	1429

    - Period of application of rule to relevant metering installation	1429

    - Designation of responsible person	1429

    - [Deleted]	1430

    - [Deleted]	1430

# Part ZG		Provision of Metering Data Services and Clarification of Existing Metrology Requirements	1430

# Rules consequential on the making of the National Electricity Amendment (Provision of Metering Data Services and Clarification of Existing Metrology Requirements) Rule 2010	1430

    - Definitions	1430

    - Commencement of special site or technology related conditions	1430

    - Initial service level procedures	1430

# Part ZH	Spot Market Operations Timetable	1431

# Rules consequential on the making of National Electricity Amendment (Amendments to PASA-related Rules) Rule 2010	1431

    - Definitions	1431

    - Spot market operations timetable	1431

# Part ZI	DNSP Recovery of Transmission-related Charges	1432

# Rules consequential on the making of the National Electricity Amendment (DNSP Recovery of Transmission-related Charges) Rule 2011	1432

    - Definitions	1432

    - Recovery by Victorian distribution network service providers during current regulatory control period	1433

    - Recovery by Victorian distribution network service providers for shared network augmentations	1433

    - Bairnsdale network support agreement	1433

    - Approval of pricing proposal	1433

    - Ergon Energy transitional charges	1433

    - Energex transitional charges	1434

# Part ZJ	Network Support and Control Ancillary Services	1434

# Rules consequential on the making of the National Electricity Amendment (Network Support and Control Ancillary Services) Rule 2011	1434

    - Definitions	1434

    - Purpose	1434

    - Existing NCAS contracts to continue	1434

    - Amendments to existing guidelines	1435

    - New procedures	1435

    - Decisions and actions taken prior to Amending Rule	1435

# Part ZK	Application of Dual Marginal Loss Factors	1435

# Rules consequential on the making of the National Electricity Amendment  (Application  of  Dual  Marginal  Loss  Factors)  Rule 2011	1435

    - Definitions	1435

    - Amendments to loss factor methodology	1436

    - Procedure applying dual intra-regional loss factors in central dispatch and spot market transactions	1436

    - Publication of intra-regional loss factors	1436

# Part ZL	Tasmania Tranche 5a Procedure Changes	1436

# Rules consequential on the making of the National Electricity Amendment (Tasmania Tranche 5a Procedure Changes) Rule 2011 1436

    - Definitions	1436

    - AEMO may amend Relevant Procedures	1437

# Part ZM	Application and Operation of Administered Price Periods	1437

# Rules consequential on the making of National Electricity Amendment (Application and Operation of  Administered  Price  Periods)  Rule 2011	1437

    - Definitions	1437

    - Administered Price Cap Schedule	1437

# Part ZO	Negative Intra-regional Settlements Residue	1438

# Rules consequential on the making of National Electricity Amendment (Negative Intra-regional Settlements Residue) Rule 2012	1438

    - Definitions	1438

    - Recovery of negative settlements residue prior to consultation under the Amending Rule	1438

    - First consultation on negative intra-regional settlements residue

procedure	1439

# Part ZP	Interim Connection Charging Rules	1439

# Rules consequential to the insertion of Chapter 5A by the National Electricity (National Energy Retail Law) Amendment Rule 2012	1439

# Division 1	Preliminary	1439

    - Definitions	1439

    - Extended meaning of some terms	1441

    - Transitional operation of relevant provisions	1441

# Division 2	Jurisdictional differences	1442

    - Exclusions, qualifications and modifications for ACT	1442

    - Exclusions, qualifications and modifications for NSW	1443

    - Exclusions, qualifications and modifications for Queensland	1444

    - Exclusions, qualifications and modifications for SA	1445

    - Exclusions, qualifications and modifications for Tasmania	1446

    - Exclusions, qualifications and modifications for Victoria	1447

# Division 3	General provisions	1449

    - Connection charges	1449

    - References	1449

# Part ZQ	NSW transitional retail support and credit support rules	1449

# Rules consequential on the insertion of Chapter 6B by the National Electricity (National Energy Retail Law) Amendment Rule 2012	1449

# Division 1	Preliminary	1449

    - Definitions	1449

    - Application	1451

    - Obligation to pay	1451

    - Charging and billing	1452

    - Interest on unpaid amounts	1452

    - Circumstances where NSW DNSP may request credit support	1452

    - Credit support	1452

    - Credit support providers	1453

    - NSW DNSP to determine required credit support amount	1453

    - NSW Retailer to ensure credit support available	1453

    - Drawing on credit support	1454

    - Specific transitional arrangements	1454

# Part ZR	Miscellaneous transitional rules—NERL	1454

# Rules consequential on the making of the National Electricity (National Energy Retail Law) Amendment Rule 2012	1454

    - Extension of time period for AER to consider certain pass through applications	1454

# Part ZS	Cost pass through arrangements for Network Service Providers	1455

# Rules consequential on the making of National Electricity Amendment (Cost pass through arrangements for Network Service Providers) Rule 2012	1455

    - Definitions	1455

    - Terrorism event is a cost pass through event in the current regulatory control period	1455

    - Transitional arrangement for Powerlink	1455

    - Transitional arrangements for ElectraNet and Murraylink	1456

# Part ZT	Distribution Network Planning and Expansion	1456

# Rules consequential on the making of the National Electricity Amendment (Distribution Network Planning and Expansion) Rule 2012	1456

    - Interpretation	1456

    - Definitions	1456

    - Timing for first Distribution Annual Planning Report	1457

    - Contents of Distribution Annual Planning Report	1457

    - Transition from the regulatory test to the regulatory investment test for distribution	1458

# Part ZU	New Prudential Standard and Framework in the NEM	1459

# Rules consequential on the making of the National Electricity Amendment (New Prudential Standard and Framework in the NEM) Rule 2012	1459

    - Definitions	1459

    - AEMO's responsibility to develop and publish the credit limit

procedures	1460

    - Transition to the framework for determining prudential settings	1460

    - Prior consultation, step, decision or action taken by AEMO	1460

# Part ZV	Small Generation Aggregator Framework	1460

# Rules consequential on the making of the National Electricity Amendment (Small Generation Aggregator Framework) Rule

# 2012 .........................................................................................................1460

    - Definitions	1460

    - Commencement of participant fees as well as transactions, funding and settlements under Chapter 3 for Market Small Generation Aggregators.1461

    - Participant fees for Market Small Generation Aggregators	1461

    - Ancillary service transactions, funding of compensation for directions and intervention settlements for directions for Market Small Generation Aggregators	1462

    - Amendments to the carbon dioxide equivalent intensity index

procedures	1462

    - Amendments of the metrology procedures	1463

    - Amendments to  the  Market  Settlement  and  Transfer  Solution Procedures	1463

# Part ZW		Economic Regulation of Network Service Providers (2012 amendments)	1463

# Division 1	Miscellaneous transitional provisions	1463

# Publication of Chapter 6 Guidelines	1463

    - Shared Asset Guidelines	1463

    - Capital Expenditure Incentive Guidelines	1464

    - Rate of Return Guidelines	1464

    - Expenditure Forecast Assessment Guidelines	1464

    - Distribution Confidentiality Guidelines	1465

    - Consultation procedure paper	1465

# Publication of Chapter 6A Guidelines	1465

    - Shared Asset Guidelines	1465

    - Capital Expenditure Incentive Guidelines	1465

    - Rate of Return Guidelines	1466

    - Expenditure Forecast Assessment Guidelines	1466

    - Transmission Confidentiality Guidelines	1466

    - Consultation paper procedure	1467

# Division 2	Transitional provisions for NSW/ACT Distribution Network Service Providers	1467

# General provisions	1467

    - Definitions	1467

    - Transitional Chapter 6	1468

    - Application of rule 11.56	1469

# Special provisions applying to affected DNSPs	1469

    - Requirement to make distribution determination	1469

    - Transitional regulatory proposal	1469

    - Distribution determination for a transitional regulatory control period	1471

    - Subsequent regulatory control period	1475

    - Review of past capital expenditure	1480

# Division 3	Transitional provisions for NSW and Tasmanian Transmission Network Service Providers and Directlink	1481

# General provisions	1481

    - Definitions	1481

    - Transitional Chapter 6A	1482

    - Application of rule 11.58	1483

# Special provisions applying to affected TNSPs	1483

    - Requirement to make transmission determination	1483

    - Requirement to submit a transitional Revenue Proposal	1483

    - Transmission determination for a transitional regulatory control period 1484 11.58.4		Subsequent regulatory control period	1487

11.58.5	Review of past capital expenditure	1491

# Division 4	Transitional provisions for the Victorian TNSP	1492

# Special provisions applying to the Victorian TNSP	1492

    - Definitions	1492

    - Application of rule 11.59	1492

    - Former Chapter 6A/10 applies	1492

    - Review of past capital expenditure	1493

# Division 5	Transitional provisions for Qld/SA and Victorian Distribution Network Service Providers	1493

# Special provisions applying to the Qld/SA and Victorian Distribution Network Service Providers	1493

    - Definitions	1493

    - Application of rule 11.60	1494

    - Distribution determination for next regulatory control period	1494

    - Re-opening of distribution determination for next regulatory control

period	1496

    - Review of past capital expenditure	1498

# Division 6	Review of past capital expenditure	1499

# Definitions and application	1499

# Review of past capital expenditure under Chapter 6	1499

# Review of past capital expenditure under Chapter 6A	1499

# Part ZX	Inter-regional Transmission Charging	1500

# Rules consequent on the making of the National Electricity Amendment (Inter-regional Transmission Charging) Rule 2013	1500

    - Definitions	1500

    - Amendments to the pricing methodology guidelines	1500

    - Amendments to the pricing methodologies of Transmission Network Service Providers	1501

    - Commencement of clause 6A.23.3(f) for further adjustments	1501

# Part ZY	Network Service Provider Expenditure Objectives	1502

# Rules consequent on the making of the National Electricity Amendment (Network Service Provider Expenditure Objectives) Rule 2013	1502

    - Definitions	1502

    - Application of rule 11.65	1502

# Part ZZ	Access to NMI Standing Data	1502

# Rules consequent on the making of the National Electricity Amendment (Access to NMI Standing Data) Rule 2013	1502

    - Definitions	1502

    - Minor amendment of the Market Settlement and Transfer Solution Procedures	1502

# Part ZZA	Publication of Zone Substation Data	1503

# Rules consequent on the making of the National Electricity Amendment (Publication of Zone Substation Data) Rule 2014	1503

    - Definitions	1503

    - Distribution Network Service Providers' obligations to commence on the next DAPR date	1503

# Part ZZB	Connecting Embedded Generators	1504

# Rules consequential on the making of the National Electricity Amendment (Connecting embedded generators) Rule 2014	1504

    - Definitions	1504

    - Continuation of enquiries lodged	1504

# Part ZZC	Customer access to information about their energy consumption	1504

# Rules consequential on the making of the National Electricity Amendment (Customer access to information about their energy consumption) Rule 2014	1504

    - Definitions	1504

    - AEMO to develop and publish the metering data provision procedure	1504

# Part ZZD		National Electricity Amendment (Distribution Network Pricing Arrangements) Rule 2014	1505

# Division 1	Miscellaneous transitional provisions	1505

# General provisions	1505

    - Definitions	1505

    - Application of Part ZZB	1506

# Special provisions applying to SA TNSP	1506

# Division 2	Transitional provisions for NSW/ACT and Qld/SA Distribution Network Service Providers	1507

# General provisions	1507

    - Definitions	1507

# Special provisions applying to affected DNSPs	1507

    - Distribution determination and pricing proposals	1507

    - Tariff structure statement	1507

    - Dispute resolution	1513

# Division 3	Transitional provisions for Tasmanian Distribution Network Service Provider	1513

# Application of former Chapter 6	1513

# Division 4	Transitional provisions for Victorian Distribution Network Service Providers	1513

# General provisions	1513

    - Definitions	1513

# Special provisions applying to affected DNSPs	1514

    - Distribution determination and pricing proposals	1514

    - Tariff structure statement	1514

    - Dispute resolution	1520

# Part ZZE	Early Application of Network Capability Component (STPIS)	1520

# Rules consequent on the making of the National Electricity Amendment (Early Application of Service Target Performance Incentive Scheme (STPIS) Components for Transmission Businesses) Rule 2015	1520

    - Definitions	1520

    - Purpose	1521

    - Earlier application of the network capability component of the service target performance incentive scheme	1521

# Part ZZF		National Electricity Amendment (Governance arrangements and implementation of the reliability standard and settings) Rule 2015 .1523

# Rules consequent on the making of the National Electricity Amendment (Governance arrangements and implementation of the reliability standards and settings) Rule 2015	1523

    - Definitions	1523

    - Existing power system security and reliability standards	1524

    - Reliability standard and settings guidelines	1524

    - Reliability standard implementation guidelines	1524

# Part ZZG		Improving demand side participation information provided to AEMO by registered participants	1527

# Rules consequential on making of the National Electricity Amendment (Improving demand side participation information provided to AEMO by registered participants) Rule 2015	1527

    - AEMO to develop and publish the demand side participation information guidelines	1527

# Part ZZH	Transitional Arrangements for Aligning TasNetworks' regulatory control periods	1527

# National Electricity Amendment (Aligning TasNetworks' regulatory control periods) Rule 2015	1527

    - Definitions	1527

    - Application of rule 11.80	1527

    - Next regulatory control period	1528

    - Subsequent regulatory control period	1528

# Part ZZI	System Restart Ancillary Services	1528

# Rules consequential on the making of the National Electricity Amendment (System Restart Ancillary Services) Rule 2015	1528

    - Definitions	1528

    - System restart standard	1528

    - SRAS Guideline	1528

    - Regional Benefit Ancillary Services Procedures	1528

    - Consultation prior to the Commencement Date	1528

    - Existing SRAS Contract	1529

# Part ZZJ	Demand management incentive scheme	1529

# Rules consequential on making of the National Electricity Amendment (Demand management incentive scheme) Rule 2015	1529

    - Definitions	1529

    - AER to develop and publish the demand management incentive scheme and demand management innovation allowance mechanism	1529

# Part ZZK	AEMO access to demand forecasting information	1530

# Rules consequential on the making of the National Electricity Amendment (AEMO access to demand forecasting information) Rule 2015	1530

    - AEMO to include supporting information in NTNDP database	1530

# Part ZZL		Compensation arrangements following application of an Administered Price Cap or Administered Floor Price	1530

# Rules consequential on the making of the National Electricity Amendment (Compensation Arrangements following application of an Administered Price Cap and Administered Floor Price) Rule 2016 .1530

    - Definitions	1530

    - Compensation Guidelines	1530

# Part ZZM	Common definitions of distribution reliability measures	1530

# Rules consequential on the making of the National Electricity Amendment (Common definitions of distribution reliability measures) Rule 2015	1530

    - Definitions	1530

    - Distribution reliability measures guidelines	1531

    - Amended STPIS	1531

# Part ZZN	Expanding competition in metering and metering related services  1531

# Rules consequent on making of the National Electricity Amendment (Expanding competition in metering and related services) Rule

# 2015 .........................................................................................................1531

    - Definitions	1531

    - References to old Chapter 7	1531

    - References to provisions of the old Chapter 7	1531

    - References to responsible person	1532

    - Continued operation of old Rules until the effective date	1532

    - New and amended procedures	1532

    - Metering Coordinator for type 5 or 6 metering installation from effective date	1533

    - Distribution Ring Fencing Guidelines	1536

    - [Deleted]	1536

# Part ZZO	Embedded Networks	1536

# Rules consequential on the making of the National Electricity Amendment (Embedded Networks) Rule 2015	1536

    - Definitions	1536

    - Amended Procedures and NMI Standing Data Schedule	1536

    - ENM service level procedures and guide to embedded networks and list of Embedded Network Managers	1537

    - Exemptions under section 13 of the National Electricity Law	1537

# Part ZZP	Meter Replacement Processes	1537

# Rules consequential on the making of the National Electricity Amendment (Meter Replacement Processes) Rule 2016	1537

    - Definitions	1537

    - Amended Procedures	1537

# Part ZZQ	Energy Adequacy Assessment Projection	1538

# Rules consequential to the National Electricity Amendment (Energy Adequacy Assessment Projection timeframes) Rule 2016	1538

    - Amended guideline and timetable	1538

# Part ZZR	Reliability and emergency reserve trader (2016 amendments)	1538

# Amendment (Extension of the Reliability and Emergency Reserve Trader) Rule 2016	1538

    - Definitions	1538

    - Amendments to Reliability Panel's RERT Guidelines	1538

    - Amendments to AEMO's RERT procedures	1539

    - Reserve contracts entered into before Schedule 2 commencement date .1539

# Part ZZS	Updating the electricity B2B framework	1539

# Rules consequential on the making of the National Electricity Amendment (Updating the electricity B2B framework) rule 2016	1539

    - Definitions	1539

    - B2B Procedures	1540

    - Information Exchange Committee Election Procedures and Information Exchange Committee Operating Manual	1540

    - The New IEC	1541

    - Amended Procedures	1542

    - B2B e-Hub Participant accreditation process	1542

    - New IEC Budget and 2016 Annual Report	1543

    - Cost recovery	1543

# Part ZZT	Application of Offsets in the Prudential Margin Calculation	1544

# Rules consequential on the making of the National Electricity Amendment (Application of Offsets in the Prudential Margin Calculation) Rule 2016	1544

    - Definitions	1544

    - Amended procedures	1544

# Part ZZU	Rate of Return Guidelines Review	1544

# Rules consequential on the making of the National Electricity Amendment (Rate of Return Guidelines Review) Rule 2016	1544

    - Definitions	1544

    - Application of current rate of return guidelines to making of a distribution determination for the subsequent regulatory control period	1545

# Part ZZV	Demand Response Mechanism and Ancillary Services Unbundling 1546

# Rules consequential on the making of the National Electricity Amendment (Demand Response Management and Ancillary Services Unbundling) rule 2016	1546

    - Definitions	1546

    - Participant fees for Market Ancillary Service Providers	1546

# Part ZZW	Local Generation Network Credits	1546

# Rules consequential on the making of the National Electricity Amendment (Local Generation Network Credits) Rule 2016	1546

    - Definitions	1546

    - System limitation template	1546

# Part ZZX	Retailer-Distributor Credit Support Requirements	1547

# Amendment (Retailer Distributor Credit Support Requirements) Rule 2017 No. 1	1547

    - Definitions	1547

    - Continued operation of old Chapter 6B	1547

    - Interaction with Chapter 6	1547

    - Application of new Chapter 6B	1547

# Part ZZY	Emergency Frequency Control Schemes	1548

# Rules consequent on the making of the National Electricity Amendment (Emergency frequency control schemes) Rule 2017	1548

    - Definitions	1548

    - Interim frequency operating standards for protected events	1548

    - First power system frequency risk review	1549

    - AEMO must review existing load shedding procedures	1549

    - Load shedding procedures	1549

# Part ZZZ	Transmission Connection and Planning Arrangements	1550

# Rules consequential on the making of the National Electricity Amendment (Transmission Connection and Planning Arrangements) Rule 2017	1550

    - Definitions	1550

    - Grandfathering of existing dedicated connection assets	1551

    - Preparatory steps for registration changes under the Amending Rule	1552

    - Participant fees for Dedicated Connection Asset Service Providers	1552

    - Existing Connection Agreements	1552

    - Connection process	1552

    - Transmission Annual Planning Report	1553

    - Preservation for adoptive jurisdictions	1553

# Part ZZZA	Replacement expenditure planning arrangements	1553

# Rules consequential on the making of the National Electricity Amendment (Replacement expenditure planning arrangements) Rule 2017	1553

    - Definitions	1553

    - Interpretation	1555

    - Transitional arrangements for affected DNSPs	1555

    - Amendments to RIT documentation	1555

    - Transitional arrangements relating to excluded projects	1555

    - Transitional arrangements relating to Victorian  bushfire  mitigation projects	1556

    - Transitional arrangements relating to review of costs thresholds	1556

# Part ZZZB	Managing the rate of change of power system frequency	1556

# Rules consequential on the making of the National Electricity Amendment (Managing the rate of change of power system frequency) Rule 2017	1556

    - Definitions	1556

    - Inertia sub-networks	1557

    - Inertia requirements methodology	1557

    - Inertia requirements	1558

    - NSCAS not to be used to meet an inertia shortfall after 1 July 2019	1558

    - Inertia network services may be used to meet an NSCAS gap declared in the NSCAS transition period	1559

    - Inertia  network  services  made  available  before  the  commencement  date	1559

# Part ZZZC	Managing power system fault levels	1560

# Rules consequential on the making of the National Electricity Amendment (Managing power system fault levels) Rule 2017	1560

    - Definitions	1560

    - System strength impact assessment guidelines	1561

    - System strength requirements methodology	1561

    - System strength requirements	1561

    - NSCAS not to be used to meet a fault level shortfall after 1 July 2019	1562

    - System strength services may be used to meet an NSCAS gap declared in the NSCAS transition period	1563

    - Withdrawal of a system strength-related NSCAS gap already declared .1563

    - System  strength  services  made  available  before  the  commencement date	1564

# Part ZZZD	Generating System Model Guidelines	1564

# Making of Power System Model Guidelines	1564

# Part ZZZE	Five Minute Settlement	1564

# Rules consequential on the making of the National Electricity Amendment (Five Minute Settlement) Rule 2017	1564

    - Definitions	1564

    - Amendments to procedures	1565

11.103.3.	Exemption for certain metering installations	1566

    - New or replacement meters	1566

    - Metering installations  exempt  from  metering  data  provision requirements	1566

    - Exemption from meter data storage requirements	1566

    - Default offers and bids submitted prior to the commencement date	1566

# Part ZZZF	Contestability of energy services	1567

# Rules consequential on the making of the National Electricity Amendment (Contestability of energy services) Rule 2017	1567

    - Definitions	1567

    - New guidelines	1568

    - Transitional arrangements for application of Distribution Service Classification Guidelines and service classification provisions	1569

    - Transitional arrangements for application of Asset Exemption Guidelines, exemption applications and asset exemption decisions	1569

    - Transitional arrangements for adjustment in value of regulatory asset

base	1570

# Part ZZZG	Declaration of lack of reserve conditions	1571

# Making of lack of reserve declaration guidelines	1571

    - Definitions	1571

    - Making of lack of reserve declaration guidelines	1571

# Part ZZZH	Implementation of demand management incentive scheme	1571

  - Implementation of demand management incentive scheme	1571

    - Definitions	1571

    - Purpose	1571

    - Early application of revised demand management incentive scheme	1572

# Part ZZZI		Reinstatement of long notice Reliability and Emergency Reserve Trader	1573

# Rules consequential on the making of the National Electricity Amendment (Reinstatement of long notice Reliability and Emergency Reserve Trader) Rule 2018	1573

    - Definitions	1573

    - New RERT guidelines	1574

    - Amendments to RERT procedures	1577

    - Reserve contracts entered into before the commencement date	1577

# Part ZZZJ	Register of distributed energy resources	1577

# Rules consequential on the making of the National Electricity Amendment (Register of distributed energy resources) Rule 2018	1577

    - Definitions	1577

    - AEMO to develop and publish DER register information guidelines	1578

    - NSPs to provide AEMO with existing DER generation information	1578

# Part ZZZK	Generator technical performance standards	1578

# Rules consequential on the making of the National Electricity Amendment (Generator technical performance standards) Rule

# 2018 .........................................................................................................1578

    - Definitions	1578

    - Application of the Amending Rule to existing connection enquiries	1579

    - Application of the Amending Rule to existing applications to connect	1580

    - Application of the Amending Rule to existing offers to connect	1582

    - Application of the Amending Rule to Existing Connection Agreements 1582

# Part ZZZL	Generator three year notice of closure	1583

# Rules consequential on the making of the National Electricity Amendment (Generator three year notice of closure) Rule 2018	1583

    - Definitions	1583

    - AER to develop and publish notice of closure exemption guideline	1583

    - Application of Amending Rule to AEMO	1583

    - Application of Amending Rule to Generators	1583

# Part ZZZM	Participant compensation following market suspension	1584

# Rules consequential on the making of the National Electricity Amendment (Participant compensation following market suspension) Rule 2018	1584

    - Definitions	1584

    - Market suspension compensation methodology and schedule of benchmark values	1584

# Part ZZZN	Global settlement and market reconciliation	1584

# Rules consequential on the making of the National Electricity Amendment (Global settlement and market reconciliation) Rule

# 2018 .........................................................................................................1584

    - Definitions	1584

    - Amendments to AEMO procedures	1585

    - AEMO to publish report on unaccounted for energy trends	1585

    - Continuation of registration for non-market generators	1585

    - Publication of UFE data by AEMO	1585

    - Publication of UFE reporting guidelines	1586

# Part ZZZO	Metering installation timeframes	1586

# Rules consequential on making of the National Electricity Amendment (Metering installation timeframes) Rule 2018	1586

    - Definitions	1586

    - Timeframes for meters to be installed	1586

# Part ZZZP	Early implementation of ISP priority projects	1587

# National Electricity Amendment (Early implementation of ISP priority projects) Rule 2019	1587

    - Definitions	1587

    - Modifications to clause 5.16.6 for ISP VNI and QNI projects	1588

    - Modifications to clause 6A.8.2 for ISP projects	1589

# Part ZZZQ	Enhancement to the Reliability and Emergency Reserve Trader	1591

# Rules consequential on the making of the National Electricity Amendment (Enhancement to the reliability and emergency reserve trader) Rule 2019	1591

    - Definitions	1591

    - New RERT guidelines	1592

    - Amendments to RERT procedures	1592

    - Reserve contracts entered into before the commencement date	1592

    - Clause 3.20.6 (Reporting on RERT by AEMO)	1592

# Part ZZZR	Retailer Reliability Obligation	1592

# Rules consequential on the making of the National Electricity Amendment (Retailer Reliability Obligation) Rule 2019	1592

    - Application	1592

    - Reliability Instrument Guidelines	1593

    - Forecasting Best Practice Guidelines	1593

    - Reliability Forecast Guidelines	1593

    - AER Opt-in Guidelines	1594

    - Contracts and Firmness Guidelines	1594

    - Qualifying contracts under interim Contracts and Firmness Guidelines.1594 11.116.8	Grandfathering arrangements	1595

    - Reliability Compliance Procedures and Guidelines	1596

    - MLO Guidelines	1596

    - Application of Part G, Divisions 2 – 6 (inclusive)	1596

    - Interim deeming of MLO generators and MLO groups	1597

    - MLO information template	1603

    - Initial MLO register	1604

    - Approved MLO products list	1604

    - Designated MLO exchange	1604

    - Five minute settlement intervals	1604

    - Review by AEMC	160