Savings and Transitional Rules
CHAPTER 11

11.	Savings and Transitional Rules
Parts A to ZZI, ZZK, ZZL, ZZN (except for clause 11.86.8), ZZO to ZZT, ZZV and ZZX have no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations). The application of those Parts may be revisited as part of the phased implementation of the Rules in this jurisdiction.
Part ZZJ	Demand management incentive scheme
11.82	Rules consequential on making of the National Electricity Amendment (Demand management incentive scheme) Rule 2015
11.82.1	Definitions
(a)	In this rule 11.82:
Amending Rule means the National Electricity Amendment (Demand Management Incentive Scheme) Rule 2015.
commencement date means the date Schedules 1, 2 and 3 of the Amending Rule commence.
new clauses 6.6.3 and 6.6.3A means clauses 6.6.3 and 6.6.3A of the Rules as in force after the commencement date.
(b)	Italicised terms used in this rule have the same meaning as under Schedule 3 of the Amending Rule.
11.82.2	AER to develop and publish the demand management incentive scheme and demand management innovation allowance mechanism
(a)	By 1 December 2016, the AER must develop and publish the first:
(i)	demand management incentive scheme under new clause 6.6.3; and
(ii)	demand management innovation allowance mechanism under new clause 6.6.3A.
Part ZZM	Common definitions of distribution reliability measures
11.85	Rules consequential on the making of the National Electricity Amendment (Common definitions of distribution reliability measures) Rule 2015
11.85.1	Definitions
(a)	In this rule 11.85:
Amending Rule means the National Electricity Amendment (Common definitions of distribution reliability measures) Rule 2015.
effective date means 30 June 2017.
11.85.2	Distribution reliability measures guidelines
Despite clause 6.28(a), the AER must develop and publish the distribution reliability measures guidelines by 30 June 2017.
11.85.3	Amended STPIS
(a)	If, prior to the effective date, and for the purposes of developing changes to the current version of the service target performance incentive scheme in anticipation of the Amending Rule, the AER undertook a consultation, step, decision or action equivalent to that as required in the distribution consultation procedures or otherwise under the Rules, then that consultation, step, decision or action is taken to satisfy the equivalent consultation step, decision or action under the distribution consultation procedures or Rules.
**********
11.86.8	Distribution Ring Fencing Guidelines
(a)	AER must by 1 December 2016 publish Distribution Ring-Fencing Guidelines.
**********
Part ZZU	Rate of Return Guidelines Review
11.93	Rules consequential on the making of the National Electricity Amendment (Rate of Return Guidelines Review) Rule 2016
11.93.1	Definitions
In this rule 11.93:
affected DNSP means each of the following Distribution Network Service Providers:
(a)	ActewAGL Distribution, the joint venture between Icon Distribution Investments Limited ACN 073 025 224 and Jemena Networks (ACT) Pty Ltd ACN 008 552 663 providing distribution services in the Australian Capital Territory, or any successor to its business;
(b)	Ausgrid, the energy services corporation of that name (formerly known as EnergyAustralia), which is constituted under section 7 of the Energy Services Corporations Act 1995 (NSW) and specified in Part 2 of Schedule 1 of that Act, or any successor to its business (including any 'authorised distributor' of Ausgrid's 'network infrastructure assets' (as those terms are defined in the Electricity Network Assets (Authorised Transactions) Act 2015 (NSW)) following the transfer of the whole, or part of, those network infrastructure assets to the private sector);
(c)	Endeavour Energy, the energy services corporation of that name (formerly known as Integral Energy), which is constituted under section 7 of the Energy Services Corporations Act 1995 (NSW) and specified in Part 2 of Schedule 1 to that Act, or any successor to its business (including any 'authorised distributor' of Endeavour Energy's 'network infrastructure assets' (as those terms are defined in the Electricity Network Assets (Authorised Transactions) Act 2015 (NSW)) following the transfer of the whole, or part of, those network infrastructure assets to the private sector);
(d)	Essential Energy, the energy services corporation of that name (formerly known as Country Energy), which is constituted under section 7 of the Energy Services Corporations Act 1995 (NSW) and specified in Part 2 of Schedule 1 to that Act, or any successor to its business; and
(e)	Power and Water Corporation ABN 15 947 352 360, providing distribution services in the Northern Territory, or any successor to its business.
affected TNSP means the Transmission Network Service Provider, Tasmanian Networks Pty Ltd ACN 167 357 299, providing transmission services in Tasmania, or any successor to its business.
commencement date means 20 October 2016.
current rate of return guidelines means the Rate of Return Guidelines as in force on the commencement date.
current regulatory control period means:
(a)	in respect of an affected DNSP or affected TNSP, the regulatory control period for that affected DNSP or affected TNSP, which commenced before the commencement date and, as at the commencement date, has not ended; and
(b)	in respect of TasNetworks, the regulatory control period which ends on 30 June 2019.
subsequent regulatory control period means:
(a)	in respect of an affected DNSP or affected TNSP, the regulatory control period for that affected DNSP or affected TNSP that immediately follows its current regulatory control period; and
(b)	in respect of TasNetworks, the regulatory control period that immediately follows its current regulatory control period.
TasNetworks means Tasmanian Networks Pty Ltd ACN 167 357 299, providing distribution services in Tasmania, or any successor to its business.
11.93.2	Application of current rate of return guidelines to making of a distribution determination for the subsequent regulatory control period
For the purposes of the application of:
(a)	Chapter 6 to the making, amendment, revocation or substitution of a distribution determinationfor both an effected DNSP's and TasNetworks subsequent regulatory control period; and
(b)	Chapter 6A to the making, amendment, revocation or substitution of a transmission determination for the affected TNSP's subsequent regulatory control period,
a reference to the Rate of Return Guidelines is deemed to be a reference to the current rate of return guidelines.
Note
Part ZZV will be inserted by the National Electricity Amendment (Demand Response Mechanism and Ancillary Services Unbundling) Rule 2016 No. 10 which commences on 1 July 2017.
Part ZZV	Demand Response Mechanism and Ancillary Services Unbundling
11.94	Rules consequential on the making of the National Electricity Amendment (Demand Response Management and Ancillary Services Unbundling) rule 2016
11.94.1	Definitions
For the purposes of this rule 11.94:
commencement date means 1 July 2017.
11.94.2	Participant fees for Market Ancillary Service Providers
AEMO may charge Market Ancillary Service Providers Participant fees from the commencement date without amending the structure of Participant fees developed under rule 2.11 prior to the commencement date.
Part ZZW	Local Generation Network Credits
11.95	Rules consequential on the making of the National Electricity Amendment (Local Generation Network Credits) Rule 2016
11.95.1	Definitions
(a)	In this rule 11.95:
Amending Rule means the National Electricity Amendment (Local Generation Network Credits) Rule 2016.
commencement date means the date of commencement of Schedule 1 of the Amending Rule.
system limitation template has the meaning given to it in the Amending Rule.
11.95.2	System limitation template
(a)	The AER must develop and publish the first system limitation template by the commencement date and in accordance with clause 5.13.3(a) of the Amending Rule.
 
************
Part ZZY	Emergency Frequency Control Schemes
11.97	Rules consequent on the making of the National Electricity Amendment (Emergency frequency control schemes) Rule 2017
11.97.1	 Definitions
For the purposes of this rule 11.97:
Amending Rule means the National Electricity Amendment (Emergency frequency control schemes) Rule 2017.
Commencement Date means 6 April 2017.
Interim frequency operating standards for protected events  means the frequency operating standards for protected events as set out in clause 11.97.2(b).
new clause 4.3.2(h)(1) means clause 4.3.2(h)(1) of the Rules as in force on and from the Commencement Date.
new clause 4.3.2(h)(2) means clause 4.3.2(h)(2) of the Rules as in force on and from the Commencement Date.
old clause 4.3.2(h) means clause 4.3.2(h) of the Rules as in force immediately before the Commencement Date.
11.97.2	Interim frequency operating standards for protected events
(a)	On and from the Commencement Date, until the such time as the Reliability Panel determines the NEM frequency operating standards for protected events in the power system security standards under clause 8.8.1(a)(2), the frequency operating standards for protected events are taken to be the interim frequency operating standards for protected events in paragraph (b).
(b)	The interim frequency operating standards for protected events are:
Tasmania
For a protected event, system frequency should not exceed the applicable extreme frequency excursion tolerance limits and should not exceed the applicable load change band for more than two minutes while there is no contingency event or the applicable normal operating frequency band for more than 10 minutes while there is no contingency event as summarised in the table below:

CONDITION	CONTAINMENT	STABILISATION	RECOVERY	
protected event	47.0 to 55.0 Hz	48.0 to 52.0 Hz within 2 minutes	49.0 to 51.0 Hz within 10 minutes	

This standard applies for both an interconnected and an islanded system.
NEM Mainland
For a protected event, system frequency should not exceed the applicable extreme frequency excursion tolerance limits and should not exceed the applicable load change band for more than two minutes while there is no contingency event or the applicable normal operating frequency band for more than 10 minutes while there is no contingency event as summarised in the tables below:
NEM Mainland Frequency Operating Standards – interconnected system

CONDITION	CONTAINMENT	STABILISATION	RECOVERY	
protected event	47.0 to 52.0 Hz	49.5 to 50.5Hz within 2 minutes	49.85 to 50.15 Hz within 10 minutes	

NEM Mainland Frequency Operating Standards – for an islanded system

CONDITION	CONTAINMENT	STABILISATION	RECOVERY	
protected event	47.0 to 52.0 Hz	49.0 to 51.0 Hz within 2 minutes	49.5 to 50.5 Hz within 10 minutes	

NEM Mainland Frequency Operating Standards – during periods of supply scarcity

CONDITION	CONTAINMENT	STABILISATION	RECOVERY	
protected event	47.0 to 52.0 Hz	49.0 to 51.0 Hz within 2 minutes	49.5 to 50.5 Hz within 10 minutes	

11.97.3	First power system frequency risk review
Despite clause 5.20A.2(a), AEMO must complete the first power system frequency risk review within 12 months of the Commencement Date.
11.97.4	AEMO must review existing load shedding procedures
As soon as reasonably practicable after the Commencment Date, AEMO must review, and if necessary amend, the load shedding procedures developed under old clause 4.3.2(h) to take into account the Amending Rule.
11.97.5	Load shedding procedures
On and from the Commencement Date any load shedding procedures developed by AEMO under old clause 4.3.2(h) will be taken to be:
(a)	load shedding procedures for the purposes of new clause 4.3.2(h)(1) if they are procedures under which load will be shed by means other than an emergency frequency control scheme; or
(b)	EFCS settings schedules for the purposes of new clause 4.3.2(h)(2) if they specify, for an emergency frequency control scheme, settings for operation of the scheme.
Part ZZZ	Transmission Connection and Planning Arrangements
11.98	Rules consequential on the making of the National Electricity Amendment (Transmission Connection and Planning Arrangements) Rule 2017
11.98.1	Definitions
(a)	For the purposes of this rule 11.98:
Amending Rule means the National Electricity Amendment (Transmission Connections and Planning Arrangements) Rule 2017.
commencement date means the date of commencement of Schedules 1, 2, 4, 5 and 6 of the Amending Rule.
Existing Connection Agreement means a connection agreement entered into before the commencement date other than in relation to a declared transmission system.
Existing DCA means a dedicated connection asset which, before the commencement date:
(1)	exists; or
(2)	is contracted to be constructed under an Existing Connection Agreement; or
(3)	a Transmission Network Service Provider has agreed to connect to a transmission network under an Existing Connection Agreement.
Existing DCA Owner means an owner, operator or controller of an Existing DCA.
former Chapter 5 means Chapter 5 of the Rules as in force immediately prior to the commencement date.
former Chapter 6A means Chapter 6A of the Rules as in force immediately prior to the commencement date.
New Chapter 10 means Chapter 10 of the Rules as it will be in force immediately after the commencement date.
new clause 5.3.AA(e)(2) means clause 5.3AA(e)(2) of the Rules as in force immediately after the commencement date (being the same as clause 5.5(e)(2) of the Rules immediately prior to the commencement date).
old rule 5.4A means rule 5.4A of the Rules (and all definitions in, and related definitions and provisions of, the Rules amended by the Amending Rule) as in force immediately prior to the commencement date.
old clause 5.3.6(i) means clause 5.3.6(i) as in force immediately prior to the commencement date.
(b)	Italicised terms used in this rule have the same meaning as in new Chapter 10.
11.98.2	Grandfathering of existing dedicated connection assets
(a)	By 1 May 2018, an Existing DCA Owner who is already registered or is exempt from registration (as applicable) under chapter 2 of the Rules for its Existing DCA must notify the AER of the following information:
(1)	the identity of each owner, controller or operator of the Existing DCA;
(2)	the category of Registered Participant for which the owner, controller or operator of the Existing DCA is registered (or for which it has an exemption) for the Existing DCA;
(3)	whether the Existing DCA would be classified as a large dedicated connection asset or small dedicated connection asset if the Existing DCA Owner was to register as a Network Service Provider for that asset; and
(4)	the location and route of the Existing DCA.
(b)	By the commencement date, the AER must establish and publish a register of Existing DCA Owners who are already registered or exempt (as the case may be) for the Existing DCA and have notified their Existing DCAs under paragraph (b). The register must include the information in paragraph (a).
(c)	If an Existing DCA Owner is recorded in the register by the AER under paragraph (b) that Existing DCA Owner:
(1)	if recorded in a registration category other than Network Service Provider or as having an exemption (as applicable) for the Existing DCA, is not required to register as a Network Service Provider for that Existing DCA under clause 2.5.1;
(2)	if recorded in the registration category of Network Service Provider for the Existing DCA, is not required to classify that Existing DCA as a large dedicated connection asset or small dedicated connection asset under clause 2.5.1A;
(3)	is not taken to be a Dedicated Connection Asset Service Provider in respect of that Existing DCA; and
(4)	will continue to be registered in the category of Registered Participant or be exempted (as applicable) for the Existing DCA as applied immediately before the commencement date and recorded in the register by the AER and must, in relation to the Existing DCA, comply with all the obligations under the Rules that apply from time to time to that category of Registered Participant or the conditions of the exemption (as applicable).
(d)	If an existing DCA Owner is not recorded in the register by the AER under paragraph (b), that Existing DCA Owner must, by the commencement date, register or apply for an exemption from registration as a Network Service Provider under clause 2.5.1 of the Rules for its Existing DCA.
11.98.3	Preparatory steps for registration changes under the Amending Rule
(a)	By 1 March 2018, the AER must amend and publish the guidelines developed under clause 2.5.1(d) to take account of the Amending Rule.
(b)	If prior to the date specified in paragraph (a) and for the purposes of developing changes to the guidelines referred to in paragraph (a) in anticipation of the Amending Rule, the AER undertook a consultation or steps equivalent to that as required in the Rules consultation procedures, then that consultation or steps is taken to satisfy the equivalent consultation or step under the Rules consultation procedures.
(c)	By 1 April 2018, AEMO must develop an application form for registration of Network Service Providers that takes account of the Amending Rule.
11.98.4	Participant fees for Dedicated Connection Asset Service Providers
AEMO may charge Dedicated Connection Asset Service Providers fees from the Dedicated Connection Asset Service Provider's date of registration without amending the structure of the Participant fees developed under rule 2.11 prior to the commencement date.
11.98.5	Existing Connection Agreements
(a)	Subject to paragraph (b), the Amending Rule is neither intended to have, nor is it to be read or construed as having, the effect of:
(1)	altering any of the terms of an Existing Connection Agreement (including the location of a connection point);
(2)	altering the contractual rights or obligations of any of the parties under an Existing Connection Agreement as between those parties; or
(3)	relieving the parties under any such Existing Connection Agreement of their contractual obligations under such an agreement.
(b)	If a Transmission Network User under an Existing Connection Agreement requests an amendment to that Existing Connection Agreement after the commencement date for the purposes of altering a connection service provided under that agreement, then the Rules as amended by the Amending Rule apply to that request.
(c)	The Amending Rule is neither intended to have, nor is it to be read or construed as having, the effect of changing the application of clause 11.6.11 (if applicable) in relation to connection services provided under an Existing Connection Agreement.
11.98.6	Connection process
(a)	If a connection enquiry was made to a Transmission Network Service Provider by a Connection Applicant under clause 5.3.2 before the commencement date, the former Chapter 5 and Chapter 6A continue to apply to the connection process and negotiation for a connection agreement related to that connection enquiry.
(b)	Paragraph (a) does not prevent a Connection Applicant making a new connection enquiry for that connection after the commencement date.
11.98.7	Transmission Annual Planning Report
(a)	The AER must develop and publish the first TAPR Guidelines required under rule 5.14B by 31 December 2017 in accordance with the transmission consultation procedures.
(b)	A Transmission Network Service Provider is not required to comply with Schedule 3 of the Amending Rule for a Transmission Annual Planning Report if the date by which that report is required to be published is within six months of the publication of the TAPR Guidelines by the AER under paragraph (a).
11.98.8	Preservation for adoptive jurisdictions
(a)	Subject to paragraph (b), for a declared transmission system of an adoptive jurisdiction:
(1)	former Chapter 6A continues to apply and the amendments made by the Amending Rule to Chapter 6A are of no effect;
(2)	old rule 5.4A continues to apply and the deletion of rule 5.4A by the Amending Rule is of no effect;
(3)	old clause 5.3.6(i) continues to apply and the deletion of clause 5.3.6(i) by the Amending Rule is of no effect; and
(4)	new clause 5.3AA(e)(2) applies as amended below:
(i)	insert the phrase "transmission network user access or" before "distribution network user access"; and
(ii)	insert "transmission networks and" before "distribution networks".
(b)	If a provision in former Chapter 6A, old rule 5.4A or old clause 5.3.6(i) is amended, the provision as amended continues to apply in accordance with paragraph (a).
Part ZZZA	Replacement expenditure planning arrangements
11.99	Rules consequential on the making of the National Electricity Amendment (Replacement expenditure planning arrangements) Rule 2017
11.99.1	Definitions
For the purposes of this rule 11.99:
affected DNSP means each of the following Distribution Network Service Providers:
(a)	Energex Limited ACN 078 849 055 or any successor business; and
(b)	Ergon Energy Corporation Limited ACN 087 646 062 or any successor business.
Amending Rule means the National Electricity Amendment (Replacement expenditure planning arrangements) Rule 2017.
excluded project means, in respect of a Network Service Provider, a project for the refurbishment or replacement of network assets which satisfies, on or prior to 30 January 2018, the criteria which a project needs to satisfy to be a "committed project" under:
(a)	in the case of a RIT-D project, the regulatory investment test for distribution as in force on the first commencement date; or
(b)	in the case of a RIT-T project, the regulatory investment test for transmission as in force on the first commencement date.
first commencement date means the date of commencement of Schedule 1 of the Amending Rule.
old clause 5.16.3 means clause 5.16.3 of the Rules (and all related definitions and provisions of the Rules amended by the Amending Rule), the regulatory investment test for transmission and RIT-T application guidelines made by the AER, each as in force immediately prior to the first commencement date.
old clause 5.17.3  means clause 5.17.3 of the Rules (and all related definitions and provisions of the Rules amended by the Amending Rule), the regulatory investment test for distribution and RIT-D application guidelines made by the AER, each as in force immediately prior to the first commencement date.
old schedule 5.8  means schedule 5.8 of the Rules (and all related definitions and provisions of the Rules amended by the Amending Rule) as in force immediately prior to the first commencement date.
RIT-D application guidelines means the guidelines developed and published by the AER in accordance with clause 5.17.2 as in force from time to time.
RIT-T application guidelines means the guidelines developed and published by the AER in accordance with clause 5.16.2 as in force from time to time.
RIT documentation means each of:
(a)	the regulatory investment test for transmission;
(b)	the regulatory investment test for distribution;
(c)	the RIT-T application guidelines; and
(d)	the RIT-D application guidelines.
second commencement date means the date of commencement of Schedule 2 of the Amending Rule.
Victorian bushfire mitigation project means a RIT-D project for the refurbishment or replacement of network assets by a Victorian DNSP in order to meet its obligations under clause 7(1)(ha)(i) and (3)(a)(ii) of the Electricity Safety (Bushfire Mitigation) Regulations 2013 (VIC), as in force immediately prior to the first commencement date.
Victorian DNSP means a DNSP for a distribution network situated wholly or partly within Victoria.
11.99.2	Interpretation
(a)	Terms defined in clause 5.10.2 have the same meaning when used in this Part ZZZA unless a contrary intention appears.
(b)	Italicised terms used in this part ZZZA have the same meaning as in Chapter 10.
11.99.3	Transitional arrangements for affected DNSPs
On and from the first commencement date until, but not including, 1 January 2018, old schedule 5.8 continues to apply to affected DNSPs.
11.99.4	Amendments to RIT documentation
(a)	By no later than 18 September 2017, the AER must amend and publish the RIT documentation to take into account the Amending Rule.
(b)	In making the amendments to the RIT documentation required under paragraph (a), the AER:
(1)	must only make amendments to the RIT Documentation to the extent required to take into account the Amending Rule;
(2)	is not required to comply with the transmission consultation procedures or the distribution consultation procedures (as the case may be); and
(3)	must consult with Network Service Providers and any other persons that the AER considers appropriate.
11.99.5	Transitional arrangements relating to excluded projects
(a)	Each Network Service Provider must publish and maintain on its website a list of its excluded projects, which must include:
(1)	the project name;
(2)	a brief description of the project; and
(3)	the scheduled completion date,
on and from the second commencement date until completion of its excluded projects.
(b)	In respect of each Network Service Provider:
(1)	old clause 5.16.3 continues to apply to excluded projects that are RIT-T projects for a replacement of network assets (and are not intended to augment the transmission network); and
(2)	old clause 5.17.3 continues to apply to excluded projects that are RIT-D projects for refurbishment or replacement of network assets (and are not intended to augment a network).
11.99.6	Transitional arrangements relating to Victorian bushfire mitigation projects
(a)	Where a Victorian DNSP has Victorian bushfire mitigation projects, it must publish and maintain on its website a list of Victorian bushfire mitigation projects, which must include:
(1)	the project name;
(2)	a brief description of the project; and
(3)	the scheduled completion date,
on and from the second commencement date until completion of its Victorian bushfire mitigation projects.
(b)	In respect of each Victorian DNSP old clause 5.17.3 continues to apply to each Victorian Bushfire mitigation project.
11.99.7	Transitional arrangements relating to review of costs thresholds
(a)	Clause 5.15.3(a)(1) of Chapter 5 applies for the purposes of clause 5.15.3(b)(1A) as if the words "July 2009" were omitted and substituted with the words "18 July 2017".
(b)	Clause 5.15.3(c)(3) of Chapter 5 applies for the purposes of clause 5.15.3(d)(4A) as if the words "1 January 2013" were omitted and substituted with the words "18 July 2017".
Part ZZZB 	Managing the rate of change of power system frequency
11.100	Rules consequential on the making of the National Electricity Amendment (Managing the rate of change of power system frequency) Rule 2017
11.100.1	Definitions
(a)	In this rule 11.100:
Amending Rule means the National Electricity Amendment (Managing the rate of change of power system frequency) Rule 2017.
commencement date means the date of commencement of Schedules 1 to 7 of the Amending Rule.
inertia-related NSCAS gap means an NSCAS gap that is a shortfall in the level of inertia typically provided in a region (having regard to typical patterns of dispatched generation in central dispatch) compared to the minimum level of inertia required to operate the region in a secure operating state when it is islanded.
new Chapter 10 means Chapter 10 as amended by the Amending Rule.
new clause 3.9.7 means clause 3.9.7 of the Rules as will be in force immediately after the commencement date.
new clause 4.4.4 means clause 4.4.4 of the Rules as will be in force immediately after the commencement date.
new clause 4.4.9C means clause 4.4.9C of the Rules as will be in force immediately after the commencement date.
new clause 5.16.3 means clause 5.16.3 of the Rules as will be in force immediately after the commencement date.
new clause 5.20.1(a)(3) means clause 5.20.1(a)(3) of the Rules as will be in force immediately after the commencement date.
new clause 5.20.7(a) means clause 5.20.7(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.2(a) means clause 5.20B.2(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.3(a) means clause 5.20B.3(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.3(c) means clause 5.20B.3(c) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.4(b) means clause 5.20B.4(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.4(h) means clause 5.20B.4(h) of the Rules as will be in force immediately after the commencement date.
new clause 5.20B.4(i) means clause 5.20B.4(i) of the Rules as will be in force immediately after the commencement date.
new clause 6A.7.3(a1) means clause 6A.7.3(a1) of the Rules as will be in force immediately after the commencement date.
new rule 5.20B means rule 5.20B of the Rules as will be in force immediately after the commencement date.
NSCAS transition period means the period after the date this schedule commences and before the commencement date.
(b)	Italicised terms used in this rule 11.100 (other than NSCAS gap and NSCAS need) have the same meaning as in new Chapter 10.
11.100.2	Inertia sub-networks
On the date this schedule commences, AEMO is taken to have determined inertia sub-networks having the same boundaries as the boundaries of each region on that date.
11.100.3	Inertia requirements methodology
(a)	By 30 June 2018, AEMO must develop and publish a methodology setting out the process AEMO will use to determine the inertia requirements for each inertia sub-network. The methodology must provide for AEMO to take into account the matters listed in new clause 5.20.7(a) in determining the inertia requirements for each inertia sub-network.
(b)	AEMO must include an explanation of the differences between the methodology determined under paragraph (a) and the first inertia requirements methodology published in accordance with new clause 5.20.1(a)(3).
11.100.4	Inertia requirements
(a)	AEMO must make a determination of the inertia requirements for all inertia sub-networks under new clause 5.20B.2(a) and make the assessments required under new clause 5.20B.3(a) by 30 June 2018, applying the methodology determined under clause 11.100.3(a) as if it were an inertia requirements methodology.
(b)	If AEMO assesses that there is or is likely to be an inertia shortfall in anyinertia sub-network in its assessment carried out in accordance with paragraph (a), AEMO must as soon as practicable after making that assessment publish and give to the Inertia Service Provider for the inertia sub-network a notice of that assessment that includes AEMO's specification of the date by which the Inertia Service Provider must ensure the availability of inertia network services in accordance with new clause 5.20B.4(b), which must not be earlier than 1 July 2019 unless an earlier date is agreed with the Inertia Service Provider.
(c)	An Inertia Service Provider given a notice under paragraph (b) must make inertia network services available in accordance with new clause 5.20B.4(b) and otherwise comply with new rule 5.20B as if the notice had been given under new clause 5.20B.3(c).
(d)	If an Inertia Service Provider is given a notice under paragraph (b) later than 30 April 2017, it is not required to include the information referred to in new clauses 5.20B.4(h) and (i) in its Transmission Annual Planning Report due to be published by 30 June 2018, but the information must be included in its next Transmission Annual Planning Report.
(e)	where an Inertia Service Provider is given a notice under paragraph (b), clause 5.16.3 regarding the regulatory investment test for transmission, clause 6A.7.3(a1) regarding pass through events and the related definitions apply in relation to inertia network services and inertia support activities made available in response to the notice as if they were new clause 5.16.3, new clause 6A.7.3(a1) and the related definitions in new Chapter 10.
11.100.5	NSCAS not to be used to meet an inertia shortfall after 1 July 2019
(a)	Paragraphs (b) and (c) do not apply in respect of a inertia-related NSCAS gap declared on or before 19 September 2017.
(b)	In the NSCAS transition period, AEMO must not, in respect of any period after 1 July 2019, acquire NSCAS to meet an NSCAS gap in relation to a requirement for a service that is both an NSCAS need and is also capable of being made available as an inertia network service to address an inertia shortfall through the arrangements in new rule 5.20B.
(c)	In the NSCAS transition period, a Transmission Network Service Provider must not, in respect of any period after 1 July 2019, put in place arrangements referred to in rule 3.11.3(b) to meet an NSCAS gap referred to in paragraph (a).
11.100.6	Inertia network services may be used to meet an NSCAS gap declared in the NSCAS transition period
(a)	If, in the NSCAS transition period, AEMO declares an inertia-related NSCAS gap in respect of a period starting within 12 months of the declaration being made, a Transmission Network Service Provider given a request under clause 3.11.3 in relation to the inertia-related NSCAS gap may by notice to AEMO elect to treat the declaration of that inertia-related NSCAS gap as if it were a notice of an inertia shortfall under new clause 5.20B.3(c).
(b)	If, in the NSCAS transition period, AEMO declares an inertia-related NSCAS gap in respect of a period starting 12 months or more after the declaration is made, a Transmission Network Service Provider given a request under clause 3.11.3 in relation to the inertia-related NSCAS gap must treat the declaration of that inertia-related NSCAS gap as if it were a notice of an inertia shortfall under new clause 5.20B.3(c).
(c)	Where in accordance with paragraph (a) or (b) a Transmission Network Service Provider elects or is required to treat a declaration of an inertia-related NSCAS gap as if it were notice of an inertia shortfall under new clause 5.20B.3(c):
(1)	the Transmission Network Service Provider must make inertia network services available in accordance with new clause 5.20B.4(b);
(2)	AEMO and the Transmission Network Service Provider must otherwise comply with new rule 5.20B as if the notice had been given under new clause 5.20B.3(c); and
(3)	clause 5.16.3 regarding the regulatory investment test for transmission, clause 6A.7.3(a1) regarding pass through events and the related definitions apply in relation to inertia network services made available in response to the notice as if they were new clause 5.16.3, new clause 6A.7.3(a1) and the related definitions in new Chapter 10.
11.100.7	Inertia network services made available before the commencement date
If a Transmission Network Service Provider makes inertia network services available under this rule 11.100 in the NSCAS transition period, new clause 3.9.7, new clause 4.4.4, new clause 4.4.9C and the related definitions in new Chapter 10 apply in respect of those inertia network services as if those provisions had commenced on the date the inertia network services were first made available and (in the case of inertia network services provided under clause 11.100.6) as if AEMO had determined a secure operating level of inertia for the region equal to the minimum level of inertia determined in the declaration of the inertia-related NSCAS gap.
Part ZZZC	Managing power system fault levels
11.101 	Rules consequential on the making of the National Electricity Amendment (Managing power system fault levels) Rule 2017
11.101.1 	Definitions
(a)	In this rule 11.101:
Amending Rule means the National Electricity Amendment (Managing power system fault levels) Rule 2017.
commencement date means the date of commencement of Schedules 4,5,6,7,8 and 9 of the Amending Rule.
new Chapter 10 means Chapter 10 as amended by the Amending Rule.
new clause 3.9.7 means clause 3.9.7 of the Rules as will be in force immediately after the commencement date.
new clause 4.4.4 means clause 4.4.4 of the Rules as will be in force immediately after the commencement date.
new clause 4.4.9C means clause 4.4.9C of the Rules as will be in force immediately after the commencement date.
new clause 4.6.6 means clause 4.6.6 of the Rules as will be in force immediately after the Schedule 1 to 3 commencement date.
new clause 5.16.3 means clause 5.16.3 of the Rules as will be in force immediately after the commencement date.
new clause 5.20.1(a)(3) means clause 5.20.1(a)(3) of the Rules as will be in force immediately after the commencement date.
new clause 5.20.7(b) means clause 5.20.7(b) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.1(a)  means clause 5.20C.1(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.2(a)  means clause 5.20C.2(a) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.2(c)  means clause 5.20C.2(c) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.3(b)  means clause 5.20C.3(b) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.3(f)  means clause 5.20C.3(f) of the Rules as will be in force immediately after the commencement date.
new clause 5.20C.3(g) means clause 5.20C.3(g) of the Rules as will be in force immediately after the commencement date.
new clause 6A.7.3(a1) means clause 6A.7.3(a1) of the Rules as will be in force immediately after the commencement date.
new rule 5.20C means rule 5.20C of the Rules as will be in force immediately after the commencement date.
Schedule 1 to 3 commencement date means the date of commencement of Schedules 1 to 3 of the Amending Rule.
system strength-related NSCAS gap means an NSCAS gap that is a shortfall in the three phase fault level typically provided at a fault level node in a region (having regard to typical patterns of dispatched generation in central dispatch) compared to the minimum three phase fault level that AEMO reasonably considers is required to maintain the power system in a secure operating state.
NSCAS transition period means the period after the date this schedule commences and before the commencement date.
(b)	Italicised terms used in this rule 11.101 (other than NSCAS gap and NSCAS need) have the same meaning as in new Chapter 10.
11.101.2	System strength impact assessment guidelines
(a)	AEMO must make and publish interim system strength impact assessment guidelines by 17 November 2017 to apply until the system strength impact assessment guidelines are made and published under paragraph (c).
(b)	AEMO is not required to comply with the Rules consultation procedure when making the interim guidelines under paragraph (a).
(c)	AEMO must make and publish system strength impact assessment guidelines under new clause 4.6.6 by 1 July 2018 and in doing so must comply with the Rules consultation procedures.
11.101.3	System strength requirements methodology
(a)	By 30 June 2018, AEMO must determine and publish a methodology setting out the process AEMO will use to determine the system strength requirements for each region. The methodology must provide for AEMO to take into account the matters listed in new clause 5.20.7(b) in determining the system strength requirements.
(b)	AEMO must include an explanation of the differences between the methodology determined under paragraph (a) and the first system strength requirements methodology published in accordance with new clause 5.20.1(a)(3).
11.101.4	System strength requirements
(a)	AEMO must make a determination of the system strength requirements for each region under new clause 5.20C.1(a) and make the assessments required under new clause 5.20C.2(a) by 30 June 2018 applying the methodology determined under clause 11.101.3(a) as if it were a system strength requirements methodology.
(b)	If AEMO assesses that there is or is likely to be a fault level shortfall in a region in its assessment carried out in accordance with paragraph (a), AEMO must as soon as practicable after making that assessment publish and give to the System Strength Service Provider for the region a notice of that assessment that includes AEMO's specification of:
(1)	the extent of the fault level shortfall; and
(2)	the date by which the System Strength Service Provider must ensure the availability of system strength services in accordance with clause 5.20C.3(b), which must not be earlier than 1 July 2019 unless an earlier date is agreed with the System Strength Service Provider.
(c)	A System Strength Service Provider given a notice under paragraph (b) must make system strength services available in accordance with new clause 5.20C.3(b) and otherwise comply with new rule 5.20C as if the notice had been given under new clause 5.20C.2(c).
(d)	If a System Strength Service Provider is given notice under paragraph (b) later than 30 April 2017, it is not required to include the information referred to in new clauses 5.20C.3(f) and (g) in its Transmission Annual Planning Report due to be published by 30 June 2018, but the information must be included in its next Transmission Annual Planning Report.
(e)	Where a System Strength Service Provider is given a notice under paragraph (b), clause 5.16.3 regarding the regulatory investment test for transmission, clause 6A.7.3(a1) regarding pass through events and the related definitions apply in relation to system strength services made available in response to the notice as if they were new clause 5.16.3, new clause 6A.7.3(a1) and the related definitions in new Chapter 10.
11.101.5	NSCAS not to be used to meet a fault level shortfall after 1 July 2019
(a)	Paragraphs (b) and (c) do not apply in respect of a system strength-related NSCAS gap declared on or before 19 September 2017.
(b)	In the NSCAS transition period, AEMO must not, in respect of any period after 1 July 2019, acquire NSCAS to meet an NSCAS gap in relation to a requirement for a service that is both an NSCAS need and is also capable of being made available as a system strength service to address a fault level shortfall through the arrangements in new rule 5.20C.
(c)	In the NSCAS transition period, a Transmission Network Service Provider must not, in respect of any period after 1 July 2019, put in place arrangements referred to in rule 3.11.3(b) to meet an NSCAS gap referred to in paragraph (a).
11.101.6	System strength services may be used to meet an NSCAS gap declared in the NSCAS transition period
(a)	If, in the NSCAS transition period, AEMO declares a system strength-related NSCAS gap in respect of a period starting within 12 months of the declaration being made, a Transmission Network Service Provider given a request under clause 3.11.3 in relation to the system strength-related NSCAS gap may by notice to AEMO elect to treat the declaration of that system strength-related NSCAS gap as if it were a notice of a fault level shortfall under new clause 5.20C.2(c).
(b)	If, in the NSCAS transition period, AEMO declares a system strength-related NSCAS gap in respect of a period starting 12 months or more after the declaration is made, a Transmission Network Service Provider given a request under clause 3.11.3 in relation to the system strength-related NSCAS gap must treat the declaration of that system strength-related NSCAS gap as if it were a notice of a fault level shortfall under new clause 5.20C.2(c).
(c)	Where in accordance with paragraph (a) or (b) a Transmission Network Service Provider elects or is required to treat a declaration of a system strength-related NSCAS gap as if it were notice of a fault level shortfall under new clause 5.20C.2(c):
(1)	the Transmission Network Service Provider must make system strength services available in accordance with new clause 5.20C.3(b);
(2)	AEMO and Transmission Network Service Provider must otherwise comply with new rule 5.20C as if the notice had been given under new clause 5.20C.2(c); and
(3)	clause 5.16.3 regarding the regulatory investment test for transmission, clause 6A.7.3(a1) regarding pass through events and the related definitions apply in relation to system strength services made available in response to the notice as if they were new clause 5.16.3, new clause 6A.7.3(a1) and the related definitions in new Chapter 10.
11.101.7	Withdrawal of a system strength-related NSCAS gap already declared
(a)	This clause applies if, on or before 19 September 2017, AEMO has declared a system strength-related NSCAS gap.
(b)	If this clause applies, AEMO may by notice published under this clause withdraw the declaration of the system strength-related NSCAS gap referred to in paragraph (a).
(c)	If AEMO withdraws a declaration under paragraph (b), AEMO may make a new declaration of the system strength-related NSCAS gap by notice published under this clause and clause 11.101.6 will apply to that new declaration.
11.101.8	System strength services made available before the commencement date
If a Transmission Network Service Provider makes system strength services available under this rule 11.101 in the NSCAS transition period, new clause 3.9.7, new clause 4.4.4, new clause 4.4.9C and the related definitions in new Chapter 10 apply in respect of those system strength services as if those provisions had commenced on the date the system strength services were first made available and (in the case of system strength services provided under clause 11.101.6) as if AEMO had determined a fault level shortfall in the system strength-related NSCAS gap.
Part ZZZD	Generating System Model Guidelines
11.102	Making of Power System Model Guidelines
(a)	By 1 July 2018, AEMO must develop and publish the Power System Model Guidelines, the Power System Design Data Sheet, and the Power System Setting Data Sheet to take account of the National Electricity Amendment (Generating system model guidelines) Rule 2017 No. 11.
Part ZZZE	Five Minute Settlement
11.103	Rules consequential on the making of the National Electricity Amendment (Five Minute Settlement) Rule 2017
11.103.1	Definitions
For the purposes of this rule 11.103:
Amending Rule means the National Electricity Amendment (Five Minute Settlement) Rule 2017.
commencement date means 1 July 2021.
Excluded metering installations means:
(a)	types 1,2,3 and 7 metering installations; and
(b)	the metering installations referred to in new clause 7.8.2(b1).
new Chapter 7 means Chapter 7 of the Rules as in force immediately after the commencement date.
new clause 7.8.2(b1) means clause 7.8.2(b1) as in force immediately after the commencement date.
new Chapter 10 means Chapter 10 of the Rules as in force immediately after the commencement date.
new clause 3.8.9 means clause 3.8.9 of the Rules as in force immediately after the commencement date.
new clause 7.8.2(a2) means clause 7.8.2(a2) of the Rules as in force immediately after the commencement date.
new clause 7.8.2(b1) means clause 7.8.2(b1) of the Rules as in force immediately after the commencement date.
new clause 7.8.2A means clause 7.8.2A of the Rules as in force immediately after the commencement date.
old clause 3.8.9 means clause 3.8.9 of the Rules as in force immediately prior to the commencement date.
11.103.2	Amendments to procedures
(a)	By 1 December 2019, AEMO must review and where necessary amend and publish the following documents to apply from the commencement date to take into account the Amending Rule:
(1)	the credit limit procedures in accordance with clause 3.3.8;
(2)	the spot market operations timetable in accordance with clause 3.4.3;
(3)	the automated procedures relating to dispatch intervals subject to review in accordance with clause 3.9.2B;
(4)	the methodology for determining dispatch prices and ancillary services prices in the event of intervention by AEMO in accordance with clause 3.9.3;
(5)	[Deleted]
(6)	the market suspension pricing methodology and market suspension pricing schedule for periods of market suspension in accordance with clause 3.14.5;
(7)	the reallocation procedures;
(8)	the settlement residue auction rules in accordance with clause 3.18.3;
(9)	the methodology relating to dispatch pricing for unscheduled reserve contracts  in accordance with clause 3.20.4;
(10)	the procedures relating to the exercise of the RERT in accordance with clause 3.20.7;
(11)	the procedures maintained under clause 7.8.3(b) in respect of the minimum services specification;
(12)	the meter churn procedures in accordance with clause 7.8.9;
(13)	the metering data provision procedures;
(14)	the Market Settlement and Transfer Solution Procedures;
(15)	the metrology procedure; and
(16)	the service level procedures.
(b)	The Information Exchange Committee must make an Information Exchange Committee Recommendation to change the B2B Procedures (B2B Recommendation) to take into account the Amending Rule by 1 July 2019.
(c)	Subject to clause 7.17.5(b), AEMO must publish the B2B Procedures in accordance with the B2B Recommendation within 10 business days of the Information Exchange Committee making the B2B Recommendation.
(d)	By 1 December 2019, the AER must amend and publish the following documents to apply from the commencement date to take into account the Amending Rule:
(1)	the methodology relating to the distribution loss factor in accordance with clause 3.6.3;
(2)	guidelines maintained under clause 3.8.22 in respect of rebidding; and
(3)	criteria that the AER will use to determine whether there is a significant variation between the spot price forecast and the actual spot price in accordance with clause 3.13.7.
11.103.3.	Exemption for certain metering installations
From the commencement date:
(a)	all metering installations (other than Excluded metering installations and type 4A metering installations) that were installed prior to 1 December 2018; and
(b)	type 4A metering installations that were installed prior to 1 December 2019,
do not have to be capable of recording and providing, or configured to record and provide, trading interval energy data (as defined under new Chapter 10) until they are replaced in accordance with new clause 7.8.2A.
11.103.4	New or replacement meters
The Metering Coordinator at a connection point must ensure that:
(a)	all new or replacement metering installations (other than type 4A metering installations) installed between 1 December 2018 and the commencement date; and
(b)	all new or replacement type 4A metering installations installed between 1 December 2019 and the commencement date,
are capable of recording and providing trading interval energy data as defined under new Chapter 10.
11.103.5	Metering installations exempt from metering data provision requirements
Metering installations (other than Excluded metering installations) do not have to be configured to record and provide trading interval energy data (as defined under new Chapter 10) prior to 1 December 2022.
11.103.6	Exemption from meter data storage requirements
By 1 December 2019, AEMO must establish and publish the procedure required by new clause 7.8.2(a2) in respect of exemptions from data storage requirements.
11.103.7	Default offers and bids submitted prior to the commencement date
Any dispatch offer or dispatch bid submitted pursuant to old clause 3.8.9 for a trading interval prior to the commencement date will, from the commencement date, be deemed to be 6 equal dispatch offers or dispatch bids submitted in respect of the 6 consecutive trading intervals within the relevant 30-minute period until such time as that dispatch offer or dispatch bid is resubmitted under new clause 3.8.9.
Part ZZZF	Contestability of energy services
11.104	Rules consequential on the making of the National Electricity Amendment (Contestability of energy services) Rule 2017
11.104.1	Definitions
For the purposes of this rule 11.104:
affected DNSP means each of the following Distribution Network Service Providers:
(a)	ActewAGL Distribution, the joint venture between Icon Distribution Investments Limited ACN 073 025 224 and Jemena Networks (ACT) Pty Ltd ACN 008 552 663, which is registered by AEMO as a Network Service Provider in accordance with section 12(1) of the National Electricity Law and clause 2.5.1 of the Rules to own, control and operate the distribution system in the Australian Capital Territory, or any successor to its business;
(b)	Ausgrid Operator Partnership (ABN 78 508 211 731), which comprises of:
(1)	Blue Op Partner Pty Ltd (ACN 615 217 500) as trustee for the Blue Op Partner Trust;
(2)	ERIC Alpha Operator Corporation 1 Pty Ltd (ACN 612 975 096) as trustee for ERIC Alpha Operator Trust 1;
(3)	ERIC Alpha Operator Corporation 2 Pty Ltd (ACN 612 975 121) as trustee for ERIC Alpha Operator Trust 2;
(4)	ERIC Alpha Operator Corporation 3 Pty Ltd (ACN 612 975 185) as trustee for ERIC Alpha Operator Trust 3; and
(5)	ERIC Alpha Operator Corporation 4 Pty Ltd (ACN 612 975 210) as trustee for ERIC Alpha Operator Trust 4;
(c)	Endeavour Energy Network Operator Partnership (ABN 11 247 365 823), which comprises of:
(1)	Edwards O Pty Limited (ACN 618 643 486) as trustee for the Edwards O Trust;
(2)	ERIC Epsilon Operator Corporation 1 Pty Ltd (ACN 617 221 735) as trustee for ERIC Epsilon Operator Trust 1;
(3)	ERIC Epsilon Operator Corporation 2 Pty Ltd (ACN 617 221 744) as trustee for ERIC Epsilon Operator Trust 2;
(4)	ERIC Epsilon Operator Corporation 3 Pty Ltd (ACN 617 221 753) as trustee for ERIC Epsilon Operator Trust 3; and
(5)	ERIC Epsilon Operator Corporation 4 Pty Ltd (ACN 617 221 771) as trustee for ERIC Epsilon Operator Trust 4;
(d)	Essential Energy, the energy services corporation of that name (formerly known as Country Energy), which is constituted under section 7 of the Energy Services Corporations Act 1995 (NSW) and specified in Part 2 of Schedule 1 of that Act, or any successor to its business;
(e)	Power and Water Corporation ABN 15 947 352 360, providing distribution services in the Northern Territory, or any successor to its business; and
(f)	Tasmanian Networks Pty Ltd ACN 167 357 299, in its capacity as a Distribution Network Service Provider.
Amending rule means the National Electricity Amendment (Contestability of energy services) Rule 2017.
commencement date means the date of commencement of the Amending rule.
current regulatory control period in respect of a Distribution Network Service Provider, means the regulatory control period for that Distribution Network Service Provider that commenced before the commencement date and, as at the commencement date, has not ended.
Old clauses 6.2.1(d) and 6.2.2(d) means 6.2.1(d) and clause 6.2.2(d), each as in force immediately before the commencement date.
statement of amendment in respect of an affected DNSP, means a written statement setting out any amendments to the affected DNSP's building block proposal that are necessary to remove, and make substitutions for, any expenditure for a restricted asset included in the affected DNSP's:
(a)	forecast of required capital expenditure; and
(b)	proposed contingent capital expenditure (if any),
for which the affected DNSP has not submitted an exemption application under clause 11.104.4(d)(1).
subsequent distribution determination means a distribution determination for the subsequent regulatory control period.
subsequent regulatory control period in respect of a Distribution Network Service Provider, means the regulatory control period for that Distribution Network Service Provider that immediately follows the current regulatory control period.
11.104.2	New guidelines
(a)	By 30 September 2018, the AER must develop and publish the first:
(1)	Distribution Service Classification Guidelines; and
(2)	Asset Exemption Guidelines,
to take into account the Amending rule.
(b)	The AER must comply with the distribution consultation procedures when meeting its obligations under paragraph (a).
11.104.3	Transitional arrangements for application of Distribution Service Classification Guidelines and service classification provisions
(a)	Clause 6.2.8(c)(1) does not apply to, or in respect of, the Distribution Service Classification Guidelines for the purposes of the making of a subsequent distribution determination for an affected DNSP.
(b)	Old clauses 6.2.1(d) and 6.2.2(d) continue to apply to, and in respect of, the making of a subsequent distribution determination for an affected DNSP.
11.104.4	Transitional arrangements for application of Asset Exemption Guidelines, exemption applications and asset exemption decisions
(a)	Clause 6.2.8(c)(1) does not apply to, or in respect of, the Asset Exemption Guidelines for the purposes of the making of a subsequent distribution determination for an affected DNSP.
(b)	In the case of Distribution Network Services Providers other than affected DNPs, clauses 6.5.7(b)(5) and 6.5.7(c)(2) do not apply to, or in respect of, expenditure for a restricted asset that is included in a building block proposal for the subsequent regulatory control period, to the extent that:
(1)	the expenditure constitutes unspent capital expenditure for a contingent project under clause 6.5.7(g) and the completion date for that contingent project is a date that occurs during the subsequent regulatory control period; or
(2)	the expenditure relates to an approved pass through amount to be recovered during the subsequent regulatory control period.
(c)	In the case of affected DNSPs, clauses 6.5.7(b)(5) and 6.6A.1(a1) do not apply to, or in respect of, expenditure for a restricted asset that is included in a building block proposal for the subsequent regulatory control period.
(d)	Subject to paragraph (e), if the forecast of required capital expenditure and proposed contingent capital expenditure (if any) included in an affected DNSP's building block proposal and regulatory proposal, respectively, for the subsequent regulatory control period includes expenditure for a restricted asset, the affected DNSP must:
(1)	submit an exemption application to the AER by 31 March 2018, which requests an asset exemption under clause 6.4B.1(a)(1), 6.4B.1(a)(2) or 6.4B.1(a)(3) in respect of the relevant asset or class of asset on which that expenditure for a restricted asset is to be incurred; or
(2)	to the extent that an exemption application is not submitted under subparagraph (d)(1) in respect of the relevant expenditure for a restricted asset, submit a statement of amendment to the AER by 31 March 2018 for that expenditure for a restricted asset.
(e)	Paragraph (d) does not apply in respect of an affected DNSP to the extent the expenditure for a restricted asset:
(1)	constitutes unspent capital expenditure for a contingent project under clause 6.5.7(g) and the completion date for that contingent project is a date that occurs during the subsequent regulatory control period; or
(2)	relates to an approved pass through amount to be recovered during the subsequent regulatory control period.
(f)	A statement of amendment submitted by an affected DNSP under subparagraph (d)(2) is taken to form part of the regulatory proposal submitted by that affected DNSP under clause 6.8.2(b) for the subsequent regulatory control period.
(g)	Subject to the provisions of the Law and the Rules about disclosure of confidential information, the AER must publish a statement of amendment as soon as practicable after receiving it.
(h)	In the case of affected DNSPs:
(1)	Clause 6.5.7(c)(2) does not apply to, or in respect of, expenditure for a restricted asset that is included in a building block proposal for the subsequent regulatory control period, to the extent that:
(i)	the expenditure constitutes unspent capital expenditure for a contingent project under clause 6.5.7(g) and the completion date for that contingent project is a date that occurs during the subsequent regulatory control period; or
(ii)	the expenditure relates to an approved pass through amount to be recovered during the subsequent regulatory control period.
(2)	An asset exemption requested under subparagraph (d)(1) is taken to be an asset exemption requested under clause 6.5.7(b)(5) for the purposes of clause 6.5.7(c)(2)(iii)(A).
(i)	Clauses 6.4B.1(b)(2), 6.4B.2(b), 6.4B.2(c)(5) and 6.8.2(a1) do not apply to, or in respect of, an exemption application submitted by an affected DNSP in respect of a regulatory proposal for the subsequent regulatory control period.
(j)	Clause 6.12.1(3A) does not apply to, or in respect of, expenditure for a restricted asset that is included in a building block proposal for the subsequent regulatory control period, to the extent that expenditure constitutes unspent capital expenditure for a contingent project under clause 6.5.7(g) and the completion date for that contingent project is a date that occurs during the subsequent regulatory control period.
11.104.5	Transitional arrangements for adjustment in value of regulatory asset base
Clause S6.2.1(e)(9) does not apply to, or in respect of, expenditure for a restricted asset to the extent that expenditure:
(a)	is incurred during the current regulatory control period;
(b)	constitutes unspent capital expenditure for a contingent project under clause 6.5.7(g) and the completion date for that contingent project is a date that occurs during the subsequent regulatory control period; or
(c)	relates to an approved pass through amount to be recovered during the subsequent regulatory control period.
Part ZZZG	Declaration of lack of reserve conditions
11.105	Making of lack of reserve declaration guidelines
11.105.1	Definitions
(a)	In this rule 11.105:
Amending Rule means the National Electricity Amendment (Declaration of lack of reserve conditions) Rule 2017.
11.105.2	Making of lack of reserve declaration guidelines
(a)	By 9 January 2018, AEMO must develop and publish the reserve level declaration guidelines to take account of the Amending Rule.
(b)	AEMO is not required to comply with clause 4.8.4A(e) when making the reserve level declaration guidelines for the first time.
Part ZZZH	Implementation of demand management incentive scheme
11.106	Implementation of demand management incentive scheme
11.106.1	Definitions
In this rule 11.106:
Amending Rule means the National Electricity Amendment (Implementation of demand management incentive scheme) Rule 2018.
commencement date means the day on which the Amending Rule commences operation.
existing demand management incentive scheme means a scheme developed and published by the AER under clause 6.6.3 of the Rules prior to 1 December 2016.
current regulatory control period means, for a Distribution Network Service Provider, a regulatory control period that commenced before the commencement date and, as at the commencement date, has not ended.
revised demand management incentive scheme means the Demand Management Incentive Scheme developed and published by the AER under clause 6.6.3 of the Rules on 14 December 2017.
11.106.2	Purpose
The purpose of this rule 11.106 is to allow a Distribution Network Service Provider to apply to the AER for the application of the revised demand management incentive scheme during its current regulatory control period.
11.106.3	Early application of revised demand management incentive scheme
(a)	A Distribution Network Service Provider may seek application of the revised demand management incentive scheme notwithstanding that the current regulatory control period may have commenced before 14 December 2017.
Submission of proposal
(b)	If a Distribution Network Service Provider wishes the revised demand management incentive scheme to apply during the current regulatory control period, the Distribution Network Service Provider must submit a proposal to the AER setting out:
(1)	the proposed start date for the application of the revised demand management incentive scheme, which must not be earlier than the later of:
(i)	60 business days after the proposal is submitted; or
(ii)	24 months prior to the end of the current regulatory control period;
(2)	a description of how the proposed early application of the revised demand management incentive scheme will assist the Distribution Network Service Provider in undertaking efficient expenditure on relevant non-network options relating to demand management; and
(3)	such other information that the Distribution Network Service Provider considers relevant to its application for early application of the revised demand management incentive scheme.
Publication and consultation on proposal
(c)	The AER must as soon as practicable, publish:
(1)	a proposal submitted under paragraph (b); and
(2)	an invitation for written submissions from any person on the proposal within a period specified by the AER, being a period not less than 20 business days from the date of publication of the invitation for submissions.
(d)	Any person may make a written submission to the AER on the proposal, within the period specified in the invitation referred to in paragraph (c)(2).
Making of final decision
(e)	The AER must make a final decision on whether and how to apply the revised demand management incentive scheme to a Distribution Network Service Provider during its current regulatory control period.
(f)	The AER's final decision must:
(1)	include a decision on the start date;
(2)	set out reasons for the decision; and
(3)	set out any amendments to the revised demand management incentive scheme necessary to give effect to the application of the revised demand management incentive scheme under paragraph (i).
(g)	The AER may make a decision on a start date which is different to the proposed start date, provided that the start date is not earlier than 24 months prior to the end of the current regulatory control period.
(h)	In making its final decision, the AER must consider the proposal submitted under paragraph (b) and any written submissions made on the proposal, and must have regard to the factors in clause 6.6.3(c).
(i)	If the AER makes a final decision that the revised demand management incentive scheme will apply then it will apply to the relevant Distribution Network Service Provider from the start date set out in the final decision, notwithstanding anything to the contrary in the revised demand management incentive scheme.
(j)	The revised demand management incentive scheme, as applicable to the Distribution Network Service Provider, is taken to be amended in accordance with the AER's final decision under paragraph (f)(3).
Notice of final decision
(k)	The AER must, at least one business day before the start date determined under paragraph (f) publish:
(1)	notice of the making of the final decision; and
(2)	the final decision, including its reasons.
Application of existing scheme
(l)	Nothing in this Part ZZZH affects the application of an existing demand management incentive scheme to a Distribution Network Service Provider in respect of the current regulatory control period.
Part ZZZI	Reinstatement of long notice Reliability and Emergency Reserve Trader
11.107	Rules consequential on the making of the National Electricity Amendment (Reinstatement of long notice Reliability and Emergency Reserve Trader) Rule 2018
11.107.1	Definitions
For the purposes of this rule 11.107:
Amending rule means the National Electricity Amendment (Reinstatement of long notice Reliability and Emergency Reserve Trader) Rule 2018.
commencement date means 13 July 2018.
Guidelines means the RERT guidelines as in force immediately before the commencement date.
RERT procedures means the procedures made under clause 3.20.7(e).
11.107.2 	  New RERT guidelines 
(a)	With effect on the commencement date, the Guidelines are amended as set out in the following table:

Description of amendments to Guidelines	
In section 1 of the Guidelines, omit "under clause 3.20.8 of the National Electricity Rules (Rules) and commence on 1 November 2017" and substitute "under clause 11.107.2 of the National Electricity Rules (Rules) and commence on 13 July 2018".	
Omit section 4.1 of the Guidelines, including the heading, and substitute:
4.1	 	 During Stage 1 of the RERT process
(a)	Long-notice situations where AEMO determines it has more than ten weeks of notice of a projected shortfall in reserves;
When it is considering whether to enter into reserve contracts during Stage 1 of the RERT process for long-notice situations, AEMO may take into account:
•	the details of the outcome of the medium term PASA;
•	the outcome of the energy adequacy assessment projection (EAAP); and
•	any other information that AEMO considers relevant.
(b)	Medium-notice situations where AEMO has between ten weeks and seven days of notice of a projected shortfall in reserves.
When it is considering whether to enter into reserve contracts during Stage 1 of the RERT process for medium-notice situations, AEMO may take into account the information identified in paragraph (a) above;
(c)	Short-notice situations where AEMO has between three hours and seven days of notice of a projected shortfall in reserves.
When it is considering whether to enter into reserve contracts during Stage 1 of the RERT process for short-notice situations, AEMO may take into account:
•	the details of the outcome of the short term PASA and pre-dispatch processes; and
•	any other information that AEMO considers relevant.	
In section 5.2 of the Guidelines, omit the paragraph starting "Under some circumstances" and substitute:
Under some circumstances AEMO will be required to dispatch or activate reserves that are contracted under the long-notice or medium-notice situations as well as contracting for additional reserves under the short-notice situations. Under these circumstances, AEMO should aim to maximise the effectiveness of reserve contracts at the least cost to end use consumers of electricity by selecting the least cost combination of reserves contracted under the long, medium and short-notice situations. However, where AEMO has only a few hours' notice of a reserve shortfall it may have insufficient time to determine the least cost combination of reserves. In which case AEMO should dispatch or activate its long-notice and medium-notice reserve contracts ahead of contracting for further reserves using the short-notice RERT. Nevertheless, where AEMO has sufficient time to perform the necessary analysis it should aim to maximise the cost effectiveness of the RERT by selecting the combination of reserve contracts that has the lowest incremental cost.	
In section 6.1 of the Guidelines, omit "sections 6.2 and 6.3" and substitute "sections 6.3 and 6.4".	
In section 6.1 of the Guidelines, omit "section 8.1 or 8.2" and substitute "section 8.1, 8.2 or 8.3'.	
Renumber sections 6.2 and 6.3 to section 6.3 and 6.4, respectively.	
After section 6.1, insert:
6.2	 	 Operation of the RERT panel for long-notice situations (more than ten weeks of notice)
AEMO should not rely exclusively on the RERT panel when it has more than ten weeks' notice of a projected shortfall in reserves. Under these circumstances, AEMO is expected use a full tender process, which should include requesting tender responses from both members of the RERT panel and other potential reserve providers.	
In section 6.4, omit "sections 6.1 to 6.2" and substitute "sections 6.1 to 6.3".	
In the heading of section 7.1, omit "Medium-notice situations of more than seven days of notice" and substitute "Long-notice and medium-notice situations".	
Renumber section 8.2 to section 8.3.	
Renumber section 8.1 to section 8.2.	
After the heading for section 8, insert:
8.1	 	 Process for contracting for reserve contracts in long-notice situations (more than ten weeks of notice)
The relevant actions that AEMO may take in relation to the exercise of the RERT with more than ten weeks of notice of a projected shortfall in reserves include:
•	establishing arrangements for contracting reserves in situations where there is more than ten weeks of notice of a projected shortfall in reserves;
•	continually monitoring the medium term PASA and the EAAP, and any other information AEMO considers is relevant, to inform itself of any periods of low reserves;
•	determining whether to enter into reserve contracts;
•	consulting with persons nominated by the relevant participating jurisdictions which AEMO is determining whether to contract for reserves in those participating jurisdictions;
•	calling for tenders in relation to providing reserves in the respective regions or in some circumstances, combined regions;
•	evaluating the tenders and dispensing with any tenders that do not provide an undertaking that the reserves are not available to the market through any other arrangements except on terms agreed with AEMO, taking into account:
—	whether the commercial requirements are met;
—	whether the tender is credible, that is, whether it is likely that the tenderer can deliver the offered reserves; and
—	the optimal combination of contracts to deliver the reserves necessary to meet the shortfall;
•	selecting the tenders that AEMO considers to be the optimal portfolio of reserve contracts; and
•	giving consideration to including an early termination clause in the event that the capacity is not needed.
Following contracting of reserves, the actions that AEMO may take includes:
•	monitoring the medium term PASA and the EAAP to determine if there have been any changes since the tenders were prepared and evaluated; and
•	within one month after entering into a contract for reserves, publish the name of the counterparty to the contract and the volume and timing of reserves procured under the contract.	
In section 8.2, omit the dot point starting "giving consideration to including an early termination".	
In section 8.2, omit the dot point starting "selecting the reserve offers that AEMO" and substitute:
•	selecting the reserve offers that AEMO considers to be the optimal portfolio of reserve contracts; and
•	giving consideration to including an early termination clause in the event that the capacity is not needed.	
In section 9, omit "under the RERT for medium or short-notice situations" and substitute "under the RERT for long, medium and short-notice situations".	

(b)	By the commencement date, the Reliability Panel must publish the RERT guidelines in the form amended by paragraph (a).
(c)	For the purposes of paragraph (b), the Reliability Panel is not required to publish the RERT guidelines in accordance with the Rules consultation procedures.
11.107.3	Amendments to RERT procedures
(a)	By the commencement date, AEMO must amend and publish the RERT procedures to take into account:
(1)	the Amending rule; and
(2)	the RERT guidelines as amended under clause 11.107.2.
(b)	In amending the RERT procedures under paragraph (a), AEMO must consult with Registered Participants and other interested parties on AEMO's proposed changes to the RERT procedures for a period of not less than two weeks.
11.107.4	Reserve contracts entered into before the commencement date
Nothing in the Amending rule affects any reserve contract entered into prior to the commencement date.
Part ZZZJ	Register of distributed energy resources
11.108	Rules consequential on the making of the National Electricity Amendment (Register of distributed energy resources) Rule 2018
11.108.1 	Definitions
For the purposes of this rule 11.108:
Amending Rule means the National Electricity Amendment (Register of distributed energy resources) Rule 2018.
commencement date means 1 December 2019.
New clause 3.7E means clause 3.7E of the Rules as will be in force immediately after the commencement date.
11.108.2	AEMO to develop and publish DER register information guidelines
(a)	By 1 June 2019 AEMO must make and publish the first DER register information guidelines under new clause 3.7E and in doing so must comply with the Rules consultation procedures.
11.108.3	NSPs to provide AEMO with existing DER generation information
(a)	No later than the commencement date, Network Service Providers must provide AEMO with all information that they hold which would be DER generation information under the Amending Rule.
(b)	DER generation information provided to AEMO under paragraph (a) must be provided in the form and manner specified in the DER register information guidelines.
(c)	Despite paragraph (a), a Network Service Provider is not required to provide to AEMO DER generation information under paragraph (a) where the collection, use or disclosure of that information by Network Service Providers would breach applicable privacy laws.
Part ZZZK	Generator technical performance standards
11.109	Rules consequential on the making of the National Electricity Amendment (Generator technical performance standards) Rule 2018
11.109.1	Definitions
For the purposes of this rule 11.109:
Agreed Access Standard means an access standard assessed in accordance with the former Chapter 5 that has been agreed by the Network Service Provider and is capable of forming part of the terms and conditions of a connection agreement as the performance standard applicable to the plant for the relevant technical requirement.
Amending Rule means the National Electricity Amendment (Generator technical performance standards) Rule 2018 No. 10.
commencement date means the date of commencement of the Amending Rule.
Conditional Access Standard has the meaning given in clause 11.109.3(e)(1)(ii).
Existing Application To Connect has the meaning given in clause 11.109.3(a)(1).
Existing Connection Enquiry has the meaning given in clause 11.109.2(a)(1).
Existing Connection Agreement means a connection agreement entered into before the commencement date.
former Chapter 5 means Chapter 5 of the Rules as in force immediately prior to the commencement date.
new Chapter 5 means Chapter 5 of the Rules as it will be in force on and from the commencement date, as amended from time to time.
transitional date means 1 February 2019.
11.109.2	Application of the Amending Rule to existing connection enquiries
(a)	This clause 11.109.2 applies where, before the commencement date, a Connection Applicant has, in respect of plant that the Connection Applicant proposes to connect:
(1)	made a connection enquiry in accordance with clauses 5.3.2 or 5.3A.5 (Existing Connection Enquiry); and
(2)	not made an application to connect to a Network Service Provider.
(b)	On and from the commencement date:
(1)	the new Chapter 5 applies for the purposes of determining the access standards that apply to the plant that the Connection Applicant proposes to connect;
(2)	the Existing Connection Enquiry will be taken to be a valid connection enquiry under the new Chapter 5 with respect to the proposed plant; and
(3)	the Network Service Provider must:
(i)	within 10 business days after the commencement date, use its reasonable endeavours to provide written notification to a Connection Applicant to which this clause 11.109.2 applies that the Existing Connection Enquiry will be treated as a connection enquiry under the new Chapter 5; and
(ii)	within 20 business days after providing the written notification in subparagraph (3)(i), in consultation with AEMO and where necessary, provide each Connection Applicant notified under subparagraph (3)(i) with:
(A)	any further information required under clause 5.3.3 of the new Chapter 5 relevant to the proposed plant; and
(B)	written notice of any further information or data to be provided by the Connection Applicant to the Network Service Provider,
to enable the Connection Applicant to submit an application to connect in accordance with the new Chapter 5 with respect to the proposed plant.
(c)	Where the Network Service Provider has charged the Connection Applicant any fees or charges with respect to the Existing Connection Enquiry, the Network Service Provider must not charge the Connection Applicant any additional fees or charges on or from the commencement date with respect to such Existing Connection Enquiry, except to the extent necessary to cover the reasonable costs of work required to notify the Connection Applicant and provide any relevant information under subparagraph (3)(ii). For the avoidance of doubt, this clause 11.109.2(c) does not preclude a Network Service Provider recovering an application fee from the Connection Applicant under clauses 5.3.4(b) or 5.3A.9.
11.109.3	Application of the Amending Rule to existing applications to connect
(a)	This clause 11.109.3 applies where, before the commencement date, a Connection Applicant has, in respect of plant that the Connection Applicant proposes to connect:
(1)	made an application to connect to a Network Service Provider (Existing Application To Connect); and
(2)	not received an offer to connect from the relevant Network Service Provider in respect of the Existing Application To Connect.
(b)	Subject to paragraph (e), on and from the commencement date:
(1)	the new Chapter 5 applies for the purposes of determining the access standards that apply to the plant that the Connection Applicant proposes to connect;
(2)	the Existing Application To Connect will be taken to be a valid application to connect under the new Chapter 5 with respect to the proposed plant; and
(3)	the Network Service Provider must:
(i)	within 10 business days after the commencement date, use its reasonable endeavours to provide written notification to a Connection Applicant to which this clause 11.109.3 applies that the Existing Application To Connect will be treated as an application to connect under the new Chapter 5; and
(ii)	within 20 business days after providing the written notification in subparagraph (3)(i), in consultation with AEMO and where necessary, provide each Connection Applicant notified under subparagraph (3)(i) (with a copy to be provided to AEMO) with:
(A)	any further information required under clause 5.3.3 of the new Chapter 5 relevant to the proposed plant, including for each technical requirement, written details of the automatic access standards, minimum access standards and negotiated access standards that are AEMO advisory matters; and
(B)	written notice of any further information to be provided by the Connection Applicant (which may include information required to be provided under clauses 5.2.5(d) and (e) and Schedule 5.5),
necessary for the Network Service Provider to prepare an offer to connect in accordance with the new Chapter 5 with respect to the proposed plant.
(c)	Where the Network Service Provider has charged the Connection Applicant any fees or charges with respect to the Existing Application To Connect, the Network Service Provider must not charge the Connection Applicant any additional fees or charges on or from the commencement date with respect to such Existing Application To Connect, except to the extent necessary to cover the reasonable costs of work required for the Network Service Provider to prepare an offer to connect in accordance with the new Chapter 5, including the requirements to notify the Connection Applicant and provide any relevant information under subparagraph (b)(3).
(d)	A Network Service Provider to which this clause applies may extend the time period referred to in clause 5.3.6(a) to reasonably allow for any additional time taken in excess of the period allowed in the preliminary program that is necessary to take account of the differences in access standards between the former Chapter 5 and the new Chapter 5.
(e)	Despite the application of paragraph (b), a Connection Applicant may, until the transitional date, continue to negotiate access standards in accordance with the former Chapter 5. Where, subject to paragraph (f), on or before the transitional date, all access standards relevant to the plant are Agreed Access Standards in the reasonable opinion of the Network Service Provider and AEMO, then the Network Service Provider must:
(1)	within 10 business days from receipt of a written request by the Connection Applicant, provide written confirmation to the Connection Applicant:
(i)	that all access standards relevant to the plant are Agreed Access Standards; and
(ii)	identifying any access standards that are agreed subject to certain conditions being satisfied, including where relevant, the date for satisfaction of those conditions (Conditional Access Standard); and
(2)	otherwise, use its reasonable endeavours to provide, within 10 business days after the transitional date, the written confirmation at subparagraphs (e)(1)(i) and (e)(1)(ii) to the relevant Connection Applicant.
(f)	Where:
(1)	the Network Service Provider has provided written confirmation under paragraph (e)(1) or (e)(2); and
(2)	a condition under the Conditional Access Standards was not satisfied,
then on and from the date on which such condition was not satisfied:
(3)	the relevant Conditional Access Standards will be taken to have not been agreed for the purposes of paragraph (e);
(4)	the new Chapter 5 applies for the purposes of determining all access standards that apply to the plant that the Connection Applicant proposes to connect;
(5)	the Existing Application To Connect will be taken to be a valid application to connect under the new Chapter 5 with respect to the proposed plant;
(6)	the Network Service Provider must, in consultation with AEMO, within a further 10 business days from the date on which the condition was not satisfied:
(i)	notify the Connection Applicant that the relevant Conditional Access Standards are no longer Agreed Access Standards and that the Existing Application To Connect will be treated as an application to connect under the new Chapter 5; and
(ii)	provide the Connection Applicant notified under subparagraph (i) with the further information and notice specified in subparagraph (b)(3)(ii) (where applicable); and
(7)	the Network Service Provider must comply with the requirements of paragraphs (c) and (d).
(g)	Notwithstanding this clause 11.109.3, and subject to paragraph (f), if the Network Service Provider provides written confirmation to a Connection Applicant under subparagraphs (e)(1) or (e)(2) (as applicable), the former Chapter 5 applies for the purposes of determining the access standards that apply to the plant that the Connection Applicant proposes to connect under that Existing Application To Connect.
11.109.4	Application of the Amending Rule to existing offers to connect
(a)	This clause 11.109.4 applies where, before the commencement date, a Connection Applicant:
(1)	has received a valid offer to connect from the relevant Network Service Provider in respect of an application to connect; and
(2)	has not entered into a connection agreement with the relevant Network Service Provider in respect of that application to connect.
(b)	On and from the commencement date, the former Chapter 5 applies for the purposes of determining the access standards that apply to the plant that the Connection Applicant proposes to connect under that offer to connect.
11.109.5	Application of the Amending Rule to Existing Connection Agreements
(a)	The Amending Rule is neither intended to, nor to be read or construed as having, the effect of:
(1)	altering the terms of an Existing Connection Agreement;
(2)	altering the contractual rights or obligations of any of the parties under an Existing Connection Agreement; or
(3)	relieving the parties under any such Existing Connection Agreement of their contractual obligations under such an agreement.
(b)	Subject to paragraph (c), if, after the commencement date, a Generator who has entered into an Existing Connection Agreement is required, in accordance with the Rules, to amend any of the performance standards set out in that Existing Connection Agreement, then the new Chapter 5 applies for the purposes of amending such performance standards.
(c)	The former Chapter 5 applies to a Generator who, as at the commencement date, has proposed to alter its generating system and has advised AEMO in accordance with clause 5.3.9, unless:
(1)	AEMO, the Generator and the relevant Network Service Provider agree otherwise; or
(2)	in AEMO's reasonable opinion (in respect of an AEMO advisory matter), there will be an adverse impact on power system security as a result of the application of former Chapter 5.
(d)	The Amending Rule is neither intended to have, nor is it to be read or construed as having, the effect of changing the application of clause 11.6.11 (if applicable) in relation to connection services provided under an Existing Connection Agreement.
Part ZZZL	Generator three year notice of closure
11.110	Rules consequential on the making of the National Electricity Amendment (Generator three year notice of closure) Rule 2018
11.110.1	Definitions
For the purposes of this rule 11.110:
Amending Rule means the National Electricity Amendment (Generator three year notice of closure) Rule 2018.
notice of closure exemption guideline means the first guideline made by the AER under clause 2.10.1(c4).
11.110.2	AER to develop and publish notice of closure exemption guideline
(a)	The AER must make and publish the notice of closure exemption guideline in accordance with the Rules consultation procedure by no later than 31 August 2019.
11.110.3	Application of Amending Rule to AEMO
(a)	AEMO is not required to comply with clause 3.13.3(a)(2A) until 1 March 2019.
11.110.4	Application of Amending Rule to Generators
(a)	Generators are not required to comply with clauses 2.10.1(c1) and (c2) until 1 September 2019.
(b)	A person registered as a Generator on or before 2 March 2019 is taken to have complied with clause 2.2.1(e)(2A)(i) if it provides its expected closure year to AEMO as soon as practicable after that date.
Part ZZZM	Participant compensation following market suspension
11.111	Rules consequential on the making of the National Electricity Amendment (Participant compensation following market suspension) Rule 2018
11.111.1	Definitions
For the purposes of this rule 11.111:
Amending Rule means the National Electricity Amendment (Participant compensation following market suspension) Rule 2018 No. 13.
commencement date means the date on which Schedule 1 of the Amending Rule commences operation.
new clause 3.14.5A means clause 3.14.5A of the Rules as will be in force immediately after the commencement date.
11.111.2	Market suspension compensation methodology and schedule of benchmark values
(a)	By 19 December 2018, AEMO must publish and make available on its website:
(1)	the first market suspension compensation methodology developed in accordance with paragraph (h) of new clause 3.14.5A; and
(2)	the first schedule of benchmark values developed in accordance with paragraph (j) of new clause 3.14.5A.
(b)	AEMO must, on or before the date that is 6 months after publication of the first market suspension compensation methodology, develop, publish and make available on its website an updated market suspension compensation methodology in accordance with the Rules consultation procedures.
Part ZZZN	Global settlement and market reconciliation
11.112	Rules consequential on the making of the National Electricity Amendment (Global settlement and market reconciliation) Rule 2018
11.112.1	Definitions
For the purposes of this rule 11.112:
Amending Rule means the National Electricity Amendment (Global settlement and market reconciliation) Rule 2018.
effective date means 6 February 2022 which is the Commencement Date of Schedules 1 to 4 of the Amending Rule.
new clause 2.2.5(a) means clause 2.2.5(a) of the Rules and all related definitions in the Rules as in force on and from the effective date.
new clause 3.15.5B(a) means clause 3.15.5B(a) of the Rules and all related definitions in the Rules as in force on and from the effective date.
new clause 3.15.5B(d) means clause 3.15.5B(d) of the Rules and all related definitions in the Rules as in force on and from the effective date.
old clause 2.2.5(a) means clause 2.2.5(a) of the Rules and all related definitions in the Rules as in force immediately before the effective date.
new clause 3.15.5(a) means clause 3.15.5(a) of the Rules and all related definitions in the Rules as in force on and from the effective date.
new clause 3.15.5(b) means clause 3.15.5(b) of the Rules and all related definitions in the Rules as in force on and from the effective date.
11.112.2	Amendments to AEMO procedures
(a)	By 1 December 2019, AEMO must review and where necessary amend and publish the following documents to apply from the effective date to take into account the Amending Rule and for the avoidance of doubt, AEMO must amend the following documents to require all metering data from first-tier loads to be provided to AEMO by the relevant Metering Data Provider in accordance with the relevant procedures:
(1)	the Market Settlement and Transfer Solution Procedures;
(2)	the metrology procedure; and
(3)	the service level procedures.
11.112.3	AEMO to publish report on unaccounted for energy trends
(a)	By 1 March 2022 AEMO must prepare and publish on its website the first report on unaccounted for energy required under new clause 3.15.5B(a).
(b)	AEMO is not required to comply with the UFE reporting guidelines required under new clause 3.15.5B(d) when preparing and publishing the report referred to in paragraph (a) for the first time.
11.112.4	Continuation of registration for non-market generators
(a)	Despite new clause 2.2.5(a), a generating unit whose output is purchased in its entirety by the Local Retailer and that has been classified as a non-market generating unit under old clause 2.2.5(a) immediately before the effective date, may continue to be registered as a non-market generating unit.
(b)	The Local Retailer which purchases the entire output from a generating unit that is registered as a non-market generating unit under paragraph (a) is the person that is financially responsible for the connection point at which that non-market generating unit is connected.
11.112.5	Publication of UFE data by AEMO
(a)	For each trading interval in the period commencing on 1 July 2021 and ending immediately before the effective date, AEMO must:
(1)	determine the amount of unaccounted for energy for each local area as if new clause 3.15.5(a) were in effect; and
(2)	publish the amounts determined under subparagraph (1) together with information to enable each Market Customer in a local area to determine the unaccounted for energy amount that would be allocated to that Market Customer's market connection points in that local area as if new clause 3.15.5(b) were in effect.
11.112.6	Publication of UFE reporting guidelines
(a)	AEMO must make and publish the UFE reporting guidelines required under new clause 3.15.5B(d) by 1 December 2022 and in doing so must comply with the Rules consultation procedures.
Part ZZZO	Metering installation timeframes
11.113	Rules consequential on making of the National Electricity Amendment (Metering installation timeframes) Rule 2018
11.113.1	Definitions
For the purposes of this rule 11.113:
Amending Rule means the National Electricity Amendment (Metering installation timeframes) Rule 2018.
Existing meter installation request has the meaning given in clause 11.113.2(a).
commencement date means the date on which the Amending Rule commences operation.
11.113.2	Timeframes for meters to be installed
(a)	This clause 11.113.2 applies where, before the commencement date, a retailer has an outstanding request for a meter to be installed, including in relation to a new connection, at a small customer's premises and that request does not relate to a new meter deployment (as defined in the NERR) or a metering installation malfunction (Existing meter installation request).
(b)	On and from the commencement date, the Amending Rule will apply to an Existing meter installation request as if:
(1)	the timeframe for the meter to be installed for the purposes of clause 7.8.10A(a)(2) ends on the later of:
(i)	6 business days from the date the retailer is informed that the connection service (as defined in clause 5A.A.1) is complete; and
(ii)	6 business days from the commencement date;
(2)	for the purposes of clause 7.8.10B(a)(2), the retailer received the request from the small customer on the commencement date; and
(3)	for the purposes of clause 7.8.10C(a)(1)(ii) and clause 7.8.10C(d), the retailer received the request from the small customer on the commencement date.
Part ZZZP	Early implementation of ISP priority projects
11.114	National Electricity Amendment (Early implementation of ISP priority projects) Rule 2019
11.114.1	Definitions
(a)	Unless otherwise specified, terms defined in clause 5.10.2 have the same meaning when used in this rule 11.114.
(b)	For the purposes of this rule 11.114:
clause 5.16.6 trigger means a trigger event for an ISP Project that is the determination of the AER that the preferred option satisfies the regulatory investment test for transmission, however such a trigger event is described.
ElectraNet means ElectraNet Pty Ltd ACN 094 482 416, trading as ElectraNet, or any successor to its business.
Integrated System Plan means the Integrated System Plan published by AEMO in July 2018.
ISP Projects means a VNI Project, a QNI Project or a SA-NSW Interconnector Project.
Powerlink means the Queensland Electricity Transmission Corporation Limited (ACN 078 849 233), or any successor to its business.
QNI projects means the following projects:
(1)	the QNI Upgrade (Queensland component) ($66.7m) contingent project specified in Powerlink's revenue determination for the regulatory control period commencing 1 July 2017; and
(2)	Reinforcement of Northern Network (QNI upgrade)($63m to$141m) contingent project specified in Transgrid’s revenue determination for the regulatory control period commencing 1 July 2018.
SA-NSW Interconnector Projects means the following projects:
(1)	The NSW to SA interconnector ($276m to $1074m) contingent project specified in Transgrid's revenue determination for the regulatory control period commencing 1 July 2018; and 
(2)	The South Australian Energy Transformation ($200m to $500m) contingent project specified in ElectraNet’s revenue determination for the regulatory control period commencing 1 July 2018.
Transgrid means NSW Electricity Networks Operations PtyLimited (ACN 609 169 959) as trustee for the NSW Electricity Networks Operations Trust, or any successor to its business.
VNI Project means the following project: the Reinforcement of Southern Network ($60m to $393m) contingent project specified in Transgrid’s revenue determination for the regulatory control period commencing 1 July 2018.
11.114.2	Modifications to clause 5.16.6 for ISP VNI and QNI projects
(a)	For the purposes of the application of clause 5.16.6 to a preferred option that is VNI Project or a QNI Project, clause 5.16.6 applies subject to the modifications set out in the following table:

Description	Reference	Transitional treatment	
Requirement for dispute notification period to have passed before application for preferred option analysis	Clause 5.16.6(a)	In clause 5.16.6(a), omit “After the expiry of the 30 day period referred to in clause 5.16.5(c) and where” and substitute “Where”.	
Timing for the AER to make a determination on the preferred option is adjusted so that it cannot be made before the period for notifying a dispute has passed	Clause 5.16.6(b)	Omit clause 5.16.6(b)(1) and substitute:
"(1)	must, within 120 business days of receipt of the request from the applicant (and not earlier than 30 days of receipt of the request from the applicant), subject to paragraph (c), make and publish a determination, including reasons for its determination;"	
Include new provisions that prevent the AER from making a determination on the preferred option if a dispute has been raised and not resolved	New clause 5.16.6(d) and (e)	After clause 5.16.6(c), insert:
(d)	The AER must not make a determination under this clause 5.16.6 if at any time after receipt of the request from the applicant under paragraph (a) and before the determination is made, a person gives notice of a dispute under clause 5.16.5(c) and the dispute has not been resolved.
(e)	For the purposes of paragraph (d), a dispute is taken to be resolved if:
(1)	the AER has rejected that dispute under clause 5.16.5(d)(1);
(2)	the AER has made and published a determination under clause 5.16.5(d)(3)(ii); or
(3)	the AER has made and published a determination under clause 5.16.5(d)(3)(i) and the applicant has amended the project assessment conclusions report as directed by the AER.	

11.114.3	Modifications to clause 6A.8.2 for ISP projects
(a)	For the purposes of  the application of rule 6A.8 (Contingent Projects) to a preferred option that is an ISP Project, rule 6A.8 applies subject to the modifications set out in the following table:

Description	Reference	Transitional treatment	
Ability for application for amendment of revenue determination to occur without all trigger events having been met	Clause 6A.8.2(a) and (b)	1.	In clause 6A.8.2(a), omit "where a trigger event for a contingent project in relation to that revenue determination  has occurred" and substitute "in respect of a contingent project included in the relevant revenue determination".
2.	Omit clause 6A.8.2(b)(2) and substitute:
(2)	must, subject to subparagraph (1), be made as soon as practicable after the occurrence of the trigger event;
3.	 After clause 6A.8.2(b)(2), insert:
(2A)	may, subject to paragraph (1), be made at any time, after the occurrence of all triggers that make up the trigger event for a contingent project, other than a clause 5.16.6 trigger;
4.	Omit clause 6A.8.2(b)(3)(i) and substitute:
(i)	except in the case of a clause 5.16.6 trigger, an explanation that substantiates the occurrence of the trigger event;	
Requirement for AER to notify the public if application for amendment to revenue determination is submitted before a clause 5.16.6 trigger is satisfied	Clause 6A.8.2(c)	At the end of clause 6A.8.2(c), insert "If at the time the application is received, the clause 5.16.6 trigger has not yet occurred, the AER must specify in its notice under this paragraph (c) that the clause 5.16.6 trigger has not been satisfied and that a final determination will not be made under paragraph (e) unless and until the clause 5.16.6 trigger is satisfied."	
Time period for the making of a decision on an application in respect of an ISP Priority Project	Clause 6A.8.2(d)	Omit clause 6A.8.2(d) and substitute:
(d)	the AER must consider any written submissions made under paragraph (c) and must make its decision on the application within 40 business days from the later of:
(i)	the date the AER receives the application;
(ii)	the date the AER receives any information required by the AER under paragraph (h1); and
(iii)	the occurrence of a clause 5.16.6 trigger that comprises a trigger event.
In doing so the AER may also take into account such other information as it considers appropriate, including any analysis (such as benchmarking) that is undertaken by it for that purpose.	
Requirement that clause 5.16.6 trigger is satisfied before amendment to revenue determination is approved	Clause 6A.8.2(e)	In clause 6A.8.2(e), after "If the AER is satisfied that the trigger event has occurred, insert "(including, for the avoidance of doubt, any clause 5.16.6 trigger that comprises a trigger event)".	

Part ZZZQ	Enhancement to the Reliability and Emergency Reserve Trader
11.115	Rules consequential on the making of the National Electricity Amendment (Enhancement to the reliability and emergency reserve trader) Rule 2019
11.115.1	Definitions
For the purposes of this rule 11.115:
Amending rule means the National Electricity Amendment (Enhancement to the reliability and emergency reserve trader) Rule 2019.
commencement date means 26 March 2020.
Guidelines means the RERT guidelines as in force immediately before the commencement of Schedule 3 of the Amending rule.
initial clause 3.20.6 means clause 3.20.6 as in force immediately after the reporting date other than the subsequent reporting requirements.
new clause 3.20.7(e) means clause 3.20.7(e) in force immediately after the commencement date.
old clause 3.20.6 means clause 3.20.6 as in force immediately before the reporting date.
pre-commencement date reserve arrangements means:
(a)	any reserve contracts entered into after the reporting date and prior to the commencement date; and
(b)	any dispatch or activation of reserves that occurred after the reporting date and prior to the commencement date.
pre-reporting date reserve arrangements means:
(a)	any reserve contracts entered into prior to the reporting date; and
(b)	any dispatch or activation of reserves that occurred prior to the reporting date.
reporting date means 31 October 2019.
RERT procedures means the procedures made under clause 3.20.7(e).
subsequent clause 3.20.6 means clause 3.20.6 as in force immediately after the reporting date.
subsequent reporting requirements means the reporting requirements in clauses 3.20.6(d)(2)(i), (d)(2)(ii), (d)(3), (d)(4), (d)(5) and (e)(9).
11.115.2	New RERT guidelines
By 30 August 2019, the Reliability Panel must amend and publish the Guidelines to take into account the Amending rule with the amended Guidelines to take effect from the commencement date.
11.115.3	Amendments to RERT procedures
By the commencement date, AEMO must amend and publish the RERT procedures to take into account:
(a)	the Amending rule; and
(b)	the RERT guidelines as amended under clause 11.115.2,
in accordance with new clause 3.20.7(e) with the amended RERT procedures to take effect from the commencement date.
11.115.4	Reserve contracts entered into before the commencement date
Nothing in the Amending rule affects any reserve contract entered into prior to the commencement date.
11.115.5	Clause 3.20.6 (Reporting on RERT by AEMO)
(a)	AEMO is not required to comply with initial clause 3.20.6 in relation to pre-reporting date reserve arrangements and must comply with old clause 3.20.6 in relation to those arrangements.
(b)	AEMO is not required to comply with subsequent clause 3.20.6 in relation to pre-commencement date reserve arrangements and must comply with initial clause 3.20.6 in relation to those arrangements.
Part ZZZR	Retailer Reliability Obligation
11.116	Rules consequential on the making of the National Electricity Amendment (Retailer Reliability Obligation) Rule 2019
11.116.1	Application
(a)	For the purposes of this rule 11.116:
Amending Rule means the National Electricity Amendment (Retailer Reliability Obligation) Rule 2019.
ASX24 means the financial market operated by Australian Securities Exchange Limited (ACN 000 943 377) under the Australian Market Licence (Australian Securities Exchange Limited) 2002.
commencement date means the date of commencement of Schedules 1, 3, 4 and 5 of the Amending Rule.
financial market has the meaning given under Chapter 7 of the Corporations Act 2001 (Cth).
(b)	Terms defined in Chapter 4A have the same meaning when used in this Part ZZZR.
11.116.2	Reliability Instrument Guidelines
(a)	The AER must make and publish interim Reliability Instrument Guidelines by 31 July 2019 to apply until the Reliability Instrument Guidelines are made and published under paragraph (c).
(b)	The AER is not required to comply with the Rules consultation procedures when making the interim guidelines under paragraph (a).
(c)	The AER must make and publish Reliability Instrument Guidelines under clause 4A.C.12 by 31 July 2020 and in so doing must comply with the Rules consultation procedures.
11.116.3	Forecasting Best Practice Guidelines
(a)	The AER must make and publish interim Forecasting Best Practice Guidelines by 30 September 2019 to apply until the Forecasting Best Practice Guidelines are made and published under paragraph (c).
(b)	The AER is not required to comply with the Rules consultation procedures when making the interim guidelines under paragraph (a).
(c)	The AER must make and publish Forecasting Best Practice Guidelines under clause 4A.B.5 by 30 November 2020 and in so doing must comply with the Rules consultation procedures.
(d)	Despite any other provision of the Rules (including any guideline or procedures made under the Rules):
(1)	when preparing a reliability forecast and indicative reliability forecast for a statement of opportunities published in 2019, AEMO is not required to follow the Forecasting Best Practice Guidelines; and
(2)	the AER is not required to have regard to the Forecasting Best Practice Guidelines under clause 4A.C.9 for the purposes of considering a request made by AEMO under clause 4A.C.2 based on a reliability forecast for a statement of opportunities published in 2019 or any update of the 2019 statement of opportunities published under clause 3.13.3A(b).
11.116.4	Reliability Forecast Guidelines
(a)	AEMO must make and publish on its website interim Reliability Forecast Guidelines by 31 December 2019 to apply until the Reliability Forecast Guidelines are made and published under paragraph (c).
(b)	AEMO is not required to comply with the Rules consultation procedures when making the interim guidelines under paragraph (a).
(c)	AEMO must make and publish on its website Reliability Forecast Guidelines under clause 4A.B.4 by 28 February 2021 and in so doing must comply with the Rules consultation procedures.
(d)	Despite any other provision of the Rules (including any guideline or procedures made under the Rules), AEMO is not required to follow the Reliability Forecast Guidelines in preparing a reliability forecast and indicative reliability forecast for a statement of opportunities published in 2019 or any update of the 2019 statement of opportunities published under clause 3.13.3A(b).
(e)	AEMO must not make a request for information under clause 3.13.3A(d) until the guidelines are made and published under paragraph (a).
(f)	For the purposes of preparing the 2019 statement of opportunities, clause 3.13.3A(g) is replaced with the following:
As soon as practicable after a Scheduled Generator, Semi-Scheduled Generator, Market Participant or Transmission Network Service Provider becomes aware of any information required for publication by AEMO under paragraph (a), that information must be provided to AEMO by that Scheduled Generator, Semi-Scheduled Generator, Market Participant or Transmission Network Service Provider.
11.116.5	AER Opt-in Guidelines
(a)	A person is not eligible to be registered as an opt-in customer until the AER Opt-In Guidelines are made and published under clause 4A.D.13.
(b)	The AER must make and publish the AER Opt-In Guidelines by no later than 30 June 2020.
11.116.6	Contracts and Firmness Guidelines
(a)	The AER must make and publish interim Contracts and Firmness Guidelines by 31 August 2019 to apply until the Contracts and Firmness Guidelines are made and published under paragraph (c).
(b)	The AER is not required to comply with the Rules consultation procedures when making the interim guidelines under paragraph (a).
(c)	The AER must make and publish Contracts and Firmness Guidelines under clause 4A.E.8 by 31 December 2020 and in so doing must comply with the Rules consultation procedures.
11.116.7	Qualifying contracts under interim Contracts and Firmness Guidelines
Qualifying contracts entered into by a liable entity:
(a)	after the interim Contracts and Firmness guidelines are made under clause 11.116.6(a); and
(b)	before the final Contracts and Firmness guidelines are made under clause 11.116.6(c),
will continue to be treated in accordance with the interim guidelines published under clause 11.116.6(a) for the purposes of Chapter 4A, Part E unless the liable entity elects to apply a firmness methodology set out in the Contracts and Firmness Guidelines made under clause 11.116.6(c).
11.116.8	Grandfathering arrangements
(a)	In this clause, a "licensed retailer" means a person who holds a retailer authorisation under the NERL or an electricity retail licence under the Electricity Industry Act 2000 (Vic).
(b)	This clause:
(1)	applies to:
(i)	a Market Customer; or
(ii)	an opt-in customer,
who is not a licensed retailer ("Transitional Customer"); and
(2)	does not apply in relation to a liable entity's own generation or load curtailment.
(c)	If:
(1)	a Transitional Customer is a party to a qualifying contract which reduces the Transitional Customer's exposure to the volatility of the spot price in a relevant region during the gap trading intervals for the load for which it is a liable entity; and
(2)	that qualifying contract was in effect as at 10 August 2018,
("transitional contract") then for the purposes of clauses 4A.E.2 and 4A.E.3, that qualifying contract is taken to have a firmness factor of one.
(d)	For the purposes of paragraph (c), the following contracts are taken to be qualifying contracts:
(1)	an electricity retail supply agreement between the Transitional Customer and a licensed retailer for a connection point for which it is a liable entity; and
(2)	a contract for the supply of electricity in effect as at 13 December 1998 and that was also in effect as at 10 August 2018 under which a Transitional Customer is supplied electricity at a connection point ("pre-NEM transitional contract").
(e)	Paragraph (c) applies until:
(1)	the end of the term of the transitional contract specified in that transitional contract as at 10 August 2018, excluding any extension or renewal of such term even if the right to extend or renew existed as at 10 August 2018; or
(2)	if no term is specified, 1 July 2023.
(f)	If subparagraph (e)(2) applies to a pre-NEM transitional contract, then that contract will continue to be taken to be a qualifying contract but, on and from 1 July 2023, the firmness factor for that qualifying contract will no longer taken to be one and must be determined in accordance with Chapter 4A Part E.
11.116.9	Reliability Compliance Procedures and Guidelines
The AER must make and publish the Reliability Compliance Procedures and Guidelines by 31 December 2020.
11.116.10	MLO Guidelines
(a)	The AER must make and publish interim MLO Guidelines by 31 August 2019 to apply until the MLO Guidelines are made and published under paragraph (d).
(b)	The AER is not required to comply with the Rules consultation procedures when making the interim guidelines under paragraph (a).
(c)	The interim MLO Guidelines must include those matters referred to in clauses 4A.G.25(b)(6) – (10) (inclusive) but without limitation to any other matters the AER considers appropriate.
(d)	The AER must make and publish MLO Guidelines under clause 4A.G.25 by 31 December 2020 and in so doing must comply with the Rules consultation procedures.
11.116.11	Application of Part G, Divisions 2 – 6 (inclusive)
(a)	Clauses 4A.G.3 to 4A.G.14 (inclusive) commence on and from 1 July 2021.
(b)	To the extent a liquidity period occurs during the period on and from the commencement date to 30 June 2021, the following clauses apply subject to paragraph (c):
(1)	clause 4A.G.15 ('Notices prior to liquidity period');
(2)	clause 4A.G.16 ('Duration of liquidity period');
(3)	clause 4A.G.17 ('Liquidity obligation');
(4)	clause 4A.G.18 ('Performing a liquidity obligation');
(5)	clause 4A.G.19 ('Volume limits');
(6)	clause 4A.G.20 ('Appointment of MLO nominee');
(7)	clause 4A.G.21 ('Exemptions');
(8)	clause 4A.G.22 ('MLO products');
(9)	clause 4A.G.23 ('MLO exchange'); and
(10)	clause 4A.G.24 ('MLO compliance and reporting').
(c)	To the extent a liquidity period occurs during the period on and from the commencement date to 30 June 2021, each of the following terms has the meaning given in (and is to be construed in accordance with) clause 11.116.12:
(1)	MLO generator;
(2)	MLO group;
(3)	generator capacity;
(4)	traced capacity; and
(5)	trading group capacity.
(d)	Clause 4A.G.16(d)(3) does not apply until a MLO register is published by the AER.
11.116.12	Interim deeming of MLO generators and MLO groups
For the purposes of Part G, the following will apply during the period on and from the commencement date until 30 June 2021:
(a)	MLO generator means, for a region, each Market Generator listed under the column "MLO generator" in the relevant table below and comprises each scheduled generating unit listed next to the Market Generator.
(b)	MLO group means, for a region, each MLO group listed under the column "MLO group" in the relevant table below and comprises:
(1)	each MLO generator listed next to that MLO group in the relevant table; and
(2)	each scheduled generating unit listed next to the MLO generator described in subparagraph (1).
(c)	Generator capacity means, for each MLO generator for a region, the registered capacity in the column "Registered capacity" in the relevant table below next to the relevant scheduled generating unit.
(d)	Each MLO generator, for a region, is taken to have a single parcel of traced capacity equal to the sum of its generator capacities in that region.
(e)	In respect of each MLO generator for a region, each parcel of traced capacity is taken to be allocated to its MLO group.
(f)	In respect of a MLO group, for a region, at any time in a liquidity period, trading group capacity means, the aggregate generator capacity of each MLO generator which is taken to form part of that MLO group:
(1)	less the registered capacity of any scheduled generating unit:
(i)	that is taken to form part of that MLO group; and
(ii)	which is the subject of an AER determination under paragraph (g) in respect of the relevant forecast reliability gap period; and
(2)	plus the registered capacity of any scheduled generating unit that is the subject of an AER determination under paragraph (h) in respect of the relevant forecast reliability gap period.
(g)	During a liquidity period or from a specified time in a liquidity period, the AER may determine that, the registered capacity of a scheduled generating unit that is taken to form part of a MLO group, is not included for the purposes of determining that MLO group's trading group capacity, if the AER is satisfied in accordance with the interim MLO Guidelines that:
(1)	the relevant MLO generator has no direct or indirect ownership interest in that scheduled generating unit; and
(2)	the relevant MLO generator does not have dispatch control over that scheduled generating unit.
(h)	During a liquidity period or from a specified time in a liquidity period, the AER may determine that, the registered capacity of a scheduled generating unit that is not taken to form part of a MLO group, will be included for the purposes of determining that MLO group's trading group capacity where, the AER is satisfied in accordance with the interim MLO Guidelines that a MLO generator forming part of that MLO group has dispatch control over that scheduled generating unit.
(i)	The AER must publish any determination made under paragraph (g) or (h).
Victoria

MLO group	MLO generators	Scheduled generating units	Registered capacity	
AGL	AGL Hydro Partnership	Bogong / Mackay Power Station (units 1-3)	0	
		Bogong / Mackay Power Station (units 1-2)	308.2	
		Dartmouth Power Station (unit 1)	150	
		Eildon Power Station (unit 1)	60	
		Eildon Power Station (unit 1b)	0	
		Eildon Power Station (unit 2)	60	
		Eildon Power Station (unit 2b)	0	
		Somerton Power Station (units 1 – 4)	170	
AGL	AGL Hydro Partnership	West Kiewa Power Station (unit 1)	31	
		West Kiewa Power Station (unit 2)	31	
	AGL Loy Yang Marketing Pty Ltd	Loy Yang A Power Station (unit 1)	560	
		Loy Yang A Power Station (unit 2)	530	
		Loy Yang A Power Station (unit 3)	560	
		Loy Yang A Power Station (unit 4)	560	
Energy Australia	Energy Australia Yallourn Pty Ltd	Yallourn 'W' Power Station (unit 1)	360	
		Yallourn 'W' Power Station (unit 2)	360	
		Yallourn 'W' Power Station (unit 3)	380	
		Yallourn 'W' Power Station (unit 4)	380	
	Energy Australia Pty Ltd	Ballarat Battery Energy Storage System (units 1–17)	30	
		Gannawarra Energy Storage System (units 1-50)	30.875	
Snowy Hydro	Snowy Hydro Limited	Valley Power Peaking Facility (units 1-6)	50	
		Valley Power Peaking Facility (units 2-6)	50	
		Valley Power Peaking Facility (units 3-6)	50	
		Valley Power Peaking Facility (units 4-6)	50	
		Valley Power Peaking Facility (units 5-6)	50	
		Valley Power Peaking Facility (units 6-6)	50	
		Laverton North Power Station (unit 1)	156	
Snowy Hydro	Snowy Hydro Limited	Laverton North Power Station (unit 2)	156	
		Murray Power Station (units 1-10)	1502	
		Murray Power Station (units 11-14)	0	

South Australia

MLO group	MLO generators	Scheduled generating units	Registered capacity	
AGL	AGL SA Generation Pty Limited	Torrens Island Power Station A (unit 1)	120	
		Torrens Island Power Station A (unit 2)	120	
		Torrens Island Power Station A (unit 3)	120	
		Torrens Island Power Station A (unit 4)	120	
		Torrens Island Power Station B (unit 1)	200	
		Torrens Island Power Station B (unit 2)	200	
		Torrens Island Power Station B (unit 3)	200	
		Torrens Island Power Station B (unit 4)	200	
	Greentricity Pty Ltd	Dalrymple North Battery Energy Storage System (units 1-12)	30	
Origin	Origin Energy Electricity Limited	Ladbroke Grove Power Station (unit 1)	40	
		Ladbroke Grove Power Station (unit 2)	40	
		Osborne Power Station (unit 1)	180	
		Osborne Power Station (unit 2)	0	
		Quarantine Power Station (unit 1)	29	
Origin	Origin Energy Electricity Limited	Quarantine Power Station (unit 2)	24	
		Quarantine Power Station (unit 3)	24	
		Quarantine Power Station (unit 4)	24	
		Quarantine Power Station (unit 5)	128	
Engie	Pelican Point Power Limited	Pelican Point Power Station (units 1-2)	478	
		Pelican Point Power Station (unit 3)	0	
	Synergen Power Pty Limited	Dry Creek Gas Turbine Station (unit 1)	52	
		Dry Creek Gas Turbine Station (unit 2)	52	
		Dry Creek Gas Turbine Station (unit 3)	52	
		Mintaro Gas Turbine Station (unit 1)	90	
		Port Lincoln Gas Turbine (units 1-2)	50	
		Port Lincoln Gas Turbine (unit PL3)	23.5	
		Snuggery Power Station (units 1-3)	63	

New South Wales

MLO group	MLO generators	Scheduled generating units	Registered capacity	
AGL	AGL Macquarie Pty Limited	Bayswater Power Station (unit 1)	660	
		Bayswater Power Station (unit 2)	660	
		Bayswater Power Station (unit 3)	660	
AGL	AGL Macquarie Pty Limited	Bayswater Power Station (unit 4)	660	
		Hunter Valley Gas Turbine (units 1-2)	50	
		Liddell Power Station (unit 1)	500	
		Liddell Power Station (unit 2)	500	
		Liddell Power Station (unit 3)	500	
		Liddell Power Station (unit 4)	500	
Origin	Origin Energy Electricity Limited	Eraring Power Station (unit 1)	720	
		Eraring Power Station (unit 2)	720	
		Eraring Power Station (unit 3)	720	
		Eraring Power Station (unit 4)	720	
		Shoalhaven Power Station (Bendeela And Kangaroo Valley Power Station And Pumps) (units 1-2)	240	
		Shoalhaven Power Station (Bendeela And Kangaroo Valley Power Station And Pumps) (units 304)	0	
		Uranquinty Power Station (unit 1)	166	
		Uranquinty Power Station (unit 2)	166	
		Uranquinty Power Station (unit 3)	166	
		Uranquinty Power Station (unit 4)	166	
Snowy Hydro	Snowy Hydro Limited	Blowering Power Station (unit 1)	70	
		Colongra Power Station (unit 1)	181	
		Colongra Power Station (unit 2)	181	
		Colongra Power Station (unit 3)	181	
		Colongra Power Station (unit 4)	181	
		Guthega Power Station (units 1-2)	60	
Snowy Hydro	Snowy Hydro Limited	Tumut 3 Power Station (units 1-6)	1500	
		Tumut Power Station (units 1-4)	616	
		Tumut Power Station (units 5-8)	0	

Queensland

MLO group	MLO generators	Scheduled generating units	Registered capacity	
CS Energy	Callide Power Trading Pty Limited	Callide C Nett Off (unit 4)	420	
	CS Energy Limited	Callide Power Station (unit 1)	350	
		Callide Power Station (unit 2)	350	
		Gladstone Power Station (unit 1)	280	
		Gladstone Power Station (unit 2)	280	
		Gladstone Power Station (unit 3)	280	
		Gladstone Power Station (unit 4)	280	
		Gladstone Power Station (unit 5)	280	
		Gladstone Power Station (unit 6)	280	
		Kogan Creek Power Station (unit 1)	744	
		Wivenhoe Power Station (unit 1)	250	
		Wivenhoe Power Station (unit 2)	250	
Stanwell	Stanwell Corporation Limited	Barron Gorge Power Station (unit 1)	30	
		Barron Gorge Power Station (unit 2)	30	
		Kareeya Power Station (unit 1)	21	
		Kareeya Power Station (unit 2)	21	
		Kareeya Power Station (unit 3)	21	
		Kareeya Power Station (unit 4)	21	
		Mackay Gas Turbine (unit 1)	30	
		Stanwell Power Station (unit 1)	365	
		Stanwell Power Station (unit 2)	365	
Stanwell	Stanwell Corporation Limited	Stanwell Power Station (unit 3)	365	
		Stanwell Power Station (unit 4)	365	
		Swanbank B Power Station & Swanbank E Gas Turbine (unit 1)	385	
		Tarong North Power Station (unit 1)	443	
		Tarong Power Station (unit 1)	350	
		Tarong Power Station (unit 2)	350	
		Tarong Power Station (unit 3)	350	
		Tarong Power Station (unit 4)	350	

11.116.13	MLO information template
(a)	The AER must develop and publish a MLO information template ("MLO information template") by 31 October 2020 that provides for each Market Generator to provide the information identified in clause 4A.G.13 as at 31 January 2021.
(b)	Each person who, at 31 January 2021, is a Market Generator must comply with clause 4A.G.13 by completing and delivering to the AER the MLO information template, by no later than 31 January 2021.
(c)	For the purposes of complying with paragraph (b), a Market Generator is to provide the information identified in clause 4A.G.13 as at 31 January 2021 and as if clause 11.116.12 were not in effect at such time.
11.116.14	Initial MLO register
(a)	The AER must develop and publish by 31 May 2021 a MLO Register under clause 4A.G.12 containing all required information in respect of persons registered as Market Generators as at 31 January 2021.
(b)	The AER is not required to comply with the Rules consultation procedures when preparing the MLO register under paragraph (a).
11.116.15	Approved MLO products list
In respect of each region, the AER must make and publish by 1 October 2019 an initial list of MLO products that:
(a)	satisfy the criteria set out in clause 4A.G.22(a); or
(b)	are otherwise approved to be MLO products by the AER pursuant to clause 4A.G.22(b).
11.116.16	Designated MLO exchange
The ASX24 will be taken to be a MLO exchange from the commencement date, unless and until the AER determines that it no longer satisfies the criteria set out in clause 4A.G.23.
11.116.17	Five minute settlement intervals
On and from 1 July 2021:
(a)	for a reliability instrument requested or issued prior to 1 July 2021, the trading intervals specified in that reliability instrument will be deemed to refer to the corresponding 6 continuous 5-minute trading intervals (as defined under Chapter 10 of the Rules in force immediately after 1 July 2021) which cover the same period of time; and
(b)	when determining whether a T-1 reliability instrument is related to a T-3 reliability instrument issued prior to 1 July 2021, the trading intervals specified in that T-3 reliability instrument will be deemed to refer to the corresponding 6 continuous 5-minute trading intervals (as defined under Chapter 10 of the Rules in force immediately after 1 July 2021) which cover the same period of time referred to in the T-1 reliability instrument.
11.116.18	Review by AEMC
(a)	By 1 July 2023, the AEMC must conduct a review of the operation of Chapter 4A including any other matter which the AEMC reasonably believes is relevant to the operation of Chapter 4A.
(b)	In conducting its review under paragraph (a), the AEMC must:
(1)	publish the terms of reference of its review; and
(2)	follow the Rules consultation procedures.
Note
This clause does not preclude the AEMC from conducting a review in accordance with section 45 of the National Electricity Law.
Part ZZZS	Transparency of new projects
11.117	Rules consequential on the making of the National Electricity Amendment (Transparency of new projects) Rule 2019
11.117.1	Definitions
(a)	For the purposes of this rule 11.117:
early connection information means key connection information received by a Transmission Network Service Provider between 7 November 2019 and 19 December 2019:
(1)	in a connection enquiry under rule 5.3;
(2)	in an application to connect under rule 5.3; or
(3)	under new clause 5.3.8(d1) or clause 5.3.8(e).
key connection information means key connection information as defined under Chapter 10 of the Rules as in force immediately after commencement of Schedules 2 and 3 of the National Electricity Amendment (Transparency of new projects) Rule 2019.
(b)	For the purposes of this rule 11.117, a reference to a new clause is a reference to that clause as it is either set to commence or has commenced pursuant to the National Electricity Amendment (Transparency of new projects) Rule 2019.
11.117.2	Generation information page
AEMO is not required to comply with new clause 3.7F(a) until 31 January 2020.
11.117.3	Generation information guidelines
(a)	The first generation information guidelines developed by AEMO under new clause 3.7F(e) must be published by AEMO by 31 July 2020.
(b)	AEMO must make and publish interim generation information guidelines by 5 December 2019 to apply until the guidelines described in paragraph (a) are made and published under new clause 3.7F(e).
(c)	AEMO is not required to comply with the Rules consultation procedures when making the interim generation information guidelines under paragraph (b).
(d)	The interim generation information guidelines made under paragraph (b):
(1)	must not require the provision to AEMO of key connection information received by a Transmission Network Service Provider prior to 7 November 2019;
(2)	may only require Transmission Network Service Providers to provide early connection information to AEMO to the extent that the relevant Connection Applicant that disclosed the information to the Transmission Network Service Provider consents to its disclosure to AEMO; and
(3)	must include those matters referred to in new clause 3.7F(e) but without limitation to any other matters AEMO considers appropriate.
(e)	Transmission Network Service Providers are not required to comply with the interim generation information guidelines made under paragraph (b) until 19 December 2019.
11.117.4	Provision and use of information
Transmission Network Service Providers are not required to comply with new clause 3.7F(g) until 19 December 2019.
Part ZZZT	Demand management incentive scheme and innovation allowance for TNSPs
11.118	Rules consequential on the making of the National Electricity Amendment (Demand management incentive scheme and innovation allowance for TNSPs) Rule 2019
11.118.1	Definitions
(a)	In this rule 11.118:
Amending Rule means the National Electricity Amendment (Demand management incentive scheme and innovation allowance for TNSPs) Rule 2019.
commencement date means the date Schedules 1, 2 and 3 of the Amending Rule commence.
new clause 6A.7.6 means clause 6A.7.6 of the Rules as in force immediately after the commencement date.
(b)	Italicised terms used in this rule have the same meaning as under Schedule 2 of the Amending Rule.
11.118.2	AER to develop and publish the demand management innovation allowance mechanism
(a)	By 31 March 2021, the AER must develop and publish the first demand management innovation allowance mechanism required under new clause 6A.7.6.
Part ZZZU	Application of the regional reference node test to the Reliability and Emergency Reserve Trader
11.119	Rules consequential on the making of the National Electricity Amendment (Application of the regional reference node test to the Reliability and Emergency Reserve Trader) Rule 2019
11.119.1	Definitions
For the purposes of this rule 11.119:
Amending Rule means the National Electricity Amendment (Application of the regional reference node test to the Reliability and Emergency Reserve Trader) Rule 2019.
commencement date means 20 December 2019.
old Chapter 3 means Chapter 3 of the Rules and all related definitions in the Rules as in force immediately prior to the commencement date.
11.119.2	AEMO intervention event in effect on commencement date
If:
(a)	AEMO issues a direction prior to the commencement date; and
(b)	that direction remains in effect on or after the commencement date,
then, for so long as the direction remains in effect, old Chapter 3 will apply in respect of the AEMO intervention event corresponding with the direction.
Part ZZZV	Improving Transparency and Extending Duration of MT PASA
11.120	Rules consequential on the making of the National Electricity Amendment (Improving transparency and extending duration of MT PASA) Rule 2020
11.120.1	AEMO to update spot market operations timetable
By 20 August 2020, AEMO must amend and publish the timetable to take into account the National Electricity Amendment (Improving transparency and extending duration of MT PASA) Rule 2020 No. 1.
Part ZZZW	Victorian jurisdictional derogation – RERT contracting
11.121	Rules consequential on the making of the National Electricity Amendment (Victorian jurisdictional derogation - RERT contracting) Rule 2020
11.121.1	Definitions
For the purposes of this rule 11.121:
Amending Rule means the National Electricity Amendment (Victorian jurisdictional derogation – RERT contracting) Rule 2020.
effective date means the date on which Schedule 1 of the Amending Rule commences operation.
Procedures means the procedures made under clause 3.20.7(e).
11.121.2	Procedures
(a)	By the effective date, AEMO must amend and publish the Procedures to take into account the Amending Rule, with those amendments to take effect from the effective date.
(b)	AEMO is not required to comply with the Rules consultation procedures when amending the Procedures in accordance with paragraph (a).
Part ZZZX	Mandatory primary frequency response
11.122	Rules consequential on the making of the National Electricity Amendment (Mandatory primary frequency response) Rule 2020
11.122.1	Definitions
For the purposes of this rule 11.122:
Amending Rule means the National Electricity Amendment (Mandatory primary frequency response) Rule 2020.
commencement date means 26 March 2020.
interim Primary Frequency Response Requirements means the interim requirements developed and published by AEMO in accordance with clause 11.122.2(a).
new clause 4.4.2A(a) means clause 4.4.2A(a) of the Rules as in force on the commencement date.
new clause 4.4.2A(b) means clause 4.4.2A(b) of the Rules as in force on the commencement date
11.122.2	Interim Primary Frequency Response Requirements
(a)	AEMO must develop, publish on its website and maintain interim Primary Frequency Response Requirements by 4 June 2020 to apply until the Primary Frequency Response Requirements are made and published under paragraph (d).
(b)	AEMO is not required to comply with the Rules consultation procedures when making the interim Primary Frequency Response Requirements under paragraph (a) but must publish a draft of the interim Primary Frequency Response Requirements on its website by 9 April 2020 and provide at least 20 business days for written submissions from any person on this draft.
(c)	The interim Primary Frequency Response Requirements must:
(1)	take into account any submissions on the draft of the interim Primary Frequency Response Requirements received under paragraph (b);
(2)	include the matters to be included in the Primary Frequency Response Requirements under new clause 4.4.2A(b); and
(3)	set out the process for the coordinated activation of changes to generating systems, including the date (which may vary according to plant type) by which Scheduled Generators and Semi-Scheduled Generators must effect changes to their plant, to comply with the Interim Primary Frequency Response Requirements.
(d)	AEMO must publish the Primary Frequency Response Requirements under new clause 4.4.2A(a) by 6 December 2021.
11.122.3	Action taken prior to commencement
Any action taken by AEMO, a Scheduled Generator, or Semi-Scheduled Generator prior to the commencement date in anticipation of the commencement of the Amending Rule is deemed to have been taken for the purpose of the Amending Rule and continues to have effect for that purpose.
Part ZZZY	System restart services, standards and testing
11.123	Rules consequential on the making of the National Electricity Amendment (System restart services, standards and testing) Rule 2020
11.123.1	Definitions
For the purposes of this rule 11.123:
Amending Rule means the National Electricity Amendment (System restart services, standards and testing) Rule 2020.
commencement date means the date of commencement of Schedule 1 of the Amending Rule.
new clause 3.15.6A means clause 3.15.6A of the Rules as will be in force immediately after the commencement date.
new clause 4.3.6 means clause 4.3.6 of the Rules as will be in force immediately after the commencement date.
transitional date means the date of commencement of Schedule 2 of the Amending Rule.
Test Participant has the meaning given to it in new clause 4.3.6.
11.123.2	SRAS Guideline
(a)	By the commencement date, and in accordance with the Rules consultation procedures, AEMO must amend the SRAS Guideline to take into account the Amending Rule.
(b)	If, prior to the transitional date and for the purposes of amending the SRAS Guideline in anticipation of the Amending Rule, AEMO undertook consultation or a step equivalent to that required in the Rules consultation procedures, then that consultation or step is taken to satisfy the equivalent consultation or step under the Rules consultation procedures. 
11.123.3	System restart standard
(a)	As soon as practicable after the transitional date, and in accordance with the consultation requirements in clause 8.8.3, the Reliability Panel must update the system restart standard to take into account the Amending Rule.
(b)	On and from the commencement date and until such time as the system restart standard is updated in accordance with paragraph (a), the system restart standard is to be interpreted as if it applied to system restart ancillary services as defined under the Amending Rule.
11.123.4	Communication protocols
By 30 April 2021, and in accordance with the Rules consultation procedures, AEMO and Network Service Providers must jointly update the communication protocols prepared under clause 4.8.12(j) to take into account the Amending Rule.
11.123.5	System restart tests
(a)	If, prior to the commencement date:
(1)	AEMO and a Transmission Network Service Provider agree to conduct a test of a kind contemplated by new clause 4.3.6; and
(2)	the date of that test is after the transitional date,
then new clause 4.3.6 is taken to apply in respect of that test as modified in accordance with this clause 11.123.5.
(b)	Any steps agreed and taken by AEMO and the Test Participants in planning that test before the transitional date are taken to have satisfied the requirements of new clause 4.3.6(b) to (h).
(c)	Any steps taken by AEMO and the Test Participants in planning that test after the transitional date must meet the applicable requirements of new clause 4.3.6(b) to (t) except as otherwise agreed by AEMO and the Test Participants.
(d)	Paragraphs (i) to (t) of new clause 4.3.6 and new clause 3.15.6A apply in respect of that test.
Part ZZZZ	Introduction of metering coordinator planned interruptions
11.124	Rules consequential on the making of the National Electricity Amendment (Introduction of metering coordinator planned interruptions) Rule 2020
11.124.1	Definitions
For the purposes of this rule 11.124:
Amending Rule means the National Electricity Amendment (Introduction of metering coordinator planned interruptions) Rule 2020.
commencement date means the date of commencement of Schedule 3 of the Amending Rule.
11.124.2	Amendments of the metrology procedure
(a)	As soon as practicable after the commencement date and no later than 30 March 2022, and in accordance with the Rules consultation procedures, AEMO must amend and publish the metrology procedure to take into account the Amending Rule.
(b)	If, prior to the commencement date, and for the purposes of amending the metrology procedure in anticipation of the Amending Rule, AEMO undertook a consultation, step, decision or action equivalent to that required in the Rules consultation procedures, then that consultation, step, decision or action is taken to satisfy the equivalent consultation, step, decision or action under the Rules consultation procedures.
11.124.3	Market Settlement and Transfer Solutions Procedures
(a)	As soon as practicable after the commencement date and no later than 30 March 2022, and in accordance with the Rules consultation procedures, AEMO must amend and publish the Market Settlement and Transfer Solution Procedures to take into account the Amending Rule.
(b)	If, prior to the commencement date, and for the purposes of developing the Market Settlement and Transfer Solution Procedures in anticipation of the Amending Rule, AEMO undertook a consultation, step, decision or action equivalent to that required in the Rules consultation procedures, then that consultation, step, decision or action is taken to satisfy the equivalent consultation, step, decision or action under the Rules consultation procedures.
11.124.4	Requirements of the metrology procedure
(a)	Clause 7.16.3(c)(7) of the Amending Rule does not apply to AEMO until AEMO has amended and published the metrology procedure and the Market Settlement and Transfer Solution Procedures referred to in clauses 11.124.2 and 11.124.3 (as applicable) to take into account the Amending Rule.
Part ZZZZA	Wholesale demand response
11.125	Rules consequential on the making of the National Electricity Amendment (Wholesale demand response mechanism) Rule 2020
11.125.1	Definitions
(a)	In this rule 11.125:
Amending Rule means the National Electricity Amendment (Wholesale demand response mechanism) Rule 2020.
Contracts and Firmness Guidelines has the meaning in Chapter 4A.
effective date means the date of commencement of Schedules 1, 3, 4 and 5 of the Amending Rule.
new Chapter 2 means Chapter 2 as in force immediately after the effective date.
new Chapter 10 means Chapter 10 as in force immediately after the effective date.
new clause 2.3.6 means clause 2.3.6 as in force immediately after the effective date.
new clause 2.3B.1 means clause 2.3B.1 as in force immediately after the effective date.
new clause 3.8.2A(g) means clause 3.8.2A(g) as in force immediately after the effective date.
new clause 3.8.3 means clause 3.8.3 as in force immediately after the effective date.
new clause 3.8.3(a2) means clause 3.8.3(a2) as in force immediately after the effective date.
new clause 3.10.1 means clause 3.10.1 as in force immediately after the effective date.
new clause 3.10.2 means clause 3.10.2 as in force immediately after the effective date.
new clause 3.10.3(a) means clause 3.10.3(a) as in force immediately after the effective date.
new clause 3.10.3(c) means clause 3.10.3(c) as in force immediately after the effective date.
new clause 3.10.5(b) means clause 3.10.5(b) as in force immediately after the effective date.
new clause 3.10.6 means clause 3.10.6 as in force immediately after the effective date.
(b)	Italicised terms used in this rule 11.125 have the same meaning as in new Chapter 10.
11.125.2	Wholesale demand response guidelines
(a)	No later than 4 months before the effective date, AEMO must make and publish:
(1)	the wholesale demand response guidelines in accordance with new clause 3.10.1; and
(2)	AEMO's determination of the baseline methodology metrics and matters relating to baseline compliance testing under new clause 3.10.2.
(b)	AEMO must comply with the Rules consultation procedure when making the wholesale demand response guidelines and the determinations under paragraph (a).
(c)	The wholesale demand response guidelines and determinations made under paragraph (a) must come into effect no later than 4 months before the effective date so as to enable the following to be made before the effective date:
(1)	applications for approval to classify a load as a wholesale demand response unit under new clause 2.3.6; and
(2)	applications for aggregation of wholesale demand response units under new clause 3.8.3(a2).
(d)	If an application referred to in paragraph (c) is made after the wholesale demand response guidelines are made under paragraph (a) and before the effective date, AEMO must assess the application in accordance with the applicable provisions in new clause 2.3.6 or new clause 3.8.3 (as applicable) and the wholesale demand response guidelines made under paragraph (a).
11.125.3	Baseline methodologies
(a)	No later than 4 months before the effective date, AEMO must establish the register of baseline methodologies under new clause 3.10.3(c).
(b)	No later than 4 months before the effective date, AEMO must develop one or more baseline methodologies in accordance with new clause 3.10.3(a) and publish them in the register established under new clause 3.10.3(c).
11.125.4	Wholesale demand response participation guidelines
(a)	By the effective date, the AER must in accordance with the Rules consultation procedures make and publish the wholesale demand response participation guidelines under new clause 3.8.2A(g).
(b)	The guidelines made under paragraph (a) must come into effect on and from the effective date.
11.125.5	Extension of time for registration and aggregation
(a)	The period of 15 business days specified in clause 2.9.2(b) is extended to 30 business days as follows:
(1)	during the period commencing 4 months before the effective date and ending 3 months after the effective date; and
(2)	in respect of an application under new clause 2.3B.1 to register as a Demand Response Service Provider or an application for approval to classify a load as a wholesale demand response unit under new clause 2.3.6.
(b)	The period of 20 business days specified in clause 3.8.3(e) is extended to 40 business days:
(1)	during the period commencing 4 months before the effective date and ending 3 months after the effective date; and
(2)	in respect of an application to aggregate two or more wholesale demand response units.
11.125.6	Amendments to AEMO, AER and AEMC documents
(a)	By the effective date, AEMO must review and where necessary amend and publish the following documents to take into account the Amending Rule:
(1)	the spot market operations timetable in accordance with clause 3.4.3;
(2)	the procedure used by AEMO for preparation of the short term PASA and published under clause 3.7.3(j);
(3)	the market suspension compensation methodology made by AEMO under clause 3.14.5A(h);
(4)	the schedule of benchmark values made by AEMO under clause 3.14.5A(j);
(5)	the PoLR cost procedures made by AEMO under clause 3.15.9A(1);
(6)	the principles and process used by AEMO to calculate the estimated settlement amount developed by AEMO under clause 3.15.12(c);
(7)	the RERT procedures;
(8)	the Market Settlement and Transfer Solution Procedures; and
(9)	the other documents mentioned in clause 11.103.2(a).
(b)	Where the only change to:
(1)	a document referred to in paragraph (a); or
(2)	any other document made by AEMO under or in accordance with the Rules,
to take into account the Amending Rule is to replace the term Market Ancillary Service Provider with Demand Response Service Provider, AEMO is not required to consult before amending the document to make that replacement.
(c)	By the effective date, the AER must review and where necessary amend and publish the following documents to take into account the Amending Rule:
(1)	the guidelines maintained under clause 3.8.22 in respect of rebidding; and
(2)	the Contracts and Firmness Guidelines.
(d)	By the effective date, the AEMC must review and where necessary amend and publish the compensation guidelines made under clause 3.14.6(e) to take into account the Amending Rule.
(e)	Amendments made in accordance with this clause must take effect on and from the effective date.
11.125.7	Amendments to the demand side participation information guidelines
(a)	By 31 December 2020, AEMO must review and where necessary amend and publish the demand side participation information guidelines made under rule 3.7D(e) to take into account the Amending Rule.
(b)	The amendments made in accordance with paragraph (a) must take effect on and from 31 March 2021.
11.125.8	Amendment to RERT guidelines
(a)	With effect on and from the effective date, the RERT guidelines are amended as set out below:
In the explanatory note at the end of section 2 of the RERT guidelines, insert "(including by means of wholesale demand response)" after "energy only".
(b)	By the effective date, the Reliability Panel must make and publish the RERT guidelines in the form amended by paragraph (a).
(c)	For the purposes of paragraph (b), the Reliability Panel is not required to make and publish the RERT guidelines in accordance with the Rules consultation procedures.
11.125.9	Renaming of Market Ancillary Service Providers
(a)	A person who immediately before the effective date is registered with AEMO as a Market Ancillary Service Provider in respect of an ancillary service load is taken to be registered with AEMO as a Demand Response Service Provider in respect of that ancillary service load with effect on and from the effective date.
(b)	A load classified as an ancillary service load immediately before the effective date continues to be classified as an ancillary service load on and from the effective date.
(c)	To avoid doubt, registrations and classifications referred to in paragraphs (a) and (b) are, on and from the effective date, subject to new Chapter 2 as if they had been made under new Chapter 2.
11.125.10	Wholesale demand response annual reporting
(a)	New clause 3.10.6 does not apply to the calendar year in which the effective date occurs (the commencement year).
(b)	AEMO must prepare the first report under new clause 3.10.6 within six months after the end of the calendar year after the commencement year, covering the period from the effective date to the end of that calendar year.
Part ZZZZB	Integrated System Plan Rules
11.126	Rules consequential on the making of the National Electricity Amendment (Integrated System Plan) Rule 2020
11.126.1	Definitions
In this rule 11.126:
2020 Integrated System Plan means the Integrated System Plan published by AEMO in 2020.
Amending Rule means the National Electricity Amendment (Integrated System Plan) Rule 2020.
Annual Reports means the NSCAS Report, Inertia Report and the System Strength Report.
commencement date means 1 July 2020.
existing actionable ISP project means an actionable ISP project specified as such in the 2020 Integrated System Plan.
existing RIT-T proponent means the RIT-T proponent for an existing actionable ISP project.
former clause 3.11.4 means clause 3.11.4 as in force immediately prior to the commencement date.
former rule 5.16 means rule 5.16 as in force immediately prior to the commencement date.
former clause 5.16.6 means clause 5.16.6 as in force immediately prior to the commencement date.
new rule 5.16A means rule 5.16A of the Amending Rule in operation on and from the commencement date.
NSCAS, inertia and system strength methodologies means the NSCAS description and NSCAS quantity procedure published under former clause 3.11.4, the inertia requirements methodology and the system strength requirements methodology.
project assessment conclusions report has the meaning given in clause 5.10.2.
project assessment draft report has the meaning given in clause 5.10.2.
project specification consultation report has the meaning given in clause 5.10.2.
11.126.2	2020 Integrated System Plan
(a)	The 2020 Integrated System Plan is taken to be valid for all purposes under the Rules as amended by the Amending Rule and has effect from the commencement date.
(b)	Without limiting paragraph (a), the 2020 Integrated System Plan is taken to have been prepared, consulted on and published in accordance with the Rules as amended by the Amending Rule.
11.126.3	Existing actionable ISP projects
An existing actionable ISP project is deemed to be an actionable ISP project for all purposes under the Rules as amended by the Amending Rule.
11.126.4	Existing actionable ISP projects at the clause 5.16.6 stage
(a)	This clause 11.126.4 applies if, at the commencement date, for an existing actionable ISP project:
(1)	the existing RIT-T proponent has requested the AER to make a determination under former clause 5.16.6; or
(2)	the AER has made a determination under former clause 5.16.6.
(b)	For that existing actionable ISP project, the existing RIT-T proponent may either:
(1)	apply, or continue to apply former rule 5.16 to that existing actionable ISP project (and, to avoid doubt, not new clause 5.16A); or
(2)	apply new rule 5.16A to that existing actionable ISP project, in which case:
(i)	clauses 5.16A.4(a) to (m) do not apply to that existing actionable ISP project; and
(ii)	if the circumstances in clause 5.16A.4(n)(2) occur in respect of that existing actionable ISP project, clauses 5.16A.4(n), (o) and (p) will apply to that existing actionable ISP project; and
(iii)	if the circumstances in clause 5.16A.4(n)(2) do not occur in respect of that existing actionable ISP project, the existing RIT-T proponent may apply clause 5.16A.5 (notwithstanding a determination may have been made under clause 5.16.6), in which case the project assessment conclusions report made available by the existing RIT-T proponent before the commencement date for that existing actionable ISP project, is deemed to satisfy the condition set out in clause 5.16A.5(a).
(c)	To avoid doubt, this clause 11.126.4 does not prevent any new application of the regulatory investment test for transmission under new rule 5.16A to an actionable ISP project equivalent, or substantially similar, to the existing actionable ISP project commencing after the commencement date.
11.126.5	Existing actionable ISP projects prior to the clause 5.16.6 stage
(a)	This clause 11.126.5 applies if, at the commencement date, for an existing actionable ISP project:
(1)	the RIT-T proponent has not commenced the regulatory investment test for transmission under former rule 5.16; or
(2)	the RIT-T proponent has commenced the regulatory investment test for transmission under former rule 5.16 but clause 11.126.4 does not apply.
(b)	An existing RIT-T proponent may either:
(1)	subject to paragraph (c), apply, or continue to apply, former rule 5.16 to that existing actionable ISP Project; or
(2)	apply new rule 5.16A to that existing actionable ISP project.
(c)	An existing RIT-T proponent may only apply, or continue to apply, former rule 5.16 to an existing actionable ISP Project if the existing actionable ISP project is a proposed contingent project in the existing RIT-T proponent's revenue determination at the commencement date.
11.126.6	Existing RIT-T proponent has published a PSCR but not a PADR
(a)	This clause 11.126.6 applies, if at the commencement date:
(1)	an existing RIT-T proponent has prepared and made available the project specification consultation report to relevant persons in accordance with clause 5.16.4(c) and has not yet prepared and made available a project assessment draft report in accordance with clause 5.16.4(j); and
(2)	the existing RIT-T proponent applies new rule 5.16A in accordance with clause 11.126.5(b)(2).
(b)	The existing RIT-T proponent must in the project assessment draft report published under clause 5.16A.4(c) (in addition to requirements under clause 5.16A.4(d)) address all submissions made by Registered Participants, AEMO and interested parties on issues raised in submissions to the project specification consultation report.
11.126.7	Cost Benefit Analysis Guidelines
(a)	Within 30 days of the commencement date, the AER must develop and publish on its website the first Cost Benefit Analysis Guidelines required under clause 5.22.5(a) and in doing so must comply with the Rules consultation procedures.
(b)	If, prior to the commencement date, and for the purposes of developing the Cost Benefit Analysis Guidelines in anticipation of the Amending Rule, the AER undertook consultation or steps equivalent to that as required in the Rules consultation procedures, then that consultation or steps undertaken is taken to satisfy the equivalent consultation or steps under the Rules consultation procedures.
11.126.8	Forecasting Best Practice Guidelines
(a)	Within 30 days of the commencement date, the AER must amend the Forecasting Best Practice Guidelines in accordance with clause 5.22.5(i) and (j) and in doing so must comply with the Rules consultation procedures.
(b)	If, prior to the commencement date, and for the purposes of amending the Forecasting Best Practice Guidelines in anticipation of the Amending Rule, the AER undertook consultation or steps equivalent to that as required in the Rules consultation procedures, then that consultation or steps undertaken is taken to satisfy the equivalent consultation or steps under the Rules consultation procedures.
11.126.9	Methodologies and reports
(a)	The NSCAS, inertia and system strength methodologies are each deemed to have been prepared, consulted on and published in accordance with the Rules as amended by the Amending Rule.
(b)	If, prior to the commencement date, and for the purposes of preparing and publishing the Annual Reports in anticipation of the Amending Rule, AEMO undertook consultation or steps, then the consultation or steps undertaken is taken to satisfy the equivalent consultation or steps for the purposes of preparing and publishing the Annual Reports in accordance with the Rules as amended by the Amending Rule.
11.126.10	AEMC review of ISP framework
(a)	The AEMC must complete a review of the Integrated System Plan framework as set out in rules 5.16A, 5.22 and 5.23 by 1 July 2025.
(b)	In conducting its review under paragraph (a), the AEMC must:
(1)	publish the terms of reference of its review; and
(2)	follow the Rules consultation procedures.
Note
This clause does not preclude the AEMC from conducting a review in accordance with section 45 of the National Electricity Law.