## F2.1 - NEM installed capacity
NEM installed generator capacity by technology
Year | Hydro | Black Coal | Brown Coal | Gas | Biogas | Biomass | Wind | Solar | Battery | Other | Distributed Solar | Distributed Battery
2011-12 | 8071.8 | 19783.8 | 7369 | 10478.728 | 119.74 | 472.4 | 2134.65 | 0 | 0 | 1208.255 | 2137 | 0
2012-13 | 7986.5 | 19789.8 | 7369 | 10555.266 | 132.891 | 410.4 | 2574.15 | 0.401 | 0 | 1213.955 | 2863.7 | 0
2013-14 | 7987.45 | 19789.8 | 7385 | 10547.548 | 140.816 | 418.4 | 2806.9 | 2.031 | 0 | 1210.715 | 3569.1 | 0
2014-15 | 7987.3 | 19789.8 | 7385 | 10553.548 | 140.816 | 418.4 | 3753.2 | 124.031 | 0 | 1210.715 | 4179.7 | 0
2015-16 | 7987.6 | 18456 | 6230 | 10548.522 | 156.211 | 420.3 | 3708.25 | 231.531 | 0 | 1173.015 | 4586.8 | 16.506
2016-17 | 7940.8 | 18346 | 4630 | 10879.522 | 157.021 | 416.4 | 4069.85 | 274.247 | 0 | 891.215 | 5150 | 35.366
2017-18 | 8021.187 | 18346 | 4660 | 10903.29 | 162.569 | 501.728 | 5114.1 | 960.1431 | 0 | 1283.808 | 6441 | 66.499
2018-19 | 7982.605 | 18346 | 4660 | 11015.566 | 77.251 | 389.728 | 5915.578 | 2761.0713 | 185.83 | 1428.087 | 8100 | 127.413
2019-20 | 7981.825 | 18311 | 4775 | 11342.566 | 52.698 | 357.728 | 7480.968 | 3796.4563 | 210.83 | 1448.62 | 10696.3 | 197.72
2020-21 | 7992.139 | 18381 | 4820 | 11154.035 | 33.607 | 376.728 | 8523.578 | 5125.3103 | 260.83 | 1424.265 | 13894.5471 | 240.927
Unit | MW
Source | Panel analysis of AEMO generator information survey data

## F2.2 NEM generator entry & exit
NEM generator entry & exit by technology
Year | Hydro | Black Coal | Brown Coal | Gas | Wind | Solar | Biogas | Biomass | Battery | Other | Distributed Solar | Distributed Battery
2012-13 | -85.3 | 6 | 0 | 76.538 | 439.5 | 0.401 | 13.151 | -62 | 0 | 5.7 | 726.7 | 0
2013-14 | 0.95 | 0 | 16 | -7.718 | 232.75 | 1.63 | 7.925 | 8 | 0 | -3.24 | 705.4 | 0
2014-15 | -0.15 | 0 | 0 | 6 | 946.3 | 122 | 0 | 0 | 0 | 0 | 610.6 | 0
2015-16 | 0.3 | -1333.8 | -1155 | -5.026 | -44.95 | 107.5 | 15.395 | 1.9 | 0 | -37.7 | 407.1 | 16.506
2016-17 | -46.8 | -110 | -1600 | 331 | 361.6 | 42.716 | 0.81 | -3.9 | 0 | -281.8 | 563.2 | 18.86
2017-18 | 80.387 | 0 | 30 | 23.768 | 1044.25 | 685.8961 | 5.548 | 85.328 | 0 | 392.593 | 1291 | 31.133
2018-19 | -38.582 | 0 | 0 | 112.276 | 801.478 | 1800.9282 | -85.318 | -112 | 185.83 | 144.279 | 1659 | 60.914
2019-20 | -0.78 | -35 | 115 | 327 | 1565.39 | 1035.385 | -24.553 | -32 | 25 | 20.533 | 2596.3 | 70.307
2020-21 | 10.314 | 70 | 45 | -188.531 | 1042.61 | 1328.854 | -19.091 | 19 | 50 | -24.355 | 3198.2471 | 43.207
Unit | MW
Source | Panel analysis of AEMO generator information survey data

## F2.3 NEM installed DER capacity
NEM installed DER capacity
Year | Solar | Battery
2011-12 | 2137 | 0
2012-13 | 2863.7 | 0
2013-14 | 3569.1 | 0
2014-15 | 4179.7 | 0
2015-16 | 4586.8 | 16.506
2016-17 | 5150 | 35.366
2017-18 | 6441 | 66.499
2018-19 | 8100 | 127.413
2019-20 | 10696.3 | 197.72
2020-21 | 13894.5471 | 240.927
Unit | MW
Source | Panel analysis of CEC installation data

## F2.4 Coal unit expected closure
NEM coal-fired unit expected closure years
Station/Unit | Closure year | Remaining Capacity (MW) | Capacity | Year | Closure capacity (1) | Closure capacity (2) | Remaining Capacity
Liddell (Unit 3) | 2022 | 22701 | 500 | 2022 | 500 | 0 | 22701
Liddell (Units 1, 2 & 4) | 2023 | 21201 | 1500 | 2023 | 1500 | 0 | 21201
Eraring | 2025 | 18321 | 2880 | 2024 | 0 | 0 | 21201
Callide B | 2028 | 17621 | 700 | 2025 | 2880 | 0 | 18321
Yallourn | 2028 | 16171 | 1450 | 2026 | 0 | 0 | 18321
Vales Point B | 2029 | 14851 | 1320 | 2027 | 0 | 0 | 18321
Bayswater | 2033 | 12186 | 2665 | 2028 | 1450 | 700 | 16171
Gladstone | 2035 | 10506 | 1680 | 2029 | 1320 | 0 | 14851
Tarong (Unit 1 & 2) | 2036 | 9806 | 700 | 2030 | 0 | 0 | 14851
Tarong (Unit 3 & 4) | 2037 | 9106 | 700 | 2031 | 0 | 0 | 14851
Tarong North | 2037 | 8656 | 450 | 2032 | 0 | 0 | 14851
Mt Piper | 2040 | 7266 | 1390 | 2033 | 2665 | 0 | 12186
Kogan Creek | 2042 | 6522 | 744 | 2034 | 0 | 0 | 12186
Stanwell (Unit 1) | 2043 | 6157 | 365 | 2035 | 1680 | 0 | 10506
Stanwell (Unit 2) | 2044 | 5792 | 365 | 2036 | 700 | 0 | 9806
Loy Yang A Power Station | 2045 | 3582 | 2210 | 2037 | 450 | 700 | 8656
Stanwell (Unit 3) | 2045 | 3217 | 365 | 2038 | 0 | 0 | 8656
Stanwell (Unit 4) | 2046 | 2852 | 365 | 2039 | 0 | 0 | 8656
Loy Yang B | 2047 | 1692 | 1160 | 2040 | 1390 | 0 | 7266
Callide C | 2051 | 852 | 840 | 2041 | 0 | 0 | 7266
Millmerran | 2051 | 0 | 852 | 2042 | 744 | 0 | 6522
|  |  |  | 2043 | 365 | 0 | 6157
Unit | MW |  |  | 2044 | 365 | 0 | 5792
Source | Panel analysis of AEMO generator information survey data |  |  | 2045 | 365 | 2210 | 3217
|  |  |  | 2046 | 365 | 0 | 2852
|  |  |  | 2047 | 1160 | 0 | 1692
|  |  |  | 2048 | 0 | 0 | 1692
|  |  |  | 2049 | 0 | 0 | 1692
|  |  |  | 2050 | 0 | 0 | 1692

## F2.5 Energy produced by tech
Energy output by grid-scale technology
fuel source | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Black coal | 103.4821 | 100.0795 | 94.8663 | 97.1988 | 101.6336 | 104.7795 | 110.5282 | 109.9404 | 102.191 | 97.1508
Brown coal | 54.994 | 48.0954 | 46.6235 | 51.1179 | 48.0357 | 42.6379 | 36.052 | 34.5891 | 33.7313 | 34.1241
Gas | 23.2579 | 24.2262 | 24.1787 | 23.0528 | 19.2012 | 18.1629 | 19.9715 | 16.5189 | 17.2149 | 13.3335
Hydro | 13.3605 | 17.6363 | 17.8207 | 12.6619 | 14.2799 | 15.2532 | 15.0703 | 15.2612 | 14.6098 | 14.6354
Wind | 6.0525 | 6.6491 | 8.6033 | 9.4097 | 10.2353 | 10.4058 | 13.0439 | 15.6372 | 18.1675 | 21.2049
Liquid | 0.00945 | 0.06636 | 0.06102 | 0.03648 | 0.08218 | 0.10242 | 0.02935 | 0.02624 | 0.016501 | 0.049789
Solar | 0.05906 | 9e-05 | 0 | 0.02985 | 0.36177 | 0.56604 | 0.79859 | 3.4194 | 6.0456 | 7.8078
Other | 1.4255 | 1.4593 | 1.4632 | 0.46797 | 0.33758 | 0.32654 | 0.35004 | 0.30786 | 0.27642 | 0.1809
Unit | bar: 2011-12
Source | 2011-12: Panel analysis of AEMO data
Note | 2011-12: This analysis excludes output from distributed energy resources and non-scheduled generators

## F2.6 Changes in planned gen
|  | Announced Withdrawal FY20 | Existing less Announced Withdrawal FY20 | Upgrade / Expansion FY20 | Committed FY20 | Anticipated FY20 | Proposed FY20 | Withdrawn FY20 | Note: formatting of below table is unconventional to achieve the desired excel chart type
Coal | FY20 | 2000 | 21086 | 165 | 0 | 0 | 151 | 0 |  | Announced Withdrawal FY20 | Existing less Announced Withdrawal FY20 | Upgrade / Expansion FY20 | Committed FY20 | Anticipated FY20 | Proposed FY20 | Withdrawn FY20 | Announced Withdrawal FY21 | Existing less Announced Withdrawal FY21 | Upgrade / Expansion FY21 | Committed FY21 | Anticipated FY21 | Proposed FY21 | Withdrawn FY21
| FY21 | 2000 | 21201 | 90 | 0 | 0 | 1141 | 0
CCGT | FY20 | 388 | 2653.066 | 0 | 0 | 0 | 0 | 0 | Coal | 2000 | 21086 | 165 | 0 | 0 | 151 | 0
| FY21 | 388 | 2597.066 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 2000 | 21201 | 90 | 0 | 0 | 1141 | 0
OCGT | FY20 | 34 | 6960.673 | 15 | 123.2 | 0 | 1947.2 | 0
| FY21 | 0 | 7013.193 | 15 | 904 | 316 | 4433.2 | -34 | CCGT | 388 | 2653.066 | 0 | 0 | 0 | 0 | 0
Gas other | FY20 | 480 | 1875.527 | 0 | 0 | 0 | 1260.205 | 0 | [8 empty] | 388 | 2597.066 | 0 | 0 | 0 | 0 | 0
| FY21 | 240 | 1930.476 | 0 | 0 | 0 | 1532.205 | -240
Solar* | FY20 | 0 | 3850.1063 | 0 | 1808.187 | 0 | 25178.982 | 0 | OCGT | 34 | 6960.673 | 15 | 123.2 | 0 | 1947.2 | 0
| FY21 | 0 | 5729.5153 | 0 | 2087.065 | 1488.76 | 33459.389 | 0 | [8 empty] | 0 | 7013.193 | 15 | 904 | 316 | 4433.2 | -34
Wind | FY20 | 0 | 7480.968 | 0 | 1993.01 | 0 | 16352.739 | 0
| FY21 | 0 | 8814.848 | 0 | 1100.76 | 367.5 | 46517.251 | 0 | Gas other | 480 | 1875.527 | 0 | 0 | 0 | 1260.205 | 0
Water | FY20 | 0 | 7981.825 | 0 | 2040 | 0 | 6129 | 0 | [8 empty] | 240 | 1930.476 | 0 | 0 | 0 | 1532.205 | -240
| FY21 | 0 | 7992.139 | 0 | 2290 | 0 | 9936 | 0
Biomass | FY20 | 0 | 607.785 | 0 | 0 | 0 | 41.2 | 0 | Solar* | 0 | 3850.1063 | 0 | 1808.187 | 0 | 25178.982 | 0
| FY21 | 0 | 616.729 | 0 | 0 | 0 | 41.2 | 0 | [8 empty] | 0 | 5729.5153 | 0 | 2087.065 | 1488.76 | 33459.389 | 0
Battery Storage | FY20 | 0 | 260.83 | 0 | 33 | 0 | 6115 | 0
| FY21 | 0 | 260.83 | 0 | 489.27 | 18.33 | 21263.25 | 0 | Wind | 0 | 7480.968 | 0 | 1993.01 | 0 | 16352.739 | 0
Other | FY20 | 0 | 201.411 | 0 | 24 | 0 | 83.8 | 0 | [8 empty] | 0 | 8814.848 | 0 | 1100.76 | 367.5 | 46517.251 | 0
| FY21 | 0 | 202.021 | 0 | 24 | 0 | 886.8 | 0
[9 empty] | Water | 0 | 7981.825 | 0 | 2040 | 0 | 6129 | 0
Unit | MW | [15 empty] | 0 | 7992.139 | 0 | 2290 | 0 | 9936 | 0
Source | Panel analysis of AEMO generator information survey data
* | Solar excludes distributed (roof-top) solar installations | [7 empty] | Biomass | 0 | 607.785 | 0 | 0 | 0 | 41.2 | 0
[17 empty] | 0 | 616.729 | 0 | 0 | 0 | 41.2 | 0
[9 empty] | Battery Storage | 0 | 260.83 | 0 | 33 | 0 | 6115 | 0
[17 empty] | 0 | 260.83 | 0 | 489.27 | 18.33 | 21263.25 | 0
[9 empty] | Other | 0 | 201.411 | 0 | 24 | 0 | 83.8 | 0
[17 empty] | 0 | 202.021 | 0 | 24 | 0 | 886.8 | 0

## F2.7 Min & max system load
Monthly minimum and maximum system load by NEM region
| MAX | [5 empty] | MIN
Month-Year | QLD | NSW | VIC | SA | TAS | NEM | QLD | NSW | VIC | SA | TAS | NEM
2017-07-01 | 7608.63 | 11996.29 | 7283.93 | 2202.71 | 1686.95 | 30182.82 | 4772.84 | 6151.4 | 3577.73 | 829.93 | 921.25 | 16783.04
2017-08-01 | 7416.95 | 11455.47 | 7709.9 | 2293.75 | 1632.63 | 29638.4 | 4668.03 | 6031.93 | 3582.49 | 748.6 | 900.73 | 16768.87
2017-09-01 | 7781.96 | 10141.5 | 7142.25 | 1919.28 | 1567.21 | 27764.29 | 4704.29 | 5520.21 | 3172.04 | 574.42 | 913.4 | 15348.16
2017-10-01 | 8016.99 | 9941.6 | 6435.57 | 1934.11 | 1373.4 | 24966.7 | 4681.33 | 5521.35 | 3258.35 | 585.11 | 843.94 | 15646.06
2017-11-01 | 7758.24 | 10137.15 | 8709.83 | 2491.82 | 1380.86 | 29116.45 | 4798.34 | 5656.44 | 3069.38 | 554.59 | 681.1 | 15794.27
2017-12-01 | 8550.69 | 13044.43 | 8454.83 | 2320.15 | 1230.56 | 31519.99 | 5013.91 | 5249.86 | 3162.51 | 546.57 | 789.09 | 15420.68
2018-01-01 | 9071.56 | 12542.57 | 9126.38 | 2931.79 | 1282.39 | 31320.09 | 5216.88 | 5870.53 | 3430.29 | 636.24 | 860.3 | 16740.48
2018-02-01 | 9923.99 | 12878.66 | 9107.81 | 2821.22 | 1316.44 | 30349.6 | 5079.19 | 5770.49 | 3455.45 | 756.97 | 852.46 | 16539.48
2018-03-01 | 9265.18 | 11649.27 | 6753.5 | 2143.12 | 1312.81 | 27714.97 | 5071.2 | 5605.87 | 3321.19 | 567.49 | 776.94 | 16274.28
2018-04-01 | 7988.56 | 10492.57 | 6221.65 | 2208.87 | 1398.92 | 26684.87 | 4947.82 | 5526.89 | 3331.59 | 669.45 | 798.16 | 15833.74
2018-05-01 | 7660.81 | 10880.02 | 6968.5 | 1966.29 | 1574.22 | 28684.22 | 4717.71 | 5822.95 | 3574.79 | 665 | 825.8 | 16246.06
2018-06-01 | 8240.72 | 12207.47 | 7554.86 | 2352.04 | 1647.83 | 31258.66 | 4965.04 | 6143.45 | 3674.73 | 716.18 | 909.34 | 17120.11
2018-07-01 | 7846.57 | 11944.49 | 7411.75 | 2203.65 | 1615.26 | 29933.31 | 4727.7 | 6016.63 | 3539.58 | 763.26 | 920.24 | 16668.98
2018-08-01 | 7737.78 | 11514.24 | 7137.36 | 2068.25 | 1613.97 | 29517.74 | 4618.92 | 6149.49 | 3503.55 | 664.95 | 943.32 | 16986.49
2018-09-01 | 7522.82 | 11272.06 | 6717.24 | 2043.85 | 1580.31 | 28895.95 | 4585.02 | 5843.06 | 3457.75 | 537.11 | 826.05 | 16298.97
2018-10-01 | 7911.09 | 9517.8 | 5832.13 | 1864.39 | 1411.1 | 25041.88 | 4702.3 | 5731.8 | 3272.11 | 535.68 | 759.29 | 15729.11
2018-11-01 | 8870.82 | 11232.89 | 6266.2 | 2033.57 | 1371.26 | 25996.85 | 4919.42 | 5658.29 | 3312 | 569.31 | 815.59 | 16211.28
2018-12-01 | 9595.78 | 11406.22 | 8557.49 | 2605.16 | 1285.21 | 29019.03 | 4739.06 | 5524.87 | 3208.86 | 492.88 | 756.6 | 15845.82
2019-01-01 | 9014.06 | 13778.13 | 9331.93 | 3020.66 | 1341.52 | 33328.55 | 5313.91 | 5940.51 | 3269.85 | 620.74 | 622.48 | 17125.07
2019-02-01 | 10052.26 | 12344.61 | 8732.09 | 2707.69 | 1265.86 | 29613.88 | 5337.57 | 5714.41 | 3418.95 | 615.57 | 763.49 | 16802.68
2019-03-01 | 9360.16 | 11309.1 | 9369.85 | 2871.01 | 1375.83 | 30262.55 | 4761.05 | 5572.92 | 3346.47 | 771.41 | 732.34 | 15970.5
2019-04-01 | 7716.98 | 9738.72 | 6260.92 | 1854.89 | 1411.86 | 25724.57 | 5020.58 | 5617.41 | 3224.4 | 623.53 | 821.14 | 15861.17
2019-05-01 | 7730.49 | 11268.94 | 7442.21 | 2022.47 | 1553.57 | 29104.29 | 4548.17 | 5786.18 | 3382.94 | 808.84 | 827.63 | 16335.63
2019-06-01 | 8154.54 | 12211.89 | 7589.7 | 2439.33 | 1745.35 | 31358.61 | 4737.83 | 6069.46 | 3426.21 | 635.54 | 930.85 | 16626.02
2019-07-01 | 7936.08 | 11450.2 | 7301.76 | 2240.99 | 1640.61 | 29301.69 | 4228.24 | 6344.93 | 3582.06 | 587.11 | 864.48 | 17037.78
2019-08-01 | 7537.42 | 11323.97 | 7335.06 | 2351.32 | 1640.91 | 29430.28 | 4049.65 | 6128.38 | 3289.97 | 584.72 | 828.61 | 16423.89
2019-09-01 | 7371.29 | 10945.6 | 7053.56 | 2019.52 | 1454.45 | 28175.3 | 4192.43 | 5586.05 | 3427.57 | 490.3 | 774.28 | 15480.4
2019-10-01 | 7945.72 | 9627.7 | 6722.39 | 2070.7 | 1411.34 | 26050.19 | 4411.61 | 5679.85 | 3037.21 | 415.74 | 681.03 | 15227.25
2019-11-01 | 8536.83 | 10716.37 | 7760.67 | 2642.39 | 1286.55 | 27552.25 | 4537.67 | 5627.63 | 3111.09 | 366.76 | 744.44 | 15881.06
2019-12-01 | 9433.87 | 11676.87 | 9167.8 | 3119.87 | 1287.02 | 30840.77 | 5011.32 | 5601.57 | 3096.63 | 518.67 | 760.14 | 16552.51
2020-01-01 | 9692.54 | 13390.88 | 9607.66 | 3097.43 | 1314 | 35168.9 | 5354.71 | 5737.41 | 3047.73 | 418.81 | 738.59 | 16542.17
2020-02-01 | 9838.26 | 13716.83 | 7700.93 | 2077.58 | 1293.36 | 29672.67 | 5353.28 | 5789.08 | 3410.57 | 534.22 | 718.72 | 17233.66
2020-03-01 | 9221.29 | 11445.45 | 6479.41 | 2167.46 | 1338.29 | 27129.86 | 4941.25 | 5522.4 | 3253.63 | 360.11 | 695.2 | 15789.83
2020-04-01 | 7793.52 | 9613.51 | 6570.13 | 1863.42 | 1388.24 | 26685.75 | 4432.26 | 5339.84 | 3049.7 | 484.31 | 808.21 | 15320.26
2020-05-01 | 7771.87 | 11221.46 | 6970.77 | 2164.3 | 1553.04 | 29142.62 | 4224.2 | 5656.08 | 3263.9 | 638.98 | 814.94 | 16188.77
2020-06-01 | 7892.53 | 12071.93 | 7563.23 | 2515.99 | 1615.1 | 30434.92 | 4505.5 | 5897.73 | 3421.04 | 717.67 | 874.21 | 16330.98
2020-07-01 | 8239.08 | 11753.43 | 7448.13 | 2397.69 | 1612.92 | 30560.31 | 4166.38 | 5627.11 | 3794.17 | 737.38 | 803.2 | 16644.99
2020-08-01 | 7845.97 | 11994.5 | 7512.7 | 2409.17 | 1689.78 | 30303.31 | 3888.52 | 5550.99 | 2991.68 | 409.07 | 788.3 | 14530.5
2020-09-01 | 7495.48 | 10296.62 | 6563.82 | 2065.16 | 1489.7 | 26395.76 | 3712.06 | 5590.03 | 2690.26 | 315.06 | 783.83 | 14536.89
2020-10-01 | 7667.05 | 9350.06 | 6170.57 | 1974.97 | 1458.58 | 24617.48 | 3882.78 | 5170.56 | 2929.44 | 278.36 | 797.55 | 14119.53
2020-11-01 | 8725.63 | 12421.83 | 7265.62 | 2612.34 | 1260.9 | 28880.09 | 4273.24 | 5467.8 | 2651.61 | 270.25 | 512.77 | 14648.65
2020-12-01 | 9443.09 | 11438.13 | 7923.41 | 2393.54 | 1341.38 | 27492.29 | 4775.07 | 5278.81 | 2258.67 | 278.06 | 808.98 | 14176.65
2021-01-01 | 9162.23 | 12235.17 | 8285.13 | 2685.36 | 1280.14 | 30335.06 | 4903.12 | 5390.76 | 2632.81 | 343.69 | 720.97 | 15729.5
2021-02-01 | 9476.75 | 10258.86 | 7844.72 | 2765.98 | 1278.72 | 27864.83 | 5214.25 | 5634.6 | 3049.43 | 276.65 | 712.05 | 16446.97
2021-03-01 | 9121.92 | 11473.2 | 6190.21 | 1796.53 | 1330.44 | 26963.34 | 4270.43 | 5419.02 | 2895.49 | 336.21 | 671.51 | 15129.29
2021-04-01 | 7766.99 | 9656.3 | 6694.87 | 1814.42 | 1504.2 | 26640.09 | 4159.67 | 5099.03 | 3237.46 | 463.22 | 827.38 | 15136.23
2021-05-01 | 7604.83 | 10677.99 | 7075.85 | 2143.27 | 1684.98 | 28530.03 | 3434.09 | 5788.47 | 3350.03 | 495.14 | 893.31 | 16047.11
2021-06-01 | 8009.98 | 12982.15 | 7360.37 | 2255.59 | 1657.88 | 30964.71 | 4063.49 | 6470.47 | 3582.16 | 638.54 | 926.92 | 17160.81
2021-07-01 | 8256.98 | 12454.77 | 7719.57 | 2517.34 | 1678.13 | 31350.37 | 3720.32 | 6365.57 | 3475.97 | 655.29 | 969.25 | 16687.88
2021-08-01 | 7839.74 | 12128.34 | 7245.3 | 2250.21 | 1686.02 | 29922.1 | 3874.42 | 5154.89 | 2661.54 | 338.15 | 869.66 | 13508.6
2021-09-01 | 7661.84 | 10337.09 | 6865.75 | 1988.58 | 1555.93 | 27813.63 | 3804.15 | 4719.99 | 2495.95 | 184.32 | 952.27 | 13811.96
2021-10-01 | 8217.65 | 9331.65 | 5891.84 | 1673.34 | 1525.43 | 25286.19 | 3672.48 | 4286.19 | 2227.09 | 117.27 | 841.86 | 12536.47
2021-11-01 | 8200.57 | 8885.21 | 6064.57 | 1702.3 | 1427.32 | 24606.86 | 3848.63 | 4962.66 | 2457.21 | -46.35 | 741.49 | 14027.49
Unit | bar: MAX QLD
Source | MAX QLD: Panel analysis of AEMO data

## F2.8 Diurnal system load prfls
NEM diurnal system load profiles by region and season
Winter 2020 | [10 empty] | Spring 2020 | [9 empty] | Summer 2021 | [9 empty] | Autumn 2021
Hour End | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20
1 | 8038.1061 | 5377.9325 | 1597.1751 | 1067.9772 | 4963.0167 | 7098.3393 | 5547.6882 | 1364.8435 | 981.3484 | 4424.2339 | 6907.1681 | 5404.3723 | 1336.6896 | 987.108 | 4354.7515 | 7028.6373 | 5408.9009 | 1312.6744 | 994.4115 | 4428.3058 | 6851.7944 | 6024.8919 | 1357.8972 | 951.5625 | 4302.3809 | 7103.4478 | 5962.9319 | 1379.5938 | 965.707 | 4335.6054 | 7147.5585 | 5624.359 | 1385.5011 | 1005.6878 | 4474.3225 | 8083.241 | 5442.8189 | 1492.3008 | 1100.3876 | 4984.3608
2 | 7601.3463 | 5157.8873 | 1423.9647 | 1044.9822 | 4642.9339 | 6680.7633 | 5352.6492 | 1219.9425 | 966.8405 | 4140.0629 | 6480.6026 | 5221.068 | 1207.0707 | 970.4702 | 4088.6627 | 6600.3043 | 5208.408 | 1175.2531 | 979.8535 | 4156.5783 | 6368.6009 | 5828.4551 | 1223.9701 | 943.1399 | 4056.4268 | 6620.8565 | 5754.2713 | 1249.6577 | 952.6029 | 4091.0712 | 6734.1975 | 5445.6715 | 1252.0506 | 991.4555 | 4194.8318 | 7664.9432 | 5205.9106 | 1317.1637 | 1075.3591 | 4638.7092
3 | 7061.9375 | 5059.3257 | 1302.3352 | 1035.4726 | 4332.0217 | 6285.796 | 5274.3454 | 1135.2014 | 961.4551 | 3893.1869 | 6133.3738 | 5133.8071 | 1126.4403 | 967.6288 | 3860.5516 | 6240.1704 | 5126.2351 | 1097.1228 | 976.262 | 3919.95 | 6111.2949 | 5727.6781 | 1167.7085 | 939.8847 | 3869.3857 | 6367.7151 | 5664.6288 | 1194.2596 | 950.6364 | 3907.458 | 6357.5445 | 5361.1765 | 1169.0764 | 986.9023 | 3963.2753 | 7127.8744 | 5102.725 | 1203.104 | 1065.3733 | 4324.0157
4 | 6738.7792 | 5047.0012 | 1230.1499 | 1036.7379 | 4174.1953 | 6126.5126 | 5250.1917 | 1089.8237 | 963.8667 | 3803.4963 | 6011.5266 | 5117.4204 | 1084.4346 | 975.6711 | 3787.936 | 6123.9464 | 5110.5558 | 1054.6883 | 982.541 | 3849.5321 | 6090.6754 | 5683.501 | 1140.1708 | 945.3804 | 3844.5656 | 6348.6617 | 5621.4005 | 1164.5583 | 953.8708 | 3875.8954 | 6208.367 | 5345.4872 | 1121.1572 | 989.901 | 3888.1357 | 6798.6809 | 5088.756 | 1132.5235 | 1064.5698 | 4176.1268
5 | 6737.6776 | 5161.4744 | 1195.2352 | 1051.5574 | 4170.1956 | 6252.2412 | 5328.8691 | 1080.9498 | 981.5397 | 3866.3454 | 6183.0759 | 5197.133 | 1078.8046 | 1003.1228 | 3885.2738 | 6323.2535 | 5195.2233 | 1049.5858 | 1011.8729 | 3972.1954 | 6311.5842 | 5726.3176 | 1140.3374 | 974.003 | 3979.4004 | 6580.0215 | 5661.6968 | 1166.387 | 977.8135 | 4015.6329 | 6332.987 | 5429.0845 | 1112.5069 | 1011.0779 | 3970.0587 | 6812.812 | 5205.1722 | 1099.3462 | 1079.1754 | 4183.5759
6 | 7217.4076 | 5498.8609 | 1222.4386 | 1101.236 | 4410.3615 | 6737.7813 | 5583.1595 | 1121.0053 | 1038.4845 | 4166.77 | 6657.8909 | 5366.0997 | 1124.0447 | 1073.6633 | 4205.137 | 6879.0126 | 5413.1671 | 1104.689 | 1084.1828 | 4353.4781 | 6762.4467 | 5850.2815 | 1188.1647 | 1032.8 | 4294.6407 | 7103.1119 | 5814.1999 | 1216.9333 | 1036.2 | 4359.4406 | 6828.3506 | 5696.7626 | 1150.8778 | 1072.8777 | 4286.8025 | 7339.9359 | 5572.4858 | 1128.3987 | 1129.329 | 4457.8776
7 | 8278.0605 | 6081.8802 | 1346.0883 | 1207.6293 | 5007.0201 | 7418.1829 | 5981.8817 | 1220.2528 | 1129.6337 | 4675.4356 | 7147.4582 | 5564.3639 | 1202.1144 | 1157.2578 | 4616.5774 | 7488.3596 | 5748.366 | 1202.6282 | 1176.7157 | 4879.3979 | 7142.9617 | 6092.4353 | 1246.6986 | 1090.1461 | 4598.1718 | 7650.7646 | 6137.1467 | 1295.0203 | 1100.0387 | 4760.2183 | 7566.5717 | 6103.2063 | 1249.2694 | 1171.5185 | 4845.6907 | 8476.5416 | 6193.6712 | 1253.5463 | 1240.4709 | 5145.5949
8 | 9243.1227 | 6423.2979 | 1555.6164 | 1341.8487 | 5590.2191 | 7832.0205 | 6218.4432 | 1301.3912 | 1199.1151 | 4949.0324 | 7275.865 | 5620.8243 | 1199.1971 | 1185.7206 | 4664.229 | 7722.6464 | 5950.6869 | 1239.4502 | 1210.5481 | 4999.9291 | 7360.9496 | 6238.2513 | 1209.7521 | 1089.3352 | 4547.0846 | 8021.6188 | 6435.7482 | 1311.9854 | 1111.2917 | 4836.9309 | 7909.809 | 6245.8511 | 1326.6727 | 1234.7574 | 5152.4072 | 9361.6819 | 6572.7898 | 1454.266 | 1373.1335 | 5757.0592
9 | 9371.9717 | 6040.2942 | 1682.9131 | 1393.5784 | 5993.8203 | 7923.4476 | 6115.9984 | 1293.4315 | 1202.5591 | 5054.6321 | 7163.022 | 5409.7417 | 1091.3575 | 1157.5348 | 4579.439 | 7723.0827 | 5861.8832 | 1175.2794 | 1183.358 | 4987.5741 | 7389.5959 | 6253.0534 | 1083.9014 | 1071.1059 | 4434.5664 | 8261.4787 | 6549.2895 | 1264.7655 | 1095.1719 | 4893.1744 | 7738.1065 | 5956.1422 | 1264.0771 | 1228.5529 | 5133.2985 | 9431.6096 | 6254.8151 | 1571.04 | 1413.1283 | 6046.8916
10 | 8933.9597 | 5555.2305 | 1560.7814 | 1362.2608 | 5892.5022 | 7827.8866 | 5982.5756 | 1201.4491 | 1166.0419 | 4952.5387 | 6985.237 | 5255.8041 | 956.6459 | 1109.8328 | 4375.7185 | 7622.1078 | 5763.3665 | 1077.3066 | 1132.9451 | 4856.06 | 7340.834 | 6227.7832 | 955.942 | 1042.1851 | 4302.9105 | 8405.8713 | 6604.0607 | 1203.4464 | 1067.3264 | 4909.8938 | 7372.6396 | 5658.5657 | 1110.7717 | 1181.1793 | 4877.7466 | 9062.1611 | 5858.9217 | 1497.0939 | 1379.4729 | 5938.129
11 | 8417.4338 | 5184.0053 | 1361.8749 | 1297.1238 | 5541.425 | 7708.7671 | 5899.4543 | 1101.229 | 1124.1643 | 4819.7317 | 6857.1886 | 5136.1171 | 852.0976 | 1065.6609 | 4209.953 | 7511.0577 | 5688.6018 | 992.5985 | 1092.7742 | 4739.8838 | 7291.405 | 6223.2471 | 860.9713 | 1020.6155 | 4242.6497 | 8520.3051 | 6655.0207 | 1164.391 | 1049.0705 | 4938.7024 | 7084.0325 | 5455.3401 | 960.0965 | 1130.5696 | 4608.3197 | 8633.4906 | 5555.8707 | 1349.0284 | 1316.8888 | 5648.4345
12 | 7976.4399 | 4980.8956 | 1202.9662 | 1233.3266 | 5277.2071 | 7605.1313 | 5886.7886 | 1044.8382 | 1093.5972 | 4734.924 | 6767.7476 | 5125.2858 | 790.3147 | 1031.7133 | 4102.1877 | 7399.4262 | 5677.6918 | 940.6304 | 1063.8487 | 4671.4296 | 7313.5248 | 6277.3804 | 804.0082 | 1001.2443 | 4225.8271 | 8643.9252 | 6731.2108 | 1157.4687 | 1031.5556 | 4984.1802 | 6905.761 | 5426.9856 | 865.2308 | 1092.1877 | 4450.5714 | 8217.1212 | 5384.7383 | 1233.5217 | 1260.2759 | 5420.6901
13 | 7775.9054 | 4956.8069 | 1127.1086 | 1193.8974 | 5168.9451 | 7601.81 | 5953.6851 | 1031.394 | 1076.8032 | 4713.4158 | 6761.8298 | 5211.9014 | 779.347 | 1013.2777 | 4054.1455 | 7365.8556 | 5731.8329 | 922.0795 | 1045.1382 | 4633.4076 | 7389.5158 | 6393.547 | 785.057 | 986.2154 | 4217.4754 | 8818.9159 | 6862.7781 | 1174.1233 | 1018.8304 | 5046.4227 | 6879.9951 | 5520.6856 | 819.8554 | 1068.7977 | 4386.0077 | 7987.8423 | 5358.2146 | 1186.9682 | 1225.0001 | 5296.4393
14 | 7733.3668 | 5042.9697 | 1095.7928 | 1169.7882 | 5135.5604 | 7659.5071 | 6089.406 | 1038.0671 | 1068.5456 | 4747.1094 | 6847.4031 | 5376.2955 | 796.3985 | 1006.4995 | 4056.5243 | 7404.9878 | 5859.5714 | 921.6217 | 1037.7946 | 4658.4549 | 7524.2469 | 6564.1284 | 802.9149 | 989.5471 | 4268.8371 | 9007.9667 | 7048.5302 | 1207.4222 | 1022.3463 | 5144.0517 | 6954.5208 | 5698.5425 | 814.5495 | 1062.1549 | 4437.77 | 7903.4915 | 5448.7 | 1180.6727 | 1204.4466 | 5296.6726
15 | 7856.6425 | 5307.3911 | 1130.9928 | 1174.329 | 5167.5121 | 7793.4967 | 6296.5319 | 1071.6633 | 1077.4194 | 4810.9168 | 7078.8326 | 5695.7365 | 854.3924 | 1019.54 | 4151.6409 | 7520.1965 | 6073.0978 | 950.3776 | 1049.7049 | 4700.2555 | 7774.758 | 6846.4942 | 838.8208 | 1000.8249 | 4398.533 | 9226.9635 | 7269.5809 | 1260.8358 | 1035.7181 | 5271.3696 | 7172.9423 | 5978.3303 | 854.7902 | 1076.364 | 4561.0139 | 7954.2492 | 5637.6771 | 1207.5652 | 1214.4895 | 5317.4056
16 | 8261.4922 | 5720.6033 | 1231.7507 | 1202.3637 | 5355.9407 | 8055.8665 | 6582.8361 | 1154.9542 | 1101.4102 | 4982.6094 | 7481.032 | 6124.7327 | 953.4757 | 1053.0744 | 4416.6984 | 7762.9702 | 6367.6825 | 1025.3235 | 1075.9043 | 4863.7735 | 8158.4332 | 7218.5101 | 937.3144 | 1025.2752 | 4667.0059 | 9489.4115 | 7537.7993 | 1351.2492 | 1056.9076 | 5481.5385 | 7621.9792 | 6407.0028 | 964.587 | 1105.223 | 4810.7046 | 8246.0155 | 5949.4553 | 1274.6244 | 1239.6471 | 5447.5786
17 | 9107.3469 | 6329.0142 | 1442.8764 | 1282.2451 | 5804.2307 | 8420.3964 | 6953.6153 | 1294.1972 | 1156.5304 | 5264.6209 | 7976.1242 | 6650.4139 | 1115.4177 | 1113.3352 | 4814.2345 | 8066.747 | 6745.8619 | 1151.7265 | 1128.2759 | 5104.7795 | 8546.7233 | 7631.6166 | 1111.226 | 1073.1573 | 4992.9041 | 9629.7942 | 7831.687 | 1470.8339 | 1097.9826 | 5650.923 | 8257.1535 | 6940.6488 | 1169.9212 | 1169.9675 | 5234.93 | 8931.2122 | 6452.4899 | 1424.4723 | 1309.4633 | 5803.6944
18 | 10295.9789 | 6977.5892 | 1761.6626 | 1404.0819 | 6477.1962 | 8852.5568 | 7262.2911 | 1465.8274 | 1235.761 | 5575.7568 | 8405.1282 | 7011.9116 | 1319.3079 | 1184.679 | 5206.0076 | 8343.8652 | 6982.0131 | 1312.079 | 1185.3353 | 5300.3496 | 8717.6429 | 7890.5915 | 1291.0157 | 1109.0447 | 5234.954 | 9528.6805 | 7934.1007 | 1579.697 | 1121.1137 | 5675.2485 | 8842.52 | 7318.2645 | 1420.2191 | 1252.7772 | 5670.2565 | 10041.8314 | 7017.6286 | 1667.1023 | 1419.9871 | 6348.9488
19 | 10695.9795 | 7193.6947 | 2027.0451 | 1422.591 | 6700.2064 | 8929.4082 | 7376.0082 | 1583.4521 | 1252.6703 | 5672.0765 | 8599.3592 | 7212.3175 | 1468.144 | 1221.3708 | 5382.6524 | 8564.9317 | 7158.7542 | 1436.5609 | 1220.7481 | 5409.7318 | 8587.1339 | 7975.3926 | 1430.4285 | 1113.6081 | 5292.3592 | 9249.503 | 7932.1805 | 1647.2804 | 1120.3038 | 5564.4001 | 8946.8005 | 7413.0098 | 1585.4405 | 1272.7085 | 5803.9254 | 10460.4088 | 7218.1445 | 1887.1912 | 1442.7855 | 6556.0266
20 | 10295.155 | 7022.2469 | 2021.6209 | 1381.0811 | 6393.658 | 8545.3413 | 7158.2319 | 1561.4687 | 1221.8893 | 5464.013 | 8336.6391 | 7057.5848 | 1499.0857 | 1214.1594 | 5301.5784 | 8384.1225 | 7038.2014 | 1484.392 | 1217.9444 | 5370.4921 | 8421.007 | 7936.5109 | 1485.6559 | 1113.9615 | 5212.4211 | 9049.2738 | 7914.8708 | 1635.7133 | 1118.0746 | 5379.6372 | 8605.9514 | 7186.5895 | 1571.1815 | 1242.6939 | 5605.608 | 10146.3624 | 7059.8595 | 1880.32 | 1406.2963 | 6323.2474
21 | 9868.982 | 6792.2846 | 1936.2664 | 1332.7702 | 6048.4789 | 8164.7883 | 6865.8471 | 1484.7189 | 1177.9423 | 5169.9195 | 7938.9221 | 6763.0814 | 1439.6953 | 1178.077 | 5027.7351 | 8039.8077 | 6764.5263 | 1440.7053 | 1185.1502 | 5132.2292 | 8065.8004 | 7601.1712 | 1460.9422 | 1099.131 | 5022.1739 | 8656.723 | 7586.4359 | 1586.9423 | 1109.8114 | 5178.6904 | 8229.5415 | 6964.1364 | 1495.2582 | 1201.455 | 5300.944 | 9798.4811 | 6854.623 | 1806.1876 | 1368.4583 | 6040.439
22 | 9306.7112 | 6427.6914 | 1815.8247 | 1266.5756 | 5691.0523 | 7835.7438 | 6516.4024 | 1402.6187 | 1120.9273 | 4878.0513 | 7622.0761 | 6399.9731 | 1344.5921 | 1116.3311 | 4714.8579 | 7744.9005 | 6420.2742 | 1354.0982 | 1127.2658 | 4818.0061 | 7755.9886 | 7176.1174 | 1378.8781 | 1052.0028 | 4687.9127 | 8253.316 | 7158.5729 | 1482.4005 | 1064.1401 | 4816.3265 | 7903.9998 | 6642.4501 | 1410.81 | 1147.735 | 4986.1961 | 9301.3609 | 6506.2047 | 1698.3144 | 1302.276 | 5694.3545
23 | 8859.0139 | 6124.5742 | 1644.7383 | 1181.3133 | 5264.5929 | 7652.3537 | 6266.124 | 1315.6682 | 1059.0382 | 4598.3921 | 7428.2807 | 6119.2055 | 1253.2005 | 1055.2838 | 4454.6261 | 7566.7264 | 6156.5534 | 1260.9377 | 1064.4985 | 4535.0228 | 7521.9468 | 6820.9598 | 1293.3284 | 1002.7839 | 4446.984 | 7903.6144 | 6797.2984 | 1376.2391 | 1015.4581 | 4528.5573 | 7695.7114 | 6330.6764 | 1321.2098 | 1089.8211 | 4702.7044 | 8881.0529 | 6230.5139 | 1540.6609 | 1218.4418 | 5274.8624
24 | 8427.4408 | 5726.487 | 1609.7884 | 1106.7425 | 5254.011 | 7412.1257 | 5891.3674 | 1370.4818 | 1012.9388 | 4720.1588 | 7187.3634 | 5743.4487 | 1307.3674 | 1011.6697 | 4583.2332 | 7317.1245 | 5774.9015 | 1316.627 | 1021.5658 | 4686.8418 | 7205.5103 | 6366.8237 | 1333.1397 | 972.7902 | 4578.2654 | 7484.6866 | 6330.0534 | 1420.8484 | 985.2633 | 4645.8572 | 7453.2026 | 5933.8696 | 1352.259 | 1035.7608 | 4772.132 | 8481.9633 | 5836.6584 | 1526.3232 | 1145.066 | 5302.5121
Unit | MW
Source | Panel analysis of AEMO data
Note | 'FY21' covers the period 1 Jun 2020 to 31 May 2021 to ensure the seasons are contiguous. The same was not done for FY18-20 due to the larger sample size

## F2.9 Market price cap events
Market price cap events by NEM region
| QLD | NSW | VIC | SA | TAS
2017-18 | 1 | 3 | 0 | 26 | 2
2018-19 | 1 | 0 | 36 | 49 | 13
2019-20 | 0 | 28 | 35 | 23 | 4
2020-21 | 39 | 19 | 2 | 10 | 6
Unit | N/A
Source | Panel analysis of AEMO data

## F2.10 Market price floor events
Market price floor events by NEM region
| QLD | NSW | VIC | SA | TAS
2017-18 | 10 | 0 | 3 | 7 | 0
2018-19 | 11 | 0 | 7 | 0 | 0
2019-20 | 21 | 1 | 1 | 19 | 0
2020-21 | 131 | 3 | 10 | 119 | 0
Unit | N/A
Source | Panel analysis of AEMO data

## F2.11 Diurnal price prfls
NEM diurnal wholesale price profiles by region and season
Winter | [10 empty] | Spring | [9 empty] | Summer | [9 empty] | Autumn
Hour End | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20 | NSW FY21 | QLD FY21 | SA FY21 | TAS FY21 | VIC FY21 | NSW FY18-20 | QLD FY18-20 | SA FY18-20 | TAS FY18-20 | VIC FY18-20
1 | 41.5957 | 36.2827 | 53.7596 | 53.9988 | 53.0331 | 69.3329 | 61.1736 | 81.196 | 63.2235 | 77.1558 | 42.593 | 37.904 | 38.7432 | 39.0526 | 40.1768 | 76.2417 | 66.4437 | 85.0129 | 78.0101 | 84.8469 | 39.007 | 38.5142 | 38.4895 | 33.2537 | 30.3652 | 61.0008 | 57.5933 | 79.9436 | 82.7096 | 72.5152 | 45.1982 | 42.1468 | 50.8442 | 28.9816 | 38.7651 | 58.0697 | 52.1307 | 71.9805 | 71.6278 | 68.0798
2 | 39.9743 | 33.688 | 45.3017 | 55.7111 | 49.1033 | 66.3959 | 57.6571 | 72.2074 | 61.2551 | 67.6669 | 40.3156 | 35.3566 | 28.056 | 41.9079 | 31.6275 | 71.5505 | 61.4944 | 74.6535 | 71.1348 | 74.7657 | 35.7194 | 35.2488 | 29.0946 | 30.5759 | 23.0758 | 57.5701 | 54.1269 | 68.2729 | 78.6719 | 61.2749 | 40.5758 | 38.1582 | 40.7114 | 29.8481 | 30.2504 | 55.9609 | 49.9816 | 61.2189 | 69.7522 | 58.3174
3 | 37.3322 | 31.8073 | 40.4495 | 48.7161 | 41.0939 | 61.2691 | 53.4463 | 59.8637 | 54.3127 | 56.0669 | 38.9987 | 34.1972 | 23.5691 | 40.0416 | 26.4136 | 68.5678 | 60.083 | 65.4227 | 66.7615 | 64.7445 | 34.7879 | 34.0485 | 25.1084 | 29.1251 | 19.2888 | 57.4262 | 53.9763 | 62.1141 | 77.5357 | 56.5405 | 36.7611 | 34.423 | 34.1024 | 27.0088 | 24.0891 | 52.8001 | 47.3795 | 54.2156 | 68.3591 | 51.0597
4 | 34.9858 | 30.3533 | 35.1999 | 46.98 | 36.7258 | 58.6232 | 51.1762 | 51.0488 | 50.1203 | 50.3487 | 38.4828 | 34.1032 | 20.4597 | 41.3627 | 23.7082 | 68.8381 | 59.0247 | 62.6664 | 65.4829 | 64.6527 | 35.2357 | 34.3011 | 52.5543 | 29.5811 | 19.204 | 57.5301 | 54.1062 | 62.0629 | 79.8961 | 56.871 | 36.1298 | 33.8674 | 30.9067 | 26.1114 | 22.5699 | 51.2516 | 45.9649 | 49.9059 | 69.1822 | 47.5105
5 | 35.9799 | 31.9707 | 35.1691 | 46.7845 | 36.8291 | 59.0843 | 53.5047 | 48.1281 | 50.8756 | 50.5921 | 42.0252 | 36.662 | 26.0814 | 46.4671 | 29.9805 | 71.9331 | 62.2169 | 66.4946 | 69.634 | 69.5107 | 37.7332 | 36.7866 | 28.389 | 31.7065 | 22.7132 | 59.8318 | 56.1357 | 67.1873 | 83.4015 | 62.0112 | 37.5879 | 36.126 | 33.7791 | 27.3449 | 25.3499 | 52.0306 | 47.7345 | 52.6141 | 74.3086 | 49.8639
6 | 39.1736 | 35.6912 | 39.38 | 71.5394 | 42.2048 | 65.2053 | 61.3222 | 57.0414 | 59.7203 | 62.2648 | 52.9954 | 38.3233 | 38.7531 | 51.0295 | 44.0119 | 84.0373 | 70.386 | 79.8205 | 86.0369 | 87.6849 | 39.7827 | 39.1626 | 37.3953 | 35.6329 | 30.2297 | 64.9267 | 60.6497 | 79.3367 | 89.144 | 74.9846 | 45.5405 | 47.1214 | 41.6907 | 31.3843 | 35.3634 | 57.21 | 53.0903 | 63.1589 | 70.7964 | 60.9255
7 | 57.1921 | 47.1964 | 54.851 | 76.3036 | 60.949 | 100.7937 | 94.9011 | 97.3345 | 77.0291 | 100.299 | 56.973 | 27.2629 | 46.6276 | 69.6562 | 53.0877 | 98.7015 | 82.0547 | 90.6171 | 90.8313 | 106.8292 | 36.2938 | 33.7875 | 37.6663 | 38.1682 | 30.9234 | 70.9635 | 66.2033 | 92.5139 | 92.8408 | 87.9562 | 77.8613 | 96.4571 | 72.9426 | 38.2975 | 64.1776 | 73.6546 | 66.6334 | 82.2227 | 77.4057 | 81.1733
8 | 60.887 | 47.1529 | 61.093 | 58.7169 | 67.555 | 112.0414 | 98.36 | 120.4087 | 87.1162 | 119.3825 | 43.4079 | 18.77 | 36.3033 | 52.3607 | 39.7725 | 86.4274 | 65.7036 | 80.7666 | 89.4462 | 94.8297 | 33.5801 | 31.8731 | 22.2588 | 51.7836 | 19.6776 | 66.7191 | 60.7487 | 87.4799 | 98.3039 | 79.1605 | 87.548 | 60.8163 | 70.3693 | 53.5476 | 64.3141 | 69.0574 | 59.3891 | 83.9437 | 79.3849 | 81.7577
9 | 51.168 | 27.316 | 62.0159 | 65.544 | 72.2747 | 94.2275 | 74.9188 | 105.6398 | 80.6991 | 109.0427 | 44.2778 | 10.0095 | 23.119 | 49.8685 | 39.2619 | 83.2205 | 62.7952 | 80.6501 | 88.5989 | 93.7618 | 37.7633 | 36.741 | 8.6885 | 42.7803 | 16.0077 | 70.7557 | 63.5858 | 86.4284 | 99.0549 | 82.9562 | 42.8956 | 21.6885 | 41.0183 | 36.1094 | 39.0564 | 65.7191 | 51.3777 | 77.8359 | 75.3105 | 77.0636
10 | 45.7309 | 22.2179 | 54.3257 | 71.1909 | 63.425 | 83.324 | 61.1479 | 96.0297 | 81.0841 | 100.9846 | 39.7157 | 28.1045 | 9.207 | 49.1782 | 32.8831 | 78.9705 | 67.375 | 67.7966 | 87.4609 | 86.4111 | 36.7015 | 34.7976 | -3.5894 | 36.5042 | 9.4453 | 73.8038 | 65.4411 | 80.5674 | 88.1243 | 82.2256 | 37.4498 | 20.6125 | 21.7009 | 41.2354 | 32.3678 | 62.8836 | 47.6612 | 71.921 | 77.5241 | 72.069
11 | 41.3344 | 9.7762 | 46.9736 | 61.0233 | 54.9739 | 74.3705 | 51.6216 | 87.1073 | 73.5291 | 88.7513 | 37.3905 | 8.4578 | -1.9107 | 49.4011 | 28.5688 | 79.2608 | 56.9682 | 58.3313 | 79.7866 | 81.987 | 34.5212 | 34.8913 | -2.5745 | 50.0744 | 10.5237 | 77.0978 | 66.853 | 86.6821 | 86.8008 | 100.179 | 33.0463 | 14.3075 | 8.8054 | 31.0257 | 23.5404 | 59.8275 | 44.394 | 65.4802 | 71.1968 | 66.4553
12 | 40.3134 | 5.007 | 42.4647 | 58.3847 | 52.4395 | 66.9545 | 43.1071 | 77.788 | 73.1499 | 78.1571 | 36.897 | 7.5685 | -11.7813 | 44.6649 | 25.1163 | 76.5425 | 54.5335 | 55.9637 | 78.4487 | 78.2844 | 34.8667 | 35.6169 | -6.1428 | 33.2327 | 9.1972 | 77.4187 | 68.3419 | 103.2274 | 87.3022 | 109.8118 | 31.2632 | 13.0901 | 5.3935 | 30.3797 | 18.6065 | 58.329 | 43.6702 | 69.3381 | 80.6082 | 63.3969
13 | 37.2331 | 6.6834 | 33.7169 | 52.7247 | 47.5802 | 65.0818 | 45.9465 | 80.2261 | 71.4632 | 74.0429 | 37.6736 | 12.5679 | -13.92 | 42.9678 | 25.7434 | 76.0762 | 54.689 | 54.8639 | 72.5898 | 75.2702 | 40.5021 | 38.1996 | -10.6305 | 33.2287 | 9.2351 | 83.0417 | 76.2335 | 87.6955 | 87.9488 | 89.6974 | 32.8845 | 19.5782 | 8.2871 | 32.5362 | 21.1538 | 60.3618 | 48.3623 | 63.2312 | 70.307 | 64.1634
14 | 36.6236 | 12.5946 | 32.2479 | 50.9015 | 44.5342 | 65.5266 | 51.1926 | 64.4896 | 62.8252 | 74.7724 | 81.5599 | 39.7119 | -4.373 | 52.5054 | 26.7765 | 78.5316 | 61.6225 | 51.14 | 79.8732 | 76.9404 | 71.7255 | 44.1759 | -18.5855 | 32.4132 | 4.2691 | 88.3457 | 78.5811 | 112.3188 | 86.0787 | 97.3742 | 35.1211 | 25.9362 | 6.367 | 28.9456 | 22.1412 | 62.9176 | 52.5596 | 70.3202 | 70.0888 | 65.5674
15 | 38.1148 | 19.2969 | 34.8372 | 46.6138 | 45.9186 | 66.8525 | 55.1881 | 70.7467 | 64.5174 | 76.061 | 84.8477 | 25.434 | 5.1627 | 40.6418 | 32.4069 | 82.2975 | 67.9433 | 56.9619 | 75.1773 | 79.2068 | 44.5342 | 44.8238 | -15.2247 | 31.6446 | 11.4628 | 111.7742 | 79.8371 | 144.6847 | 85.2538 | 139.8434 | 39.0156 | 69.4086 | 14.4718 | 30.4338 | 26.6149 | 66.4592 | 57.1244 | 82.1064 | 69.8093 | 69.3466
16 | 40.2069 | 27.85 | 41.4002 | 49.7654 | 51.2235 | 72.5423 | 61.8673 | 77.7 | 68.3516 | 82.4634 | 60.1383 | 31.8514 | 16.5607 | 42.6289 | 39.5991 | 89.4086 | 77.4661 | 71.8736 | 73.6681 | 88.5939 | 88.1488 | 52.6473 | -3.185 | 45.5065 | 16.1576 | 145.9539 | 96.2348 | 163.9868 | 85.9018 | 216.4295 | 44.4408 | 80.8471 | 28.9708 | 31.4905 | 36.8911 | 71.337 | 64.4619 | 97.6904 | 71.229 | 92.9877
17 | 50.4543 | 36.2748 | 50.0491 | 58.4159 | 64.9133 | 86.8158 | 75.4262 | 96.0667 | 79.8003 | 98.2975 | 96.5068 | 54.9297 | 35.2717 | 40.9197 | 51.5684 | 97.9391 | 87.8874 | 86.7973 | 78.0602 | 101.0176 | 129.7782 | 79.6021 | 12.0388 | 34.6078 | 21.9363 | 204.9557 | 101.3922 | 227.2057 | 87.8051 | 262.9169 | 132.9941 | 235.8535 | 64.2646 | 37.8857 | 69.5502 | 78.464 | 71.1171 | 128.921 | 73.4045 | 127.4773
18 | 87.3648 | 71.9576 | 84.2781 | 60.3127 | 95.9986 | 145.6658 | 120.7311 | 139.97 | 88.044 | 142.2629 | 71.1799 | 63.9182 | 57.8523 | 39.3706 | 66.2541 | 110.5394 | 102.158 | 98.9277 | 79.9929 | 111.5958 | 87.479 | 60.8183 | 32.9571 | 32.7566 | 26.9662 | 168.9495 | 104.0048 | 217.7424 | 78.4065 | 239.2505 | 361.1037 | 378.9923 | 182.5589 | 34.6381 | 186.6997 | 99.2236 | 91.9524 | 111.183 | 76.6438 | 109.5275
19 | 112.7691 | 83.4022 | 111.9445 | 46.4252 | 119.9573 | 152.8277 | 129.748 | 157.9491 | 87.7962 | 150.6327 | 97.2811 | 94.9265 | 81.3897 | 39.3194 | 88.0558 | 140.4859 | 133.8579 | 129.0945 | 93.0843 | 141.2136 | 56.4149 | 105.0228 | 64.4142 | 33.1465 | 41.8256 | 114.0228 | 104.9344 | 239.215 | 92.7439 | 238.8901 | 188.977 | 263.7966 | 198.1326 | 44.0045 | 169.6981 | 92.4589 | 88.9435 | 111.858 | 73.7691 | 100.6162
20 | 59.3809 | 48.205 | 67.5252 | 48.0979 | 69.1193 | 106.284 | 91.8319 | 114.9977 | 75.4546 | 112.3865 | 61.3427 | 55.5032 | 58.1959 | 40.6802 | 60.3293 | 112.6611 | 103.1835 | 111.6319 | 84.2675 | 117.5932 | 53.9922 | 66.9291 | 55.8757 | 33.2863 | 41.4407 | 90.3104 | 90.779 | 196.6771 | 83.6445 | 152.3475 | 73.3586 | 67.4761 | 176.1758 | 26.103 | 66.847 | 73.9292 | 70.0798 | 83.1104 | 74.6439 | 80.0275
21 | 52.1671 | 44.0443 | 61.3201 | 54.0329 | 62.0628 | 101.5765 | 87.8423 | 107.4943 | 79.924 | 107.2847 | 51.4897 | 46.8727 | 49.062 | 60.8465 | 50.5377 | 95.9039 | 87.308 | 98.0547 | 83.4639 | 102.5955 | 44.3181 | 53.5266 | 43.6941 | 36.026 | 37.6606 | 77.2265 | 77.9585 | 144.5939 | 85.9136 | 134.8668 | 72.696 | 71.4507 | 103.9443 | 27.5337 | 62.4781 | 69.5657 | 65.4473 | 78.7755 | 73.2361 | 75.9871
22 | 45.2486 | 38.7064 | 57.7422 | 55.5557 | 58.3646 | 84.4466 | 74.5966 | 93.1413 | 69.5244 | 91.4397 | 45.1028 | 41.0141 | 40.1733 | 44.0114 | 43.5219 | 86.2691 | 77.1274 | 87.466 | 75.9055 | 90.7057 | 39.1619 | 41.6281 | 37.2174 | 34.3608 | 31.0522 | 68.6565 | 68.3223 | 85.946 | 89.426 | 78.5903 | 57.2043 | 57.346 | 66.019 | 29.2176 | 47.6646 | 63.1118 | 58.6051 | 72.9928 | 70.7663 | 70.3689
23 | 46.2775 | 40.4861 | 55.0011 | 55.7327 | 57.4851 | 84.0292 | 77.1948 | 86.7551 | 66.6008 | 87.0114 | 46.2749 | 41.7354 | 35.895 | 42.6547 | 43.0476 | 89.8272 | 81.6365 | 84.8632 | 72.4243 | 89.7345 | 41.4402 | 43.2797 | 35.8625 | 32.0686 | 30.3075 | 69.4005 | 70.3105 | 80.1665 | 81.8429 | 76.0496 | 61.1725 | 59.0764 | 128.182 | 29.3347 | 46.9325 | 66.0576 | 61.7772 | 71.1952 | 69.4513 | 70.2484
24 | 42.6165 | 36.248 | 57.7765 | 54.7395 | 59.7847 | 76.4878 | 68.3915 | 95.4473 | 66.6324 | 89.4349 | 44.3861 | 38.0229 | 42.0138 | 44.4526 | 46.6087 | 85.1419 | 71.9853 | 99.3907 | 80.6914 | 103.472 | 39.9237 | 38.6092 | 42.1358 | 34.6703 | 35.4812 | 63.5817 | 62.0504 | 93.6356 | 92.0682 | 88.2364 | 51.2184 | 45.5618 | 124.8304 | 27.3756 | 46.6316 | 61.2058 | 55.5113 | 80.2599 | 74.0693 | 77.934
Unit | $/MWh
Source | Panel analysis of AEMO data
Note | 'FY21' covers the period 1 Jun 2020 to 31 May 2021 to ensure the seasons are contiguous. The same was not done for FY18-20 due to the larger sample size

## F2.12 Wholesale price dist.
NEM wholesale price distribution FY19 - FY21
Source | Panel analysis of AEMO data
Note | No data has been included for this figure because it is a distribution and as such has too many data points to include in this file

## F2.13 ASX Qld qtrly futures
ASX Queensland base load quarterly futures - price and volume traded
Source | Panel analysis of ASX Energy data
Units | $/MWh & MW

## F2.14 ASX NSW qtrly futures
ASX New South Wales base load quarterly futures - price and volume traded
Source | Panel analysis of ASX Energy data
Units | $/MWh & MW

## F2.15 ASX Vic qtrly futures
ASX Victoria base load quarterly futures - price and volume traded
Source | Panel analysis of ASX Energy data
Units | $/MWh & MW

## F2.16 ASX SA qtrly futures
ASX South Australia base load quarterly futures - price and volume traded
Source | Panel analysis of ASX Energy data
Units | $/MWh & MW

## F2.17 Costs of operating system
Costs of operating the system
| 2018-19 | 2019-20 | 2020-21
FCAS Markets | 176 | 263.8 | 140.9
RERT Costs | 34.2 | 40.6 | 0.6617
SRAS | 35.7 | 35.8 | 36.9
NSCAS | 10.6 | 0 | 0
AEMO Revenue Requirement | 78.6 | 89.7 | 95.7
Source | AER Quarterly global FCAS costs by services, AEMO RERT reporting, AEMO non market ancillary services annual summary, AEMO budget and fees
Units | $ million

## F3.1 Actual unserved energy
Actual unserved energy by NEM region
Year | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
QLD | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
NSW | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VIC | 0% | 0% | 0% | 0.004% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0017% | 0% | 0%
SA | 0% | 0% | 0% | 0.0032% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0004% | 0% | 0.0004% | 0% | 0%
TAS | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Average | 0% | 0% | 0% | 0.0014% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0001% | 0% | 0.0004% | 0% | 0%
Reliability Standard | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002%
Interim Reliability Measure | [15 empty] | 0.0006%
Source | AEMO
Units | N/A

## F3.2 Forecast unserved energy
Forecast unserved energy by NEM region
State | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
QLD | 1.575e-06% | 0% | 0% | 2.575e-08% | 1.446e-07% | 8.706e-07% | 1.433e-06% | 2.368e-05% | 6.468e-05% | 0.0001126%
NSW | 3.109e-05% | 1.301e-05% | 2.605e-05% | 8.404e-06% | 2.172e-05% | 4.329e-05% | 6.573e-05% | 0.0001451% | 0.002326% | 0.008274%
VIC | 0.0001792% | 8.217e-05% | 0.0001966% | 0.0001531% | 0.0001374% | 0.0001866% | 0.0002363% | 0.003486% | 0.003324% | 0.003811%
SA | 0.0002295% | 4.74e-05% | 5.995e-05% | 9.074e-06% | 0% | 7.79e-07% | 1.239e-06% | 0.0001194% | 0.00018% | 0.0003332%
TAS | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Reliability Standard | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002%
Interim Reliability Measure | 0.0006% | 0.0006% | 0.0006% | 0.0006%
Source | AEMO ESOO
Units | N/A

## F3.3 rel. impact - adv projs
Reliability impact of projects well advanced, but not yet meeting AEMO’s commitment criteria
Source | AEMO 2021 ESOO

## F3.4 Actual LOR notices
Actual LOR notices by year
Year | LOR1 | LOR2 | LOR3 | Total
2008-09 | 17 | 12 | 4 | 33
2009-10 | 22 | 3 | 0 | 25
2010-11 | 12 | 2 | 0 | 14
2011-12 | 7 | 2 | 0 | 9
2012-13 | 15 | 2 | 0 | 17
2013-14 | 6 | 2 | 0 | 8
2014-15 | 5 | 1 | 0 | 6
2015-16 | 10 | 2 | 0 | 12
2016-17 | 16 | 4 | 2 | 22
2017-18 | 17 | 4 | 0 | 21
2018-19 | 11 | 3 | 2 | 16
2019-20 | 8 | 9 | 0 | 17
2020-21 | 48 | 5 | 0 | 53
Source | AEMO
Unit | N/A

## F3.5 Forecast and actual LOR
Actual and Forecast LOR by Month
| 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01
Forecast | 2 | 4 | 0 | 0 | 6 | 19 | 0 | 1 | 1 | 2 | 20 | 21
Actual | 0 | 4 | 0 | 3 | 3 | 8 | 3 | 0 | 2 | 4 | 12 | 14

## F3.6 RERT reserve activation
RERT reserves activated by financial year
| 2017-18 | 2018-19 | 2019-20 | 2020-21
RERT reserves activated | 646 | 3115 | 2086.5 | 0
Source | AEMO RERT Reporting
Units | MWh

## F3.7 Costs of RERT use
Costs of RERT use by financial year
| 2017-18 | 2018-19 | 2019-20 | 2020-21
Availability | 27.03 | 0 | 2.09 | 0
Pre-activation | 21.56 | 12.02 | 14.32 | 0.103
Activation | 3.23 | 18.855 | 18.87 | 0.527
Intervention | 0.17 | 3.574 | 5.29 | 0.0317
Total | 51.99 | 34.449 | 40.57 | 0.6617
Source | AEMO RERT Reporting
Units | $ million

## F3.8 Reliability directions
Reliability directions issued by AEMO by NEM region
Financial year | QLD | NSW | VIC | SA | TAS | Total
2014-15 | 0 | 0 | 0 | 0 | 0 | 0
2015-16 | 0 | 0 | 0 | 0 | 0 | 0
2016-17 | 0 | 0 | 0 | 2 | 0 | 2
2017-18 | 0 | 0 | 0 | 0 | 0 | 0
2018-19 | 0 | 0 | 0 | 0 | 0 | 0
2019-20 | 0 | 4 | 2 | 0 | 0 | 6
2020-21 | 0 | 0 | 0 | 0 | 0 | 2
Source | AEMO
Unit | N/A

## F3.9 Qld CPT 18-5-21 to 1-6-21
Queensland CPT – 18 May 2021 - 1 Jul 2021
Source | AER Wholesale Markets Quarterly Q2 2021

## F3.10 AEMO fcst accuracy smry
AEMO forecasting accuracy summary by region 2020-21
Source | AEMO forecasting accuracy reporting 2021

## F3.11 load fcst accuracy
Accuracy of ST-PASA load forecasting
Load Forecasting Performance
Mean Absolute Percentage Errors
Region | QLD |  |  | NSW |  |  | VIC |  |  | TAS |  |  | SA
Month | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead
2020-07-01 | 0.8561% | 1.522% | 1.79% | 0.8831% | 1.938% | 2.234% | 1.166% | 2.046% | 2.169% | 1.373% | 2.356% | 3.016% | 2.405% | 3.445% | 3.56%
2020-08-01 | 0.9472% | 1.551% | 1.794% | 0.9619% | 2.44% | 2.286% | 1.543% | 2.607% | 2.944% | 1.575% | 2.772% | 3.519% | 3.052% | 5.016% | 5.702%
2020-09-01 | 0.9158% | 1.54% | 1.661% | 0.8563% | 1.868% | 2.343% | 1.509% | 2.748% | 3.334% | 1.537% | 2.472% | 4.067% | 4.504% | 7.114% | 7.985%
2020-10-01 | 1.06% | 1.873% | 2.343% | 0.9336% | 1.988% | 2.093% | 1.552% | 3.235% | 3.801% | 1.795% | 3.049% | 3.671% | 4.098% | 6.899% | 8.007%
2020-11-01 | 0.7859% | 1.573% | 2.275% | 1.052% | 1.947% | 2.368% | 1.466% | 3.091% | 3.507% | 1.752% | 2.689% | 4.122% | 3.71% | 7.183% | 7.525%
2020-12-01 | 0.8152% | 1.869% | 2.383% | 0.9528% | 2.154% | 2.776% | 1.595% | 3.135% | 3.403% | 1.629% | 2.602% | 3.219% | 4.265% | 7.429% | 8.147%
2021-01-01 | 0.7907% | 1.371% | 1.84% | 0.9552% | 2.085% | 2.572% | 1.392% | 2.614% | 3.62% | 1.544% | 2.596% | 3.6% | 3.577% | 6.454% | 7.211%
2021-02-01 | 0.8209% | 1.439% | 1.781% | 0.7881% | 1.568% | 2.129% | 1.43% | 2.482% | 3.275% | 1.62% | 2.691% | 3.3% | 3.249% | 5.246% | 6.324%
2021-03-01 | 0.8226% | 1.477% | 2.145% | 0.8927% | 1.668% | 2.083% | 1.225% | 2.142% | 2.222% | 1.722% | 2.695% | 3.643% | 3.039% | 4.721% | 6.039%
2021-04-01 | 1.057% | 1.568% | 1.805% | 0.9828% | 1.73% | 1.983% | 1.431% | 2.748% | 3.174% | 1.768% | 2.806% | 4.126% | 3.399% | 5.944% | 6.416%
2021-05-01 | 1.276% | 2.065% | 2.252% | 0.9447% | 1.609% | 1.767% | 1.313% | 2.318% | 2.869% | 1.393% | 2.323% | 3.451% | 2.715% | 4.227% | 4.534%
2021-06-01 | 1.067% | 1.665% | 1.774% | 0.9361% | 1.856% | 2.244% | 1.074% | 2.074% | 2.687% | 1.343% | 2.317% | 3.103% | 2.934% | 4.498% | 5.36%
FY 20-21 average | 0.9345% | 1.626% | 1.987% | 0.9283% | 1.904% | 2.24% | 1.391% | 2.603% | 3.084% | 1.588% | 2.614% | 3.57% | 3.412% | 5.681% | 6.401%
Source | AEMO
Unit | N/A

## F3.12 wind fcst accuracy
Normalised mean absolute error of wind energy forecasts
AWEFS Forecasting Performance
Normalised Mean Absolute Errors
Region | QLD |  |  |  | NSW | NSW |  |  | VIC | NSW |  |  | TAS | NSW |  |  | SA | NSW
Month | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead
2020-07-01 | 1.704% | 6.738% | 9.537% | 10.93% | 1.738% | 6.054% | 8.671% | 10.29% | 1.801% | 6.589% | 7.986% | 9.474% | 1.98% | 5.729% | 7.382% | 9.219% | 1.827% | 6.844% | 8.933% | 10.44%
2020-08-01 | 1.268% | 6.594% | 8.093% | 9.349% | 2.129% | 7.108% | 9.747% | 11.48% | 2.633% | 8.313% | 10.06% | 12.12% | 1.747% | 5.25% | 6.841% | 8.611% | 2.216% | 8.402% | 11.48% | 13.13%
2020-09-01 | 1.879% | 7.926% | 11.01% | 12.76% | 2.298% | 7.88% | 10.69% | 11.74% | 2.824% | 9.139% | 10.8% | 12.28% | 3.323% | 8.927% | 11.31% | 12.58% | 3.025% | 10.38% | 13.45% | 14.4%
2020-10-01 | 1.875% | 6.908% | 10.09% | 11.54% | 2.297% | 7.984% | 10.89% | 11.99% | 2.618% | 8.293% | 10.7% | 12.27% | 2.502% | 7.309% | 9.479% | 10.73% | 2.865% | 9.842% | 13.05% | 14.08%
2020-11-01 | 1.837% | 7.348% | 10.37% | 12.24% | 2.111% | 7.585% | 9.927% | 11.05% | 3.271% | 9.34% | 11.62% | 13.08% | 3.224% | 9.094% | 11.49% | 12.83% | 3.155% | 10.02% | 12.84% | 13.75%
2020-12-01 | 1.907% | 7.246% | 10.06% | 11.09% | 2.368% | 7.138% | 9.323% | 10.29% | 3.044% | 8.503% | 10.77% | 11.17% | 3.555% | 9.19% | 11.43% | 12.91% | 2.815% | 8.82% | 11.77% | 11.88%
2021-01-01 | 1.96% | 7.814% | 10.41% | 11.42% | 2.132% | 6.65% | 8.767% | 9.698% | 3.143% | 9.094% | 11.4% | 12.15% | 2.903% | 8.207% | 10.34% | 11.32% | 2.894% | 9.073% | 11.98% | 13.04%
2021-02-01 | 1.439% | 6.066% | 8.71% | 9.28% | 2.241% | 7.452% | 9.454% | 10.13% | 2.917% | 8.054% | 9.847% | 10.73% | 2.816% | 7.472% | 9.547% | 10.62% | 2.777% | 8.694% | 11.11% | 11.39%
2021-03-01 | 1.899% | 9.037% | 11.63% | 12.7% | 2.047% | 6.564% | 8.797% | 9.741% | 2.39% | 6.956% | 8.866% | 9.894% | 2.858% | 7.922% | 9.993% | 11.31% | 2.495% | 8.12% | 10.76% | 12.13%
2021-04-01 | 2.228% | 8.958% | 13.62% | 16.56% | 1.548% | 5.459% | 7.351% | 8.41% | 2.407% | 6.803% | 8.341% | 8.874% | 3.258% | 7.884% | 9.596% | 11.06% | 1.87% | 6.416% | 8.303% | 9.312%
2021-05-01 | 2.269% | 7.424% | 11.25% | 12.46% | 1.702% | 5.866% | 7.618% | 8.849% | 2.455% | 7.91% | 9.738% | 11.21% | 3.24% | 8.969% | 10.46% | 11.96% | 2.23% | 7.806% | 10.36% | 11.69%
2021-06-01 | 1.604% | 6.003% | 8.078% | 9.249% | 2.05% | 6.646% | 8.525% | 9.816% | 2.222% | 7.405% | 9.49% | 10.71% | 2.522% | 7.494% | 9.407% | 10.53% | 2.541% | 8.844% | 11.57% | 13.31%
FY 20-21 average | 1.822% | 7.339% | 10.24% | 11.63% | 2.055% | 6.865% | 9.146% | 10.29% | 2.644% | 8.033% | 9.968% | 11.16% | 2.827% | 7.787% | 9.774% | 11.14% | 2.559% | 8.605% | 11.3% | 12.38%
Source | AEMO
Unit | N/A

## F3.13 solar fcst accuracy
Normalised mean absolute error of solar energy forecasts
ASEFS Forecasting Performance
Normalised Mean Absolute Errors
Region | QLD |  |  |  | NSW | NSW |  |  | VIC | NSW |  |  | TAS | NSW |  |  | SA | NSW
Month | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | Day ahead
2020-07-01 | 1.97% | 4.114% | 4.596% | 4.798% | 1.705% | 3.941% | 4.496% | 5.131% | 1.507% | 4.815% | 5.341% | 5.48% | NA | NA | NA | NA | 1.627% | 3.676% | 4.232% | 4.427%
2020-08-01 | 2.192% | 4.664% | 5.221% | 5.392% | 2.531% | 4.343% | 4.898% | 5.586% | 2.143% | 4.769% | 5.486% | 7.242% | NA | NA | NA | NA | 2.495% | 4.699% | 4.804% | 5.199%
2020-09-01 | 3.639% | 6.209% | 7.093% | 7.194% | 2.844% | 4.94% | 5.329% | 5.626% | 2.658% | 5.736% | 6.397% | 7.444% | NA | NA | NA | NA | 3.115% | 5.657% | 6.581% | 6.321%
2020-10-01 | 3.13% | 6.029% | 6.905% | 7.442% | 3.288% | 5.907% | 6.659% | 6.758% | 2.692% | 5.733% | 6.403% | 7.33% | NA | NA | NA | NA | 3.069% | 5.74% | 6.637% | 7.423%
2020-11-01 | 2.988% | 6.32% | 6.911% | 7.778% | 2.398% | 5.173% | 5.795% | 6.809% | 2.533% | 5.677% | 6.718% | 8.197% | NA | NA | NA | NA | 2.122% | 4.63% | 5.092% | 6.662%
2020-12-01 | 3.504% | 6.781% | 7.429% | 7.959% | 2.633% | 4.746% | 5.417% | 5.808% | 1.769% | 4.441% | 4.954% | 5.199% | NA | NA | NA | NA | 2.642% | 5.752% | 9.569% | 7.192%
2021-01-01 | 3.743% | 6.294% | 6.778% | 7.19% | 2.693% | 5.147% | 5.686% | 6.121% | 1.698% | 3.761% | 4.234% | 4.246% | NA | NA | NA | NA | 1.99% | 4.206% | 5.137% | 6.36%
2021-02-01 | 3.783% | 6.62% | 7.436% | 8.033% | 2.99% | 5.35% | 5.711% | 6.2% | 2.187% | 4.138% | 4.431% | 4.646% | NA | NA | NA | NA | 3.04% | 5.778% | 7.027% | 6.083%
2021-03-01 | 3.755% | 6.468% | 6.989% | 7.365% | 2.438% | 4.664% | 5.171% | 5.99% | 1.837% | 4.165% | 4.611% | 5.502% | NA | NA | NA | NA | 2.243% | 4.768% | 7.244% | 6.652%
2021-04-01 | 2.935% | 5.27% | 5.856% | 6.233% | 1.842% | 4.18% | 4.705% | 5.422% | 1.443% | 3.185% | 3.515% | 4.244% | NA | NA | NA | NA | 3.143% | 6.999% | 13.95% | 5.665%
2021-05-01 | 2.379% | 4.292% | 4.707% | 5.023% | 2.005% | 4.285% | 4.653% | 5.111% | 2.018% | 3.608% | 3.783% | 4.083% | NA | NA | NA | NA | 2.775% | 5.8% | 6.706% | 7.291%
2021-06-01 | 2.24% | 4.359% | 4.966% | 5.217% | 1.776% | 3.703% | 4.225% | 4.876% | 1.564% | 2.981% | 3.37% | 3.694% | NA | NA | NA | NA | 2.451% | 5.566% | 6.453% | 7.566%
FY 20-21 average | 3.022% | 5.618% | 6.241% | 6.635% | 2.429% | 4.698% | 5.229% | 5.786% | 2.004% | 4.417% | 4.937% | 5.609% | NA | NA | NA | NA | 2.559% | 5.272% | 6.953% | 6.403%
Source | AEMO
Unit | N/A
Note | Tasmania is excluded from this analysis due to the small amount of solar generators in the state

## F3.14 SF participants by state
Self-forecasting participants by state
Wind Self Forecasting
Region | QLD | NSW | VIC | TAS | SA
Farms with SF at end of FY20-21 | 1 | 1 | 3 | 1 | 9
Solar Self Forecasting
Region | QLD | NSW | VIC | TAS | SA
Farms with SF at end of FY20-21 | 19 | 9 | 4 | 0 | 3
Source | AEMO

## F3.15 Wind SF performance
Wind self-forecasting comparison to AWEFS
State | QLD |  | NSW |  | VIC |  | SA |  | TAS
Forecast type | AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF
Normalised mean absolute error | 2.329% | 2.115% | 2.403% | 2.296% | 2.407% | 2.01% | 2.649% | 2.458% | 3.608% | 3.245%
Source | AEMO

## F3.16 Solar SF performance
Solar self-forecasting comparison to AWEFS
State | QLD |  | NSW |  | VIC |  | SA
Forecast Type | ASEFS | SF | ASEFS | SF | ASEFS | SF | ASEFS | SF
Normalised mean absolute error | 3.734% | 3.356% | 3.105% | 2.771% | 2.621% | 2.321% | 2.816% | 2.571%
Source | AEMO

## F3.17 Interconnector flows
Inter-regional energy flows by month
Source | Panel Analysis of AEMO data
Units | GWh

## F3.18 Interconnector works LOR
Correlation between works affecting interconnectors and LOR conditions
QLD |  |  |  |  | NSW | [5 empty] | VIC | [6 empty] | SA |  |  |  |  | TAS |  |  |  | NSW
| QNI Outage Hours | Directlink Outage Hours | Actual LOR | Forecast LOR |  | Directlink Outage Hours | QNI Outage Hours | VNI Outage Hours | Actual LOR | Forecast LOR |  | VNI Outage Hours | Heywood Outage Hours | Murraylink Outage Hours | Basslink Outage Hours | Actual LOR | Forecast LOR |  | Heywood Outage Hours | Murraylink Outage Hours | Actual LOR | Forecast LOR |  | Basslink Outage Hours | Actual LOR | Forecast LOR |  | Directlink Outage Hours | QNI Outage Hours | VNI Outage Hours | Heywood Outage Hours | Murraylink Outage Hours | Basslink Outage Hours | Actual LOR | Forecast LOR
2020-07-01 | 229 | 615 | 0 | 0 | 2020-07-01 | 615 | 229 | 421 | 0 | 0 | 2020-07-01 | 421 | 1137 | 42 | 2 | 0 | 0 | 2020-07-01 | 1137 | 42 | 0 | 0 | 2020-07-01 | 2 | 0 | 2 | 2020-07-01 | 615 | 229 | 421 | 1137 | 42 | 2 | 0 | 0
2020-08-01 | 170 | 1202 | 0 | 0 | 2020-08-01 | 1202 | 170 | 544 | 2 | 2 | 2020-08-01 | 544 | 0 | 0 | 0 | 0 | 0 | 2020-08-01 | 0 | 0 | 0 | 0 | 2020-08-01 | 0 | 2 | 2 | 2020-08-01 | 1202 | 170 | 544 | 0 | 0 | 0 | 2 | 2
2020-09-01 | 505 | 35 | 0 | 0 | 2020-09-01 | 35 | 505 | 770 | 0 | 0 | 2020-09-01 | 770 | 612 | 644 | 0 | 0 | 0 | 2020-09-01 | 612 | 644 | 0 | 0 | 2020-09-01 | 0 | 0 | 0 | 2020-09-01 | 35 | 505 | 770 | 612 | 644 | 0 | 0 | 0
2020-10-01 | 239 | 768 | 0 | 0 | 2020-10-01 | 768 | 239 | 689 | 3 | 0 | 2020-10-01 | 689 | 648 | 362 | 194 | 0 | 0 | 2020-10-01 | 648 | 362 | 0 | 0 | 2020-10-01 | 194 | 0 | 0 | 2020-10-01 | 768 | 239 | 689 | 648 | 362 | 194 | 3 | 0
2020-11-01 | 351 | 1623 | 0 | 4 | 2020-11-01 | 1623 | 351 | 61 | 3 | 2 | 2020-11-01 | 61 | 474 | 0 | 0 | 0 | 0 | 2020-11-01 | 474 | 0 | 0 | 0 | 2020-11-01 | 0 | 0 | 0 | 2020-11-01 | 1623 | 351 | 61 | 474 | 0 | 0 | 3 | 2
2020-12-01 | 116 | 818 | 0 | 11 | 2020-12-01 | 818 | 116 | 80 | 8 | 6 | 2020-12-01 | 80 | 3942 | 0 | 6 | 0 | 0 | 2020-12-01 | 3942 | 0 | 0 | 2 | 2020-12-01 | 6 | 0 | 0 | 2020-12-01 | 818 | 116 | 80 | 3942 | 0 | 6 | 8 | 6
2021-01-01 | 0 | 588 | 0 | 0 | 2021-01-01 | 588 | 0 | 72 | 1 | 0 | 2021-01-01 | 72 | 0 | 23 | 2 | 0 | 0 | 2021-01-01 | 0 | 23 | 2 | 0 | 2021-01-01 | 2 | 0 | 0 | 2021-01-01 | 588 | 0 | 72 | 0 | 23 | 2 | 1 | 0
2021-02-01 | 0 | 65 | 0 | 0 | 2021-02-01 | 65 | 0 | 0 | 0 | 0 | 2021-02-01 | 0 | 1095 | 0 | 0 | 0 | 0 | 2021-02-01 | 1095 | 0 | 0 | 0 | 2021-02-01 | 0 | 0 | 1 | 2021-02-01 | 65 | 0 | 0 | 1095 | 0 | 0 | 0 | 0
2021-03-01 | 181 | 84 | 0 | 1 | 2021-03-01 | 84 | 181 | 261 | 0 | 0 | 2021-03-01 | 261 | 1120 | 0 | 8 | 0 | 0 | 2021-03-01 | 1120 | 0 | 2 | 0 | 2021-03-01 | 8 | 0 | 0 | 2021-03-01 | 84 | 181 | 261 | 1120 | 0 | 8 | 0 | 0
2021-04-01 | 356 | 142 | 0 | 0 | 2021-04-01 | 142 | 356 | 637 | 2 | 0 | 2021-04-01 | 637 | 276 | 51 | 0 | 2 | 0 | 2021-04-01 | 276 | 51 | 0 | 2 | 2021-04-01 | 0 | 0 | 0 | 2021-04-01 | 142 | 356 | 637 | 276 | 51 | 0 | 2 | 0
2021-05-01 | 380 | 596 | 2 | 6 | 2021-05-01 | 596 | 380 | 1686 | 10 | 13 | 2021-05-01 | 1686 | 66 | 251 | 36 | 0 | 1 | 2021-05-01 | 66 | 251 | 0 | 0 | 2021-05-01 | 36 | 0 | 0 | 2021-05-01 | 596 | 380 | 1686 | 66 | 251 | 36 | 10 | 13
2021-06-01 | 229 | 1071 | 2 | 5 | 2021-06-01 | 1071 | 229 | 1233 | 12 | 15 | 2021-06-01 | 1233 | 1129 | 76 | 0 | 0 | 0 | 2021-06-01 | 1129 | 76 | 0 | 1 | 2021-06-01 | 0 | 0 | 0 | 2021-06-01 | 1071 | 229 | 1233 | 1129 | 76 | 0 | 12 | 15
Source | Panel analysis of AEMO data

## F3.19 Transmission unsupp mins
Transmission unsupplied minutes
Region (Transmission) | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Queensland | 1.06 | 1.9 | 0.34 | 0.24 | 2.7 | 0.96 | 0.46 | 1.39 | 0.02 | 0.06 | 0.76
Victoria | 1.2 | 0 | 0 | 0 | 0 | 0.14 | 9.02 | 0.07 | 0.043 | 8.494 | 1.0462
Tasmania | 10.95 | 8.72 | 0.49 | 0 | 0 | 0.14 | 2.38 | 2.5 | 1.12 | 3.39 | 3.6
South Australia | 9.37 | 2.8 | 5.8 | 0 | 0 | 4.16 | 13.2 | 1.594 | 1.329 | 2.68 | 0.116
New South Wales | 1.28 | 0.44 | 1.1 | 0 | 0 | 5.36 | 0.427 | 0.251 | 0.308 | 0.917 | 0.0405
Source | 2010-11: TNSPS
Units | 2010-11: minutes (amount of energy not supplied, divided by maximum demand, multiplied by 60)

## F3.20-3.23 SAIDI
System average interruption duration index (SAIDI) by network
State | DNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
ACT | Evoenergy | 35 | 44.3 | 25.6 | 29.9 | 25.8 | 47.7 | 32.5 | 28.7 | 26.806 | 32.87 | 35.0962 | 39.5 | 31.4 | 34.9432 | 34.8111
NSW | Ausgrid | 86.99 | 85.5 | 97.03 | 106.5 | 78.94 | 89.33 | 79.27 | 67.62 | 76.52 | 71.4 | 76.0069 | 78.9634 | 69.59 | 74.65 | 92.174
NSW | Endeavour Energy | 99.3 | 96 | 101.7 | 96.3 | 79.4 | 76.9 | 93.3 | 104.3 | 82.6 | 91.3219 | 86.7111 | 73.4343 | 70.5881 | 78.0559 | 87.3904
NSW | Essential Energy | 297 | 222.3 | 218.4 | 261 | 196.5 | 222.5 | 237.5 | 232.5 | 181.2 | 221.5685 | 214.1483 | 235.9107 | 212.1077 | 236.4 | 243.1442
Qld | Energex | 128.2224 | 88.2209 | 100.3451 | 90.7891 | 87.6753 | 78.7787 | 64.1719 | 67.3031 | 70.044 | 84.462 | 74.053 | 62.42 | 67.563 | 68.958 | 73.244
Qld | Ergon Energy | 380.488 | 264.065 | 316.668 | 352.064 | 352.245 | 324.963 | 295.802 | 264.105 | 228.0554 | 281.0522 | 280.4913 | 217.496 | 234.914 | 276.4889 | 271.0161
SA | SA Power Networks | 156.4 | 180.2 | 129.6 | 136.4 | 180.6 | 161.7 | 130.1 | 143.3 | 167.6 | 123.7 | 138.97 | 151.41 | 131.68 | 146.36 | 119.9
Tas | TasNetworks (D) | 132 | 173 | 175 | 201 | 205 | 139 | 160 | 137 | 184.842 | 141.258 | 150.406 | 136.604 | 157.3484 | 158.294 | 151.3905
Vic | AusNet (D) | 189.545 | 177.201 | 132.11 | 178.128 | 129.865 | 145.469 | 125.602 | 133.1232 | 157.2927 | 136.763 | 171.3733 | 121.2806 | 167.4981 | 179.281 | 172.8273
Vic | CitiPower | 24.7256 | 21.9062 | 16.6011 | 29.6187 | 30.0212 | 22.7105 | 29.1451 | 26.9238 | 34.5072 | 26.3807 | 24.5 | 20.4018 | 25.0191 | 21.6334 | 27.879
Vic | Jemena Electricity | 69.0214 | 67.8112 | 62.8783 | 71.2796 | 62.3468 | 55.2387 | 50.2419 | 59.7917 | 58.6214 | 46.9482 | 45.5963 | 42.3744 | 43.1922 | 47.5379 | 49.7098
Vic | Powercor Australia | 121.1557 | 140.6076 | 118.9066 | 170.2682 | 149.949 | 125.1157 | 129.5445 | 139.1516 | 166.227 | 134.3971 | 129.7 | 100.0955 | 134.6643 | 130.1103 | 127.0472
Vic | United Energy | 50.5497 | 60.6512 | 62.6449 | 61.4907 | 56.7159 | 60.9745 | 78.6511 | 73.56 | 77.9401 | 66.302 | 54.6731 | 42.9383 | 46.1921 | 43.3551 | 33.3149
Source | AER Electricity network performance report 2021
QLD
NSW & ACT
VIC
SA & TAS

## F3.24-3.27 SAIFI
System average interruption frequency index (SAIFI) by network
State | DNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
ACT | Evoenergy | 0.71 | 0.64 | 0.56 | 0.59 | 0.62 | 0.8 | 0.63 | 0.59 | 0.498 | 0.605 | 0.67451 | 0.7 | 0.5 | 0.63425 | 0.48944
NSW | Ausgrid | 1.155 | 1.043 | 1.151 | 1.301 | 1.06 | 1.032 | 0.8831 | 0.7325 | 0.825 | 0.685 | 0.70285 | 0.7134 | 0.6776 | 0.66 | 0.68398
NSW | Endeavour Energy | 1.212 | 1.22 | 1.232 | 1.102 | 0.973 | 0.898 | 1.013 | 1.216 | 0.98 | 1.0923 | 0.87429 | 0.85216 | 0.78276 | 0.82332 | 0.7857
NSW | Essential Energy | 2.637 | 2.299 | 2.255 | 2.337 | 1.996 | 1.866 | 2.121 | 1.847 | 1.726 | 1.9682 | 1.767 | 1.8601 | 1.7803 | 1.8747 | 1.7976
Qld | Energex | 1.7163 | 1.2549 | 1.3765 | 1.2972 | 1.3827 | 1.1003 | 0.84749 | 0.88238 | 0.8929 | 0.914 | 0.8643 | 0.7502 | 0.74904 | 0.76917 | 0.7637
Qld | Ergon Energy | 3.946 | 2.749 | 2.939 | 3.423 | 3.273 | 2.831 | 2.71 | 2.422 | 2.317 | 2.5192 | 2.4945 | 2.1409 | 2.1739 | 2.3006 | 2.4253
SA | SA Power Networks | 1.663 | 1.736 | 1.353 | 1.374 | 1.649 | 1.546 | 1.308 | 1.326 | 1.446 | 1.123 | 1.201 | 1.244 | 1.142 | 1.131 | 0.9
Tas | TasNetworks (D) | 2.04 | 1.77 | 1.77 | 1.72 | 1.84 | 1.45 | 1.73 | 1.46 | 1.8184 | 1.298 | 1.559 | 1.449 | 1.6589 | 1.5585 | 1.4751
Vic | AusNet (D) | 2.491 | 2.327 | 1.956 | 2.184 | 1.91 | 1.941 | 1.655 | 1.8993 | 1.8036 | 1.7262 | 1.689 | 1.5 | 1.8702 | 1.7654 | 1.7844
Vic | CitiPower | 0.53117 | 0.4683 | 0.30724 | 0.54599 | 0.43567 | 0.40298 | 0.46895 | 0.39453 | 0.41584 | 0.39038 | 0.4 | 0.33396 | 0.34287 | 0.25695 | 0.3869
Vic | Jemena Electricity | 1.1894 | 1.3186 | 1.0038 | 1.1724 | 0.93638 | 0.90285 | 0.92304 | 1.1121 | 0.95631 | 0.77269 | 0.87707 | 0.78967 | 0.73189 | 0.79511 | 0.80279
Vic | Powercor Australia | 1.8944 | 1.7332 | 1.4981 | 1.8117 | 1.7668 | 1.3512 | 1.373 | 1.4364 | 1.6008 | 1.3804 | 1.3 | 1.1129 | 1.2778 | 1.4422 | 1.2498
Vic | United Energy | 0.92049 | 1.0669 | 1.3045 | 1.3012 | 0.98301 | 0.95967 | 1.0918 | 1.01 | 1.0004 | 0.908 | 0.80518 | 0.64237 | 0.5843 | 0.58999 | 0.53756
Source | AER Electricity network performance report 2021
QLD
NSW ACT
VIC
SA TAS

## F4.1 Reviewable op incidents
Number of reviewable operating incidents
Event description | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Transmission related incidents (excluding busbar trips) | 10 | 12 | 8 | 9 | 12
Generation related incidents | 1 | 0 | 0 | 1 | 1
Combined transmission/generation incidents | 2 | 1 | 0 | 10 | 5
Busbar related reviewable incidents | 7 | 11 | 3 | 7 | 9
Power system security related** | 9 | 0 | 4 | 3 | 0
Other** | 0 | 0 | 0 | 0 | 2
Total*** | 26 | 20 | 15 | 28 | 29
Source | AEMO
Notes | * Power system security related means that the power system was not in a secure operating state for more than 30 minutes.
** These incidents do not fit in other categories - one being the SCADA outage and the other being discretionary curtailment of DPV
*** There are some tricks with this dataset. The incidents can be double counted, so the total number of events is not always the sum of the different types of incidents

## F4.2 Directions for security
Number of power system security directions issued by AEMO
Financial year | QLD | NSW | VIC | SA | TAS | Total
2005-06 | 1 | 52 | 0 | 0 | 8 | 61
2006-07 | 3 | 0 | 6 | 1 | 0 | 10
2007-08 | 5 | 0 | 0 | 1 | 1 | 7
2008-09 | 2 | 1 | 5 | 4 | 0 | 12
2009-10 | 5 | 1 | 0 | 1 | 1 | 8
2010-11 | 0 | 0 | 0 | 0 | 0 | 0
2011-12 | 0 | 0 | 0 | 0 | 0 | 0
2012-13 | 0 | 0 | 0 | 0 | 1 | 1
2013-14 | 0 | 1 | 0 | 0 | 0 | 1
2014-15 | 0 | 0 | 0 | 0 | 2 | 2
2015-16 | 1 | 0 | 0 | 0 | 0 | 1
2016-17 | 1 | 0 | 1 | 6 | 0 | 8
2017-18 | 1 | 0 | 0 | 99 | 0 | 100
2018-19 | 0 | 1 | 4 | 153 | 0 | 158
2019-20 | 0 | 0 | 5 | 273 | 0 | 278
2020-21 | 0 | 0 | 0 | 340 | 4 | 344
Source | AEMO

## F4.3 Time under directions
Percentage of time directions in force in NEM
Month | Directions in force | Avg 16-17 | Avg 17-18 | Avg 18-19 | Avg 19-20 | Avg 20-21
2016-07-01 | 0% | 0.9606%
2016-08-01 | 0% | 0.9606%
2016-09-01 | 0% | 0.9606%
2016-10-01 | 1.21% | 0.9606%
2016-11-01 | 0% | 0.9606%
2016-12-01 | 1.613% | 0.9606%
2017-01-01 | 0% | 0.9606%
2017-02-01 | 0.5952% | 0.9606%
2017-03-01 | 2.554% | 0.9606%
2017-04-01 | 5.556% | 0.9606%
2017-05-01 | 0% | 0.9606%
2017-06-01 | 0% | 0.9606%
2017-07-01 | 0% |  | 19.87%
2017-08-01 | 0% |  | 19.87%
2017-09-01 | 12.31% |  | 19.87%
2017-10-01 | 17.67% |  | 19.87%
2017-11-01 | 5.556% |  | 19.87%
2017-12-01 | 14.94% |  | 19.87%
2018-01-01 | 15.32% |  | 19.87%
2018-02-01 | 20.54% |  | 19.87%
2018-03-01 | 17.87% |  | 19.87%
2018-04-01 | 57.56% |  | 19.87%
2018-05-01 | 61.06% |  | 19.87%
2018-06-01 | 15.59% |  | 19.87%
2018-07-01 | 29.44% |  |  | 15.64%
2018-08-01 | 32.15% |  |  | 15.64%
2018-09-01 | 24.46% |  |  | 15.64%
2018-10-01 | 8.132% |  |  | 15.64%
2018-11-01 | 10.49% |  |  | 15.64%
2018-12-01 | 24.65% |  |  | 15.64%
2019-01-01 | 1.871% |  |  | 15.64%
2019-02-01 | 6.027% |  |  | 15.64%
2019-03-01 | 10.22% |  |  | 15.64%
2019-04-01 | 21.94% |  |  | 15.64%
2019-05-01 | 7.191% |  |  | 15.64%
2019-06-01 | 11.08% |  |  | 15.64%
2019-07-01 | 23.39% |  |  |  | 29.82%
2019-08-01 | 11.96% |  |  |  | 29.82%
2019-09-01 | 17.57% |  |  |  | 29.82%
2019-10-01 | 24.06% |  |  |  | 29.82%
2019-11-01 | 35.91% |  |  |  | 29.82%
2019-12-01 | 28.02% |  |  |  | 29.82%
2020-01-01 | 36.76% |  |  |  | 29.82%
2020-02-01 | 60.06% |  |  |  | 29.82%
2020-03-01 | 38.44% |  |  |  | 29.82%
2020-04-01 | 32.57% |  |  |  | 29.82%
2020-05-01 | 30.65% |  |  |  | 29.82%
2020-06-01 | 18.4% |  |  |  | 29.82%
2020-07-01 | 5.108% |  |  |  |  | 46.19%
2020-08-01 | 10.01% |  |  |  |  | 46.19%
2020-09-01 | 47.89% |  |  |  |  | 46.19%
2020-10-01 | 66.2% |  |  |  |  | 46.19%
2020-11-01 | 57.99% |  |  |  |  | 46.19%
2020-12-01 | 67.06% |  |  |  |  | 46.19%
2021-01-01 | 64.94% |  |  |  |  | 46.19%
2021-02-01 | 63.48% |  |  |  |  | 46.19%
2021-03-01 | 80.69% |  |  |  |  | 46.19%
2021-04-01 | 49.95% |  |  |  |  | 46.19%
2021-05-01 | 24.26% |  |  |  |  | 46.19%
2021-06-01 | 16.69% |  |  |  |  | 46.19%
Source | AEMO

## F4.4 Number of constraint chang
Number of constraint changes in NEMDE
Financial year | Constraint changes
2015-16 | 12352
2016-17 | 6973
2017-18 | 15293
2018-19 | 21930
2019-20 | 14965
2020-21 | 18870
Source | AEMO

## F4.5 NEM frequency bands
NEM frequency operating standard bands
Source | Panel's frequency operating standard

## F4.6 Time in NOFB
Percentage of time in normal operating frequency band. The frequency of the power system reflects the balance between power system demand and adequacy of generation.
MAINLAND | [5 empty] | TASMANIA
Month | 20/21 | 19/20 | 18/19 | 17/18 | 16/17 | Month | 20/21 | 19/20 | 18/19 | 17/18 | 16/17
Jul | 99.77% | 99.62% | 99.38% | 99.36% | 99.79% | Jul | 99.18% | 98.68% | 98.56% | 98.28% | 99.05%
Aug | 99.67% | 99.36% | 99.41% | 99.56% | 99.94% | Aug | 98.9% | 97.52% | 98.61% | 98.61% | 99.45%
Sep | 99.45% | 99.42% | 99.19% | 99.21% | 99.84% | Sep | 97.83% | 98.33% | 98.33% | 98.32% | 99.12%
Oct | 99.89% | 99.16% | 99.19% | 99.01% | 99.81% | Oct | 98.45% | 98.54% | 98.3% | 98.21% | 98.93%
Nov | 99.97% | 99.09% | 98.88% | 99.32% | 99.76% | Nov | 99.36% | 98.18% | 98.26% | 98.1% | 98.91%
Dec | 99.98% | 99.65% | 99.31% | 99.57% | 99.7% | Dec | 99.66% | 98.97% | 98.58% | 98.72% | 99.06%
Jan | 99.99% | 99.37% | 98.84% | 99.56% | 99.6% | Jan | 99.68% | 98.81% | 98.08% | 98.86% | 98.75%
Feb | 100% | 99.66% | 98.49% | 99.54% | 99.56% | Feb | 99.57% | 98.93% | 98.04% | 99% | 98.71%
Mar | 100% | 99.5% | 98.65% | 99.34% | 99.42% | Mar | 99.67% | 98.86% | 98.11% | 98.74% | 98.47%
Apr | 100% | 99.47% | 99.32% | 99.3% | 99.43% | Apr | 99.66% | 98.66% | 98.11% | 98.94% | 98.66%
May | 100% | 99.62% | 99.51% | 99.44% | 99.77% | May | 99.44% | 98.68% | 98.28% | 98.42% | 98.94%
Jun | 99.99% | 99.76% | 99.61% | 99.48% | 99.82% | Jun | 99.77% | 99.03% | 98.61% | 98.85% | 99.04%
Source | AEMO

## F4.7 FCAS costs
Quarterly global FCAS costs by services
Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC
Q3 2018 | 2.4 | 0.1 | 0 | 0 | 9.5 | 22 | 9.8 | 12.9
Q4 2018 | 3.8 | 0.1 | 0 | 0 | 16.4 | 16.1 | 6.4 | 6.9
Q1 2019 | 3.5 | 0.3 | 0 | 0 | 14.1 | 5.1 | 2.7 | 2.6
Q2 2019 | 7.9 | 0.2 | 0 | 0 | 22 | 2.5 | 5.2 | 3.5
Q3 2019 | 10.7 | 0.1 | 0.1 | 0 | 27.7 | 1.1 | 7 | 8.1
Q4 2019 | 9.5 | 0.1 | 0.1 | 0.1 | 27.7 | 0.9 | 8.6 | 11
Q1 2020 | 6.6 | 0.2 | 0.2 | 1.5 | 20.4 | 12.6 | 21.1 | 49.3
Q2 2020 | 4.7 | 0.4 | 0.7 | 0.6 | 10.6 | 1.1 | 7.5 | 13.5
Q3 2020 | 3.3 | 0.6 | 1.1 | 0.5 | 9.2 | 0.8 | 4.3 | 7.6
Q4 2020 | 3.8 | 0.6 | 1.8 | 0.5 | 10.6 | 0.6 | 5.5 | 8.3
Q1 2021 | 4.9 | 0.3 | 1.3 | 0.3 | 5.5 | 0.7 | 3.2 | 4.7
Q2 2021 | 4.8 | 0.2 | 0.5 | 0.1 | 11.3 | 0.8 | 12.9 | 30.3
Source | AER
Unit | $ million

## F4.8 FCAS prices
FCAS quarterly price by service
| LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC
Q3 2018 | 9 | 0 | 0 | 0 | 25 | 21 | 11 | 14
Q4 2018 | 12 | 0 | 0 | 0 | 31 | 16 | 8 | 8
Q1 2019 | 13 | 0 | 0 | 0 | 30 | 5 | 4 | 3
Q2 2019 | 19 | 0 | 0 | 0 | 39 | 3 | 6 | 4
Q3 2019 | 22 | 0 | 0 | 0 | 44 | 2 | 8 | 9
Q4 2019 | 21 | 0 | 0 | 0 | 46 | 1 | 9 | 11
Q1 2020 | 14 | 0 | 0 | 2 | 48 | 20 | 20 | 42
Q2 2020 | 10 | 1 | 1 | 1 | 18 | 1 | 6 | 11
Q3 2020 | 7 | 1 | 1 | 1 | 15 | 1 | 4 | 7
Q4 2020 | 9 | 1 | 2 | 1 | 17 | 1 | 5 | 7
Q1 2021 | 11 | 1 | 2 | 0 | 13 | 1 | 3 | 4
Q2 2021 | 11 | 0 | 1 | 0 | 24 | 1 | 10 | 24
Source | AER
Unit | $/MW

## F4.9 FCAS enablement
Quarterly global FCAS enablement
Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC
Q3 2018 | 132 | 266 | 133 | 57 | 171 | 483 | 413 | 413
Q4 2018 | 144 | 259 | 158 | 69 | 209 | 442 | 413 | 410
Q1 2019 | 130 | 259 | 136 | 61 | 182 | 444 | 368 | 365
Q2 2019 | 197 | 200 | 143 | 61 | 235 | 423 | 409 | 405
Q3 2019 | 231 | 190 | 187 | 100 | 272 | 345 | 387 | 378
Q4 2019 | 213 | 214 | 253 | 169 | 254 | 384 | 474 | 469
Q1 2020 | 225 | 236 | 343 | 294 | 258 | 456 | 597 | 601
Q2 2020 | 212 | 237 | 334 | 252 | 242 | 450 | 582 | 581
Q3 2020 | 213 | 250 | 349 | 259 | 248 | 415 | 550 | 547
Q4 2020 | 213 | 257 | 369 | 278 | 273 | 380 | 554 | 548
Q1 2021 | 213 | 248 | 376 | 287 | 225 | 468 | 610 | 606
Q2 2021 | 214 | 226 | 375 | 305 | 225 | 446 | 596 | 592
Source | AER
Unit | MW

## F4.10 SRAS costs
SRAS costs by sub-network
SRAS sub-network | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21
QLD North | 3.0549 | 3.2402 | 3.3308 | 1.3284 | 1.3699 | 1.3975
QLD South | 0.88824 | 0.66716 | 0.68135 | 5.1063 | 4.5661 | 5.2222
NSW | 7.3038 | 6.7379 | 6.3539 | 10.5112 | 10.5896 | 10.7864
VIC | 5.3209 | 5.3925 | 5.4723 | 6.9448 | 7.1255 | 7.2304
SA | 2.174 | 1.5952 | 1.6584 | 5.7724 | 5.9239 | 6.0616
TAS | 3.3361 | 3.3709 | 3.4426 | 6.0298 | 6.2355 | 6.2439
Source | AEMO
Unit | $ million

## F4.11 Market notices
Number of market notices issued
Type of notice | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Administered price cap | 0 | 0 | 32 | 78 | 0 | 28 | 18 | 12
Constraints | 2018-19: 5; 2019-20: 7; 2020-21: 28
General notice | 239 | 122 | 81 | 173 | 121 | 112 | 213 | 192
Inter-regional transfer | 150 | 249 | 354 | 414 | 386 | 336 | 357 | 300
Load shed | 2017-18: 0; 2018-19: 3; 2019-20: 0; 2020-21: 0
Market intervention | 7 | 9 | 2 | 40 | 335 | 361 | 571 | 417
Market systems | 117 | 86 | 161 | 159 | 172 | 190 | 220 | 216
Manual priced dispatch interval | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEM systems | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0
Non-conformance | 724 | 612 | 509 | 371 | 320 | 249 | 219 | 182
Power system events | 85 | 87 | 72 | 76 | 74 | 85 | 99 | 78
Price adjustments | 6 | 0 | 0 | 0 | 3 | 45 | 8 | 5
Prices subject to review | 210 | 213 | 781 | 523 | 481 | 738 | 1248 | 3221
Prices unchanged | 202 | 210 | 776 | 518 | 475 | 693 | 1237 | 3215
Process review | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reclassify contingency | 1040 | 1432 | 1686 | 1495 | 1606 | 1935 | 2060 | 2199
Recall generation capacity |  | 0 |  |  | 1 | 2 | 3 | 3
Reserve notice | 339 | 193 | 400 | 447 | 269 | 329 | 225 | 488
Settlements residue | 29 | 20 | 56 | 190 | 17 | 53 | 54 | 124
System reconfiguration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Total | 3148 | 3268 | 4531 | 4520 | 4531 | 5540 | 6539 | 10681
Source | 2013-14: AEMO

## T2.1 Daytime wholesale prices
Change in daytime average wholesale prices between FY18-20 and FY21
Region | Winter | Spring | Summer | Autumn
QLD | -38.7713 | -40.2145 | -33.7971 | -21.8065
NSW | -30.4599 | -25.5991 | -41.4385 | -26.9997
VIC | -30.6496 | -51.1008 | -94.1664 | -42.7623
SA | -38.6369 | -60.4455 | -111.9872 | -59.5619
TAS | -14.2884 | -32.3295 | -50.7351 | -40.8296
Source | Panel analysis of AEMO data
Unit | $/MWh

## T3.2 Actual LOR
Actual LOR by region
Region | LOR1 | LOR2 | LOR3
QLD | 3 | 1 | 0
NSW | 39 | 2 | 0
VIC | 2 | 0 | 0
SA | 2 | 2 | 0
TAS | 2 | 0 | 0
Source | AEMO

## T3.2 RERT costs
Costs of RERT use per megawatt-hour
Event | Region | RERT cost ($/MWh)
17th December 2020 | NSW | 4647
25th May 2021 | QLD | 10676
Source | AEMO RERT reporting
Unit | $/MWh

## T4.1 Mandatory PFR implementati
Mandatory PFR rollout
Tranche | Members | Capacity (approx.) | Implementation
1 | DUIDs > 200 MW | 35.6 GW | 2020-09-01
2 | DUIDs 80 - 200 MW | 17.4 GW | 2021-03-01
3 | DUIDs < 80 MW | 5.1 GW | 2021-06-01

## T4.2 FOS exceedance
Frequency operating standard exceedance 2020-21
Quarter | Times FOS exceeded
| Mainland | Tasmania
2020 Q3 | 5 | 55
2020 Q4 | 0 | 38
2021 Q1 | 0 | 28
2021 Q2 | 0 | 14
Source | AEMO Frequency and time error monitoring