New South Wales – Transmission

Colongra Gas Transmission and Storage Pipeline

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| PL33 | JGN Trunk offtake to Munmorah Compressor Station | Jemena Colongra Pty Ltd | 0.04 | 273 |
| PL33 | Munmorah Compressor Station to Colongra Lateral MLV | Jemena Colongra Pty Ltd | 3.978 | 273 |
| PL33 | Colongra Looped Pipeline | Jemena Colongra Pty Ltd | 8.86 | 1057 |
| PL33 | Munmorah Receiving Station Delivery Line | Jemena Colongra Pty Ltd | 0.318 | 406 |