## Actual USE
NEM Reliability & Security Report FY2024
Figures from the report
Actual USE
Slide: | 18
Actual unserved energy by region and financial year (%)
Year | 2008-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 2023-24
NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA | 0.0032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0004 | 0 | 0.0004 | 0 | 0 | 0 | 0 | 0
TAS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | 0
Average | 0.0014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0.0004 | 0 | 0 | 0 | 0 | 0
Reliability Standard | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002
Interim Reliability Measure | 20-21: 0.0006; 21-22: 0.0006; 22-23: 0.0006; 2023-24: 0.0006
Source: | 2008-09: Panel Analysis of AEMO Data

## Forecasted USE
NEM Reliability & Security Report FY2024
Figures from the report
Forecast USE values
Slide: | 18
Expected unserved energy by region and by financial year (%)
Financial Year | New South Wales | Queensland | South Australia | Tasmania | Victoria | Reliability Standard | IRM
2024-25 | 0.0011646 | 0.00025528 | 0.0011956 | 5.0972e-06 | 0.00061586 | 0.002 | 0.0006
2025-26 | 2.5865e-05 | 0.00010719 | 0.00035739 | 7.0494e-06 | 0.00052775 | 0.002 | 0.0006
2026-27 | 2.4557e-05 | 3.6223e-05 | 0.0013568 | 4.7584e-06 | 0.00051813 | 0.002 | 0.0006
2027-28 | 0.0022318 | 5.6758e-05 | 1.9819e-05 | 0 | 0.00084041 | 0.002 | 0.0006
2028-29 | 0.0010732 | 6.2809e-05 | 4.5602e-06 | 4.4347e-07 | 0.0020764 | 0.002 | 0.0006
2029-30 | 0.00072624 | 0.00010577 | 1.415e-05 | 2.0953e-06 | 0.0020661 | 0.002 | 0.0006
2030-31 | 0.0019863 | 0.00019589 | 0.00013761 | 1.8669e-06 | 0.0022773 | 0.002 | 0.0006
2031-32 | 0.0027291 | 0.00047725 | 0.00016585 | 1.4266e-07 | 0.0027389 | 0.002 | 0.0006
2032-33 | 0.0030878 | 1.8876e-06 | 0.00052979 | 6.8656e-08 | 0.0041215 | 0.002 | 0.0006
2033-34 | 0.33719 | 0.00049005 | 0.012881 | 1.5798e-06 | 0.0081312 | 0.002 | 0.0006
Source: | AEMO, NEM Electricity Statement of Opportunities (ESOO)

## Installed Capacity
NEM Reliability & Security Report FY2024
Figures from the report
Installed capacity by financial year
Slide: | 19
Sum of Nameplate Capacity by generation type and financial year (MW)
Financial Year | Hydro | Black Coal | Brown Coal | Gas | Wind | Solar | Biogas | Biomass | Battery | Other | Distributed Solar | Distributed Battery
2011-12 | 8071.8 | 19783.8 | 7369 | 10478.728 | 2134.65 | 0 | 119.74 | 472.4 | 0 | 1208.255 | 2137 | 0
2012-13 | 7986.5 | 19789.8 | 7369 | 10555.266 | 2574.15 | 0.401 | 132.891 | 410.4 | 0 | 1213.955 | 2863.7 | 0
2013-14 | 7987.45 | 19789.8 | 7385 | 10547.548 | 2806.9 | 2.031 | 140.816 | 418.4 | 0 | 1210.715 | 3569.1 | 0
2014-15 | 7987.3 | 19789.8 | 7385 | 10553.548 | 3753.2 | 124.031 | 140.816 | 418.4 | 0 | 1210.715 | 4179.7 | 0
2015-16 | 7987.6 | 18456 | 6230 | 10548.522 | 3708.25 | 231.531 | 156.211 | 420.3 | 0 | 1173.015 | 4586.8 | 16.506
2016-17 | 7940.8 | 18346 | 4630 | 10879.522 | 4069.85 | 274.247 | 157.021 | 416.4 | 0 | 891.215 | 5150 | 35.366
2017-18 | 8021.187 | 18346 | 4660 | 10903.29 | 5114.1 | 960.1431 | 162.569 | 501.728 | 0 | 1283.808 | 6441 | 66.499
2018-19 | 7982.605 | 18346 | 4660 | 11015.566 | 5915.578 | 2761.0713 | 77.251 | 389.728 | 185.83 | 1428.087 | 8100 | 127.413
2019-20 | 7981.825 | 18311 | 4775 | 11342.566 | 7480.968 | 3796.4563 | 52.698 | 357.728 | 210.83 | 1448.62 | 10696.3 | 197.72
2020-21 | 7992.139 | 18381 | 4820 | 11154.035 | 8523.578 | 5125.3103 | 33.607 | 376.728 | 260.83 | 1424.265 | 13894.5472 | 240.927
2021-22 | 7992.139 | 17881 | 4820 | 11002.06 | 9434.783 | 5687.7983 | 18.625 | 376.728 | 610.83 | 1279.193 | 16324.3213 | 393.4088
2022-23 | 7988 | 16435 | 4820 | 11023 | 9804 | 6691 | 139 | 373 | 746 | 1145 | 19005 | 745
2023-24 | 7998.64 | 16435 | 4820 | 11343.4 | 10685.39 | 8953.35 | 139.25 | 402.83 | 1552.83 | 1124.9 | 22021.2685 | 2060.3144
Source: | AEMO Generation Information

## Generation Changes
NEM Reliability & Security Report FY2024
Figures from the report
Utility-scale generation changes by financial year
Slide: | 19
Changes in generation capacity by technology type and financial year (MW)
Year | Hydro | Black Coal | Brown Coal | Gas | Wind | Solar | Biogas | Biomass | Battery | Other | Net
2014-15 | -0.15 | 0 | 0 | 6 | 946.3 | 122 | 0 | 0 | 0 | 0 | 1074.15
2015-16 | 0.3 | -1333.8 | -1155 | -5.026 | -44.95 | 107.5 | 15.395 | 1.9 | 0 | -37.7 | -2451.381
2016-17 | -46.8 | -110 | -1600 | 331 | 361.6 | 42.716 | 0.81 | -3.9 | 0 | -281.8 | -1306.374
2017-18 | 80.387 | 0 | 30 | 23.768 | 1044.25 | 685.8961 | 5.548 | 85.328 | 0 | 392.593 | 2347.7701
2018-19 | -38.582 | 0 | 0 | 112.276 | 801.478 | 1800.9282 | -85.318 | -112 | 185.83 | 144.279 | 2808.8912
2019-20 | -0.78 | -35 | 115 | 327 | 1565.39 | 1035.385 | -24.553 | -32 | 25 | 20.533 | 2995.975
2020-21 | 10.314 | 70 | 45 | -188.531 | 1042.61 | 1328.854 | -19.091 | 19 | 50 | -24.355 | 2333.801
2021-22 | 0 | -500 | 0 | -151.975 | 911.205 | 562.488 | -14.982 | 0 | 350 | -145.072 | 1011.664
2022-23 | -4.139 | -1446 | 0 | 20.94 | 369.217 | 1003.2017 | 120.375 | -3.728 | 135.17 | -134.193 | 60.8437
2023-24 | 10.64 | 0 | 0 | 320.4 | 881.39 | 2262.35 | 0.25 | 29.83 | 806.83 | -20.1 | 4291.59
Source: | AEMO Generation Information

## Total CER
NEM Reliability & Security Report FY2024
Figures from the report
Total installed CER capacity by financial year
Slide: | 20
Installed CER capacity for distributed solar and batteries by financial year (MW)
Year | Distributed Solar | Distributed Battery
2011-12 | 2137 | 0
2012-13 | 2863.7 | 0
2013-14 | 3569.1 | 0
2014-15 | 4179.7 | 0
2015-16 | 4586.8 | 16.506
2016-17 | 5150 | 35.366
2017-18 | 6441 | 66.499
2018-19 | 8100 | 127.413
2019-20 | 10696.3 | 197.72
2020-21 | 13894.5472 | 240.927
2021-22 | 16324.3213 | 393.4088
2022-23 | 19005 | 745
2023-24 | 22021.2685 | 2060.3144
Source: | Distributed Solar |  | Clean Energy Regulator, Small-scale Installation Postcode Data
| Distributed Battery |  | AEMO, DER Data Downloads

## Battery Capacity
NEM Reliability & Security Report FY2024
Figures from the report
New installed distributed battery capacity
Slide: | 20
Distributed battery growth by financial year (MW)
Year | Change (Battery)
2012-13 | 0
2013-14 | 0
2014-15 | 0
2015-16 | 16.506
2016-17 | 18.86
2017-18 | 31.133
2018-19 | 60.914
2019-20 | 70.307
2020-21 | 43.207
2021-22 | 152.4818
2022-23 | 351.5912
2023-24 | 1315.3144
Source: | AEMO DER Data Downloads

## Planned Generation Changes
NEM Reliability & Security Report FY2024
Figures from the report
Changes in planned generation
Slide: | 21
Changes in planned generation by technology type and financial year (MW)
Technology type | Financial year | Announced Withdrawal | Existing less Announced Withdrawal | Upgrade / Expansion | Committed | Anticipated | Proposed | Withdrawn
Coal | FY2023 | -2880 | -18375 | 30 | 0 | 0 | 990 | 1500
| FY2024 | -2880 | -18375 | 0 | 0 | 0 | 990 | 0
CCGT | FY2023 | 0 | -2779.67 | 0 | 0 | 0 | 207 | 0
| FY2024 | -180 | -2805 | 0 | 0 | 0 | 207 | 0
OCGT | FY2023 | 0 | -6837.29 | 0 | 1070 | 0 | 2463.85 | 0
| FY2024 | -158 | -7157 | 0 | 750 | 204 | 2864 | 0
Gas other | FY2023 | -800 | -767 | 0 | 0 | 0 | 1829.6 | 120
| FY2024 | -800 | -1145 | 0 | 0 | 0 | 1687 | 0
Solar* | FY2023 | 0 | -8145.03 | 0 | 2372.95 | 1100.23 | 43324.23 | 0
| FY2024 | 0 | 0 | -9103 | 0 | 2514 | 1899 | 48379
Wind | FY2023 | 0 | -9198.36 | 0 | 2536.49 | 1775.74 | 130046.15 | 0
| FY2024 | 0 | -11125 | 0 | 3167 | 486 | 130363 | 0
Water | FY2023 | 0 | -7643.12 | 0 | 2290 | 1998 | 15971 | 0
| FY2024 | 0 | -7999 | 0 | 2450 | 1998 | 20271 | 0
Biomass | FY2023 | 0 | 0 | 0 | 0 | 0 | 261 | 0
| FY2024 | 0 | -542 | 0 | 0 | 0 | 333 | 0
Battery Storage | FY2023 | 0 | -1011.26 | 0 | 1592.07 | 3381.24 | 47766.79 | 0
| FY2024 | 0 | -1605 | 0 | 3659 | 4846 | 80847 | 0
Other | FY2023 | 0 | -103.5 | 0 | 0 | 0 | 4874 | 0
| FY2024 | 0 | -224 | 0 | 0 | 0 | 4286 | 0
Source: | AEMO NEM Generation Information

## Coal Closures
NEM Reliability & Security Report FY2024
Figures from the report
Planned generator exits
Slide: | 21
NEM coal capacity until 2051 by year (MW)
Year | Black coal | Brown coal | Black coal exit | Brown coal exit
2024 | 16435 | 4820
2025 | 16435 | 4820 | 0 | 0
2026 | 16435 | 4820 | 0 | 0
2027 | 13555 | 4820 | 2880 | 0
2028 | 13555 | 3370 | 0 | 1450
2029 | 13555 | 3370 | 0 | 0
2030 | 13555 | 3370 | 0 | 0
2031 | 12855 | 3370 | 700 | 0
2032 | 12855 | 3370 | 0 | 0
2033 | 8820 | 3370 | 4035 | 0
2034 | 8820 | 3370 | 0 | 0
2035 | 7140 | 1160 | 1680 | 2210
2036 | 6440 | 1160 | 700 | 0
2037 | 5290 | 1160 | 1150 | 0
2038 | 5290 | 1160 | 0 | 0
2039 | 5290 | 1160 | 0 | 0
2040 | 3900 | 1160 | 1390 | 0
2041 | 3900 | 1160 | 0 | 0
2042 | 3156 | 1160 | 744 | 0
2043 | 2791 | 1160 | 365 | 0
2044 | 2426 | 1160 | 365 | 0
2045 | 2061 | 1160 | 365 | 0
2046 | 1696 | 1160 | 365 | 0
2047 | 1696 | 0 | 0 | 1160
2048 | 1696 | 0 | 0 | 0
2049 | 1696 | 0 | 0 | 0
2050 | 1696 | 0 | 0 | 0
2051 | 844 | 0 | 852 | 0
Source: | AEMO NEM Generation Information

## Demand Profiles
NEM Reliability & Security Report FY2024
Figures from the report
Diurnal demand curves
Slides: | 23-25
Comparing FY2024 hourly demand profile with FY2020–2023 average (GWh)
Source: | Panel analysis of AEMO MMS data via NEOpoint
NSW Summer |  |  | NSW Winter |  |  | NSW Spring |  |  | NSW Autumn
Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023
0 | 7.0678 | 6.9305 | 0 | 8.0168 | 8.1329 | 0 | 6.919 | 6.9874 | 0 | 7.1383 | 7.1408
1 | 6.6601 | 6.4588 | 1 | 7.5841 | 7.7021 | 1 | 6.5182 | 6.5659 | 1 | 6.7569 | 6.7328
2 | 6.4453 | 6.2113 | 2 | 7.1416 | 7.1799 | 2 | 6.2277 | 6.2179 | 2 | 6.4602 | 6.353
3 | 6.42 | 6.189 | 3 | 6.9112 | 6.8746 | 3 | 6.1397 | 6.1054 | 3 | 6.3684 | 6.1981
4 | 6.6193 | 6.4076 | 4 | 6.9604 | 6.8931 | 4 | 6.3278 | 6.2899 | 4 | 6.5068 | 6.3083
5 | 6.9983 | 6.8456 | 5 | 7.4478 | 7.3897 | 5 | 6.7622 | 6.7763 | 5 | 6.9249 | 6.7659
6 | 7.2586 | 7.2035 | 6 | 8.4812 | 8.4546 | 6 | 7.0377 | 7.2263 | 6 | 7.5302 | 7.4361
7 | 7.2948 | 7.359 | 7 | 9.2263 | 9.3281 | 7 | 6.7919 | 7.2644 | 7 | 7.706 | 7.7647
8 | 7.1293 | 7.3481 | 8 | 8.9107 | 9.3352 | 8 | 6.2671 | 7.0667 | 8 | 7.3362 | 7.6449
9 | 6.954 | 7.2827 | 9 | 8.1063 | 8.8074 | 9 | 5.7903 | 6.8102 | 9 | 6.7887 | 7.3228
10 | 6.8854 | 7.2511 | 10 | 7.3209 | 8.2333 | 10 | 5.5088 | 6.6301 | 10 | 6.3821 | 7.0512
11 | 6.9438 | 7.2923 | 11 | 6.8118 | 7.7784 | 11 | 5.3725 | 6.515 | 11 | 6.1734 | 6.8824
12 | 7.1257 | 7.3963 | 12 | 6.6675 | 7.5797 | 12 | 5.4003 | 6.4997 | 12 | 6.194 | 6.8708
13 | 7.4149 | 7.5803 | 13 | 6.7678 | 7.5756 | 13 | 5.6116 | 6.5843 | 13 | 6.3708 | 6.9682
14 | 7.8593 | 7.8798 | 14 | 7.1372 | 7.7636 | 14 | 6.0637 | 6.8184 | 14 | 6.8029 | 7.2098
15 | 8.473 | 8.3069 | 15 | 7.8502 | 8.249 | 15 | 6.834 | 7.2508 | 15 | 7.5362 | 7.674
16 | 9.0612 | 8.728 | 16 | 8.905 | 9.1492 | 16 | 7.7062 | 7.8138 | 16 | 8.3974 | 8.3092
17 | 9.4071 | 8.912 | 17 | 10.0378 | 10.3097 | 17 | 8.3264 | 8.315 | 17 | 9.0622 | 8.9081
18 | 9.3631 | 8.7881 | 18 | 10.3719 | 10.68 | 18 | 8.5524 | 8.5675 | 18 | 9.1049 | 8.9927
19 | 9.1512 | 8.6101 | 19 | 10.0559 | 10.323 | 19 | 8.3221 | 8.351 | 19 | 8.7473 | 8.6123
20 | 8.695 | 8.2495 | 20 | 9.7132 | 9.9337 | 20 | 7.9504 | 7.9817 | 20 | 8.3755 | 8.2226
21 | 8.3048 | 7.9124 | 21 | 9.2031 | 9.3887 | 21 | 7.6634 | 7.6782 | 21 | 8.0235 | 7.8851
22 | 7.8895 | 7.638 | 22 | 8.764 | 8.9326 | 22 | 7.454 | 7.4944 | 22 | 7.7428 | 7.6812
23 | 7.4745 | 7.2983 | 23 | 8.3699 | 8.5103 | 23 | 7.2114 | 7.2646 | 23 | 7.4583 | 7.4431
QLD Summer |  |  | QLD Winter |  |  | QLD Spring |  |  | QLD Autumn
Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023
0 | 6.41 | 5.9834 | 0 | 5.6575 | 5.5087 | 0 | 5.6073 | 5.4786 | 0 | 5.8645 | 5.6533
1 | 6.2262 | 5.7937 | 1 | 5.4729 | 5.2952 | 1 | 5.444 | 5.3009 | 1 | 5.705 | 5.4802
2 | 6.0768 | 5.6817 | 2 | 5.4002 | 5.1886 | 2 | 5.3477 | 5.2074 | 2 | 5.6202 | 5.3887
3 | 6.0151 | 5.6377 | 3 | 5.3966 | 5.1738 | 3 | 5.3315 | 5.1858 | 3 | 5.5989 | 5.3639
4 | 6.0524 | 5.6826 | 4 | 5.5412 | 5.2969 | 4 | 5.4214 | 5.2688 | 4 | 5.6899 | 5.4425
5 | 6.1549 | 5.8081 | 5 | 5.8867 | 5.6713 | 5 | 5.5735 | 5.4587 | 5 | 5.9313 | 5.6942
6 | 6.2457 | 5.996 | 6 | 6.4448 | 6.2918 | 6 | 5.5985 | 5.6621 | 6 | 6.2502 | 6.0654
7 | 6.2591 | 6.0967 | 7 | 6.4998 | 6.5872 | 7 | 5.3059 | 5.69 | 7 | 6.1735 | 6.1655
8 | 6.1555 | 6.0741 | 8 | 5.8556 | 6.1275 | 8 | 4.9172 | 5.4438 | 8 | 5.7287 | 5.8789
9 | 6.0823 | 6.0241 | 9 | 5.12 | 5.5478 | 9 | 4.6089 | 5.2244 | 9 | 5.3512 | 5.5812
10 | 6.0556 | 6.0169 | 10 | 4.731 | 5.1179 | 10 | 4.4869 | 5.0943 | 10 | 5.2234 | 5.4125
11 | 6.113 | 6.0807 | 11 | 4.6453 | 4.8933 | 11 | 4.531 | 5.0627 | 11 | 5.2667 | 5.4004
12 | 6.2899 | 6.2238 | 12 | 4.6395 | 4.8688 | 12 | 4.6281 | 5.1339 | 12 | 5.3494 | 5.4951
13 | 6.5793 | 6.4354 | 13 | 4.7668 | 5.0089 | 13 | 4.798 | 5.3138 | 13 | 5.5246 | 5.6923
14 | 7.0228 | 6.7371 | 14 | 5.1534 | 5.3198 | 14 | 5.214 | 5.6387 | 14 | 5.9331 | 6.0047
15 | 7.603 | 7.1286 | 15 | 5.855 | 5.8016 | 15 | 5.8899 | 6.1008 | 15 | 6.5444 | 6.4647
16 | 8.2544 | 7.5797 | 16 | 6.6982 | 6.4822 | 16 | 6.6779 | 6.6658 | 16 | 7.2476 | 7.0267
17 | 8.6607 | 7.8557 | 17 | 7.4104 | 7.1356 | 17 | 7.2409 | 7.0476 | 17 | 7.7292 | 7.42
18 | 8.7098 | 7.9474 | 18 | 7.5519 | 7.3269 | 18 | 7.4522 | 7.242 | 18 | 7.7864 | 7.4975
19 | 8.5837 | 7.8997 | 19 | 7.3277 | 7.146 | 19 | 7.2686 | 7.0917 | 19 | 7.525 | 7.2581
20 | 8.2639 | 7.5928 | 20 | 7.0752 | 6.9737 | 20 | 6.962 | 6.8427 | 20 | 7.2464 | 7.0047
21 | 7.7561 | 7.1609 | 21 | 6.7082 | 6.6125 | 21 | 6.5752 | 6.4788 | 21 | 6.8532 | 6.6576
22 | 7.1954 | 6.769 | 22 | 6.3319 | 6.2682 | 22 | 6.2175 | 6.1699 | 22 | 6.4795 | 6.3414
23 | 6.764 | 6.3263 | 23 | 5.9771 | 5.8746 | 23 | 5.9003 | 5.8087 | 23 | 6.1449 | 5.9704
SA Summer |  |  | SA Winter |  |  | SA Spring |  |  | SA Autumn
Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023
0 | 1.4301 | 1.4127 | 0 | 1.5884 | 1.566 | 0 | 1.4072 | 1.353 | 0 | 1.4613 | 1.4224
1 | 1.3702 | 1.3028 | 1 | 1.5194 | 1.4312 | 1 | 1.356 | 1.2491 | 1 | 1.4047 | 1.3129
2 | 1.299 | 1.238 | 2 | 1.4258 | 1.3184 | 2 | 1.2807 | 1.164 | 2 | 1.3326 | 1.2275
3 | 1.2569 | 1.2048 | 3 | 1.3494 | 1.2432 | 3 | 1.226 | 1.1155 | 3 | 1.2868 | 1.1769
4 | 1.2562 | 1.2069 | 4 | 1.3248 | 1.2115 | 4 | 1.2192 | 1.1094 | 4 | 1.2777 | 1.1653
5 | 1.2998 | 1.2537 | 5 | 1.3455 | 1.2395 | 5 | 1.266 | 1.1629 | 5 | 1.3068 | 1.2006
6 | 1.3447 | 1.3085 | 6 | 1.4538 | 1.3572 | 6 | 1.3328 | 1.2506 | 6 | 1.3984 | 1.2964
7 | 1.2464 | 1.2556 | 7 | 1.6413 | 1.5528 | 7 | 1.2419 | 1.2395 | 7 | 1.4659 | 1.366
8 | 1.0734 | 1.1177 | 8 | 1.7165 | 1.6586 | 8 | 1.0149 | 1.1139 | 8 | 1.3462 | 1.3024
9 | 0.88015 | 0.97114 | 9 | 1.5253 | 1.5296 | 9 | 0.76014 | 0.95747 | 9 | 1.0949 | 1.1369
10 | 0.76756 | 0.87512 | 10 | 1.3161 | 1.3539 | 10 | 0.59995 | 0.84538 | 10 | 0.91935 | 0.98986
11 | 0.66874 | 0.82704 | 11 | 1.1795 | 1.2164 | 11 | 0.48067 | 0.77001 | 11 | 0.7839 | 0.89441
12 | 0.62852 | 0.81797 | 12 | 1.0754 | 1.1492 | 12 | 0.41025 | 0.73431 | 12 | 0.70073 | 0.84825
13 | 0.64643 | 0.8431 | 13 | 1.0358 | 1.1269 | 13 | 0.39269 | 0.73305 | 13 | 0.70564 | 0.84699
14 | 0.72091 | 0.90204 | 14 | 1.0781 | 1.1617 | 14 | 0.45868 | 0.7737 | 14 | 0.78587 | 0.89534
15 | 0.86672 | 1.0182 | 15 | 1.2241 | 1.2631 | 15 | 0.62769 | 0.87484 | 15 | 0.9627 | 1.0131
16 | 1.0941 | 1.2024 | 16 | 1.4438 | 1.4588 | 16 | 0.89334 | 1.0555 | 16 | 1.24 | 1.211
17 | 1.362 | 1.4069 | 17 | 1.7763 | 1.7566 | 17 | 1.238 | 1.2843 | 17 | 1.5635 | 1.4659
18 | 1.582 | 1.5659 | 18 | 2.0095 | 1.9935 | 18 | 1.5026 | 1.4695 | 18 | 1.7548 | 1.6386
19 | 1.6651 | 1.618 | 19 | 2.0081 | 1.9854 | 19 | 1.5692 | 1.5297 | 19 | 1.7397 | 1.6257
20 | 1.6216 | 1.5798 | 20 | 1.9407 | 1.9043 | 20 | 1.5232 | 1.483 | 20 | 1.6664 | 1.5503
21 | 1.5243 | 1.4826 | 21 | 1.8307 | 1.79 | 21 | 1.4452 | 1.391 | 21 | 1.5776 | 1.4665
22 | 1.4277 | 1.3839 | 22 | 1.6713 | 1.6236 | 22 | 1.363 | 1.2935 | 22 | 1.4768 | 1.3759
23 | 1.4066 | 1.4053 | 23 | 1.5821 | 1.5748 | 23 | 1.3553 | 1.3222 | 23 | 1.4411 | 1.3968
TAS Summer |  |  | TAS Winter |  |  | TAS Spring |  |  | TAS Autumn
Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023
0 | 1.0089 | 0.99099 | 0 | 1.1154 | 1.1043 | 0 | 1.0181 | 1.0006 | 0 | 1.057 | 1.0194
1 | 1.0035 | 0.97923 | 1 | 1.0999 | 1.0822 | 1 | 1.0088 | 0.98958 | 1 | 1.0435 | 1.0036
2 | 1.001 | 0.97574 | 2 | 1.0991 | 1.0758 | 2 | 1.0106 | 0.98776 | 2 | 1.0367 | 0.99934
3 | 1.0028 | 0.98073 | 3 | 1.1013 | 1.0779 | 3 | 1.0201 | 0.9955 | 3 | 1.0421 | 1.0021
4 | 1.029 | 1.0073 | 4 | 1.115 | 1.0913 | 4 | 1.0505 | 1.0264 | 4 | 1.0655 | 1.0236
5 | 1.0809 | 1.0633 | 5 | 1.1603 | 1.1435 | 5 | 1.1174 | 1.1012 | 5 | 1.1199 | 1.0811
6 | 1.1193 | 1.1157 | 6 | 1.261 | 1.25 | 6 | 1.182 | 1.1847 | 6 | 1.2102 | 1.1697
7 | 1.1046 | 1.1168 | 7 | 1.365 | 1.3745 | 7 | 1.1826 | 1.208 | 7 | 1.2588 | 1.2291
8 | 1.0737 | 1.0958 | 8 | 1.3863 | 1.415 | 8 | 1.137 | 1.1745 | 8 | 1.2272 | 1.2254
9 | 1.0411 | 1.0647 | 9 | 1.3367 | 1.3759 | 9 | 1.0809 | 1.1205 | 9 | 1.1651 | 1.1844
10 | 1.0106 | 1.0419 | 10 | 1.2788 | 1.3119 | 10 | 1.0387 | 1.0791 | 10 | 1.1108 | 1.1392
11 | 0.99817 | 1.0228 | 11 | 1.219 | 1.2532 | 11 | 1.0054 | 1.0481 | 11 | 1.0631 | 1.1029
12 | 0.98757 | 1.0083 | 12 | 1.1938 | 1.2165 | 12 | 0.98619 | 1.028 | 12 | 1.0466 | 1.0827
13 | 0.99437 | 1.0105 | 13 | 1.1801 | 1.1973 | 13 | 0.98619 | 1.0219 | 13 | 1.048 | 1.0736
14 | 1.0065 | 1.0235 | 14 | 1.1978 | 1.2086 | 14 | 1.0042 | 1.0356 | 14 | 1.068 | 1.0859
15 | 1.0421 | 1.053 | 15 | 1.2315 | 1.2376 | 15 | 1.0414 | 1.0669 | 15 | 1.1129 | 1.1178
16 | 1.0968 | 1.1028 | 16 | 1.3021 | 1.312 | 16 | 1.115 | 1.1282 | 16 | 1.1919 | 1.185
17 | 1.1448 | 1.1412 | 17 | 1.4029 | 1.4248 | 17 | 1.1925 | 1.1968 | 17 | 1.2831 | 1.2688
18 | 1.1629 | 1.1496 | 18 | 1.419 | 1.4477 | 18 | 1.2295 | 1.2346 | 18 | 1.2999 | 1.2857
19 | 1.1619 | 1.1511 | 19 | 1.382 | 1.4076 | 19 | 1.2224 | 1.2274 | 19 | 1.2657 | 1.2524
20 | 1.144 | 1.1376 | 20 | 1.3452 | 1.3653 | 20 | 1.1883 | 1.1929 | 20 | 1.229 | 1.2116
21 | 1.1029 | 1.0906 | 21 | 1.2904 | 1.3018 | 21 | 1.1377 | 1.1329 | 21 | 1.1831 | 1.1584
22 | 1.0552 | 1.0427 | 22 | 1.2173 | 1.2202 | 22 | 1.0832 | 1.0692 | 22 | 1.1287 | 1.098
23 | 1.027 | 1.0113 | 23 | 1.1514 | 1.1483 | 23 | 1.043 | 1.0247 | 23 | 1.0866 | 1.0497
VIC Summer |  |  | VIC Winter |  |  | VIC Spring |  |  | VIC Autumn
Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023 | Hour | FY2024 | Average FY2020-2023
0 | 4.1741 | 4.32 | 0 | 4.9277 | 4.9297 | 0 | 4.26 | 4.395 | 0 | 4.5195 | 4.4443
1 | 3.9587 | 4.0825 | 1 | 4.6227 | 4.6065 | 1 | 4.0328 | 4.1384 | 1 | 4.2599 | 4.1713
2 | 3.8113 | 3.9114 | 2 | 4.3748 | 4.3215 | 2 | 3.8546 | 3.9275 | 2 | 4.0774 | 3.9508
3 | 3.7994 | 3.8903 | 3 | 4.2749 | 4.1903 | 3 | 3.8228 | 3.8688 | 3 | 4.0209 | 3.8774
4 | 3.9489 | 4.0322 | 4 | 4.3143 | 4.2086 | 4 | 3.9723 | 3.9935 | 4 | 4.1155 | 3.9502
5 | 4.2404 | 4.3499 | 5 | 4.614 | 4.4798 | 5 | 4.3512 | 4.3603 | 5 | 4.4318 | 4.2506
6 | 4.4596 | 4.6464 | 6 | 5.303 | 5.128 | 6 | 4.7831 | 4.8105 | 6 | 4.9745 | 4.7713
7 | 4.303 | 4.5781 | 7 | 6.0227 | 5.7582 | 7 | 4.7031 | 4.8216 | 7 | 5.2683 | 5.0521
8 | 4.0504 | 4.4514 | 8 | 6.2113 | 6.0639 | 8 | 4.3661 | 4.6613 | 8 | 5.1139 | 5.0543
9 | 3.7733 | 4.2961 | 9 | 5.8441 | 5.8917 | 9 | 3.9303 | 4.3949 | 9 | 4.673 | 4.7982
10 | 3.5708 | 4.208 | 10 | 5.3073 | 5.5128 | 10 | 3.6133 | 4.1964 | 10 | 4.2524 | 4.5223
11 | 3.4774 | 4.1891 | 11 | 4.9313 | 5.2234 | 11 | 3.3923 | 4.0806 | 11 | 3.9939 | 4.3612
12 | 3.5091 | 4.2302 | 12 | 4.7581 | 5.0798 | 12 | 3.304 | 4.0244 | 12 | 3.8955 | 4.3122
13 | 3.6449 | 4.3296 | 13 | 4.7779 | 5.0796 | 13 | 3.3354 | 4.0351 | 13 | 3.9602 | 4.3577
14 | 3.8508 | 4.4872 | 14 | 4.9158 | 5.1491 | 14 | 3.5257 | 4.1353 | 14 | 4.1738 | 4.4835
15 | 4.2281 | 4.7895 | 15 | 5.2983 | 5.3824 | 15 | 3.9373 | 4.4162 | 15 | 4.6275 | 4.7614
16 | 4.7388 | 5.1433 | 16 | 5.9232 | 5.8654 | 16 | 4.5433 | 4.8325 | 16 | 5.2627 | 5.1972
17 | 5.182 | 5.4106 | 17 | 6.6138 | 6.4999 | 17 | 5.1005 | 5.2408 | 17 | 5.8664 | 5.6497
18 | 5.3907 | 5.4759 | 18 | 6.817 | 6.6837 | 18 | 5.3829 | 5.4478 | 18 | 6.0342 | 5.7871
19 | 5.33 | 5.3699 | 19 | 6.5995 | 6.4386 | 19 | 5.3557 | 5.4121 | 19 | 5.8415 | 5.5822
20 | 5.0902 | 5.1498 | 20 | 6.2972 | 6.1189 | 20 | 5.0815 | 5.1552 | 20 | 5.5419 | 5.2798
21 | 4.7129 | 4.7899 | 21 | 5.8997 | 5.7534 | 21 | 4.7468 | 4.8305 | 21 | 5.195 | 4.9699
22 | 4.4226 | 4.5165 | 22 | 5.41 | 5.3076 | 22 | 4.4555 | 4.542 | 22 | 4.8525 | 4.6787
23 | 4.4503 | 4.6072 | 23 | 5.2611 | 5.2542 | 23 | 4.495 | 4.6379 | 23 | 4.8144 | 4.737

## Interconnectors
NEM Reliability & Security Report FY2024
Figures from the report
Average daily inter-regional flows
Slide: | 26
Quaterly inter-regional transfers (MW)
Interconnector | Quarter | Positive Flow | Negative Flow | Net Flow
NSW - QLD | Q3 23 | 15 | -507 | -492
| Q4 23 | 109 | -292 | -183
| Q1 24 | 194 | -168 | 27
| Q2 24 | 29 | -507 | -478
VIC - NSW | Q3 23 | 568 | -52 | 517
| Q4 23 | 440 | -101 | 339
| Q1 24 | 361 | -87 | 274
| Q2 24 | 213 | -145 | 68
VIC - SA | Q3 23 | 241 | -77 | 164
| Q4 23 | 147 | -115 | 32
| Q1 24 | 205 | -67 | 138
| Q2 24 | 174 | -80 | 94
TAS - VIC | Q3 23 | 233 | -96 | 138
| Q4 23 | 38 | -290 | -252
| Q1 24 | 33 | -323 | -290
| Q2 24 | 90 | -234 | -144
Source: | AEMO, Quaterly Energy Dynamics - Q4 2023
AEMO, Quaterly Energy Dynamics - Q2 2024

## Region Forecast Errors
NEM Reliability & Security Report FY2024
Figures from the report
Load forecasting performance
Slide: | 28
Mean load forecasting errors for 1 hour, 4 hours, and 24 hours ahead (%)
| QLD |  |  | NSW |  |  | VIC |  |  | TAS |  |  | SA
| 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY2022-23 Average | 1.26% | 2.15% | 2.44% | 1.09% | 2.08% | 2.46% | 1.61% | 2.88% | 3.22% | 1.72% | 2.75% | 4.14% | 3.85% | 6.01% | 6.87%
FY2023-24 Average | 1.32% | 2.13% | 2.58% | 1.24% | 2.17% | 2.57% | 1.68% | 3.07% | 3.7% | 1.84% | 2.83% | 4.05% | 4.69% | 7.56% | 8.3%
Source: | Panel analysis of AEMO data

## ASEFS
NEM Reliability & Security Report FY2024
Figures from the report
Comparison of FY2024 to FY2023 ASEFS mean errors for solar generation
Slide: | 29
Comparison of ASEFS performance across different forecasting intervals by region and financial year (Normalised mean absolute errors %)
| NSW |  |  |  | QLD |  |  |  | VIC |  |  |  | SA
| 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY2022-23 Average | 2.77% | 4.76% | 5.15% | 5.54% | 2.77% | 5.59% | 6.32% | 6.52% | 2.21% | 4.6% | 5.09% | 5.18% | 2.44% | 5.8% | 7% | 0.0751
FY2023-24 Average | 2.91% | 4.55% | 4.96% | 5.56% | 2.91% | 6.29% | 6.97% | 6.89% | 1.8% | 4.46% | 4.94% | 5.18% | 2.04% | 5.72% | 6.37% | 0.0693
Source: | Panel analysis of AEMO data

## AWEFS
NEM Reliability & Security Report FY2024
Figures from the report
Comparison of FY2024 to FY2023 AWEFS mean errors for wind generation
Slide: | 30
Comparison of AWEFS performance across different forecasting intervals by region and financial year (Normalised mean absolute errors %)
| NSW |  |  |  | QLD |  |  |  | VIC |  |  |  | TAS |  |  |  | SA
| 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY2022-23 Average | 2.15% | 7.61% | 9.78% | 10.93% | 1.82% | 6.71% | 9.17% | 10.11% | 2.34% | 7.45% | 9.03% | 9.99% | 2.4% | 7.72% | 9.55% | 0.1084 | 0.0238 | 0.0829 | 0.1076 | 0.1189
FY2023-24 Average | 1.69% | 6.82% | 9.09% | 10.24% | 2.15% | 8.7% | 11.81% | 13.04% | 2.16% | 7.43% | 9.17% | 10.03% | 2.24% | 7.79% | 9.71% | 0.1044 | 0.0193 | 0.0753 | 0.1 | 0.1102
Source: | Panel analysis of AEMO data

## Wind Forecasts
NEM Reliability & Security Report FY2024
Figures from the report
Wind self-forecasts
Slide: | 31
Wind ANEMOS and self forecasts by region (Normalised mean absolute errors %)
NSW |  | QLD |  | VIC |  | TAS |  | SA
AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF
1.83% | 1.72% | 2.4% | 2.16% | 2.37% | 2.21% | 2.76% | 2.53% | 2.17% | 1.98%
Source: | Panel analysis of AEMO data

## Solar Forecasts
NEM Reliability & Security Report FY2024
Figures from the report
Solar self-forecasts
Slide: | 31
Solar ANEMOS and self forecasts by region (Normalised mean absolute errors %)
NSW |  | QLD |  | VIC |  | SA
ASEFS | SF | ASEFS | SF | ASEFS | SF | ASEFS | SF
1.77% | 2.05% | 3.29% | 3.1% | 2.01% | 2.01% | 1.93% | 1.83%
Source: | Panel analysis of AEMO data

## Max Demand
NEM Reliability & Security Report FY2024
Figures from the report
ESOO maximum demand forecast POE 10 scenario
Slide: | 32
Global max POE 10 scenario by region and financial year (MW)
Year | NSW | QLD | SA | TAS | VIC
2025 | 14064.4694 | 10645.4554 | 3383.1936 | 1758.5144 | 10472.0742
2026 | 14325.6145 | 10896.1966 | 3436.4479 | 1777.9362 | 10564.6829
2027 | 14604.6201 | 11064.2785 | 3513.6044 | 1786.7128 | 10794.8098
2028 | 14742.8784 | 11206.2788 | 3574.2568 | 1787.5444 | 10933.4195
2029 | 14802.0334 | 11351.592 | 3595.293 | 1790.4697 | 10995.0349
2030 | 14851.155 | 11537.0698 | 3610.4972 | 1791.3725 | 11078.7922
2031 | 14970.1384 | 11628.2646 | 3652.5129 | 1813.6435 | 11110.5932
2032 | 15146.0091 | 11874.3416 | 3680.6407 | 1859.8038 | 11225.2886
2033 | 15237.8042 | 11948.0112 | 3697.3213 | 1897.348 | 11337.7925
2034 | 15218.0517 | 11918.725 | 3696.5168 | 1916.2999 | 11352.1821
Source: | AEMO, Electricity Statement of Opportunities 2024

## Min Demand
NEM Reliability & Security Report FY2024
Figures from the report
ESOO minimum demand forecast POE 90 scenario
Slide: | 32
Global min POE 90 scenario by region and financial year (MW)
Year | NSW | QLD | SA | TAS | VIC
2025 | 2657.7604 | 2075.8308 | -290.0048 | 775.549 | 982.242
2026 | 2162.9408 | 1783.0778 | -456.3953 | 747.4743 | 515.574
2027 | 1794.1702 | 1446.2137 | -518.8421 | 735.103 | 82.2451
2028 | 1377.2182 | 1117.6981 | -652.112 | 708.2521 | -383.9364
2029 | 907.1866 | 839.3167 | -782.8051 | 683.2734 | -745.5871
2030 | 448.1967 | 567.1389 | -865.7776 | 664.51 | -1107.6863
2031 | 13.9045 | 353.6076 | -933.6578 | 649.0847 | -1509.7602
2032 | -382.2041 | 51.204 | -1056.3037 | 657.3488 | -1866.0017
2033 | -958.2355 | -318.0655 | -1165.6543 | 665.7546 | -2363.0782
2034 | -1432.5799 | -784.7722 | -1312.0016 | 653.698 | -2658.4509
Source: | AEMO, Electricity Statement of Opportunities 2024

## LOR Quarterly
NEM Reliability & Security Report FY2024
Figures from the report
LOR notices by quarter
Slide: | 34
Forecast vs. actual LOR notices by quarter
Financial Year | Quarter | Forecast LOR 1 | Actual LOR 1 | Forecast LOR 2 | Actual LOR 2 | Forecast LOR 3 | Actual LOR 3 | Quarterly average
FY20 | Q3 2019 | 10 | 0 | 7 | 0 | 0 | 0 | 12.75
| Q4 2019 | 5 | 4 | 4 | 1 | 0 | 0 | 12.75
| Q1 2020 | 7 | 5 | 0 | 7 | 0 | 0 | 12.75
| Q2 2020 | 1 | 0 | 0 | 0 | 0 | 0 | 12.75
FY21 | Q3 2020 | 28 | 16 | 21 | 4 | 0 | 0 | 58.25
| Q4 2020 | 29 | 7 | 18 | 1 | 0 | 0 | 58.25
| Q1 2021 | 15 | 9 | 8 | 2 | 2 | 0 | 58.25
| Q2 2021 | 24 | 28 | 18 | 2 | 1 | 0 | 58.25
FY22 | Q3 2021 | 28 | 16 | 21 | 4 | 0 | 0 | 53.3333
| Q4 2021 | 29 | 7 | 18 | 1 | 0 | 0 | 53.3333
| Q1 2022 | 15 | 9 | 8 | 2 | 2 | 0 | 53.3333
| Q2 2022 | 144 | 37 | 142 | 18 | 65 | 0
FY23 | Q3 2022 | 89 | 52 | 110 | 1 | 1 | 0
| Q4 2022 | 45 | 3 | 21 | 0 | 0 | 0 | 74
| Q1 2023 | 19 | 24 | 18 | 4 | 0 | 0 | 74
| Q2 2023 | 37 | 25 | 24 | 1 | 1 | 0 | 74
FY24 | Q3 2023 | 26 | 6 | 15 | 0 | 0 | 0 | 60.25
| Q4 2023 | 18 | 13 | 21 | 2 | 0 | 0 | 60.25
| Q1 2024 | 31 | 15 | 28 | 0 | 0 | 1 | 60.25
| Q2 2024 | 38 | 9 | 18 | 0 | 0 | 0 | 60.25
Source: | AEMO, Lack of Reserve Framework Reports

## FUM
NEM Reliability & Security Report FY2024
Figures from the report
Percentage of LOR declared set by the FUM by quarter
Slide: | 34
Percentage of LOR notices set by the FUM by quarter (%)
Financial Year | Reporting Period | % set by the FUM
FY20 | Q3 2019 | 0.29
FY20 | Q4 2019 | 0.21
FY20 | Q1 2020 | 0.11
FY20 | Q2 2020 | 0
FY21 | Q3 2020 | 0.09
FY21 | Q4 2020 | 0.18
FY21 | Q1 2021 | 0
FY21 | Q2 2021 | 0.23
FY22 | Q3 2021 | 0.2
FY22 | Q4 2021 | 0.16
FY22 | Q1 2022 | 0.25
FY22 | Q2 2022 | 0.22
FY23 | Q3 2022 | 0.36
FY23 | Q4 2022 | 0.22
FY23 | Q1 2023 | 0.17
FY23 | Q2 2023 | 0.22
FY24 | Q3 2023 | 0.28
FY24 | Q4 2023 | 0.4
FY24 | Q1 2024 | 0.33
FY24 | Q2 2024 | 0.28
Source: | AEMO, Lack of Reserve Framework Reports

## Forecast LOR
NEM Reliability & Security Report FY2024
Figures from the report
Forecast LOR notices by region
Slide: | 35
Forecast LOR notices by region and financial year
Region | Financial year | LOR1 | LOR2 | LOR3
NSW | 2019 | 5 | 10 | 0
NSW | 2020 | 18 | 7 | 0
NSW | 2021 | 18 | 20 | 0
NSW | 2022 | 34 | 26 | 1
NSW | 2023 | 31 | 25 | 0
NSW | 2024 | 66 | 49 | 0
VIC | 2019 | 2 | 4 | 0
VIC | 2020 | 12 | 8 | 0
VIC | 2021 | 1 | 0 | 0
VIC | 2022 | 9 | 4 | 0
VIC | 2023 | 10 | 4 | 0
VIC | 2024 | 1 | 1 | 0
QLD | 2019 | 3 | 4 | 0
QLD | 2020 | 2 | 0 | 0
QLD | 2021 | 18 | 8 | 1
QLD | 2022 | 52 | 34 | 5
QLD | 2023 | 49 | 70 | 0
QLD | 2024 | 17 | 17 | 0
SA | 2019 | 4 | 5 | 1
SA | 2020 | 3 | 0 | 0
SA | 2021 | 4 | 1 | 0
SA | 2022 | 55 | 34 | 4
SA | 2023 | 78 | 72 | 2
SA | 2024 | 29 | 15 | 0
TAS | 2019 | 0 | 0 | 0
TAS | 2020 | 5 | 2 | 0
TAS | 2021 | 5 | 0 | 0
TAS | 2022 | 12 | 5 | 0
TAS | 2023 | 22 | 2 | 0
TAS | 2024 | 0 | 0 | 0
Source: | AEMO, Lack of Reserve Framework Reports

## Actual LOR
NEM Reliability & Security Report FY2024
Figures from the report
Actual LOR notices by region
Slide: | 35
Actual LOR notices by region and financial year
Region | Financial year | LOR1 | LOR2 | LOR3
NSW | 2019 | 6 | 0 | 0
NSW | 2020 | 5 | 4 | 0
NSW | 2021 | 39 | 2 | 0
NSW | 2022 | 26 | 6 | 0
NSW | 2023 | 38 | 3 | 0
NSW | 2024 | 25 | 1 | 0
VIC | 2019 | 4 | 2 | 2
VIC | 2020 | 1 | 4 | 0
VIC | 2021 | 2 | 0 | 0
VIC | 2022 | 0 | 0 | 0
VIC | 2023 | 1 | 0 | 0
VIC | 2024 | 0 | 0 | 1
QLD | 2019 | 1 | 0 | 0
QLD | 2020 | 1 | 0 | 0
QLD | 2021 | 3 | 1 | 0
QLD | 2022 | 25 | 9 | 0
QLD | 2023 | 48 | 3 | 0
QLD | 2024 | 13 | 0 | 0
SA | 2019 | 0 | 1 | 0
SA | 2020 | 1 | 1 | 0
SA | 2021 | 2 | 2 | 0
SA | 2022 | 3 | 0 | 0
SA | 2023 | 16 | 0 | 0
SA | 2024 | 4 | 1 | 0
TAS | 2019 | 0 | 0 | 0
TAS | 2020 | 0 | 0 | 0
TAS | 2021 | 2 | 0 | 0
TAS | 2022 | 1 | 0 | 0
TAS | 2023 | 1 | 0 | 0
TAS | 2024 | 1 | 0 | 0
Source: | AEMO, Lack of Reserve Framework Reports

## MSL
NEM Reliability & Security Report FY2024
Figures from the report
MSL
Slide: | 36
MSL notices by quarter
|  | FY2024 |  |  |  | FY2025
|  | Q3 2023 | Q4 2023 | Q1 2024 | Q2 2024 | Q3 2024 | Q4 2024 | Q1 2025
MSL1 | Forecast | 0 | 1 | 0 | 0 | 1 | 10 | 1
| Actual | 0 | 0 | 0 | 0 | 1 | 3 | 1
MSL2 | Forecast | 0 | 0 | 0 | 0 | 0 | 2 | 0
| Actual | 0 | 0 | 0 | 0 | 0 | 0 | 0
MSL3 | Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Actual | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 1 | 0 | 0 | 2 | 15 | 2
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports

## RERT Costs
NEM Reliability & Security Report FY2024
Figures from the report
RERT costs
Slide: | 37
RERT costs by type and financial year ($m AUD)
Financial Year | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Availability | 27.03 | 0 | 2.09 | 0 | 0 | 0 | 4.2527
Pre-activation | 21.56 | 12.02 | 14.32 | 0.103 | 34.8944 | 1.3885 | 0
Activation | 3.23 | 18.855 | 18.87 | 0.527 | 83.972 | 0.66728 | 0
Intervention | 0.17 | 3.574 | 5.29 | 0.0317 | 11.2126 | 0.0078903 | 0
Source: | 2017-18: AEMO, Reliability and Emergency Reserve Trader (RERT) End of Financial Year 2023-24 Report

## Reliability Directions
NEM Reliability & Security Report FY2024
Figures from the report
Number of reliability directions and RERT issued by AEMO
Slide: | 37
Number of reliabililty directions and RERT by region and financial year
Financial year | QLD | NSW | VIC | SA | TAS | Total
2020-21 | 1 | 1 | 0 | 0 | 0 | 2
2021-22 | 51 | 62 | 46 | 34 | 2 | 195
2022-23 | 8 | 1 | 0 | 0 | 0 | 9
2023-24 | 3 | 0 | 0 | 0 | 0 | 3
Source: | AEMO, Reliability and Emergency Reserve Trader (RERT) End of Financial Year Reports

## Capacity Factors
NEM Reliability & Security Report FY2024
Figures from the report
Average quaterly volume weighted wind available capacity factors (averaged over 2011-2024)
Slide: | 38
Average quarterly volume weighted wind available capacity factors averaged over 2011-2024 by region (%)
| QLD | NSW | VIC | SA | TAS | NEM
Q1 | 0.25898 | 0.29616 | 0.29465 | 0.32041 | 0.36719 | 0.31062
Q2 | 0.37147 | 0.30149 | 0.30147 | 0.31553 | 0.36528 | 0.3127
Q3 | 0.37412 | 0.3881 | 0.37898 | 0.39186 | 0.42288 | 0.38801
Q4 | 0.28975 | 0.31786 | 0.31589 | 0.33953 | 0.39581 | 0.33091
Q2 2024 | 0.33313 | 0.23973 | 0.22919 | 0.2586 | 0.29515 | 0.25193
Q2 2017 |  | 0.20523 | 0.20365 | 0.22777 | 0.29604 | 0.22102
Source: | AEMO, Quarterly Energy Dynamics Q2 2024

## VWAP
NEM Reliability & Security Report FY2024
Figures from the report
Wholesale volume weighted average price (VWAP) by region
Slide: | 40
Wholesale volume weighted average price by region and financial year ($/MWh)
FY | NSW | QLD | SA | TAS | VIC
2017-18 | 84.7636 | 74.7174 | 111.241 | 88.0112 | 99.8772
2018-19 | 92.7294 | 83.27 | 131.7808 | 89.3655 | 125.1158
2019-20 | 79.313 | 56.1616 | 75.7524 | 55.7858 | 85.2984
2020-21 | 72.8083 | 67.2971 | 55.3837 | 45.116 | 51.3141
2021-22 | 144.5894 | 180.5012 | 131.092 | 90.776 | 105.1711
2022-23 | 158.7918 | 159.7812 | 151.8722 | 117.705 | 116.2445
2023-24 | 115.2547 | 103.1409 | 104.3317 | 72.1819 | 78.8074
Source: | Panel analysis of AEMO MMS data via NEOpoint

## NSW Price
NEM Reliability & Security Report FY2024
Figures from the report
New South Wales monthly average dispatch price
Slide: | 41
NSW monthly average dispatch price by financial year ($/MWh)
Month | 2021 | 2022 | 2023 | 2024
Jul. | 47.9808 | 124.0128 | 371.1703 | 84.1474
Aug. | 49.8629 | 60.1465 | 148.3164 | 93.3092
Sep. | 40.9874 | 48.9049 | 153.8689 | 64.5402
Oct. | 57.8718 | 57.117 | 151.6493 | 42.0849
Nov. | 62.488 | 64.4402 | 112.8997 | 87.3534
Dec. | 71.3756 | 67.9604 | 82.6403 | 68.258
Jan. | 38.8395 | 77.1677 | 94.3943 | 81.1739
Feb. | 35.1295 | 83.0333 | 90.1291 | 111.6614
Mar. | 38.9679 | 100.6833 | 116.0144 | 70.4654
Apr. | 55.7068 | 186.8653 | 110.8417 | 89.8334
May | 117.5901 | 320.4839 | 193.9875 | 273.5614
Jun. | 160.0396 | 398.0433 | 105.1971 | 152.7466
Source: | Panel analysis of AEMO MMS data via NEOpoint

## QLD Price
NEM Reliability & Security Report FY2024
Figures from the report
Queensland monthly average dispatch price
Slide: | 41
QLD monthly average dispatch price by financial year ($/MWh)
Month | 2021 | 2022 | 2023 | 2024
Jul. | 38.2294 | 135.0783 | 391.5882 | 77.2699
Aug. | 30.4547 | 53.5473 | 133.5082 | 67.6317
Sep. | 27.3608 | 51.2175 | 156.8975 | 50.7728
Oct. | 35.2177 | 66.4789 | 154.0467 | 37.0517
Nov. | 45.3474 | 96.5519 | 121.504 | 72.9679
Dec. | 54.4578 | 128.6144 | 85.4624 | 92.9986
Jan. | 40.3545 | 139.8992 | 98.9649 | 160.4331
Feb. | 41.6853 | 162.7178 | 88.7896 | 119.7332
Mar. | 45.8084 | 147.2017 | 123.0786 | 74.0925
Apr. | 53.4647 | 219.7643 | 109.9351 | 84.81
May | 129.2535 | 347.2818 | 164.9034 | 92.6899
Jun. | 200.7185 | 400.231 | 102.6218 | 124.6674
Source: | Panel analysis of AEMO MMS data via NEOpoint

## SA Price
NEM Reliability & Security Report FY2024
Figures from the report
South Australia monthly average dispatch price
Slide: | 42
SA monthly average dispatch price by financial year ($/MWh)
Month | 2021 | 2022 | 2023 | 2024
Jul. | 59.3348 | 91.1873 | 372.4861 | 72.7643
Aug. | 45.567 | 43.4398 | 173.0389 | 160.2564
Sep. | 15.2147 | 18.7698 | 147.8353 | 41.3152
Oct. | 32.9746 | 14.5422 | 93.4948 | 15.118
Nov. | 36.7207 | 37.6903 | 62.5137 | 44.9155
Dec. | 16.7844 | 70.3171 | 35.4301 | 38.0285
Jan. | 28.7006 | 88.9402 | 57.201 | 32.7448
Feb. | 22.4864 | 54.2162 | 97.0503 | 66.073
Mar. | 68.7728 | 66.9985 | 64.9186 | 67.1293
Apr. | 52.136 | 152.3597 | 85.0164 | 92.4999
May | 72.9923 | 312.3046 | 198.2921 | 135.7052
Jun. | 84.3887 | 302.5914 | 85.5864 | 176.6835
Source: | Panel analysis of AEMO MMS data via NEOpoint

## VIC Price
NEM Reliability & Security Report FY2024
Figures from the report
Victoria monthly average dispatch price
Slide: | 42
VIC monthly average dispatch price by financial year ($/MWh)
Month | 2021 | 2022 | 2023 | 2024
Jul. | 63.5969 | 91.7239 | 340.3385 | 55.2106
Aug. | 53.6989 | 47.0017 | 121.0067 | 64.6556
Sep. | 34.6509 | 27.7158 | 111.7687 | 26.3066
Oct. | 44.7912 | 18.4572 | 98.8967 | 17.19
Nov. | 44.0708 | 35.0161 | 58.6267 | 34.9437
Dec. | 23.7928 | 32.2311 | 31.2819 | 25.2862
Jan. | 22.816 | 60.8184 | 48.0918 | 22.0951
Feb. | 21.85 | 54.1698 | 58.0051 | 82.9421
Mar. | 30.3635 | 54.7792 | 62.0229 | 51.989
Apr. | 49.467 | 141.5059 | 83.6157 | 84.8001
May | 72.8422 | 233.6433 | 127.1469 | 132.9652
Jun. | 87.9174 | 296.4899 | 54.5261 | 164.2281
Source: | Panel analysis of AEMO MMS data via NEOpoint

## TAS Price
NEM Reliability & Security Report FY2024
Figures from the report
Tasmania monthly average dispatch price
Slide: | 43
TAS monthly average dispatch price by financial year ($/MWh)
Month | 2021 | 2022 | 2023 | 2024
Jul. | 56.604 | 38.1529 | 322.8435 | 23.324
Aug. | 55.7469 | 21.4562 | 149.5065 | 37.6513
Sep. | 37.5206 | 16.5202 | 132.7356 | 26.7064
Oct. | 41.5133 | 9.3783 | 121.9986 | 37.6556
Nov. | 59.3671 | 31.7647 | 100.9846 | 59.969
Dec. | 36.865 | 49.8518 | 76.3567 | 52.0946
Jan. | 37.8088 | 62.5424 | 86.861 | 50.1249
Feb. | 31.9863 | 72.2104 | 81.5307 | 81.856
Mar. | 30.7802 | 74.8289 | 72.3496 | 69.6461
Apr. | 25.3377 | 141.2726 | 70.0326 | 73.3492
May | 41.2468 | 217.1921 | 84.1593 | 141.0325
Jun. | 68.882 | 286.7512 | 38.0364 | 178.2494
Source: | Panel analysis of AEMO MMS data via NEOpoint

## MPF
NEM Reliability & Security Report FY2024
Figures from the report
Market price floor events by region
Slide: | 44
Market price floor events by region and financial year
| NSW | QLD | SA | TAS | VIC
2017-18 | 0 | 10 | 7 | 0 | 3
2018-19 | 0 | 11 | 0 | 0 | 7
2019-20 | 1 | 21 | 19 | 0 | 1
2020-21 | 3 | 131 | 119 | 0 | 10
2021-22 | 6 | 94 | 70 | 0 | 6
2022-23 | 0 | 1 | 24 | 0 | 0
2023-24 | 0 | 0 | 3 | 0 | 0
Source: | Panel analysis of AEMO MMS data via NEOpoint

## MPC
NEM Reliability & Security Report FY2024
Figures from the report
Market price cap events by region
Slide: | 44
Market price cap events by region and financial year
Financial Year | NSW | QLD | SA | TAS | VIC
2017-18 | 3 | 1 | 26 | 2 | 0
2018-19 | 0 | 1 | 49 | 13 | 36
2019-20 | 28 | 0 | 23 | 4 | 35
2020-21 | 19 | 39 | 10 | 6 | 2
2021-22 | 18 | 53 | 13 | 25 | 1
2022-23 | 6 | 20 | 11 | 7 | 0
2023-24 | 5 | 2 | 19 | 19 | 24
Source: | Panel analysis of AEMO MMS data via NEOpoint

## Pricing Periods
NEM Reliability & Security Report FY2024
Figures from the report
Negative pricing periods by region
Slide: | 45
Proportion of intervals in which there is a negative price by region and financial year (%)
| NSW | QLD | SA | TAS | VIC
2017-18 | 0.0003805% | 0.01807% | 0.1328% | 0.1859% | 0.00761%
2018-19 | 0.0003805% | 0.01655% | 0.2576% | 0.6161% | 0.08086%
2019-20 | 0.01594% | 0.4148% | 0.9747% | 0.5865% | 0.3588%
2020-21 | 0.04528% | 0.7293% | 1.968% | 0.8103% | 1.181%
2021-22 | 0.5089% | 0.9304% | 3.697% | 2.06% | 2.955%
2022-23 | 0.8272% | 1.469% | 4.591% | 0.5289% | 3.733%
2023-24 | 1.332% | 3.007% | 4.558% | 1.199% | 3.972%
Source: | Panel analysis of AEMO MMS data via NEOpoint

## Price Curve
NEM Reliability & Security Report FY2024
Figures from the report
Average price duration curve
Slide: | 45
Spot prices according to frequency by financial year ($/MWh)
Note: The data inputs for the average price duration curve chart is too large to be provided within this booklet.
If you wish to request for this data please reach out to the AEMC.
Source: | Panel analysis of AEMO MMS data via NEOpoint

## SAIDI
NEM Reliability & Security Report FY2024
Figures from the report
System average interruption duration index (SAIDI)
Slide: | 47
Weighted average outage duration for customers by financial year (mins)
Financial Year | 2005-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 2023-24
Weighted Average | 145.9644 | 129.29 | 127.4893 | 143.2147 | 128.6627 | 126.2077 | 120.3687 | 118.431 | 118.1009 | 117.7258 | 118.6728 | 107.2356 | 110.2745 | 118.627 | 119.2867 | 105.9104 | 120.1691 | 112.5898 | 114.5245
Source: | 2005-06: FY06-FY23; 06-07: AER, Operational Performance Data 2024 - Electricity Distribution Networks
| FY24 | AER, Economic Benchmarking - RIN Responses from Distribution Networks

## SAIFI
NEM Reliability & Security Report FY2024
Figures from the report
System average interruption frequency index (SAIFI)
Slide: | 47
Weighted average number of outages per customer
Financial Year | 2005-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 2023-24
Weighted Average | 1.77 | 1.55 | 1.52 | 1.63 | 1.51 | 1.37 | 1.31 | 1.28 | 1.26 | 1.21 | 1.17 | 1.1 | 1.1 | 1.13 | 1.09 | 0.98 | 1.01 | 0.95 | 0.96496
Source: | 2005-06: FY06-FY23; 06-07: AER, Operational Performance Data 2024 - Electricity Distribution Networks
| FY24 | AER, Economic Benchmarking - RIN Responses from Distribution Networks

## Supply Interruptions
NEM Reliability & Security Report FY2024
Figures from the report
Sources of supply interruptions
Slide: | 48
Energy not supplied by interruption type and financial year (GWh)
Financial Year | Distribution | Transmission | Security | Reliability
10-11 | 111.2362 | 1.5098 | 2.3911 | 0
11-12 | 47.8625 | 0.79243 | 0.92895 | 0
12-13 | 69.4497 | 0.57585 | 0.37145 | 0
13-14 | 56.5689 | 0.64305 | 0.049233 | 0
14-15 | 94.3428 | 0.53064 | 3.0588 | 0
15-16 | 53.2534 | 1.4142 | 0.7317 | 0
16-17 | 65.6456 | 2.0185 | 17.7551 | 0.045
17-18 | 46.1698 | 0.42964 | 0.23922 | 0
18-19 | 56.7693 | 0.18675 | 0.61251 | 0.89067
19-20 | 62.3204 | 1.6455 | 4.474 | 0
20-21 | 60.4351 | 0.27357 | 0.19657 | 0
21-22 | 64.16 | 0.71447 | 0.29257 | 0
22-23 | 59.2073 | 0.44077 | 1.103 | 0
2023-2024 | 91.4637 | 0.77123 | 2.3419 | 0
Source: | AEMO, Incident Reports
AER, Operational Performance Data - Electricity Transmission Networks
AER, Economic Benchmarking - RIN Responses from Distribution Networks
AER, Economic Benchmarking - RIN Responses from Transmission Networks
ElectraNet, Regulatory Performance
Powerlink, Energy Charter Disclosure Statement
AusNet, TASNetworks, Transgrid, Data Request

## Aggregate Interruptions
NEM Reliability & Security Report FY2024
Figures from the report
Proportion of energy supply interruptions by cause
Slide: | 48
Proportion of energy supply interruptions by cause, averaged across FY2011-FY2024 (%)
Period | Distribution | Transmission | Security | Reliability
FY2011 - FY2024 | 0.95191 | 0.012112 | 0.035025 | 0.00094865
Source: | AEMO, Incident Reports
AER, Operational Performance Data - Electricity Transmission Networks
AER, Economic Benchmarking - RIN Responses from Distribution Networks
AER, Economic Benchmarking - RIN Responses from Transmission Networks
ElectraNet, Regulatory Performance
Powerlink, Energy Charter Disclosure Statement
AusNet, TASNetworks, Transgrid, Data Request

## NEMDE Constraints
NEM Reliability & Security Report FY2024
Figures from the report
Total number of constraints by financial year
Slide: | 49
The number of constraint equations, sets and functions within NEMDE by financial year
| 2010-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 2023-24
Constraint Equations | 9523 | 9745 | 9935 | 10303 | 11231 | 11660 | 11578 | 11467 | 12348 | 13127 | 14297 | 15160 | 14695 | 15385
Constraint Sets | 3657 | 3597 | 3410 | 3424 | 3630 | 3778 | 3917 | 4036 | 4390 | 4603 | 4973 | 5498 | 5703 | 5786
Constraint Functions | 390 | 401 | 366 | 359 | 364 | 373 | 387 | 505 | 585 | 588 | 641 | 638 | 647 | 619
Source: | 2010-11: Panel Analysis of AEMO data.

## Binding Hours
NEM Reliability & Security Report FY2024
Figures from the report
Total number of constraints by financial year
Slide: | 49
The binding hours of constraints within NEMDE by financial year
| 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Commissioning | 10389.25 | 10389.25 | 7565 | 10437.3333 | 8298.6667 | 10841.3333 | 10938.6667
Outage | 4817.0833 | 9302.6667 | 13833.9167 | 13369.5 | 29818.1667 | 18765 | 14414.6667
System Normal | 4947.25 | 8902 | 12236.5 | 17536.9167 | 19035.9167 | 22704.3333 | 21466.8333
Source: | 2017-18: Panel Analysis of AEMO data.

## Operating Incidents
NEM Reliability & Security Report FY2024
Figures from the report
Reviewable operating incidents by financial year
Slide: | 52
Number of reviewable operating incidents by type and financial year
Event Description | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Transmission related incidents (excluding busbar trips) | 10 | 12 | 8 | 9 | 12 | 12 | 8 | 13
Generation related incidents | 1 | 0 | 0 | 2 | 1 | 0 | 2 | 3
Combined transmission/generation incidents | 2 | 1 | 0 | 10 | 5 | 3 | 2 | 1
Busbar related reviewable incidents | 7 | 11 | 3 | 7 | 9 | 10 | 5 | 7
Power system security related** | 9 | 0 | 4 | 3 | 0 | 1 | 2 | 0
Other | 2020-21: 2; 2021-22: 5; 2022-23: 1; 2023-24: 0
Total | 29 | 24 | 15 | 31 | 29 | 31 | 20 | 24
Source: | 2016-17: Panel analysis of AEMO data.

## Reclassifications
NEM Reliability & Security Report FY2024
Figures from the report
Number of reclassification events by category
Slide: | 53
The number of reclassifications by category and reporting period
Criteria | 01/11/2018 to 30/04/2019 | 01/05/2019 to 31/10/2019 | 01/11/2019 to 30/04/2020 | 01/05/2020 to 31/10/2020 | 01/11/2020 to 30/04/2021 | 01/05/2021 to 31/10/2021 | 01/11/2021 to 30/04/2022 | 01/05/2022 to 31/10/2022 | 01/11/2022 to 30/04/2023 | 01/05/2023 to 31/10/2023 | 01/11/2023 to 30/04/2024
Bushfires | 18 | 2 | 32 | 0 | 2 | 0 | 0 | 0 | 6 | 3 | 11
Lightning | 610 | 153 | 776 | 300 | 679 | 338 | 527 | 182 | 581 | 146 | 779
Specific risks relating to plant operation | - | - | - | - | - | - | - | - | 10 | 10 | 18
Severe wind | - | - | 11 | 18 | 12 | 24 | 15 | 19 | 13 | 19 | 16
Geomagnetic disturbances | - | - | - | - | - | - | - |  | 0 | 0 | 0
Floods | - | - | - | - | - | - | - |  | 0 | 0 | 0
Widespread pollutants | - | - | - | - | - | - | - |  | 0 | 0 | 0
Landslides | - | - | - | - | - | - | - |  | 0 | 0 | 0
Sudden or unexpected changes to solar generation | - | - | - | - | - | - | - |  | 1 | 0 | 0
Earthquakes and tsunamis | - | - | - | - | - | - | - |  | 0 | 0 | 0
Large scale social unrest | - | - | - | - | - | - | - |  | 0 | 0 | 0
Cyber attack | - | - | - | - | - | - | - |  | 0 | 0 | 0
Other | 18 | 32 | 1 | 15 | 13 | 11 | 21 | 16 | - | - | -
Source: | AEMO, Reclassification Reports

## Reclassifications Regional
NEM Reliability & Security Report FY2024
Figures from the report
Reclassification events in the NEM
Slide: | 53
The number of reclassification events by region
Region | NSW | QLD | SA | TAS | VIC | Multiple | Total
Reclassification Events | 352 | 417 | 44 | 104 | 84 | 1 | 1002
Source: | AEMO, Reclassification Reports

## Scheduling Errors
NEM Reliability & Security Report FY2024
Figures from the report
Scheduling Errors
Slide: | 54
Number of scheduling errors by type and financial year
Event | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Constraint | 1 | 6 | 1 | 4 | 1 | 6 | 4
Demand | 1 | 0 | 1 | 0 | 0 | 0 | 0
IT | 2 | 2 | 7 | 3 | 0 | 4 | 3
SCADA | 5 | 1 | 12 | 4 | 1 | 4 | 1
Total* | 6 | 7 | 20 | 10 | 2 | 13 | 8
Source: | 2017-18: AEMO, Scheduling Error Reports

## NOFB Mainland
NEM Reliability & Security Report FY2024
Figures from the report
Average time spent within the NOFB by month
Slide: | 56
Mainland average time spent within the normal operating frequency band (NOFB) by month and financial year (%)
Month | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Jul | 0.99792 | 0.99362 | 0.99382 | 0.99624 | 0.9977 | 0.99997 | 1 | 1
Aug | 0.99937 | 0.99559 | 0.99413 | 0.99364 | 0.9967 | 0.99998 | 1 | 0.99999
Sep | 0.99843 | 0.99208 | 0.99192 | 0.99423 | 0.9945 | 1 | 1 | 1
Oct | 0.99814 | 0.99012 | 0.9919 | 0.99155 | 0.9989 | 1 | 1 | 1
Nov | 0.99758 | 0.99318 | 0.98879 | 0.99094 | 0.9997 | 1 | 0.99993 | 1
Dec | 0.997 | 0.99573 | 0.99312 | 0.99647 | 0.9998 | 0.99999 | 0.99998 | 0.99999
Jan | 0.99605 | 0.9956 | 0.98836 | 0.99368 | 0.9999 | 1 | 0.99999 | 0.99994
Feb | 0.99563 | 0.99536 | 0.98492 | 0.99659 | 1 | 1 | 1 | 0.99971
Mar | 0.99424 | 0.99342 | 0.98652 | 0.99502 | 1 | 1 | 0.99996 | 1
Apr | 0.99428 | 0.99301 | 0.99316 | 0.9947 | 1 | 0.99995 | 1 | 0.99995
May | 0.99767 | 0.99438 | 0.99514 | 0.9962 | 1 | 0.99996 | 1 | 1
Jun | 0.99817 | 0.99475 | 0.99613 | 0.99761 | 0.9999 | 0.99954 | 1 | 1
Source: | 2016-17: Panel analysis of AEMO data.

## NOFB Tasmania
NEM Reliability & Security Report FY2024
Figures from the report
Average time spent within the NOFB by month
Slide: | 56
Tasmania average time spent within the normal operating frequency band (NOFB) by month and financial year (%)
Month | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Jul | 0.99052 | 0.98276 | 0.98559 | 0.98685 | 0.9918 | 0.9968 | 0.99441 | 0.99786
Aug | 0.99447 | 0.98612 | 0.98605 | 0.97517 | 0.989 | 0.998 | 0.98596 | 0.99741
Sep | 0.99117 | 0.98316 | 0.98332 | 0.9833 | 0.9783 | 0.9975 | 0.99222 | 0.99766
Oct | 0.98934 | 0.98212 | 0.98302 | 0.9854 | 0.9845 | 0.9925 | 0.99726 | 0.99499
Nov | 0.98911 | 0.981 | 0.98262 | 0.98179 | 0.9936 | 0.9981 | 0.99837 | 0.99562
Dec | 0.9906 | 0.98719 | 0.98576 | 0.98971 | 0.9966 | 0.9974 | 0.99751 | 0.99336
Jan | 0.98746 | 0.98862 | 0.98083 | 0.98815 | 0.9968 | 0.9979 | 0.99657 | 0.99421
Feb | 0.98709 | 0.98999 | 0.98043 | 0.98929 | 0.9957 | 0.9984 | 0.9952 | 0.99047
Mar | 0.98473 | 0.98736 | 0.9811 | 0.98862 | 0.9967 | 0.9956 | 0.99486 | 0.99343
Apr | 0.98657 | 0.98937 | 0.98106 | 0.98663 | 0.9966 | 0.9966 | 0.99614 | 0.99453
May | 0.98937 | 0.98416 | 0.98283 | 0.98681 | 0.9944 | 0.9973 | 0.99563 | 0.99618
Jun | 0.99038 | 0.98854 | 0.98606 | 0.99031 | 0.9977 | 0.9949 | 0.99635 | 0.99666
Source: | 2016-17: Panel analysis of AEMO data.

## Frequency Distribution
NEM Reliability & Security Report FY2024
Figures from the report
Monthly mainland frequency distribution
Slide: | 56
Monthly mainland frequency distribution since 2007
Notes: Taken directly as a screen capture from the source.
Source: | AEMO, Frequency Monitoring - Quarter 2 2024, August 2024.

## FCAS Costs
NEM Reliability & Security Report FY2024
Figures from the report
Quaterly FCAS costs
Slide: | 58
Quaterly FCAS costs by type ($M AUD)
Financial Year | Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWER1SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | RAISE1SEC
2020 | Q3 | 10.7 | 0.1 | 0.1 | 0 | 0 | 27.7 | 1.1 | 7 | 8.1 | 0
| Q4 | 9.5 | 0.1 | 0.1 | 0.1 | 0 | 27.7 | 0.9 | 8.6 | 11 | 0
| Q1 | 6.6 | 0.2 | 0.2 | 1.5 | 0 | 20.4 | 12.6 | 21.1 | 49.3 | 0
| Q2 | 4.7 | 0.4 | 0.7 | 0.6 | 0 | 10.6 | 1.1 | 7.5 | 13.5 | 0
2021 | Q3 | 3.3 | 0.6 | 1.1 | 0.5 | 0 | 9.2 | 0.8 | 4.3 | 7.6 | 0
| Q4 | 3.8 | 0.6 | 1.8 | 0.5 | 0 | 10.6 | 0.6 | 5.5 | 8.3 | 0
| Q1 | 4.9 | 0.3 | 1.3 | 0.3 | 0 | 5.5 | 0.7 | 3.2 | 4.7 | 0
| Q2 | 4.8 | 0.2 | 0.5 | 0.1 | 0 | 11.3 | 0.8 | 12.9 | 30.3 | 0
2022 | Q3 | 6.8 | 0.4 | 2.2 | 0.5 | 0 | 11.9 | 1 | 12.4 | 18.9 | 0
| Q4 | 6.7 | 0.6 | 4.6 | 0.9 | 0 | 8 | 0.7 | 7.1 | 8.1 | 0
| Q1 | 4.4 | 0.1 | 2.2 | 0.3 | 0 | 6.4 | 0.6 | 3.2 | 3.6 | 0
| Q2 | 6.3 | 0.4 | 1.2 | 0.4 | 0 | 14.7 | 1 | 9.3 | 18.7 | 0
2023 | Q3 | 5.8 | 0.4 | 1.2 | 0.4 | 0 | 11.8 | 0.7 | 7.1 | 9.6 | 0
| Q4 | 9 | 1.8 | 10.9 | 2.4 | 0 | 14.6 | 0.4 | 2.9 | 8.6 | 0
| Q1 | 6.6 | 3.1 | 6.6 | 1.7 | 0 | 7.9 | 0.5 | 2.8 | 4.6 | 0
| Q2 | 2.2 | 0.3 | 0.7 | 0.3 | 0 | 8.1 | 0.8 | 9.9 | 11.6 | 0
2024 | Q3 | 4 | 0.8 | 2.4 | 0.5 | 0 | 8.2 | 0.8 | 6.1 | 12.4 | 0
| Q4 | 3.6 | 0.8 | 3.4 | 0.8 | 1.8 | 4.3 | 0.4 | 1.6 | 9.2 | 6.2
| Q1 | 1.3 | 0.2 | 1.2 | 0.2 | 0.1 | 2.1 | 0.4 | 0.7 | 0.9 | 13.5
| Q2 | 1.3 | 0.2 | 0.8 | 0.3 | 0 | 2.5 | 0.4 | 0.8 | 2 | 6.7
2025 | Q3 | 1.6 | 0.2 | 1.1 | 0.3 | 0 | 2.6 | 0.3 | 1.7 | 6.3 | 3.8
| Q4 | 1.4 | 0.1 | 0.6 | 0.2 | 0 | 3 | 0.2 | 0.3 | 0.6 | 2.9
Source: | AER, FCAS Quarterly Global FCAS Costs by Services.
Fast frequency response (FFR) commenced

## FCAS Use
NEM Reliability & Security Report FY2024
Figures from the report
Quaterly MW enabled
Slide: | 58
Quarterly FCAS enabled by type (MW)
Financial Year | Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWER1SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | RAISE1SEC
2020 | Q3 | 231 | 190 | 187 | 100 |  | 272 | 345 | 387 | 378
| Q4 | 213 | 214 | 253 | 169 |  | 254 | 384 | 474 | 469
| Q1 | 225 | 236 | 343 | 294 |  | 258 | 456 | 597 | 601
| Q2 | 212 | 237 | 334 | 252 |  | 242 | 450 | 582 | 581
2021 | Q3 | 213 | 250 | 349 | 259 |  | 248 | 415 | 550 | 547
| Q4 | 213 | 257 | 369 | 278 |  | 273 | 380 | 554 | 548
| Q1 | 213 | 248 | 376 | 287 |  | 225 | 468 | 610 | 606
| Q2 | 214 | 226 | 375 | 305 |  | 225 | 446 | 596 | 592
2022 | Q3 | 216 | 210 | 363 | 306 |  | 228 | 443 | 604 | 600
| Q4 | 215 | 223 | 396 | 326 |  | 226 | 450 | 620 | 611
| Q1 | 215 | 228 | 402 | 325 |  | 225 | 456 | 628 | 610
| Q2 | 218 | 243 | 398 | 297 |  | 229 | 468 | 640 | 633
2023 | Q3 | 226 | 258 | 422 | 313 |  | 236 | 459 | 654 | 628
| Q4 | 217 | 321 | 494 | 400 |  | 244 | 392 | 579 | 547
| Q1 | 218 | 299 | 458 | 350 |  | 238 | 457 | 619 | 606
| Q2 | 223 | 208 | 348 | 287 |  | 240 | 481 | 634 | 627
2024 | Q3 | 218 | 230 | 368 | 290 | 0 | 239 | 456 | 605 | 594 | 0
| Q4 | 233 | 240 | 381 | 298 | 37 | 226 | 450 | 602 | 581 | 115
| Q1 | 241 | 246 | 378 | 289 | 21 | 225 | 463 | 605 | 589 | 217
| Q2 | 233 | 255 | 395 | 303 | 27 | 233 | 455 | 605 | 598 | 277
2025 | Q3 | 232 | 260 | 399 | 300 | 34 | 229 | 425 | 573 | 560 | 269
| Q4 | 230 | 264 | 410 | 321 | 46 | 230 | 423 | 578 | 554 | 274
Source: | AER, Quarterly Average FCAS Enablement by Services
Fast frequency response (FFR) commenced

## System Costs
NEM Reliability & Security Report FY2024
Figures from the report
System operating costs
Slide: | 59
System operating costs by component and financial year (AUD$ million)
Financial Year | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
FCAS Markets | 176 | 263.8 | 140.9 | 200.6 | 155.3 | 102.9
RERT Costs | 34.2 | 40.6 | 0.6617 | 130.079 | 2.0637 | 4.2527
SRAS | 35.7 | 35.8 | 36.9 | 31.9 | 33.3911 | 35.6389
NSCAS | 10.6 | 0 | 0 | 0 | 0 | 0
AEMO Revenue Requirement | 78.6 | 89.7 | 95.7 | 103.466 | 195.762 | 201.72
Source: | 2018-19: AEMO FY24 Budget and Fees

## SRAS Costs
NEM Reliability & Security Report FY2024
Figures from the report
SRAS costs
Slide: | 59
SRAS costs by region and financial year (AUD$ million)
Electrical sub-network | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
NSW | 10.5112 | 10.5896 | 10.7864 | 11.1386 | 11.7246 | 12.5814
QLD | 6.4348 | 5.9361 | 6.6197 | 2.9798 | 2.7071 | 2.9036
SA | 5.7724 | 5.9239 | 6.0616 | 3.6722 | 4.5029 | 4.6898
TAS | 6.0298 | 6.2355 | 6.2439 | 6.591 | 6.5061 | 6.9806
VIC | 6.9448 | 7.1255 | 7.2304 | 7.5162 | 7.9503 | 8.4834
Source: | 2018-19: AEMO, Non Market Ancillary Services (NMAS) Report

## Security Directions
NEM Reliability & Security Report FY2024
Figures from the report
Security directions
Slide: | 61
Number of security directions by region and financial year
Financial Year | NSW | QLD | SA | TAS | VIC
2015-16 | 0 | 1 | 0 | 0 | 0
2016-17 | 0 | 1 | 6 | 0 | 1
2017-18 | 0 | 1 | 99 | 0 | 0
2018-19 | 1 | 0 | 153 | 0 | 4
2019-20 | 0 | 0 | 273 | 0 | 5
2020-21 | 0 | 0 | 340 | 4 | 0
2021-22 | 0 | 0 | 467 | 0 | 0
2022-23 | 0 | 1 | 402 | 0 | 0
2023-24 | 1 | 2 | 420 | 0 | 4
Source: | Panel analysis of AEMO data.