## Actual USE
Reliability and Security Report FY2025
Figures from the report
Actual USE
Slide: | 19
Actual unserved energy by region and financial year (%)
Year | 2008-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 2023-24 | 2024-25
NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4e-05
QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA | 0.0032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0004 | 0 | 0.0004 | 0 | 0 | 0 | 0 | 0 | 0
TAS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0.0014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001 | 0 | 0.0004 | 0 | 0 | 0 | 0 | 0 | 1.88e-05
Reliability Standard | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002
Interim Reliability Measure | [12 empty] | 0.0006 | 0.0006 | 0.0006 | 0.0006 | 0.0006
Source: | Panel Analysis of AEMO Data

## Forecasted USE
Reliability and Security Report FY2025
Figures from the report
Forecast USE values
Slide: | 19
Expected unserved energy by region and by financial year (%)
Financial Year | New South Wales | Queensland | South Australia | Tasmania | Victoria | Reliability Standard | IRM
2025-26 | 1.9519e-05 | 0.00067335 | 0.00024018 | 0.00017439 | 0.00014828 | 0.002 | 0.0006
2026-27 | 0 | 2.5804e-05 | 0.00014667 | 0.00028882 | 8.5611e-05 | 0.002 | 0.0006
2027-28 | 0.00017399 | 1.4195e-05 | 3.182e-07 | 5.6917e-05 | 4.5185e-05 | 0.002 | 0.0006
2028-29 | 0.0001379 | 9.1922e-06 | 4.9843e-05 | 1.7136e-06 | 0.00030374 | 0.002
2029-30 | 0.00050275 | 0.011172 | 0.0019575 | 1.5525e-05 | 0.00074993 | 0.002
2030-31 | 0.00080668 | 0.02051 | 0.0062767 | 5.7056e-05 | 0.0020514 | 0.002
2031-32 | 0.002742 | 0.037439 | 0.00871 | 8.4573e-05 | 0.0035507 | 0.002
2032-33 | 0.0032772 | 0.062047 | 0.014859 | 2.3561e-05 | 0.0098797 | 0.002
2033-34 | 1.0415 | 0.42201 | 0.21557 | 2.619e-05 | 0.04781 | 0.002
2034-35 | 3.46 | 1.6747 | 0.6187 | 1.1976e-05 | 0.22992 | 0.002
Source: | Panel Analysis of AEMO Data

## Installed Capacity
Reliability and Security Report FY2025
Figures from the report
Installed capacity by financial year
Slide: | 20
Sum of Nameplate Capacity by generation type and financial year (MW)
Financial Year | Hydro | Black Coal | Brown Coal | Gas | Wind | Solar | Biogas | Biomass | Battery | Other | Distributed Solar | Distributed Battery
2011-12 | 8071.8 | 19783.8 | 7369 | 10478.728 | 2134.65 | 0 | 119.74 | 472.4 | 0 | 1208.255 | 2137 | 0
2012-13 | 7986.5 | 19789.8 | 7369 | 10555.266 | 2574.15 | 0.401 | 132.891 | 410.4 | 0 | 1213.955 | 2863.7 | 0
2013-14 | 7987.45 | 19789.8 | 7385 | 10547.548 | 2806.9 | 2.031 | 140.816 | 418.4 | 0 | 1210.715 | 3569.1 | 0
2014-15 | 7987.3 | 19789.8 | 7385 | 10553.548 | 3753.2 | 124.031 | 140.816 | 418.4 | 0 | 1210.715 | 4179.7 | 0
15-16 | 7987.6 | 18456 | 6230 | 10548.522 | 3708.25 | 231.531 | 156.211 | 420.3 | 0 | 1173.015 | 4586.8 | 16.506
16-17 | 7940.8 | 18346 | 4630 | 10879.522 | 4069.85 | 274.247 | 157.021 | 416.4 | 0 | 891.215 | 5150 | 35.366
17-18 | 8021.187 | 18346 | 4660 | 10903.29 | 5114.1 | 960.1431 | 162.569 | 501.728 | 0 | 1283.808 | 6441 | 66.499
18-19 | 7982.605 | 18346 | 4660 | 11015.566 | 5915.578 | 2761.0713 | 77.251 | 389.728 | 185.83 | 1428.087 | 8100 | 127.413
19-20 | 7981.825 | 18311 | 4775 | 11342.566 | 7480.968 | 3796.4563 | 52.698 | 357.728 | 210.83 | 1448.62 | 10696.3 | 197.72
20-21 | 7992.139 | 18381 | 4820 | 11154.035 | 8523.578 | 5125.3103 | 33.607 | 376.728 | 260.83 | 1424.265 | 13894.5472 | 240.927
21-22 | 7992.139 | 17881 | 4820 | 11002.06 | 9434.783 | 5687.7983 | 18.625 | 376.728 | 610.83 | 1279.193 | 16324.3213 | 393.4088
22-23 | 7988 | 16435 | 4820 | 11023 | 9804 | 6691 | 139 | 373 | 746 | 1145 | 19005 | 745
23-24 | 7999 | 16435 | 4820 | 11343 | 10685 | 8953 | 139 | 403 | 1553 | 1125 | 22021 | 1030
24-25 | 8026.64 | 16435 | 4820 | 11351.33 | 13092.49 | 10584.48 | 89.79 | 310.1 | 2632.88 | 880.72 | 24914.5162 | 1432.2843
Source: | AEMO, NEM Generation Information, July 2025

## Generation Changes
Reliability and Security Report FY2025
Figures from the report
Utility-scale generation changes by financial year
Slide: | 20
Changes in generation capacity by technology type and financial year (MW)
CER
Year | Hydro | Black Coal | Brown Coal | Gas | Wind | Solar | Biogas | Biomass | Battery | Other | Net | Distributed Solar | Distributed Battery
2014-15 | -0.15 | 0 | 0 | 6 | 946.3 | 122 | 0 | 0 | 0 | 0 | 1074.15 | 610.6 | 0
15-16 | 0.3 | -1333.8 | -1155 | -5.026 | -44.95 | 107.5 | 15.395 | 1.9 | 0 | -37.7 | -2451.381 | 407.1 | 16.506
16-17 | -46.8 | -110 | -1600 | 331 | 361.6 | 42.716 | 0.81 | -3.9 | 0 | -281.8 | -1306.374 | 563.2 | 18.86
17-18 | 80.387 | 0 | 30 | 23.768 | 1044.25 | 685.8961 | 5.548 | 85.328 | 0 | 392.593 | 2347.7701 | 1291 | 31.133
18-19 | -38.582 | 0 | 0 | 112.276 | 801.478 | 1800.9282 | -85.318 | -112 | 185.83 | 144.279 | 2808.8912 | 1659 | 60.914
19-20 | -0.78 | -35 | 115 | 327 | 1565.39 | 1035.385 | -24.553 | -32 | 25 | 20.533 | 2995.975 | 2596.3 | 70.307
20-21 | 10.314 | 70 | 45 | -188.531 | 1042.61 | 1328.854 | -19.091 | 19 | 50 | -24.355 | 2333.801 | 3198.2472 | 43.207
21-22 | 0 | -500 | 0 | -151.975 | 911.205 | 562.488 | -14.982 | 0 | 350 | -145.072 | 1011.664 | 2429.7742 | 152.4818
22-23 | -4.139 | -1446 | 0 | 20.94 | 369.217 | 1003.2017 | 120.375 | -3.728 | 135.17 | -134.193 | 60.8437 | 2680.6787 | 351.5912
23-24 | 11 | 0 | 0 | 320 | 881 | 2262 | 0 | 30 | 807 | -20 | 4291 | 3016 | 285
24-25 | 27.64 | 0 | 0 | 8.33 | 2407.49 | 1631.48 | -49.21 | -92.9 | 1079.88 | -244.28 | 4768.43 | 2893.5162 | 402.2843
Source: | AEMO, NEM Generation Information, July 2025

## Total CER
Reliability and Security Report FY2025
Figures from the report
Total installed CER capacity by financial year
Slide: | 24
Installed CER capacity for distributed solar and batteries by financial year (MW)
Year | Distributed Solar | Distributed Battery
2011-12 | 2137 | 0
2012-13 | 2863.7 | 0
2013-14 | 3569.1 | 0
2014-15 | 4179.7 | 0
2015-16 | 4586.8 | 16.506
2016-17 | 5150 | 35.366
17-18 | 6441 | 66.499
18-19 | 8100 | 127.413
19-20 | 10696.3 | 197.72
20-21 | 13894.5472 | 240.927
21-22 | 16324.3213 | 393.4088
22-23 | 19005 | 745
23-24 | 22021 | 1030
24-25 | 24914.5162 | 1432.2843
Source: | Distributed Solar |  | Clean Energy Regulator, Small-scale installation postcode data (distributed solar), July 2025
| Distributed Battery |  | AEMO, DER data downloads, July 2025

## Battery Capacity
Reliability and Security Report FY2025
Figures from the report
New installed distributed battery capacity
Slide: | 21
Distributed battery growth by financial year (MW)
Year | Change (Battery)
2012-13 | 0
2013-14 | 0
2014-15 | 0
2015-16 | 16.506
2016-17 | 18.86
2017-18 | 31.133
2018-19 | 60.914
2019-20 | 70.307
2020-21 | 43.207
2021-22 | 152.4818
2022-23 | 351.5912
2023-24 | 285
2024-25 | 402.2843
2025-26 | 1652.3947
Source: | AEMO, DER data downloads, July 2025
AEMO, DER data downloads, March 2026
Cheaper home battery program introduced

## Total Planned Generation by FY
Reliability and Security Report FY2025
Figures from the report
Total planned generation by financial year
Slide: | 22
Changes in planned generation by technology type and financial year (GW)
| Announced Withdrawal | Upgrade / Expansion | Committed | Anticipated | Proposed | Withdrawn
FY2023 | -3.68 | 0.03 | 9.8615 | 8.2552 | 247.7336 | 1.62
FY2024 | -4.018 | 0 | 12.54 | 9.433 | 290.227 | 0
FY2025 | -5.468 | 0 | 14.508 | 11.427 | 325.372 | 0.096
Source: | AEMO, NEM Generation Information, July 2025

## Planned Generation in FY25
Reliability and Security Report FY2025
Figures from the report
Planned generation in FY25
Slide: | 22
Planned generation by technology type FY25 (GW)
Technology type | Announced Withdrawal | Upgrade / Expansion | Committed | Anticipated | Proposed | Withdrawn
Coal | -4.33 | 0 | 0 | 0 | 0.99 | 0
CCGT | -0.18 | 0 | 0 | 0 | 0.207 | 0
OCGT | -0.158 | 0 | 0.75 | 0.117 | 4.388 | 0
Gas other | -0.8 | 0 | 0 | 0 | 1.653 | 0.036
Solar* | 0 | 0 | 2.676 | 3.426 | 56.438 | 0
Wind | 0 | 0 | 2.432 | 2.022 | 117.145 | 0
Water | 0 | 0 | 2.45 | 1.998 | 15.833 | 0
Biomass | 0 | 0 | 0 | 0 | 0.183 | 0.012
Battery Storage | 0 | 0 | 6.2 | 3.864 | 122.856 | 0
Other | 0 | 0 | 0 | 0 | 5.679 | 0.048
Source: | AEMO, NEM Generation Information, July 2025

## Coal Closures
Reliability and Security Report FY2025
Figures from the report
Planned generator exits
Slide: | 23
NEM coal capacity until 2051 by year (MW)
Year | Black coal | Brown coal | Black coal exit | Brown coal exit
2025 | 16435 | 4820
2026 | 16435 | 4820 | 0 | 0
2027 | 13555 | 4820 | 2880 | 0
2028 | 13555 | 3370 | 0 | 1450
2029 | 13555 | 3370 | 0 | 0
2030 | 13555 | 3370 | 0 | 0
2031 | 12855 | 3370 | 700 | 0
2032 | 12855 | 3370 | 0 | 0
2033 | 8820 | 3370 | 4035 | 0
2034 | 8820 | 3370 | 0 | 0
2035 | 7140 | 1160 | 1680 | 2210
2036 | 6440 | 1160 | 700 | 0
2037 | 5290 | 1160 | 1150 | 0
2038 | 5290 | 1160 | 0 | 0
2039 | 5290 | 1160 | 0 | 0
2040 | 3900 | 1160 | 1390 | 0
2041 | 3900 | 1160 | 0 | 0
2042 | 3156 | 1160 | 744 | 0
2043 | 2791 | 1160 | 365 | 0
2044 | 2426 | 1160 | 365 | 0
2045 | 2061 | 1160 | 365 | 0
2046 | 1696 | 1160 | 365 | 0
2047 | 1696 | 0 | 0 | 1160
2048 | 1696 | 0 | 0 | 0
2049 | 1696 | 0 | 0 | 0
2050 | 1696 | 0 | 0 | 0
2051 | 844 | 0 | 852 | 0
Source: | AEMO, NEM Generation Information, July 2025

## Demand Profiles
Reliability and Security Report FY2025
Figures from the report
Diurnal demand curves
Slides: | 25-27
Comparing FY2025 hourly demand profile with FY2021–2024 average (GWh)
Source: | Panel analysis of AEMO MMS data
NSW Summer |  |  |  |  | NSW Winter |  |  |  |  | NSW Spring |  |  |  |  | NSW Autumn
Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 (hourly) | Minimum FY2025 | Hour | Average FY25 | Average FY21-24 | Maximum FY25 | Minimum FY25 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025
0 | 6.9722 | 6.9463 | 8.0016 | 6.0257 | 0 | 8.1001 | 8.1217 | 9.1896 | 6.6142 | 0 | 6.856 | 6.9608 | 7.7448 | 6.0803 | 0 | 7.0941 | 7.169 | 8.2555 | 6.3416
1 | 6.6275 | 6.4895 | 7.6904 | 5.7854 | 1 | 7.6786 | 7.6894 | 8.718 | 6.3083 | 1 | 6.5205 | 6.5438 | 7.5053 | 5.8686 | 1 | 6.7484 | 6.7683 | 7.7891 | 6.0123
2 | 6.4483 | 6.2481 | 7.2596 | 5.6404 | 2 | 7.2986 | 7.1864 | 8.2907 | 6.044 | 2 | 6.2813 | 6.2093 | 7.0854 | 5.6626 | 2 | 6.4855 | 6.4129 | 7.3902 | 5.8612
3 | 6.4229 | 6.2232 | 7.2354 | 5.6232 | 3 | 7.1252 | 6.9028 | 8.1464 | 5.8384 | 3 | 6.2132 | 6.1008 | 6.9031 | 5.624 | 3 | 6.391 | 6.2765 | 7.2568 | 5.7265
4 | 6.6012 | 6.4356 | 7.5408 | 5.6215 | 4 | 7.2204 | 6.929 | 8.3196 | 5.8316 | 4 | 6.3698 | 6.2832 | 7.1917 | 5.6518 | 4 | 6.5108 | 6.3961 | 7.284 | 5.6749
5 | 6.9032 | 6.8464 | 8.1655 | 5.4865 | 5 | 7.6786 | 7.4178 | 9.3214 | 5.9904 | 5 | 6.7218 | 6.748 | 7.7629 | 5.6456 | 5 | 6.8871 | 6.8536 | 8.0509 | 5.7251
6 | 7.0604 | 7.1469 | 8.5765 | 5.0747 | 6 | 8.6779 | 8.4603 | 11.1273 | 6.1622 | 6 | 6.9462 | 7.1308 | 8.5841 | 5.2444 | 6 | 7.4632 | 7.5282 | 9.4608 | 5.8607
7 | 6.9918 | 7.2385 | 8.8918 | 4.3119 | 7 | 9.4432 | 9.2959 | 11.9438 | 5.827 | 7 | 6.6962 | 7.0712 | 8.5919 | 4.4554 | 7 | 7.5957 | 7.8095 | 9.8388 | 5.3648
8 | 6.6457 | 7.1436 | 8.8824 | 3.786 | 8 | 9.0724 | 9.216 | 11.6339 | 5.0333 | 8 | 6.174 | 6.7671 | 8.6042 | 3.9794 | 8 | 7.2427 | 7.5745 | 9.4601 | 4.657
9 | 6.3694 | 7.0116 | 9.187 | 3.478 | 9 | 8.2018 | 8.5988 | 10.6338 | 4.4081 | 9 | 5.692 | 6.4299 | 8.9115 | 3.5485 | 9 | 6.7808 | 7.1527 | 8.8444 | 4.1836
10 | 6.2273 | 6.942 | 9.619 | 2.9009 | 10 | 7.4195 | 7.9513 | 9.7211 | 3.9172 | 10 | 5.427 | 6.2093 | 8.9079 | 3.2851 | 10 | 6.4273 | 6.8225 | 8.9822 | 3.7347
11 | 6.2362 | 6.9657 | 10.0013 | 2.5322 | 11 | 6.9024 | 7.4802 | 9.4226 | 3.7442 | 11 | 5.2979 | 6.084 | 8.8183 | 3.1647 | 11 | 6.2588 | 6.6328 | 8.9776 | 3.508
12 | 6.3555 | 7.0731 | 10.3356 | 2.5382 | 12 | 6.7033 | 7.3032 | 9.1273 | 3.6504 | 12 | 5.289 | 6.0775 | 9.5604 | 3.0159 | 12 | 6.2397 | 6.6315 | 8.8405 | 3.491
13 | 6.6386 | 7.2807 | 11.0732 | 2.5759 | 13 | 6.7885 | 7.3394 | 8.978 | 3.7982 | 13 | 5.4856 | 6.1933 | 9.765 | 3.1056 | 13 | 6.4214 | 6.7667 | 9.4315 | 3.6246
14 | 7.1624 | 7.6322 | 12.0204 | 2.7969 | 14 | 7.1929 | 7.5978 | 9.4508 | 4.2051 | 14 | 5.9403 | 6.4941 | 10.9577 | 3.4487 | 14 | 6.9124 | 7.0853 | 10.5168 | 4.11
15 | 7.9198 | 8.1355 | 12.5497 | 3.8606 | 15 | 8.0388 | 8.173 | 10.6294 | 5.0297 | 15 | 6.7234 | 7.0393 | 11.3026 | 4.3159 | 15 | 7.6588 | 7.6547 | 11.3965 | 5.1305
16 | 8.6908 | 8.6494 | 12.4844 | 5.0324 | 16 | 9.2341 | 9.1482 | 11.7012 | 6.1583 | 16 | 7.6356 | 7.7237 | 11.2735 | 5.5396 | 16 | 8.4953 | 8.3816 | 12.2464 | 6.3582
17 | 9.2183 | 8.9287 | 12.5291 | 6.599 | 17 | 10.3953 | 10.3086 | 12.4592 | 7.4345 | 17 | 8.3281 | 8.2986 | 11.2051 | 6.7591 | 17 | 9.0725 | 9.0007 | 12.2438 | 7.4007
18 | 9.182 | 8.8532 | 12.4813 | 7.4637 | 18 | 10.7107 | 10.6607 | 12.4616 | 7.9713 | 18 | 8.5719 | 8.5548 | 10.7068 | 7.3914 | 18 | 9.098 | 9.0667 | 12.0229 | 7.6521
19 | 8.979 | 8.6727 | 11.6855 | 7.4507 | 19 | 10.4044 | 10.3061 | 12.2303 | 7.6437 | 19 | 8.3578 | 8.3309 | 10.4318 | 7.3359 | 19 | 8.754 | 8.7044 | 11.5234 | 7.3288
20 | 8.5656 | 8.2943 | 11.0636 | 7.2499 | 20 | 10.0511 | 9.9181 | 11.836 | 7.5354 | 20 | 8.0105 | 7.9557 | 10.1848 | 7.0244 | 20 | 8.3812 | 8.3217 | 10.7456 | 7.1713
21 | 8.1653 | 7.9598 | 10.0779 | 7.0718 | 21 | 9.4942 | 9.3696 | 11.3011 | 7.2275 | 21 | 7.6885 | 7.6577 | 9.3701 | 6.8642 | 21 | 8.0141 | 7.975 | 9.9811 | 6.9749
22 | 7.7595 | 7.6654 | 9.2445 | 6.7099 | 22 | 8.959 | 8.9082 | 10.5126 | 7.1269 | 22 | 7.4268 | 7.4691 | 8.6365 | 6.6266 | 22 | 7.7183 | 7.7371 | 9.4289 | 6.8003
23 | 7.3661 | 7.321 | 8.8384 | 6.4797 | 23 | 8.4881 | 8.4898 | 9.7114 | 6.7768 | 23 | 7.1504 | 7.2399 | 8.1357 | 6.3554 | 23 | 7.4046 | 7.4796 | 8.6973 | 6.587
QLD Summer |  |  |  |  | QLD Winter |  |  |  |  | QLD Spring |  |  |  |  | QLD Autumn
Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025
0 | 6.3977 | 6.0621 | 7.5739 | 5.5232 | 0 | 5.7834 | 5.5721 | 6.5883 | 5.2857 | 0 | 5.6688 | 5.5141 | 6.6563 | 5.156 | 0 | 5.9282 | 5.7447 | 6.6823 | 5.372
1 | 6.2452 | 5.8778 | 7.176 | 5.4661 | 1 | 5.5994 | 5.3688 | 6.3877 | 5.1639 | 1 | 5.5193 | 5.3436 | 6.4122 | 5.008 | 1 | 5.7785 | 5.5786 | 6.481 | 5.2509
2 | 6.06 | 5.7543 | 6.928 | 5.3143 | 2 | 5.5221 | 5.2704 | 6.2009 | 5.0789 | 2 | 5.4139 | 5.2473 | 6.2274 | 4.9358 | 2 | 5.6692 | 5.4865 | 6.3077 | 5.1853
3 | 5.9889 | 5.7061 | 6.7378 | 5.2665 | 3 | 5.5235 | 5.2583 | 6.2141 | 5.0328 | 3 | 5.3891 | 5.2261 | 6.1413 | 4.9284 | 3 | 5.6383 | 5.4638 | 6.2015 | 5.1775
4 | 6.0259 | 5.7499 | 6.855 | 5.2305 | 4 | 5.6706 | 5.3892 | 6.648 | 5.0951 | 4 | 5.4755 | 5.3107 | 6.2714 | 4.9922 | 4 | 5.7196 | 5.5464 | 6.3595 | 5.234
5 | 6.1278 | 5.8674 | 7.1599 | 5.0217 | 5 | 6.0369 | 5.7618 | 7.2445 | 5.2855 | 5 | 5.6132 | 5.4886 | 6.2908 | 4.9544 | 5 | 5.9601 | 5.8065 | 6.7853 | 5.2768
6 | 6.1308 | 6.0066 | 7.2988 | 4.5974 | 6 | 6.5864 | 6.3696 | 8.2432 | 5.2667 | 6 | 5.5928 | 5.6283 | 6.6117 | 4.3036 | 6 | 6.2613 | 6.1742 | 7.1688 | 5.3282
7 | 6.0037 | 6.0459 | 7.6288 | 4.0955 | 7 | 6.659 | 6.5939 | 8.3593 | 4.6513 | 7 | 5.3321 | 5.5565 | 6.944 | 3.9532 | 7 | 6.167 | 6.219 | 7.3391 | 4.7521
8 | 5.807 | 5.9758 | 7.6579 | 3.7914 | 8 | 5.9935 | 6.0636 | 7.7239 | 3.943 | 8 | 4.9312 | 5.2556 | 7.0669 | 3.4793 | 8 | 5.7493 | 5.8551 | 7.3476 | 4.0922
9 | 5.6299 | 5.9013 | 7.5882 | 3.5875 | 9 | 5.255 | 5.4126 | 7.414 | 3.3756 | 9 | 4.6108 | 5.0001 | 7.2121 | 2.9911 | 9 | 5.3683 | 5.5097 | 7.4017 | 3.6629
10 | 5.5572 | 5.8738 | 7.5876 | 3.5521 | 10 | 4.8961 | 4.9692 | 7.4079 | 3.1756 | 10 | 4.5273 | 4.8655 | 7.0272 | 2.9971 | 10 | 5.2048 | 5.3373 | 7.7129 | 3.581
11 | 5.6334 | 5.931 | 7.6149 | 3.5474 | 11 | 4.7413 | 4.7641 | 7.4646 | 3.0875 | 11 | 4.5511 | 4.8491 | 7.1572 | 3.0435 | 11 | 5.1954 | 5.3412 | 7.7095 | 3.5499
12 | 5.7563 | 6.0788 | 7.9096 | 3.652 | 12 | 4.6489 | 4.742 | 7.37 | 2.9753 | 12 | 4.5701 | 4.9285 | 7.4502 | 3.0617 | 12 | 5.1979 | 5.4338 | 7.6079 | 3.5139
13 | 6.0744 | 6.3075 | 8.5128 | 3.9035 | 13 | 4.7808 | 4.8866 | 7.0755 | 3.0529 | 13 | 4.8226 | 5.1074 | 7.9133 | 3.156 | 13 | 5.4724 | 5.636 | 7.4079 | 3.9391
14 | 6.4823 | 6.652 | 9.2233 | 4.2791 | 14 | 5.2356 | 5.2376 | 7.2231 | 3.3793 | 14 | 5.3712 | 5.4648 | 8.0515 | 3.6487 | 14 | 5.9309 | 5.9901 | 7.4711 | 4.3199
15 | 7.1352 | 7.1061 | 9.8974 | 4.9771 | 15 | 5.9732 | 5.8069 | 7.5621 | 4.2326 | 15 | 6.0971 | 5.9982 | 8.382 | 4.4591 | 15 | 6.5869 | 6.5143 | 8.4767 | 4.9577
16 | 7.9066 | 7.6393 | 10.8828 | 5.6783 | 16 | 6.8972 | 6.5619 | 8.3604 | 5.349 | 16 | 6.9076 | 6.6449 | 9.1527 | 5.4032 | 16 | 7.311 | 7.1415 | 8.7503 | 6.084
17 | 8.422 | 7.9856 | 11.1593 | 6.508 | 17 | 7.64 | 7.2464 | 8.8279 | 6.5421 | 17 | 7.479 | 7.0931 | 9.1891 | 6.3507 | 17 | 7.7721 | 7.5589 | 8.965 | 6.8033
18 | 8.5406 | 8.0855 | 11.0448 | 6.9242 | 18 | 7.7915 | 7.4243 | 8.8792 | 6.8745 | 18 | 7.6128 | 7.2974 | 9.1139 | 6.7713 | 18 | 7.8247 | 7.6189 | 8.9465 | 6.8742
19 | 8.3854 | 8.0156 | 10.782 | 6.8308 | 19 | 7.5589 | 7.2299 | 8.7586 | 6.5763 | 19 | 7.3442 | 7.134 | 8.9502 | 6.451 | 19 | 7.5277 | 7.3762 | 8.8434 | 6.6576
20 | 7.9817 | 7.7151 | 10.2458 | 6.565 | 20 | 7.3008 | 7.0449 | 8.3647 | 6.3093 | 20 | 7.0316 | 6.8786 | 8.5464 | 6.2496 | 20 | 7.2067 | 7.1282 | 8.378 | 5.9661
21 | 7.6346 | 7.2683 | 9.5685 | 6.401 | 21 | 6.9003 | 6.679 | 8.0032 | 6.0834 | 21 | 6.6744 | 6.5066 | 8.069 | 5.9297 | 21 | 6.885 | 6.7696 | 7.8995 | 6.0937
22 | 7.1 | 6.8314 | 8.8861 | 5.9569 | 22 | 6.4909 | 6.3113 | 7.4503 | 5.8081 | 22 | 6.2611 | 6.1759 | 7.4722 | 5.6408 | 22 | 6.53 | 6.4188 | 7.4963 | 5.806
23 | 6.7104 | 6.4027 | 8.0201 | 5.7976 | 23 | 6.124 | 5.9268 | 7.0858 | 5.5701 | 23 | 5.9491 | 5.8314 | 6.9313 | 5.3827 | 23 | 6.2029 | 6.0536 | 7.0155 | 5.5594
SA Summer |  |  |  |  | SA Winter |  |  |  |  | SA Spring |  |  |  |  | SA Autumn
Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025
0 | 1.5268 | 1.422 | 2.1753 | 1.2655 | 0 | 1.6026 | 1.581 | 1.8338 | 1.3251 | 0 | 1.4073 | 1.3677 | 1.7043 | 1.1329 | 0 | 1.5119 | 1.4385 | 1.9069 | 1.338
1 | 1.473 | 1.3297 | 2.1119 | 1.219 | 1 | 1.5436 | 1.4723 | 1.7711 | 1.2651 | 1 | 1.3692 | 1.2855 | 1.6988 | 1.0971 | 1 | 1.4634 | 1.3506 | 1.8423 | 1.2815
2 | 1.407 | 1.2604 | 1.9851 | 1.1768 | 2 | 1.4701 | 1.3648 | 1.6796 | 1.1824 | 2 | 1.2991 | 1.2016 | 1.6072 | 1.0418 | 2 | 1.3928 | 1.269 | 1.7165 | 1.1802
3 | 1.369 | 1.2241 | 1.927 | 1.1333 | 3 | 1.4145 | 1.2879 | 1.6178 | 1.1794 | 3 | 1.251 | 1.1495 | 1.5428 | 0.98784 | 3 | 1.3523 | 1.2191 | 1.6376 | 1.1474
4 | 1.3627 | 1.2257 | 1.9203 | 1.1194 | 4 | 1.3911 | 1.2581 | 1.6537 | 1.1599 | 4 | 1.242 | 1.1429 | 1.5244 | 0.97356 | 4 | 1.3429 | 1.2084 | 1.6224 | 1.1246
5 | 1.3951 | 1.2714 | 1.9564 | 1.102 | 5 | 1.409 | 1.285 | 1.6361 | 1.1449 | 5 | 1.276 | 1.1946 | 1.5478 | 0.97967 | 5 | 1.3693 | 1.2432 | 1.7391 | 1.08
6 | 1.4217 | 1.3198 | 2.0668 | 0.92663 | 6 | 1.5146 | 1.3993 | 1.8408 | 1.173 | 6 | 1.3198 | 1.2764 | 1.6611 | 0.83821 | 6 | 1.4551 | 1.3387 | 1.8813 | 1.0764
7 | 1.3059 | 1.2442 | 2.0761 | 0.69545 | 7 | 1.6988 | 1.5911 | 2.2504 | 1.1408 | 7 | 1.2349 | 1.2404 | 1.6983 | 0.55819 | 7 | 1.5125 | 1.4071 | 2.1754 | 1.0558
8 | 1.0966 | 1.0853 | 2.023 | 0.35807 | 8 | 1.7567 | 1.6876 | 2.2832 | 0.97292 | 8 | 1.0202 | 1.0833 | 1.5691 | 0.30292 | 8 | 1.3761 | 1.3207 | 2.1568 | 0.74228
9 | 0.86882 | 0.91506 | 2.1565 | 0.09332 | 9 | 1.5319 | 1.5351 | 2.157 | 0.61375 | 9 | 0.78284 | 0.89652 | 1.5851 | 0.08043 | 9 | 1.1141 | 1.1234 | 1.8814 | 0.43585
10 | 0.71999 | 0.8085 | 2.1559 | -0.01323 | 10 | 1.3068 | 1.3477 | 2.211 | 0.42591 | 10 | 0.62792 | 0.77153 | 1.5673 | -0.06739 | 10 | 0.94956 | 0.96531 | 1.8563 | 0.31091
11 | 0.62059 | 0.7416 | 1.8634 | -0.03366 | 11 | 1.155 | 1.2074 | 2.2826 | 0.26278 | 11 | 0.51726 | 0.68224 | 1.7746 | -0.19288 | 11 | 0.80957 | 0.85705 | 1.8908 | 0.15442
12 | 0.59317 | 0.72177 | 1.8925 | -0.0874 | 12 | 1.0615 | 1.1286 | 2.2458 | 0.13722 | 12 | 0.45456 | 0.63577 | 1.6002 | -0.22779 | 12 | 0.71849 | 0.79694 | 1.9242 | 0.03299
13 | 0.63548 | 0.74251 | 1.9558 | -0.11047 | 13 | 1.0196 | 1.0984 | 2.312 | 0.12019 | 13 | 0.43362 | 0.63016 | 1.8397 | -0.23182 | 13 | 0.69889 | 0.79574 | 1.9063 | 0.03708
14 | 0.73363 | 0.80584 | 2.3511 | -0.08462 | 14 | 1.0554 | 1.1365 | 2.3555 | 0.22065 | 14 | 0.50338 | 0.67761 | 1.9057 | -0.18664 | 14 | 0.78677 | 0.85546 | 1.9671 | 0.06373
15 | 0.90132 | 0.93391 | 2.4701 | 0.02902 | 15 | 1.2042 | 1.254 | 2.3924 | 0.41476 | 15 | 0.67902 | 0.79634 | 2.1019 | -0.06303 | 15 | 0.99376 | 0.99402 | 2.2854 | 0.2607
16 | 1.1541 | 1.1378 | 2.9053 | 0.26852 | 16 | 1.4513 | 1.4613 | 2.351 | 0.69569 | 16 | 0.92293 | 1.0049 | 2.2951 | 0.23451 | 16 | 1.2866 | 1.2183 | 2.6976 | 0.59937
17 | 1.4701 | 1.3716 | 3.0591 | 0.6165 | 17 | 1.8088 | 1.7754 | 2.5021 | 1.0564 | 17 | 1.2614 | 1.2699 | 2.2971 | 0.55682 | 17 | 1.6415 | 1.4975 | 2.8356 | 0.94996
18 | 1.7319 | 1.5604 | 3.3269 | 0.9195 | 18 | 2.0414 | 2.0125 | 2.5696 | 1.4817 | 18 | 1.5205 | 1.4814 | 2.3298 | 0.97407 | 18 | 1.8294 | 1.6784 | 2.826 | 1.3413
19 | 1.8288 | 1.6307 | 3.3016 | 1.2316 | 19 | 2.0367 | 2.0047 | 2.5017 | 1.4601 | 19 | 1.5943 | 1.5443 | 2.3198 | 1.1811 | 19 | 1.8027 | 1.6663 | 2.7346 | 1.412
20 | 1.7862 | 1.5927 | 3.1721 | 1.3528 | 20 | 1.9723 | 1.9263 | 2.4326 | 1.4319 | 20 | 1.5573 | 1.4963 | 2.2643 | 1.1764 | 20 | 1.7212 | 1.5923 | 2.5293 | 1.4
21 | 1.684 | 1.4965 | 2.9703 | 1.2923 | 21 | 1.8676 | 1.812 | 2.2759 | 1.366 | 21 | 1.485 | 1.4065 | 2.0873 | 1.135 | 21 | 1.6322 | 1.5066 | 2.3199 | 1.3352
22 | 1.569 | 1.3996 | 2.6023 | 1.2322 | 22 | 1.7104 | 1.6474 | 2.0669 | 1.2927 | 22 | 1.3977 | 1.3122 | 1.8932 | 1.0743 | 22 | 1.5331 | 1.4136 | 2.1581 | 1.2994
23 | 1.5254 | 1.4048 | 2.299 | 1.2234 | 23 | 1.6056 | 1.5822 | 1.8356 | 1.288 | 23 | 1.3666 | 1.3265 | 1.7796 | 1.068 | 23 | 1.4888 | 1.4123 | 1.9636 | 1.2796
TAS Summer |  |  |  |  | TAS Winter |  |  |  |  | TAS Spring |  |  |  |  | TAS Autumn
Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025
0 | 0.93312 | 1.0052 | 1.0815 | 0.79432 | 0 | 1.1442 | 1.1159 | 1.3856 | 0.93482 | 0 | 1.0284 | 1.0209 | 1.2111 | 0.8162 | 0 | 0.99654 | 1.041 | 1.2172 | 0.85905
1 | 0.9233 | 0.99573 | 1.0668 | 0.72739 | 1 | 1.1248 | 1.096 | 1.3554 | 0.86924 | 1 | 1.017 | 1.0102 | 1.1943 | 0.78449 | 1 | 0.98301 | 1.0262 | 1.153 | 0.83487
2 | 0.92062 | 0.99272 | 1.042 | 0.7892 | 2 | 1.1216 | 1.0922 | 1.354 | 0.92011 | 2 | 1.0173 | 1.0096 | 1.1864 | 0.82856 | 2 | 0.97973 | 1.0217 | 1.1472 | 0.82456
3 | 0.92516 | 0.99779 | 1.0553 | 0.78702 | 3 | 1.1244 | 1.0948 | 1.3692 | 0.88227 | 3 | 1.0263 | 1.0183 | 1.1684 | 0.86045 | 3 | 0.98584 | 1.0255 | 1.1591 | 0.82855
4 | 0.94941 | 1.0249 | 1.086 | 0.78734 | 4 | 1.1409 | 1.1081 | 1.4116 | 0.89573 | 4 | 1.0531 | 1.0498 | 1.2377 | 0.85795 | 4 | 1.005 | 1.0478 | 1.1837 | 0.84194
5 | 0.99472 | 1.0782 | 1.1867 | 0.78789 | 5 | 1.1858 | 1.1589 | 1.5078 | 0.94963 | 5 | 1.1167 | 1.1225 | 1.3657 | 0.8707 | 5 | 1.0545 | 1.105 | 1.2884 | 0.89441
6 | 1.0338 | 1.1246 | 1.2861 | 0.84109 | 6 | 1.2863 | 1.264 | 1.6851 | 1.0346 | 6 | 1.1803 | 1.1987 | 1.4224 | 0.87445 | 6 | 1.141 | 1.1962 | 1.4374 | 0.91951
7 | 1.0214 | 1.1194 | 1.2785 | 0.8322 | 7 | 1.3902 | 1.3821 | 1.771 | 1.0856 | 7 | 1.1787 | 1.2153 | 1.4517 | 0.90407 | 7 | 1.1934 | 1.2514 | 1.5222 | 0.94447
8 | 0.98846 | 1.0954 | 1.212 | 0.78147 | 8 | 1.4088 | 1.4179 | 1.7699 | 1.1725 | 8 | 1.131 | 1.1778 | 1.4057 | 0.87066 | 8 | 1.1717 | 1.236 | 1.5218 | 0.89683
9 | 0.95355 | 1.0641 | 1.1398 | 0.73684 | 9 | 1.3574 | 1.3744 | 1.7058 | 1.1253 | 9 | 1.077 | 1.1227 | 1.3525 | 0.87478 | 9 | 1.1121 | 1.1854 | 1.4437 | 0.80873
10 | 0.92783 | 1.0394 | 1.1125 | 0.76591 | 10 | 1.2965 | 1.3119 | 1.6058 | 1.0486 | 10 | 1.0352 | 1.081 | 1.3559 | 0.81136 | 10 | 1.0608 | 1.1372 | 1.3762 | 0.79834
11 | 0.91195 | 1.0221 | 1.0796 | 0.73651 | 11 | 1.2445 | 1.2524 | 1.5342 | 0.96991 | 11 | 1.0086 | 1.0493 | 1.2756 | 0.80425 | 11 | 1.0195 | 1.097 | 1.2937 | 0.78552
12 | 0.90214 | 1.0084 | 1.0726 | 0.67233 | 12 | 1.2128 | 1.2186 | 1.4704 | 0.95592 | 12 | 0.99624 | 1.029 | 1.2769 | 0.77904 | 12 | 0.99807 | 1.0774 | 1.2292 | 0.78493
13 | 0.90388 | 1.0114 | 1.0711 | 0.69239 | 13 | 1.198 | 1.2011 | 1.4574 | 0.9443 | 13 | 0.99696 | 1.0251 | 1.2662 | 0.77901 | 13 | 0.99663 | 1.0723 | 1.2099 | 0.79379
14 | 0.91851 | 1.0242 | 1.0762 | 0.74779 | 14 | 1.2121 | 1.2137 | 1.4351 | 0.98992 | 14 | 1.0103 | 1.04 | 1.2772 | 0.78947 | 14 | 1.0122 | 1.0882 | 1.2257 | 0.80725
15 | 0.95758 | 1.0571 | 1.1492 | 0.77935 | 15 | 1.2474 | 1.2444 | 1.4883 | 1.0286 | 15 | 1.0476 | 1.0731 | 1.3502 | 0.79048 | 15 | 1.0521 | 1.1237 | 1.2731 | 0.85276
16 | 1.0179 | 1.1091 | 1.2137 | 0.84577 | 16 | 1.32 | 1.3187 | 1.641 | 1.0938 | 16 | 1.1173 | 1.1395 | 1.4355 | 0.83387 | 16 | 1.121 | 1.1947 | 1.3669 | 0.8683
17 | 1.0659 | 1.1517 | 1.246 | 0.90404 | 17 | 1.4165 | 1.4279 | 1.7433 | 1.1961 | 17 | 1.1935 | 1.2126 | 1.4556 | 0.92617 | 17 | 1.2085 | 1.2798 | 1.4841 | 0.98254
18 | 1.0836 | 1.1628 | 1.2691 | 0.90838 | 18 | 1.4317 | 1.4502 | 1.7187 | 1.2274 | 18 | 1.2375 | 1.25 | 1.4748 | 0.99907 | 18 | 1.2338 | 1.2976 | 1.482 | 1.0023
19 | 1.0837 | 1.1636 | 1.2529 | 0.9465 | 19 | 1.3944 | 1.4099 | 1.6674 | 1.0523 | 19 | 1.2367 | 1.2423 | 1.4537 | 1.0149 | 19 | 1.2066 | 1.2656 | 1.4654 | 1.0025
20 | 1.0693 | 1.1479 | 1.2505 | 0.95375 | 20 | 1.3617 | 1.3684 | 1.648 | 1.1498 | 20 | 1.2083 | 1.2076 | 1.4482 | 0.97203 | 20 | 1.1689 | 1.2272 | 1.4109 | 0.91745
21 | 1.0267 | 1.103 | 1.1621 | 0.90804 | 21 | 1.3121 | 1.3074 | 1.6119 | 1.0982 | 21 | 1.1561 | 1.1494 | 1.3808 | 0.92478 | 21 | 1.1236 | 1.1772 | 1.4414 | 0.89042
22 | 0.98175 | 1.0554 | 1.1082 | 0.84387 | 22 | 1.2412 | 1.2285 | 1.5364 | 1.0459 | 22 | 1.0948 | 1.0889 | 1.3291 | 0.85225 | 22 | 1.0711 | 1.1193 | 1.3816 | 0.87417
23 | 0.94954 | 1.0248 | 1.0822 | 0.8201 | 23 | 1.1768 | 1.1577 | 1.4455 | 0.98722 | 23 | 1.0497 | 1.045 | 1.2576 | 0.84869 | 23 | 1.0272 | 1.0713 | 1.2785 | 0.86731
VIC Summer |  |  |  |  | VIC Winter |  |  |  |  | VIC Spring |  |  |  |  | VIC Autumn
Time | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025 | Hour | Average FY2025 | Average FY2021-2024 | Maximum FY2025 | Minimum FY2025
0 | 4.3842 | 4.28 | 5.8802 | 3.6317 | 0 | 5.1315 | 4.9262 | 5.9548 | 3.7257 | 0 | 4.4148 | 4.3484 | 5.2992 | 3.7025 | 0 | 4.5661 | 4.4675 | 5.7774 | 3.6622
1 | 4.1571 | 4.0486 | 5.4166 | 3.4643 | 1 | 4.8129 | 4.6091 | 5.6141 | 3.5441 | 1 | 4.179 | 4.1 | 4.968 | 3.5168 | 1 | 4.3123 | 4.2011 | 5.3783 | 3.4972
2 | 4.0098 | 3.8858 | 5.2588 | 3.4173 | 2 | 4.5623 | 4.3381 | 5.3309 | 3.634 | 2 | 4.0106 | 3.9019 | 4.6572 | 3.4226 | 2 | 4.1229 | 4.0001 | 5.1034 | 3.4671
3 | 3.9829 | 3.8686 | 5.0991 | 3.4219 | 3 | 4.4619 | 4.2179 | 5.2046 | 3.565 | 3 | 3.9662 | 3.8511 | 4.6778 | 3.4053 | 3 | 4.0693 | 3.9391 | 5.0327 | 3.4642
4 | 4.1335 | 4.0131 | 5.3395 | 3.4904 | 4 | 4.5047 | 4.2439 | 5.4111 | 3.5393 | 4 | 4.0928 | 3.9812 | 5.0293 | 3.4291 | 4 | 4.1616 | 4.0223 | 5.2689 | 3.485
5 | 4.4225 | 4.3185 | 6.2122 | 3.355 | 5 | 4.8278 | 4.521 | 6.1038 | 3.5578 | 5 | 4.4378 | 4.3475 | 6.1558 | 3.528 | 5 | 4.4886 | 4.3313 | 5.9531 | 3.5488
6 | 4.5682 | 4.5762 | 6.5235 | 3.096 | 6 | 5.5707 | 5.1722 | 7.3456 | 3.7349 | 6 | 4.8128 | 4.7822 | 6.585 | 3.3653 | 6 | 5.0085 | 4.8711 | 7.299 | 3.6473
7 | 4.2961 | 4.4629 | 6.4763 | 2.5474 | 7 | 6.3308 | 5.8282 | 8.2414 | 3.9472 | 7 | 4.672 | 4.7527 | 6.47 | 2.7555 | 7 | 5.231 | 5.163 | 8.0324 | 3.5005
8 | 3.9936 | 4.2758 | 6.6436 | 2.0926 | 8 | 6.4697 | 6.1074 | 8.4086 | 3.7687 | 8 | 4.2603 | 4.5264 | 6.2998 | 2.3758 | 8 | 4.9585 | 5.0938 | 7.9593 | 3.2046
9 | 3.6506 | 4.0664 | 6.4375 | 1.8871 | 9 | 6.0515 | 5.8799 | 7.9392 | 3.4892 | 9 | 3.7869 | 4.1991 | 5.9372 | 1.7989 | 9 | 4.4494 | 4.7653 | 7.2739 | 2.5771
10 | 3.4595 | 3.936 | 6.7129 | 1.6659 | 10 | 5.4495 | 5.4515 | 7.4043 | 3.0259 | 10 | 3.4667 | 3.9633 | 5.657 | 1.6675 | 10 | 4.017 | 4.4344 | 6.3583 | 2.3277
11 | 3.4161 | 3.8925 | 7.1386 | 1.4741 | 11 | 5.0221 | 5.1327 | 7.2158 | 2.3988 | 11 | 3.2886 | 3.8161 | 5.7356 | 1.5424 | 11 | 3.7724 | 4.2418 | 6.2036 | 2.0686
12 | 3.4997 | 3.9316 | 7.3645 | 1.4001 | 12 | 4.823 | 4.9775 | 7.028 | 2.1681 | 12 | 3.2386 | 3.7497 | 5.9299 | 1.4911 | 12 | 3.7104 | 4.1767 | 6.4737 | 1.9305
13 | 3.6508 | 4.0446 | 7.8003 | 1.4692 | 13 | 4.8556 | 4.9795 | 7.1722 | 2.1493 | 13 | 3.3162 | 3.763 | 6.3883 | 1.5527 | 13 | 3.8122 | 4.2352 | 6.8921 | 1.9454
14 | 3.9885 | 4.2226 | 8.6611 | 1.6455 | 14 | 5.0373 | 5.0713 | 7.2985 | 2.3167 | 14 | 3.5316 | 3.8933 | 6.9434 | 1.8131 | 14 | 4.108 | 4.3993 | 7.7534 | 2.1549
15 | 4.4852 | 4.5624 | 9.0102 | 2.1525 | 15 | 5.4293 | 5.3558 | 7.6183 | 2.7041 | 15 | 3.9787 | 4.2255 | 7.2852 | 2.1575 | 15 | 4.6564 | 4.7379 | 8.0375 | 2.5926
16 | 5.0967 | 4.9842 | 9.8873 | 2.8161 | 16 | 6.1271 | 5.8931 | 8.0917 | 3.3748 | 16 | 4.6266 | 4.7141 | 7.7491 | 2.9782 | 16 | 5.3717 | 5.2425 | 8.4502 | 3.3876
17 | 5.5817 | 5.3339 | 9.8021 | 3.5311 | 17 | 6.8645 | 6.5551 | 8.551 | 4.502 | 17 | 5.2635 | 5.1949 | 7.7447 | 3.8384 | 17 | 5.9863 | 5.7346 | 8.509 | 4.0533
18 | 5.8796 | 5.4613 | 9.4905 | 4.1054 | 18 | 7.0997 | 6.7394 | 8.5345 | 5.139 | 18 | 5.6117 | 5.4363 | 7.7039 | 4.3694 | 18 | 6.1421 | 5.8766 | 8.476 | 4.6956
19 | 5.8063 | 5.3736 | 9.1756 | 4.296 | 19 | 6.8979 | 6.5016 | 8.3262 | 4.9916 | 19 | 5.5913 | 5.4002 | 7.494 | 4.4741 | 19 | 5.9046 | 5.6817 | 7.8851 | 4.4714
20 | 5.4975 | 5.1418 | 8.2596 | 4.2615 | 20 | 6.6036 | 6.1791 | 7.9046 | 4.8498 | 20 | 5.3304 | 5.132 | 7.0197 | 4.1794 | 20 | 5.5905 | 5.3814 | 7.5486 | 4.2581
21 | 5.0579 | 4.7752 | 7.4725 | 4.0689 | 21 | 6.1963 | 5.8009 | 7.4287 | 4.6004 | 21 | 4.9899 | 4.8006 | 6.2667 | 3.874 | 21 | 5.249 | 5.0573 | 7.1453 | 4.0114
22 | 4.7194 | 4.4971 | 6.4958 | 3.8666 | 22 | 5.6701 | 5.342 | 6.8256 | 4.3606 | 22 | 4.674 | 4.5124 | 5.8482 | 3.8258 | 22 | 4.9143 | 4.7491 | 6.416 | 3.7926
23 | 4.6943 | 4.5639 | 6.2771 | 3.8685 | 23 | 5.4744 | 5.2531 | 6.3389 | 4.273 | 23 | 4.6645 | 4.5874 | 5.546 | 3.8451 | 23 | 4.8734 | 4.7667 | 6.112 | 3.9213

## Interconnectors
Reliability and Security Report FY2025
Figures from the report
Average daily inter-regional flows
Slide: | 28
Quaterly inter-regional transfers (MW)
Interconnector | Quarter | Positive Flow | Negative Flow | Net Flow
NSW → QLD | Q3 24 | 73.7005 | -356.8019 | -283.1014
| Q4 24 | 129.3811 | -202.2024 | -72.8213
| Q1 25 | 134.5222 | -240.1841 | -105.6619
| Q2 25 | 52.0986 | -464.5272 | -412.4287
NSW → VIC | Q3 24 | 81.1258 | -431.9318 | -350.8059
| Q4 24 | 107.1974 | -381.7287 | -274.5313
| Q1 25 | 153.2134 | -263.6808 | -110.4674
| Q2 25 | 102.8802 | -341.7245 | -238.8444
VIC → SA | Q3 24 | 126.4792 | -174.3318 | -47.8527
| Q4 24 | 156.3582 | -115.6607 | 40.6975
| Q1 25 | 251.2295 | -61.287 | 189.9425
| Q2 25 | 229.2707 | -98.1956 | 131.0751
VIC → TAS | Q3 24 | 263.3855 | -74.4932 | 188.8923
| Q4 24 | 217.2612 | -82.4638 | 134.7974
| Q1 25 | 338.2825 | -29.3684 | 308.9141
| Q2 25 | 304.8698 | -63.2312 | 241.6386
Source: | AEMO, Quarterly Energy Dynamics (QED), July 2025

## Region Forecast Errors
Reliability and Security Report FY2025
Figures from the report
Load forecasting performance
Slide: | 30
Mean load forecasting errors for 1 hour, 4 hours, and 24 hours ahead (%)
| QLD |  |  | NSW |  |  | VIC |  |  | TAS |  |  | SA
| 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY2023-24 Average | 1.32% | 2.13% | 2.58% | 1.24% | 2.17% | 2.57% | 1.68% | 3.07% | 3.7% | 1.84% | 2.83% | 4.05% | 4.69% | 7.56% | 8.3%
FY2024-25 Average | 1.431% | 2.281% | 2.736% | 1.4% | 2.451% | 2.879% | 2.004% | 3.525% | 3.942% | 1.883% | 3.073% | 5.714% | 5.154% | 7.786% | 9.023%
Source: | Panel analysis of AEMO data

## AWEFS
Reliability and Security Report FY2025
Figures from the report
Comparison of FY2025 to FY2024 AWEFS mean errors for wind generation
Slide: | 31
Comparison of AWEFS performance across different forecasting intervals by region and financial year (Normalised mean absolute errors %)
Region | NSW |  |  |  | QLD |  |  |  | VIC |  |  |  | TAS |  |  |  | SA
Month | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY 2023-24 Average | 1.69% | 6.82% | 9.09% | 10.24% | 2.15% | 8.7% | 11.81% | 13.04% | 2.16% | 7.43% | 9.17% | 10.03% | 2.24% | 7.79% | 9.71% | 0.1044 | 0.0193 | 0.0753 | 0.1 | 0.1102
FY 2024-25 Average | 1.914% | 7.357% | 9.544% | 10.62% | 1.84% | 7.903% | 10.52% | 11.32% | 2.182% | 7.992% | 9.815% | 10.5% | 2.309% | 7.707% | 9.655% | 0.10687 | 0.020473 | 0.08065 | 0.10425 | 0.11503
Source: | Panel analysis of AEMO data

## ASEFS
Reliability and Security Report FY2025
Figures from the report
Comparison of FY2025 to FY2024 ASEFS mean errors for solar generation
Slide: | 32
Comparison of ASEFS performance across different forecasting intervals by region and financial year (Normalised mean absolute errors %)
| NSW |  |  |  | QLD |  |  |  | VIC |  |  |  | SA
| 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hrs ahead | 5-mins ahead | 1 hr ahead | 4 hrs ahead | 24 hrs ahead
FY2023-24 Average | 2.91% | 4.55% | 4.96% | 5.56% | 2.91% | 6.29% | 6.97% | 6.89% | 1.8% | 4.46% | 4.94% | 5.18% | 2.04% | 5.72% | 6.37% | 0.0693
FY2024-25 Average | 2.792% | 4.294% | 4.693% | 5.188% | 2.792% | 6.319% | 7.2% | 6.76% | 1.595% | 4.142% | 4.658% | 5.156% | 2.194% | 4.986% | 5.573% | 0.055324
Source: | Panel analysis of AEMO data

## Solar Forecasts
Reliability and Security Report FY2025
Figures from the report
Solar self-forecasts
Slide: | 33
Solar ANEMOS and self forecasts by region (Normalised mean absolute errors %)
NSW |  | QLD |  | SA |  | VIC
ASEFS | SF | ASEFS | SF | ASEFS | SF | ASEFS | SF
1.693% | 1.79% | 2.94% | 2.804% | 1.951% | 1.879% | 1.826% | 1.802%
Source: | Panel analysis of AEMO data

## Wind Forecasts
Reliability and Security Report FY2025
Figures from the report
Wind self-forecasts
Slide: | 33
Wind ANEMOS and self forecasts by region (Normalised mean absolute errors %)
NSW |  | QLD |  | TAS |  | SA |  | VIC
AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF | AWEFS | SF
1.844% | 1.771% | 2.088% | 1.997% | 2.754% | 2.576% | 2.216% | 2.043% | 2.431% | 2.267%
Source: | Panel analysis of AEMO data

## Max Demand
Reliability and Security Report FY2025
Figures from the report
ESOO maximum demand forecast POE 10 scenario
Slide: | 34
Global max POE 10 scenario by region and financial year (MW)
Year | NSW | QLD | SA | TAS | VIC
2026 | 14019.807 | 11120.41 | 3521.473 | 1840.217 | 10271.64
2027 | 14186.049 | 11214.49 | 3559.511 | 1866.819 | 10419.47
2028 | 14422.121 | 11331.89 | 3592.277 | 1884.022 | 10542.74
2029 | 14645.821 | 11503.95 | 3644.994 | 1905.014 | 10685.74
2030 | 14929.225 | 11694.31 | 3997.798 | 1926.277 | 10917.58
2031 | 15328.967 | 11980.35 | 4068.391 | 1945.57 | 11179.71
2032 | 15804.113 | 12414.26 | 4127.119 | 1961.667 | 11441.35
2033 | 16108.256 | 12735.61 | 4243.302 | 1967.191 | 11721.64
2034 | 16366.571 | 12945.39 | 4360.776 | 1969.452 | 11895.51
2035 | 16611.455 | 13164.31 | 4404.254 | 1969.616 | 12092.37
Source: | AEMO, 2025 Electricity Statement of Opportunities (ESOO), October 2025

## Min Demand
Reliability and Security Report FY2025
Figures from the report
ESOO minimum demand forecast POE 90 scenario
Slide: | 34
Global min POE 90 scenario by region and financial year (MW)
Year | NSW | QLD | SA | TAS | VIC
2026 | 1813.438 | 1661.12 | -417.863 | 709.721 | 730.4948
2027 | 1497.854 | 1388.432 | -468.161 | 720.5262 | 365.9861
2028 | 1192.977 | 1197.013 | -545.256 | 723.535 | -7.4853
2029 | 866.1646 | 1057.775 | -618.223 | 715.9255 | -391.278
2030 | 547.3255 | 895.7621 | -416.477 | 709.8585 | -690.398
2031 | 313.8206 | 806.6809 | -504.491 | 696.7871 | -902.447
2032 | 225.8722 | 884.1809 | -540.802 | 680.2628 | -1007.67
2033 | 179.736 | 891.7226 | -553.064 | 673.6437 | -1107.52
2034 | -90.7743 | 853.8521 | -526.32 | 659.1011 | -1197.8
2035 | -205.634 | 829.2589 | -613.628 | 643.7978 | -1453.69
Source: | AEMO, 2025 Electricity Statement of Opportunities (ESOO), October 2025

## LOR Quarterly
Reliability and Security Report FY2025
Figures from the report
LOR notices by quarter
Slide: | 36
Forecast vs. actual LOR notices by quarter
Financial Year | Quarter | Forecast LOR 1 | Actual LOR 1 | Forecast LOR 2 | Actual LOR 2 | Forecast LOR 3 | Actual LOR 3
FY20 | Q3 2019 | 10 | 0 | 7 | 0 | 0 | 0
| Q4 2019 | 5 | 4 | 4 | 1 | 0 | 0
| Q1 2020 | 7 | 5 | 0 | 7 | 0 | 0
| Q2 2020 | 1 | 0 | 0 | 0 | 0 | 0
FY21 | Q3 2020 | 28 | 16 | 21 | 4 | 0 | 0
| Q4 2020 | 29 | 7 | 18 | 1 | 0 | 0
| Q1 2021 | 15 | 9 | 8 | 2 | 2 | 0
| Q2 2021 | 24 | 28 | 18 | 2 | 1 | 0
FY22 | Q3 2021 | 28 | 16 | 21 | 4 | 0 | 0
| Q4 2021 | 29 | 7 | 18 | 1 | 0 | 0
| Q1 2022 | 15 | 9 | 8 | 2 | 2 | 0
| Q2 2022 | 144 | 37 | 142 | 18 | 65 | 0
FY23 | Q3 2022 | 89 | 52 | 110 | 1 | 1 | 0
| Q4 2022 | 45 | 3 | 21 | 0 | 0 | 0
| Q1 2023 | 19 | 24 | 18 | 4 | 0 | 0
| Q2 2023 | 37 | 25 | 24 | 1 | 1 | 0
FY24 | Q3 2023 | 26 | 6 | 15 | 0 | 0 | 0
| Q4 2023 | 18 | 13 | 21 | 2 | 0 | 0
| Q1 2024 | 31 | 15 | 28 | 0 | 0 | 1
| Q2 2024 | 38 | 9 | 18 | 0 | 0 | 0
FY25 | Q3 2024 | 23 | 6 | 5 | 0 | 0 | 0
| Q4 2024 | 61 | 18 | 54 | 2 | 9 | 0
| Q1 2025 | 14 | 17 | 15 | 3 | 0 | 0
| Q2 2025 | 37 | 12 | 17 | 0 | 3 | 0
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports, June 2025

## FUM
Reliability and Security Report FY2025
Figures from the report
Percentage of LOR declared set by the FUM by quarter
Slide: | 36
Percentage of LOR notices set by the FUM by quarter (%)
Financial Year | Reporting Period | % set by the FUM
FY20 | Q3 2019 | 0.29
FY20 | Q4 2019 | 0.21
FY20 | Q1 2020 | 0.11
FY20 | Q2 2020 | 0
FY21 | Q3 2020 | 0.09
FY21 | Q4 2020 | 0.18
FY21 | Q1 2021 | 0
FY21 | Q2 2021 | 0.23
FY22 | Q3 2021 | 0.2
FY22 | Q4 2021 | 0.16
FY22 | Q1 2022 | 0.25
FY22 | Q2 2022 | 0.22
FY23 | Q3 2022 | 0.36
FY23 | Q4 2022 | 0.22
FY23 | Q1 2023 | 0.17
FY23 | Q2 2023 | 0.22
FY24 | Q3 2023 | 0.28
FY24 | Q4 2023 | 0.4
FY24 | Q1 2024 | 0.33
FY24 | Q2 2024 | 0.28
FY25 | Q3 2024 | 0.09
FY25 | Q4 2024 | 0.33
FY25 | Q1 2025 | 0.27
FY25 | Q2 2025 | 0.19
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports, June 2025

## Forecast LOR
Reliability and Security Report FY2025
Figures from the report
Forecast LOR notices by region
Slide: | 37
Forecast LOR notices by region and financial year
Region | Financial year | LOR1 | LOR2 | LOR3
NSW | 2019 | 5 | 10 | 0
NSW | 2020 | 18 | 7 | 0
NSW | 2021 | 18 | 20 | 0
NSW | 2022 | 34 | 26 | 1
NSW | 2023 | 31 | 25 | 0
NSW | 2024 | 66 | 49 | 0
NSW | 2025 | 61 | 46 | 9
VIC | 2019 | 2 | 4 | 0
VIC | 2020 | 12 | 8 | 0
VIC | 2021 | 1 | 0 | 0
VIC | 2022 | 9 | 4 | 0
VIC | 2023 | 10 | 4 | 0
VIC | 2024 | 1 | 1 | 0
VIC | 2025 | 11 | 3 | 0
QLD | 2019 | 3 | 4 | 0
QLD | 2020 | 2 | 0 | 0
QLD | 2021 | 18 | 8 | 1
QLD | 2022 | 52 | 34 | 5
QLD | 2023 | 49 | 70 | 0
QLD | 2024 | 17 | 17 | 0
QLD | 2025 | 28 | 27 | 0
SA | 2019 | 4 | 5 | 1
SA | 2020 | 3 | 0 | 0
SA | 2021 | 4 | 1 | 0
SA | 2022 | 55 | 34 | 4
SA | 2023 | 78 | 72 | 2
SA | 2024 | 29 | 15 | 0
SA | 2025 | 26 | 14 | 3
TAS | 2019 | 0 | 0 | 0
TAS | 2020 | 5 | 2 | 0
TAS | 2021 | 5 | 0 | 0
TAS | 2022 | 12 | 5 | 0
TAS | 2023 | 22 | 2 | 0
TAS | 2024 | 0 | 0 | 0
TAS | 2025 | 9 | 1 | 0
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports, June 2025

## Actual LOR
Reliability and Security Report FY2025
Figures from the report
Actual LOR notices by region
Slide: | 37
Actual LOR notices by region and financial year
Region | Financial year | LOR1 | LOR2 | LOR3
NSW | 2019 | 6 | 0 | 0
NSW | 2020 | 5 | 4 | 0
NSW | 2021 | 39 | 2 | 0
NSW | 2022 | 26 | 6 | 0
NSW | 2023 | 38 | 3 | 0
NSW | 2024 | 25 | 1 | 0
NSW | 2025 | 39 | 3 | 0
VIC | 2019 | 4 | 2 | 2
VIC | 2020 | 1 | 4 | 0
VIC | 2021 | 2 | 0 | 0
VIC | 2022 | 0 | 0 | 0
VIC | 2023 | 1 | 0 | 0
VIC | 2024 | 0 | 0 | 1
VIC | 2025 | 0 | 0 | 0
QLD | 2019 | 1 | 0 | 0
QLD | 2020 | 1 | 0 | 0
QLD | 2021 | 3 | 1 | 0
QLD | 2022 | 25 | 9 | 0
QLD | 2023 | 48 | 3 | 0
QLD | 2024 | 13 | 0 | 0
QLD | 2025 | 10 | 1 | 0
SA | 2019 | 0 | 1 | 0
SA | 2020 | 1 | 1 | 0
SA | 2021 | 2 | 2 | 0
SA | 2022 | 3 | 0 | 0
SA | 2023 | 16 | 0 | 0
SA | 2024 | 4 | 1 | 0
SA | 2025 | 4 | 1 | 0
TAS | 2019 | 0 | 0 | 0
TAS | 2020 | 0 | 0 | 0
TAS | 2021 | 2 | 0 | 0
TAS | 2022 | 1 | 0 | 0
TAS | 2023 | 1 | 0 | 0
TAS | 2024 | 1 | 0 | 0
TAS | 2025 | 0 | 0 | 0
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports, June 2025

## MSL
Reliability and Security Report FY2025
Figures from the report
MSL
Slide: | 38
MSL notices by quarter
|  | FY2024 |  |  |  | FY2025 |  |  |  | FY2026
|  | Q3 2023 | Q4 2023 | Q1 2024 | Q2 2024 | Q3 2024 | Q4 2024 | Q1 2025 | Q2 2025 | Q3 2025 | Q4 2025 | Q1 2026
MSL1 | Forecast | 0 | 1 | 0 | 0 | 1 | 10 | 1 | 0 | 0 | 20 | 10
| Actual | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 0 | 20 | 10
MSL2 | Forecast | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4 | 2
| Actual | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 3
MSL3 | Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Actual | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 1 | 0 | 0 | 2 | 15 | 2 | 0 | 0 | 50 | 25
Source: | AEMO, NEM Lack of Reserve Framework Quarterly Reports, June 2025

## RERT Costs
Reliability and Security Report FY2025
Figures from the report
RERT costs
Slide: | 39
RERT costs by type and financial year ($m AUD)
| 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Availability | 27.03 | 0 | 2.09 | 0 | 0 | 0 | 4.2527 | 20.2911
Pre-activation | 21.56 | 12.02 | 14.32 | 0.103 | 34.8944 | 1.3885 | 0 | 2.581
Activation | 3.23 | 18.855 | 18.87 | 0.527 | 83.972 | 0.66728 | 0 | 1.0089
Intervention | 0.17 | 3.574 | 5.29 | 0.0317 | 11.2126 | 0.0078903 | 0 | 0
Source: | 2017-18: AEMO, Reliability and Emergency Reserve Trader (RERT) End of Financial Year 2024-25 Report

## Reliability Directions
Reliability and Security Report FY2025
Figures from the report
Number of reliability directions and RERT issued by AEMO
Slide: | 39
Number of reliabililty directions and RERT by region and financial year
Financial year | QLD | NSW | VIC | SA | TAS | Total
2020-21 | 1 | 1 | 0 | 0 | 0 | 2
2021-22 | 51 | 62 | 46 | 34 | 2 | 195
2022-23 | 8 | 1 | 0 | 0 | 0 | 9
2023-24 | 3 | 0 | 0 | 0 | 0 | 3
2024-25 | 0 | 7 | 0 | 0 | 0 | 6
Source: | Panel analysis of AEMO data

## Wind Capacity Factors
Reliability and Security Report FY2025
Figures from the report
Average quarterly volume weighted wind available capacity factors
Slide: | 40
Average quarterly volume weighted wind available capacity factors averaged by region (%)
| NSW | QLD | SA | TAS | VIC | NEM
Q3 22 | 0.35505 | 0.35029 | 0.39217 | 0.35233 | 0.35101 | 0.36017
Q4 22 | 0.33419 | 0.34727 | 0.36419 | 0.34649 | 0.30724 | 0.33988
Q1 23 | 0.30722 | 0.31013 | 0.32326 | 0.3187 | 0.28942 | 0.30975
Q2 23 | 0.32096 | 0.37126 | 0.34175 | 0.42504 | 0.34278 | 0.36036
Q3 23 | 0.29102 | 0.37351 | 0.33026 | 0.47667 | 0.35914 | 0.36612
Q4 23 | 0.30559 | 0.32372 | 0.35155 | 0.32446 | 0.34447 | 0.32996
Q1 24 | 0.29261 | 0.30555 | 0.31987 | 0.34841 | 0.28164 | 0.30962
Q2 24 | 0.23973 | 0.33313 | 0.2586 | 0.29515 | 0.22919 | 0.27116
Q3 24 | 0.34887 | 0.36296 | 0.42146 | 0.47102 | 0.40136 | 0.40113
Q4 24 | 0.27755 | 0.33955 | 0.31958 | 0.41038 | 0.30359 | 0.33013
Q1 25 | 0.33482 | 0.31994 | 0.33789 | 0.30443 | 0.31148 | 0.32171
Q2 25 | 0.28416 | 0.33584 | 0.29441 | 0.31296 | 0.29794 | 0.30506
Lowest quarter in FY25 | 0.28416 | 0.31994 | 0.29441 | 0.30443 | 0.29794 | 0.30506
Lowest quarter across 3-year period | 0.23973 | 0.30555 | 0.2586 | 0.29515 | 0.22919 | 0.27116
FY25 average | 0.31135 | 0.33957 | 0.34334 | 0.3747 | 0.32859 | 0.33951
FY23-25 average | 0.30765 | 0.33943 | 0.33792 | 0.3655 | 0.31827 | 0.33375
Source: | AEMO, Quarterly Energy Dynamics Q2 2025, July 2025

## Solar Capacity Factors
Reliability and Security Report FY2025
Figures from the report
Average quarterly volume weighted solar available capacity factors
Slide: | 40
Average quarterly volume weighted solar available capacity factors averaged by region (%)
| NSW | QLD | SA | VIC | NEM
Q3 22 | 0.18463 | 0.22358 | 0.20225 | 0.179 | 0.19737
Q4 22 | 0.30699 | 0.28089 | 0.30394 | 0.26184 | 0.28842
Q1 23 | 0.33398 | 0.24869 | 0.31535 | 0.32799 | 0.3065
Q2 23 | 0.17056 | 0.21565 | 0.16001 | 0.18045 | 0.18167
Q3 23 | 0.22699 | 0.24127 | 0.20254 | 0.2221 | 0.22322
Q4 23 | 0.32402 | 0.29927 | 0.31279 | 0.31707 | 0.31329
Q1 24 | 0.31906 | 0.25046 | 0.3329 | 0.33511 | 0.30938
Q2 24 | 0.18192 | 0.2008 | 0.18203 | 0.16825 | 0.18325
Q3 24 | 0.1951 | 0.23996 | 0.21051 | 0.17099 | 0.20414
Q4 24 | 0.33104 | 0.30029 | 0.31856 | 0.32598 | 0.31897
Q1 25 | 0.31434 | 0.27268 | 0.34325 | 0.33049 | 0.31519
Q2 25 | 0.17995 | 0.21295 | 0.19458 | 0.16919 | 0.18917
Lowest quarter in FY25 | 0.17995 | 0.21295 | 0.19458 | 0.16919 | 0.18917
Lowest quarter in 3-year period | 0.17056 | 0.2008 | 0.16001 | 0.16825 | 0.18325
FY25 average | 0.25511 | 0.25647 | 0.26673 | 0.24916 | 0.25687
FY23-25 average | 0.24917 | 0.24244 | 0.25107 | 0.24045 | 0.24578
Source: | AEMO, Quarterly Energy Dynamics Q2 2025, July 2025

## VWAP
Reliability and Security Report FY2025
Figures from the report
Wholesale volume weighted average price (VWAP) by region
Slide: | 42
Wholesale volume weighted average price by region and financial year ($/MWh)
FY | NSW | QLD | SA | TAS | VIC
2017-18 | 84.6385 | 74.651 | 108.8088 | 87.6347 | 99.3236
2018-19 | 92.4311 | 83.0992 | 128.3573 | 88.4455 | 123.8183
2019-20 | 79.0499 | 55.9797 | 73.1163 | 55.4819 | 84.354
2020-21 | 72.417 | 66.6476 | 53.1015 | 44.6448 | 50.6428
2021-22 | 144.2241 | 178.709 | 125.7242 | 89.7769 | 103.7236
2022-23 | 157.4588 | 157.5693 | 150.3376 | 116.9897 | 114.2224
2023-24 | 113.9403 | 100.9803 | 102.3264 | 71.2196 | 76.9981
2024-25 | 149.4918 | 124.805 | 140.4242 | 114.9376 | 109.3458
Source: | Panel analysis of AEMO MMS data

## NSW Price
Reliability and Security Report FY2025
Figures from the report
New South Wales monthly average dispatch price
Slide: | 43
NSW monthly average dispatch price by financial year ($/MWh)
Month | 2022 | 2023 | 2024 | 2025
Jul. | 136.0058 | 383.9127 | 90.3602 | 138.6934
Aug. | 64.5375 | 155.3262 | 102.2777 | 209.5505
Sep. | 52.1063 | 161.0729 | 72.8223 | 66.6246
Oct. | 60.004 | 157.7509 | 47.6833 | 85.9686
Nov. | 65.9844 | 118.4828 | 93.5074 | 258.807
Dec. | 70.3494 | 86.7669 | 75.6141 | 160.4204
Jan. | 79.1458 | 98.2068 | 92.6445 | 91.8211
Feb. | 85.5377 | 93.9013 | 137.8277 | 100.4162
Mar. | 102.2268 | 128.0022 | 74.6021 | 99.2266
Apr. | 192.8423 | 116.6276 | 95.2859 | 112.7517
May | 333.313 | 210.8591 | 297.7557 | 131.9209
Jun. | 410.5654 | 112.4913 | 162.4382 | 297.2332
Source: | Panel analysis of AEMO MMS data

## QLD Price
Reliability and Security Report FY2025
Figures from the report
Queensland monthly average dispatch price
Slide: | 43
QLD monthly average dispatch price by financial year ($/MWh)
Month | 2022 | 2023 | 2024 | 2025
Jul. | 151.3762 | 429.955 | 84.6632 | 132.2741
Aug. | 58.3522 | 144.2102 | 77.4441 | 147.7592
Sep. | 56.4691 | 165.8093 | 59.6062 | 58.264
Oct. | 74.8223 | 161.9415 | 44.8039 | 81.4222
Nov. | 105.2413 | 130.8825 | 80.3193 | 209.1576
Dec. | 149.3009 | 92.6807 | 107.1476 | 149.8028
Jan. | 153.8074 | 107.4104 | 192.9785 | 139.1854
Feb. | 192.0268 | 94.7633 | 135.9786 | 80.3955
Mar. | 170.8041 | 138.3045 | 78.4841 | 83.2443
Apr. | 233.8402 | 119.0401 | 90.5266 | 106.7599
May | 365.1829 | 183.7841 | 99.7109 | 102.0311
Jun. | 431.3828 | 112.4957 | 136.1561 | 196.6234
Source: | Panel analysis of AEMO MMS data

## SA Price
Reliability and Security Report FY2025
Figures from the report
South Australia monthly average dispatch price
Slide: | 44
SA monthly average dispatch price by financial year ($/MWh)
Month | 2022 | 2023 | 2024 | 2025
Jul. | 98.7257 | 397.0576 | 82.5907 | 277.9567
Aug. | 53.0011 | 187.695 | 190.2905 | 188.3502
Sep. | 29.5467 | 165.6629 | 62.3829 | 111.5087
Oct. | 27.0392 | 112.2861 | 29.0097 | 63.7108
Nov. | 47.1944 | 74.2293 | 68.8518 | 83.6918
Dec. | 105.8271 | 54.7101 | 63.215 | 94.2004
Jan. | 110.275 | 75.451 | 52.9797 | 70.0194
Feb. | 63.6838 | 146.7446 | 107.3773 | 146.0268
Mar. | 80.1931 | 77.808 | 90.4963 | 78.6034
Apr. | 165.2573 | 97.8688 | 105.0308 | 101.4782
May | 334.8815 | 207.894 | 145.396 | 93.4709
Jun. | 319.4744 | 95.4475 | 183.9081 | 278.0954
Source: | Panel analysis of AEMO MMS data

## VIC Price
Reliability and Security Report FY2025
Figures from the report
Victoria monthly average dispatch price
Slide: | 44
VIC monthly average dispatch price by financial year ($/MWh)
Month | 2022 | 2023 | 2024 | 2025
Jul. | 99.753 | 360.4731 | 62.1954 | 159.9393
Aug. | 52.6156 | 130.4969 | 73.5505 | 177.4036
Sep. | 32.7913 | 121.3723 | 36.148 | 24.6062
Oct. | 22.2695 | 107.6897 | 23.2835 | 31.5058
Nov. | 38.337 | 64.3735 | 42.7332 | 75.6644
Dec. | 37.6606 | 37.7346 | 36.1823 | 66.472
Jan. | 73.1115 | 55.7143 | 30.2999 | 61.0715
Feb. | 58.1755 | 68.608 | 117.59 | 86.8358
Mar. | 58.9446 | 67.562 | 61.7244 | 69.5477
Apr. | 149.1146 | 90.4906 | 90.9744 | 81.8531
May | 243.5224 | 134.0374 | 140.8295 | 86.4645
Jun. | 311.9651 | 62.1399 | 174.4183 | 305.8581
Source: | Panel analysis of AEMO MMS data

## TAS Price
Reliability and Security Report FY2025
Figures from the report
Tasmania monthly average dispatch price
Slide: | 45
TAS monthly average dispatch price by financial year ($/MWh)
Month | 2022 | 2023 | 2024 | 2025
Jul. | 38.8902 | 326.8964 | 25.0384 | 187.1486
Aug. | 22.6303 | 156.0287 | 38.8423 | 136.4413
Sep. | 17.7444 | 136.0468 | 28.313 | 24.6075
Oct. | 10.3259 | 124.2838 | 38.6405 | 51.3346
Nov. | 32.3445 | 108.2199 | 60.7697 | 97.468
Dec. | 50.0437 | 76.6498 | 52.9132 | 78.4465
Jan. | 62.9602 | 87.409 | 50.5977 | 114.1602
Feb. | 73.1635 | 82.4454 | 85.3049 | 123.2468
Mar. | 75.8106 | 73.2709 | 71.0161 | 101.4007
Apr. | 143.8797 | 70.4199 | 73.8811 | 102.1709
May | 222.0356 | 83.8374 | 143.0537 | 105.7393
Jun. | 304.7581 | 40.3824 | 181.7588 | 233.0963
Source: | Panel analysis of AEMO MMS data

## MPF
Reliability and Security Report FY2025
Figures from the report
Market price floor events by region
Slide: | 46
Market price floor events by region and financial year
| NSW | QLD | SA | TAS | VIC
2017-18 | 0 | 10 | 7 | 0 | 3
2018-19 | 0 | 11 | 0 | 0 | 7
2019-20 | 1 | 21 | 19 | 0 | 1
2020-21 | 3 | 131 | 119 | 0 | 10
2021-22 | 6 | 94 | 70 | 0 | 6
2022-23 | 0 | 1 | 24 | 0 | 0
2023-24 | 0 | 0 | 3 | 0 | 0
2024-25 | 0 | 0 | 0 | 0 | 4
Source: | Panel analysis of AEMO MMS data

## MPC
Reliability and Security Report FY2025
Figures from the report
Market price cap events by region
Slide: | 46
Market price cap events by region and financial year
| NSW | QLD | SA | TAS | VIC
2017-18 | 3 | 1 | 26 | 2 | 0
2018-19 | 0 | 1 | 49 | 13 | 36
2019-20 | 28 | 0 | 23 | 4 | 35
2020-21 | 19 | 39 | 10 | 6 | 2
2021-22 | 18 | 53 | 13 | 25 | 1
2022-23 | 6 | 20 | 11 | 7 | 0
2023-24 | 5 | 2 | 19 | 19 | 24
2024-25 | 21 | 2 | 8 | 2 | 3
Source: | Panel analysis of AEMO MMS data

## Pricing Periods
Reliability and Security Report FY2025
Figures from the report
Negative pricing periods by region
Slide: | 47
Proportion of intervals in which there is a negative price by region and financial year (%)
| NSW | QLD | SA | TAS | VIC | Total NEM
2017-18 | 0.001903% | 0.09037% | 0.664% | 0.9294% | 0.03805% | 0.3447%
2018-19 | 0.001903% | 0.08276% | 1.288% | 3.08% | 0.4043% | 0.9715%
2019-20 | 0.07969% | 2.074% | 4.873% | 2.932% | 1.794% | 2.351%
2020-21 | 0.2264% | 3.646% | 9.838% | 4.052% | 5.904% | 4.733%
2021-22 | 2.545% | 4.652% | 18.48% | 10.3% | 14.77% | 10.15%
2022-23 | 4.136% | 7.345% | 22.95% | 2.645% | 18.67% | 11.15%
2023-24 | 6.659% | 15.03% | 22.79% | 5.997% | 19.86% | 14.07%
2024-25 | 10.81% | 17.14% | 28.2% | 5.771% | 22.98% | 16.98%
Source: | Panel analysis of AEMO MMS data

## Price Curve
Reliability and Security Report FY2025
Figures from the report
Average price duration curve
Slide: | 47
Spot prices according to frequency by financial year ($/MWh)
Note: The data inputs for the average price duration curve chart is too large to be provided within this booklet.
If you wish to request for this data please reach out to the AEMC via the contact information provided on Slide 2 of the FY2025 RASR final report.
Source: | Panel analysis of AEMO MMS data

## SAIDI
Reliability and Security Report FY2025
Figures from the report
System average interruption duration index (SAIDI)
Slide: | 49
Weighted average outage duration for customers by financial year (mins)
Financial Year | 2005-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24 | 2024-25
Weighted Average | 145.9644 | 129.29 | 127.4893 | 143.2147 | 128.6627 | 126.2077 | 120.3687 | 118.431 | 118.1009 | 117.7258 | 118.6728 | 107.2356 | 110.2745 | 118.627 | 119.2867 | 105.9104 | 120.1691 | 112.5898 | 115 | 129.4976
Source: | 2005-06: AER, Operational Performance Data 2025, December 2025; AER, Annual Information Order, January 2026

## SAIFI
Reliability and Security Report FY2025
Figures from the report
System average interruption frequency index (SAIFI)
Slide: | 49
Weighted average number of outages per customer
Financial Year | 2005-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24 | 2024-25
Weighted Average | 1.77 | 1.55 | 1.52 | 1.63 | 1.51 | 1.37 | 1.31 | 1.28 | 1.26 | 1.21 | 1.17 | 1.1 | 1.1 | 1.13 | 1.09 | 0.98 | 1.01 | 0.95 | 0.97 | 1.0086
Source: | 2005-06: AER, Operational Performance Data 2025, December 2025; AER, Annual Information Order, January 2026

## Supply Interruptions
Reliability and Security Report FY2025
Figures from the report
Sources of supply interruptions
Slide: | 50
Energy not supplied by interruption type and financial year (GWh)
Financial Year | Distribution | Transmission | Security | Reliability
2010-11 | 111.2362 | 1.5098 | 2.3911 | 0
11-12 | 47.8625 | 0.79243 | 0.92895 | 0
12-13 | 69.4497 | 0.57585 | 0.37145 | 0
13-14 | 56.5689 | 0.64305 | 0.049233 | 0
14-15 | 94.3428 | 0.53064 | 3.0588 | 0
15-16 | 53.2534 | 1.4142 | 0.7317 | 0
16-17 | 65.6456 | 2.0185 | 17.7551 | 0.045
17-18 | 46.1698 | 0.42964 | 0.23922 | 0
18-19 | 58.5227 | 0.18675 | 0.61251 | 0.89067
19-20 | 64.1777 | 1.6455 | 4.474 | 0
20-21 | 61.9455 | 0.27357 | 6.2175 | 0
21-22 | 68.8194 | 0.71447 | 0.29257 | 0
22-23 | 60.7682 | 0.44077 | 1.103 | 0
2023-2024 | 95.2411 | 0.7712 | 2.3419 | 0
2024-2025 | 122.417 | 5.2458 | 0.60459 | 0
Source: | Panel analysis and estimates based on AEMO’s incident operating reports, July 2025
AER’s Annual Information Order spreadsheets
Transmission Network Service Provider (TNSP) data

## Aggregate Interruptions
Reliability and Security Report FY2025
Figures from the report
Proportion of energy supply interruptions by cause
Slide: | 50
Proportion of energy supply interruptions by cause, averaged across FY2011-FY2025 (%)
Period | Distribution | Transmission | Security | Reliability
FY2011 - FY2025 | 0.94779 | 0.015138 | 0.036251 | 0.00082385
Source: | Panel analysis and estimates based on AEMO’s incident operating reports, July 2025
AER’s Annual Information Order spreadsheets
Transmission Network Service Provider (TNSP) data

## NEMDE Constraints
Reliability and Security Report FY2025
Figures from the report
Total number of constraints by financial year
Slide: | 51
The number of constraint equations, sets and functions within NEMDE by financial year
| 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24 | 2024-25
Constraint Equations | 9745 | 9935 | 10303 | 11231 | 11660 | 11578 | 11467 | 12348 | 13127 | 14297 | 15160 | 14695 | 15385 | 16234
Constraint Sets | 3597 | 3410 | 3424 | 3630 | 3778 | 3917 | 4036 | 4390 | 4603 | 4973 | 5498 | 5703 | 5786 | 6139
Constraint Functions | 401 | 366 | 359 | 364 | 373 | 387 | 505 | 585 | 588 | 641 | 638 | 647 | 619 | 665
Source: | 11-12: Panel Analysis of AEMO data.

## Binding Hours
Reliability and Security Report FY2025
Figures from the report
Total number of constraints by financial year
Slide: | 51
The binding hours of constraints within NEMDE by financial year
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Commissioning | 10389.25 | 7565 | 10437.3333 | 8298.6667 | 10841.3333 | 10938.6667 | 7197
Outage | 9302.6667 | 13833.9167 | 13369.5 | 29818.1667 | 18765 | 14414.6667 | 19697
System Normal | 8902 | 12236.5 | 17536.9167 | 19035.9167 | 22704.3333 | 21466.8333 | 23887
Source: | Panel Analysis of AEMO data.

## Operating Incidents
Reliability and security report FY2025
Figures from the report
Reviewable operating incidents, by financial year
Slide: | 54
Number of reviewable operating incidents by type and financial year
Event Description | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Transmission related incidents (excluding busbar trips) | 8 | 9 | 12 | 12 | 8 | 13 | 10
Generation related incidents | 0 | 2 | 1 | 0 | 2 | 3 | 2
Combined transmission/generation incidents | 0 | 10 | 5 | 3 | 2 | 1 | 1
Busbar related reviewable incidents | 3 | 7 | 9 | 10 | 5 | 7 | 6
Power system security related** | 4 | 3 | 0 | 1 | 2 | 0 | 2
Other |  |  | 2 | 5 | 1 | 0 | 1
Total | 15 | 31 | 29 | 31 | 20 | 24 | 22
Source: | Panel analysis of AEMO data.

## Reclassifications
Reliability and security report FY2025
Figures from the report
Number of reclassification events by category
Slide: | 55
The number of reclassifications by category and reporting period
Criteria | 01/11/2018 to 30/04/2019 | 01/05/2019 to 31/10/2019 | 01/11/2019 to 30/04/2020 | 01/05/2020 to 31/10/2020 | 01/11/2020 to 30/04/2021 | 01/05/2021 to 31/10/2021 | 01/11/2021 to 30/04/2022 | 01/05/2022 to 31/10/2022 | 01/11/2022 to 30/04/2023 | 01/05/2023 to 31/10/2023 | 01/11/2023 to 30/04/2024 | Winter 2024 | Summer 2024-2025
Bushfires | 18 | 2 | 32 | 0 | 2 | 0 | 0 | 0 | 6 | 3 | 11 | 01/05/2024 to 31/10/2024 | 01/11/24 - 30/04/25
Lightning | 610 | 153 | 776 | 300 | 679 | 338 | 527 | 182 | 581 | 146 | 779 | 2 | 3
Specific risks relating to plant operation | - | - | - | - | - | - | - | - | 10 | 10 | 18 | 209 | 1108
Severe wind | - | - | 11 | 18 | 12 | 24 | 15 | 19 | 13 | 19 | 16 | 10 | 4
Geomagnetic disturbances | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 17 | 9
Floods | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 4 | 1
Widespread pollutants | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 0 | 0
Landslides | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 0 | 0
Sudden or unexpected changes to solar generation | - | - | - | - | - | - | - |  | 1 | 0 | 0 | 0 | 0
Earthquakes and tsunamis | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 0 | 0
Large scale social unrest | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 0 | 0
Cyber attack | - | - | - | - | - | - | - |  | 0 | 0 | 0 | 0 | 0
Other | 18 | 32 | 1 | 15 | 13 | 11 | 21 | 16 | - | - | - | 0 | 0
[12 empty] | - | -
Source: | AEMO, Reclassification Reports

## Reclassifications Regional
Reliability and security report FY2025
Figures from the report
Reclassification events in the NEM
Slide: | 55
The number of reclassification events by region
Region | NSW | QLD | SA | TAS | VIC | Multiple | Total
Reclassification Events | 301 | 713 | 23 | 206 | 118 | 6 | 1367
Source: | AEMO, Reclassification Reports

## Scheduling Errors
Reliability and security report FY2025
Figures from the report
Causes of scheduling errors by financial year
Slide: | 56
Number of scheduling errors by type and financial year
Event | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Constraint | 6 | 1 | 4 | 1 | 6 | 4 | 1
Demand | 0 | 1 | 0 | 0 | 0 | 0 | 3
IT | 2 | 7 | 3 | 0 | 4 | 3 | 3
SCADA | 1 | 12 | 4 | 1 | 4 | 1 | 2
Total* | 7 | 20 | 10 | 2 | 13 | 8 | 8
Source: | AEMO, Scheduling Error Reports

## Frequency Distribution
Reliability and security report FY2025
Figures from the report
Monthly mainland frequency distribution
Slide: | 58
Monthly mainland frequency distribution since 2007
Notes: Taken directly as a screen capture from the source.
Source: | AEMO, Frequency Monitoring - Quarter 2 2025, August 2025.
Monthly mainland frequency distribution

## NOFB Mainland
Reliability and security report FY2025
Figures from the report
Average time spent within the NOFB by month
Slide: | 58
Mainland average time spent within the normal operating frequency band (NOFB) by month and financial year (%)
Month | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Jul | 0.99382 | 0.99624 | 0.9977 | 0.99997 | 1 | 1 | 1
Aug | 0.99413 | 0.99364 | 0.9967 | 0.99998 | 1 | 0.99999 | 0.99999
Sep | 0.99192 | 0.99423 | 0.9945 | 1 | 1 | 1 | 1
Oct | 0.9919 | 0.99155 | 0.9989 | 1 | 1 | 1 | 1
Nov | 0.98879 | 0.99094 | 0.9997 | 1 | 0.99993 | 1 | 0.99987
Dec | 0.99312 | 0.99647 | 0.9998 | 0.99999 | 0.99998 | 0.99999 | 0.99997
Jan | 0.98836 | 0.99368 | 0.9999 | 1 | 0.99999 | 0.99994 | 0.99997
Feb | 0.98492 | 0.99659 | 1 | 1 | 1 | 0.99971 | 1
Mar | 0.98652 | 0.99502 | 1 | 1 | 0.99996 | 1 | 0.99995
Apr | 0.99316 | 0.9947 | 1 | 0.99995 | 1 | 0.99995 | 0.99999
May | 0.99514 | 0.9962 | 1 | 0.99996 | 1 | 1 | 1
Jun | 0.99613 | 0.99761 | 0.9999 | 0.99954 | 1 | 1 | 0.99999
Source: | Panel analysis of AEMO data.

## NOFB Tasmania
Reliability and security report FY2025
Figures from the report
Average time spent within the NOFB by month
Slide: | 58
Tasmania average time spent within the normal operating frequency band (NOFB) by month and financial year (%)
Month | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Jul | 0.98559 | 0.98685 | 0.9918 | 0.9968 | 0.99441 | 0.99786 | 0.99678
Aug | 0.98605 | 0.97517 | 0.989 | 0.998 | 0.98596 | 0.99741 | 0.99617
Sep | 0.98332 | 0.9833 | 0.9783 | 0.9975 | 0.99222 | 0.99766 | 0.99645
Oct | 0.98302 | 0.9854 | 0.9845 | 0.9925 | 0.99726 | 0.99499 | 0.99476
Nov | 0.98262 | 0.98179 | 0.9936 | 0.9981 | 0.99837 | 0.99562 | 0.99415
Dec | 0.98576 | 0.98971 | 0.9966 | 0.9974 | 0.99751 | 0.99336 | 0.99408
Jan | 0.98083 | 0.98815 | 0.9968 | 0.9979 | 0.99657 | 0.99421 | 0.99716
Feb | 0.98043 | 0.98929 | 0.9957 | 0.9984 | 0.9952 | 0.99047 | 0.99632
Mar | 0.9811 | 0.98862 | 0.9967 | 0.9956 | 0.99486 | 0.99343 | 0.99552
Apr | 0.98106 | 0.98663 | 0.9966 | 0.9966 | 0.99614 | 0.99453 | 0.99674
May | 0.98283 | 0.98681 | 0.9944 | 0.9973 | 0.99563 | 0.99618 | 0.99714
Jun | 0.98606 | 0.99031 | 0.9977 | 0.9949 | 0.99635 | 0.99666 | 0.99533
Source: | Panel analysis of AEMO data.

## FCAS Costs
Reliability and security report FY2025
Figures from the report
Quaterly FCAS costs
Slide: | 60
Quaterly FCAS costs by type ($AUD)
Financial Year | DateTime | LOWERREG | LOWER1SEC | LOWER6SEC | LOWER60SEC | LOWER5MIN | RAISEREG | RAISE1SEC | RAISE6SEC | RAISE60SEC | RAISE5MIN
2021 | Q3 | 3580952.93 | 0 | 2072202.1 | 2179895.16 | 647929.95 | 9586730.16 | 0 | 10660296.86 | 5923587.89 | 937123.79
| Q4 | 4652047.11 | 0 | 2287833.38 | 4634234.38 | 894458.96 | 11082561 | 0 | 14965425.97 | 9875830.14 | 785084.55
| Q1 | 4904473.69 | 0 | 744981.41 | 6776402.04 | 286678.55 | 5965046.8 | 0 | 9433015.01 | 4335227.09 | 837541.23
| Q2 | 5069729.72 | 0 | 4513115.25 | 2508756.38 | 198756.89 | 11698195.18 | 0 | 80766557.68 | 36457900.74 | 1252618.75
2022 | Q3 | 7816544.29 | 0 | 8839568.95 | 10110400.08 | 779590.02 | 13462423.27 | 0 | 52845999.63 | 33902823.47 | 2454073.5
| Q4 | 7160701.6 | 0 | 13037933.95 | 18770196.12 | 939277.46 | 8907771.08 | 0 | 47057861.36 | 35248050.66 | 1332386.9
| Q1 | 4670559.37 | 0 | 6354612.75 | 8195597.54 | 186843.91 | 7032607.53 | 0 | 10818597.03 | 5044856.97 | 902597.43
| Q2 | 7003734.36 | 0 | 2196877.07 | 2508999.72 | 992786.66 | 16748679.92 | 0 | 33614488.88 | 18942947.26 | 2007189.52
2023 | Q3 | 6383833.04 | 0 | 2639872.11 | 3028585.68 | 405700.27 | 12714782.15 | 0 | 16984066.55 | 11026186.48 | 858612.11
| Q4 | 14203061.07 | 0 | 11288954.84 | 14883096.86 | 4495409.5 | 18946728.38 | 0 | 17978196.14 | 9141165.58 | 7015043.82
| Q1 | 6686219.82 | 0 | 2129362.25 | 7322856.2 | 3205831.19 | 8338683.11 | 0 | 7021927.15 | 3139309.66 | 564750.75
| Q2 | 2719458.31 | 0 | 583189.35 | 1217532.86 | 359700.15 | 9855247.91 | 0 | 13299917.62 | 9978778.51 | 787463.02
2024 | Q3 | 4855870.15 | 0 | 966372.74 | 2659882.26 | 847637.13 | 9809370.46 | 0 | 13847025.75 | 6138227.06 | 793235.56
| Q4 | 4678497.57 | 1835361.09 | 975268.62 | 3547743.6 | 800405.41 | 5492757.91 | 6152917.92 | 10194684.17 | 1633193.27 | 455177.62
| Q1 | 1940069.01 | 60497.55 | 3999163.88 | 3851964.55 | 175350.49 | 2935714.14 | 13506883.61 | 1315772.33 | 870073.63 | 387983.13
| Q2 | 2336511.06 | 11927.14 | 23979297.85 | 3107744.8 | 256727.71 | 3959375.38 | 6698695.86 | 3026411.67 | 959937.12 | 444289.46
2025 | Q3 | 2272068.11 | 8762.39 | 3680546.84 | 2562169 | 403698.83 | 4631516.2 | 3835578.39 | 6797004.63 | 2051887.58 | 346817.16
| Q4 | 2266132.04 | 12419.48 | 3741451.71 | 2081791.05 | 174653.23 | 4113351.4 | 2927378.6 | 37302736.02 | 7576540.66 | 309588.46
| Q1 | 1724788.37 | 190.8 | 2061402.51 | 2709465.22 | 124694.42 | 4020614.28 | 399117.85 | 1429199.4 | 678012.5 | 151456.26
| Q2 | 1719211.4 | 24533.97 | 4895680.13 | 1900137.92 | 164087.78 | 8107286.63 | 376066.88 | 4701793.88 | 1155306.15 | 315878.2
Source: | Panel analysis of AEMO MMS data.

## FCAS Use
Reliability and security report FY2025
Figures from the report
Quaterly FCAS enabled
Slide: | 60
Quarterly FCAS enabled by type (MW)
Financial Year | Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWER1SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | RAISE1SEC
2021 | Q3 | 213 | 250 | 349 | 259 |  | 248 | 415 | 550 | 547
| Q4 | 213 | 257 | 369 | 278 |  | 273 | 380 | 554 | 548
| Q1 | 213 | 248 | 376 | 287 |  | 225 | 468 | 610 | 606
| Q2 | 214 | 226 | 375 | 305 |  | 225 | 446 | 596 | 592
2022 | Q3 | 216 | 210 | 363 | 306 |  | 228 | 443 | 604 | 600
| Q4 | 215 | 223 | 396 | 326 |  | 226 | 450 | 620 | 611
| Q1 | 215 | 228 | 402 | 325 |  | 225 | 456 | 628 | 610
| Q2 | 218 | 243 | 398 | 297 |  | 229 | 468 | 640 | 633
2023 | Q3 | 226 | 258 | 422 | 313 |  | 236 | 459 | 654 | 628
| Q4 | 217 | 321 | 494 | 400 |  | 244 | 392 | 579 | 547
| Q1 | 218 | 299 | 458 | 350 |  | 238 | 457 | 619 | 606
| Q2 | 223 | 208 | 348 | 287 |  | 240 | 481 | 634 | 627
2024 | Q3 | 218 | 230 | 368 | 290 | 0 | 239 | 456 | 605 | 594 | 0
| Q4 | 233 | 240 | 381 | 298 | 37 | 226 | 450 | 602 | 581 | 115
| Q1 | 241 | 246 | 378 | 289 | 21 | 225 | 463 | 605 | 589 | 217
| Q2 | 233 | 255 | 395 | 303 | 27 | 233 | 455 | 605 | 598 | 277
2025 | Q3 | 232 | 260 | 399 | 300 | 34 | 229 | 425 | 573 | 560 | 269
| Q4 | 230 | 264 | 410 | 321 | 46 | 230 | 423 | 578 | 554 | 274
| Q1 | 227 | 267 | 397 | 291 | 19 | 223 | 426 | 566 | 540 | 250
| Q2 | 239 | 252 | 399 | 310 | 28 | 232 | 422 | 574 | 564 | 280
Source: | AER, Quarterly Average FCAS Enablement by Services

## System Costs
Reliability and security report FY2025
Figures from the report
Cost of operating the system (excl June 2022)
Slide: | 61
System operating costs by component and financial year (AUD$ million)
Financial Year | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
FCAS Markets | 176 | 263.8 | 140.9 | 200.6 | 155.3 | 102.9 | 123.755
RERT Costs | 34.2 | 40.6 | 0.6617 | 130.079 | 2.0637 | 4.2527 | 23.881
SRAS | 35.7 | 35.8 | 36.9 | 31.9 | 33.3911 | 35.6389 | 42.7397
NSCAS | 10.6 | 0 | 0 | 0 | 0 | 0 | 3.0475
AEMO Revenue Requirement | 78.6 | 89.7 | 95.7 | 103.466 | 195.762 | 201.72 | 213.68
Source: | AEMO, Non Market Ancillary Services (NMAS) report 2024-25, October 2025

## SRAS Costs
Reliability and security report FY2025
Figures from the report
SRAS costs
Slide: | 61
SRAS costs by region and financial year (AUD$ million)
Electrical sub-network | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
NSW | 10.5112 | 10.5896 | 10.7864 | 11.1386 | 11.7246 | 12.5814 | 12.9255
QLD | 6.4348 | 5.9361 | 6.6197 | 2.9798 | 2.7071 | 2.9036 | 9.4001
SA | 5.7724 | 5.9239 | 6.0616 | 3.6722 | 4.5029 | 4.6898 | 4.2773
TAS | 6.0298 | 6.2355 | 6.2439 | 6.591 | 6.5061 | 6.9806 | 7.4377
VIC | 6.9448 | 7.1255 | 7.2304 | 7.5162 | 7.9503 | 8.4834 | 8.6991
Source: | AEMO, Non Market Ancillary Services (NMAS) Report

## Security Directions
Reliability and security report FY2025
Figures from the report
Number of security directions
Slide: | 63
Number of security directions by region and financial year
Financial Year | NSW | QLD | SA | TAS | VIC
2018-19 | 1 | 0 | 153 | 0 | 4
2019-20 | 0 | 0 | 273 | 0 | 5
2020-21 | 0 | 0 | 340 | 4 | 0
2021-22 | 0 | 0 | 467 | 0 | 0
2022-23 | 0 | 1 | 402 | 0 | 0
2023-24 | 1 | 2 | 420 | 0 | 4
Source: | Panel analysis of AEMO data.

## Inertia requirements
Reliability and security report FY2025
Figures from the report
Minimum inertia requirements
Slide: | 67
Inertia requirements, 2 December 2024 to 1 December 2034
Region | Satisfactory inertia level (MWs) | Secure inertia level (MWs) | Inertia sub‑network allocation (MWs) | Likelihood of islanding
NSW | 10000 | 12500 | 9600 | Unlikely
QLD | 12000 | 13700 | 10500 | Likely
SA | 4100 | 5600 | 4300 | Likely
TAS | 3200 | 3800 | - | Likely (continuous)
VIC | 13700 | 15400 | 11800 | Unlikely
Source: | TPSS - A2 Network Requirements

## 1-sec raise FCAS
Reliability and security report FY2025
Figures from the report
1-second raise FCAS prices
Slide: | 68
1-second raise market prices (monthly average)
Month | NSW | QLD | SA | TAS | VIC | NEM average
2024-07-01
2024-08-01
2024-09-01
2024-10-01
2024-11-01
2024-12-01
2025-01-01
2025-02-01
2025-03-01 | 1.2265 | 1.2265 | 1.2265 | 1.1265 | 1.2265 | 1.2065
2025-04-01 | 0.7368 | 0.7368 | 0.7368 | 0.66782 | 0.7368 | 0.723
2025-05-01 | 0.47335 | 0.47335 | 0.47335 | 0.41091 | 0.47335 | 0.46087
2025-06-01 | 0.40575 | 0.40575 | 0.40575 | 0.35339 | 0.40575 | 0.39527
Source: | Panel analysis of AEMO data.

## 1-sec lower FCAS
Reliability and security report FY2025
Figures from the report
1-second lower FCAS prices
Slide: | 68
1-second lower market prices (monthly average)
Month | NSW | QLD | SA | TAS | VIC | NEM average
2024-07-01
2024-08-01
2024-09-01
2024-10-01 | 0.17153 | 0.17153 | 0.17153 | 0.12235 | 0.17153 | 0.1617
2024-11-01 | 0.046953 | 0.046953 | 0.046953 | 0.018738 | 0.046953 | 0.04131
2024-12-01 | 0.018177 | 0.018177 | 0.018177 | 0.0077854 | 0.018177 | 0.016099
2025-01-01 | 0.0027106 | 0.0027106 | 0.0027106 | 0.00050179 | 0.0027106 | 0.0022688
2025-02-01 | 0.00092138 | 0.00092138 | 0.00092138 | 0.00069072 | 0.00092138 | 0.00087525
2025-03-01 | 0.0035353 | 0.0035353 | 0.0035353 | 0.0017845 | 0.0035353 | 0.0031852
2025-04-01 | 0.017091 | 0.017091 | 0.017091 | 0.0099072 | 0.017091 | 0.015655
2025-05-01 | 0.0076523 | 0.0076523 | 0.0076523 | 0.0064628 | 0.0076523 | 0.0074144
2025-06-01 | 0.0018218 | 0.0018218 | 0.34265 | 0.00073032 | 0.0018218 | 0.069769
Source: | Panel analysis of AEMO data.

## RoCoF constraints
Reliability and security report FY2025
Figures from the report
RoCoF-related constraint metrics
Slide: | 69
Constraint | T_ROCOF_1 | T_ROCOF_2 | T_ROCOF_3_1 | T_ROCOF_3_2 | T_ROCOF_3_3 | V_S_NIL_ROCOF | S_V_NIL_ROCOF
Cumulative marginal value over FY2025 | 1326.849 | 1643.5594 | 4167.3639 | 305.8556 | 61118.6109 | 9172.0178 | 0
Average marginal value when binding in FY25 | 51.0327 | 96.68 | 101.643 | 76.4639 | 61.2411 | 42.8599 | 0
Percentage of dispatch intervals in FY2025 binding | 0.00024734 | 0.00016172 | 0.00039003 | 3.8052e-05 | 0.0094939 | 0.0020358 | 0
Source: | Panel analysis of AEMO data.