**Victoria and NSW- Transmission**

**Eastern Gas Pipeline**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| **VICTORIA** |  |  |  |  |
| Vic Pl No 247 | VicHub Pipeline | Jemena VicHub Pipeline Pty Ltd | 2.265 | 355.6/273 |
| VIC Pl No 232 | Longford to VIC/NSW Border | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 276.707 | 457.2 |
| VIC Pl No 232 | Bairnsdale Main Valve to Bairnsdale City Gate | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 2.676 | 168.3 |
| VIC Pl No 232 | Longford suction pipeline from Esso Longford Gas Plant to Longford Compressor Station | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 2.408 | 610 |
| **NSW** |  |  |  |  |
| NSW Pl No 26 | VIC/NSW Border to Horsley Park | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 519.757 | 457.2 |
| NSW Pl No 26 | Pt Kembla lateral | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 6.613 | 219.1 |
| NSW Pl No 26 | Smithfield lateral | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 9.608 | 219.1 |
| NSW Pl No 26 | Wilton lateral | Jemena Eastern Gas Pipeline (1) Pty LtdJemena Eastern Gas Pipeline (2) Pty Ltd | 3.974 | 323.9 |

Vic PL = Pipeline Licence issues under the Pipelines Act 2005 (Vic)

NSW PL = Pipeline Licence issued under the Pipelines Act 1967 (NSW)