Northern Territory – Transmission

Amadeus Gas Pipeline

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
|  | Amadeus Basin to Darwin | APT Pipelines NT Pty Ltd |  |  |
| NT:PL4 | Palm Valley to Mataranka |  | 1110 | 356 |
|  | Mataranka to Darwin |  | 402 | 324 |
|  | Channel Island |  | 1 | 219 |
|  | Mereenie to Tylers Pass |  | 116 | 273 |
|  | Tennant Creek Lateral |  | 24 | 114 |
|  | Katherine Lateral |  | 5 | 114 |

NT Pipeline License issued under the Energy Pipelines Act  1981 (NT)