Western Australia – Transmission

Goldfields Gas Pipeline

| Pipeline Licence | Location/Route | Operator | Length (km) | Pipe Diameter (mm) |
| --- | --- | --- | --- | --- |
| WA: PL24* | Goldfields Gas Pipeline: mainline - Yarraloola to Newman Lateral offtake | Goldfields Gas Transmission Pty Ltd | 520 | 406 |
|  | Goldfields Gas Pipeline: mainline - Newman Lateral offtake to Kalgoorlie |  | 857 | 356 |
|  | Goldfields Gas Pipeline: Newman Lateral - Newman Lateral offtake to Newman |  | 48 | 219 |

* Pipeline License issued under Western Australian Petroleum Pipelines Act 1969